“Child Protection Service Provision for Vulnerable Syrian Refugee Children and Youth” CALL FOR TENDER T_10BRA_71N_DCC_DYC_DCT_Erbil_18022014_001 ACTED (Agency for Technical Cooperation and Development), implementing the project “Child Protection Service Provision for Vulnerable Syrian Refugee Children and Youth” under UNICEF funding is inviting suppliers to submit offers for each batch for the following Construction of CFS/YFS/CPU in Darashakran Camp: Batch; Description; Qty; Unit; INCOTERMS/ Delivery point; Delivery deadline. 1; Foundation/ground floor: for both CFS and YFS each of (9x14) m including nilon sheet under foundation, reinforcement, shuttering, and concrete casting. (invert Beam under the walls of 0.5x0.3m and 100mm thk slab on grade).; 34; m³; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 2; Masonry: CFS and YFS including lintels; 46; m³; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 3; Plastering and Painting: CFS and YFS; 456; m²; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 4; Windows (2x1.5)m: CFS and YFS; 8; pcs; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 5; Doors (2x1)m: CFS and YFS; 4; pcs; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 6; Shaded Areas: CFS and YFS each of (12x10)m; 240; m²; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 7; Fencing; 164; m.l.; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 8; Foundation: CPU Pre-fab slab on grade of 100mm thk including nilon sheet under foundation, reinforcement (one layer of BRC, 150x150x6mm), shuttering, and concrete casting.; 36; m²; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 9; Provide and Install pre-fab unit: CPU of (2.5x6)m; 15; m²; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 10; Latrines; 3; Pcs; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 11; Stone Covering and water storm channel; 1; l.s.; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 12; Gate: 5m gate, double door of 2.5m each; 1; pcs; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 13; Play yard (25x15)m; 1; l.s.; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 14; AC Unites: (2400 PTU) 2 for each facility CFS and YFS; 4; Pcs; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 15; Cesspools; 1; Unit; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. 16; shrubberies; 20; pcs; DDP ; Darashakran Refugee camp in Erbil Governorate; 15/03/2014. The tender will be conducted using ACTED standard bidding documents, open to all qualified suppliers and service providers. The Bidding Documents (in English) may be collected free of charge by all interested bidders at the following address(es): - ACTED representative office in Erbil ; 6th Street at the right after Ainkawa chekpoint, House number 240/1/71/, Ainkawa, Erbil, Kurdistan, Iraq - A pre-tender information session will be organized on 20/02/2014at 12:00:00 PMin ACTED representative office in Erbil ; 6th Street at the right after Ainkawa chekpoint, House number 240/1/71/, Ainkawa, Erbil, Kurdistan, Iraq. . Participation of interested bidders to the information session is preferable but not compulsory. All bids must be submitted before on 25/02/2014 at 12:30:00 PMat the address(es) mentioned above in a sealed envelope or by E-mail at iraq.tender@acted.org, Cc tenders@acted.org. Late Bids will be automatically rejected. ACTED will not be responsible for any costs or expenses incurred by the Bidders in connection with the preparation and submission of their bids to ACTED. - A tender opening session will take place on 25/02/2014 at 12:30:00 PMin the ACTED representative office in Erbil ; 6th Street at the right after Ainkawa chekpoint, House number 240/1/71/, Ainkawa, Erbil, Kurdistan, Iraq. The presence of bidders’ representative is allowed. For all inquiries regarding this tender, please contact the ACTED representative office in Erbil not later than 24/02/2014 at 5:00:00 PMH, by E-mail at iraq.tender@acted.org, Cc tenders@acted.org.