## General Cost
Project of rehabilitation of 10 schools in West Mosul
Rehabilitation (Civil Works)
WASH (water and sanitation)
Electrical Work
Sub total (A+C)
Sub total (B)
Grand Total (A+B+C)

## 01-Qadis Abdulahad
Qadis Abdulahad School for Girls
Mosul - West Mosul - Mosul Jadida
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 100 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 2000 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 250 |  | 0
4 | Provision of all materials for installation of window handles of the best quality. | No. | 80 |  | 0
5 | Provision of materials to repair metal doors for classrooms and management with changing the handles and painting 3 layers | No. | 25 |  | 0
6 | Provision of materials and labors to demolish and reconstruct classroom's wall ( 40 cm thickness of rocks ) with 2 side plastering (cement and sand 1:3 ) from outside and inside . | M3 | 30 |  | 0
7 | Provision of materials and labors to repair the subcieling and provision of missing parts. | M2 | 700 |  | 0
8 | Provision of materials and labor for demolishing damaged parts of the concrete roof , cleaning the ruins of the building , installing of wooden mold , reinforcing the roof according to supervisor engineer instructions , casting the roof with concrete of ( 18 cm thickness - mixing rate is 1:2:4 ) and according to supervisor engineer , wooden works should be removed after 12 days from the casting day , Making squares of sand borders above the surface and fill them with water during the existence of wooden mold and taking into account the tendency towards gutters. | M3 | 15 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 4 |  | 0
2 | Provision and installation of good quality Turkish chrome taps. | No. | 20 |  | 0
3 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 8 |  | 0
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | provision and installation of Neon electronic base ( home brand ) , 4' fluorescent lights with inspection ( Toshiba brand ) of best quality , installation of wiring ( 2X1.5mm ) standard Jordanian origin , new plug switch ( alpha brand ) saudi arabia origin with bases and each ( 2 ) fluorescent lights should be connected to one switch . | No. | 20 |  | 0
2 | Provision of materials to install 4' floursent lights with inspection ( Toshiba brand ) . | No. | 20 |  | 0
3 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 20 |  | 0
4 | Provision materials to install exhaust fan 6" best quality with ( 2X1.5 mm ) wiring, each 2 fans to be connected to one switch. | No. | 14 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 02-Trablis
Trablis School for Girls
Mosul - West Mosul - Mosul Jadida
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 200 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 3500 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 350 |  | 0
4 | Provision of all materials for installation of windows handles of the best quality | No. | 100 |  | 0
5 | Provision of materials, labors and equipment to reconstruction of school wall by 40cm blocks, height is accourding to the school wall ( not less than 2M ) and 20cm width with 2 side plastering (cement and sand 1:3) or 2 layers painting and joint each 4M as per supervisor instructions. | ML | 35 |  | 0
6 | Provision of materials to repair metal doors for classrooms and management with changing the handles and painting 3 layers | No. | 20 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 6 |  | 0
2 | Provision and installation of good quality Turkish chrome taps | No. | 20 |  | 0
3 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 7 |  | 0
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | provision and installation of Neon electronic base ( home brand ) , 4' fluorescent lights with inspection ( Toshiba brand ) of best quality , installation of wiring ( 2X1.5mm ) standard Jordanian origin , new plug switch ( alpha brand ) saudi arabia origin with bases and each ( 2 ) fluorescent lights should be connected to one switch . | No. | 40 |  | 0
2 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 15 |  | 0
3 | Provision materials to install exhaust fan 6" best quality with ( 2X1.5 mm ) wiring, each 2 fans to be connected to one switch. | No. | 8 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 03-Kinda
Kinda School for Girls
Mosul - West Mosul - Wadi Hajar
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 150 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 3500 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 450 |  | 0
4 | Provision of all materials for installation of windows handles of the best quality | No. | 80 |  | 0
5 | Provision of materials to repair metal and wooden doors for classrooms and management with changing handles and painting 3 layers | No. | 40 |  | 0
6 | Provision of materials and labors to demolish and reconstruct classroom's wall ( 40 cm thickness of rocks ) with 2 side plastering (cement and sand 1:3 ) from outside and inside . | M3 | 5 |  | 0
7 | Provision of materials and labors to cast the damaged part of the roof with reinforcement concrete of 15 cm thickness | M3 | 2 |  | 0
8 | Provision of materials and labor for filling the wall cracks by special cement, putting wire mesh and plastering (cement and sand 1:3), price including finishing and according to supervisor instructions | M2 | 100 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 8 |  | 0
3 | Provision and installation of good quality Turkish chrome taps | No. | 25 |  | 0
4 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 6 |  | 0
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | Provision of materials to install 4' floursent lights with inspection ( Toshiba brand ) . | No. | 30 |  | 0
2 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 15 |  | 0
3 | Provision materials to install exhaust fan 6" best quality with ( 2X1.5 mm ) wiring, each 2 fans to be connected to one switch. | No. | 5 |  | 0
4 | Provision materials and labor to install ceiling fan 56" of the best quality with regulator and 2X1.5mm wiring | No. | 2 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 04-Mosul Jadida
Mosul Jadida School for Girls
Mosul - West Mosul - Mosul Jadida
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 125 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 3500 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 350 |  | 0
4 | Provision of all materials for installation of windows handles of the best quality | No. | 50 |  | 0
5 | Provision of materials and labor for filling the wall cracks by special cement, putting wire mesh and plastering (cement and sand 1:3), price including finishing and according to supervisor instructions | M2 | 100 |  | 0
6 | Provision of materials to repair metal and wooden doors for classrooms and management with changing handles and painting 3 layers | No. | 40 |  | 0
7 | Provision of materials to repair broken windows using welding and provision of shortage parts with all required need | M2 | 6 |  | 0
8 | Provision of materials and labors to demolish and reconstruct classroom's wall ( 40 cm thickness of rocks ) with 2 side plastering (cement and sand 1:3 ) from outside and inside . | M3 | 15 |  | 0
9 | Provision of materials to instal metal doors for classrooms and management with all handles and painting 3 layers | No. | 6 |  | 0
10 | Provision of materials and labor for demolishing damaged parts of the concrete roof , cleaning the ruins of the building , installing of wooden mold , reinforcing the roof according to supervisor engineer instructions , casting the roof with concrete of ( 18 cm thickness - mixing rate is 1:2:4 ) and according to supervisor engineer , wooden works should be removed after 12 days from the casting day , Making squares of sand borders above the surface and fill them with water during the existence of wooden mold and taking into account the tendency towards gutters. | M3 | 5 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 2 |  | 0
2 | Provision and installation of good quality Turkish chrome taps | No. | 25 |  | 0
3 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 8 |  | 0
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | provision and installation of Neon electronic base ( home brand ) , 4' fluorescent lights with inspection ( Toshiba brand ) of best quality , installation of wiring ( 2X1.5mm ) standard Jordanian origin , new plug switch ( alpha brand ) saudi arabia origin with bases and each ( 2 ) fluorescent lights should be connected to one switch . | No. | 40 |  | 0
2 | Provision materials to install exhaust fan 6" ( Shami brand )best quality with ( 2X1.5 mm ) wiring, each 2 fans to be connected to one switch. | No. | 5 |  | 0
3 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 10 |  | 0
4 | Provision materials to install rain lights (light and fixture) plastic cover Turkish origin, with 60Watt light (economic big size) with wiring by 2X1.5mm Jordanian origin , price includes installation of electrical switch ( alpha brand )saudi arabia origin. each 2 should be connected to one switch . | No. | 6 |  | 0
5 | Provision of materials to install new sub distribution panel ( Crabitly brand ) chinees made with iron cover, 12 lines capacity ( Corlin brand ) with installation of bi circuit breaker of 80A, price includes decommissioning of old panel and replace with the new one. | No. | 1 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 05-Qurtoby
Al-Qurtoby School for Boys
Mosul - West Mosul - Al-Risala
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 100 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 3000 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 350 |  | 0
4 | Provision of all materials for installation of windows handles of the best quality | No. | 50 |  | 0
5 | Provision of materials to repair metal and wooden doors for classrooms and management with changing handles and painting 3 layers | No. | 36 |  | 0
6 | Provision of materials to repair broken windows using welding and provision of shortage parts with all required need | M2 | 4 |  | 0
7 | Provision of materials, labors and equipment to reconstruction of school wall by 40cm blocks, height is accourding to the school wall ( not less than 2M ) and 20cm width with 2 side plastering (cement and sand 1:3) or 2 layers painting and joint each 4M as per supervisor instructions. | ML | 35 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 8 |  | 0
3 | Provision and installation of good quality Turkish chrome taps | No. | 16 |  | 0
4 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 6 |  | 0
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | provision and installation of Neon electronic base ( home brand ) , 4' fluorescent lights with inspection ( Toshiba brand ) of best quality , installation of wiring ( 2X1.5mm ) standard Jordanian origin , new plug switch ( alpha brand ) saudi arabia origin with bases and each ( 2 ) fluorescent lights should be connected to one switch . | No. | 100 |  | 0
2 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 75 |  | 0
3 | Provision materials to install exhaust fan 6" best quality with ( 2X1.5 mm ) wiring, each 2 fans to be connected to one switch. | No. | 12 |  | 0
4 | Provision material to install ceiling fan 56" of the best quality with regulator and 2X1.5mm wiring | No. | 12 |  | 0
5 | Provision of materials to install 2X1.5mm wire of best quality | ML | 200 |  | 0
6 | Provision of materials to install new sub distribution panel ( Crabitly brand ) chinees made with iron cover, 12 lines capacity ( Corlin brand ) with installation of bi circuit breaker of 80A, price includes decommissioning of old panel and replace with the new one. | No. | 3 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 06-Al-Hamdeen
Al-Hamdeen School for Boys
Mosul - West Mosul - Al-Risala
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 65 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 3500 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 350 |  | 0
4 | Provision of materials and labor for filling the wall cracks by special cement, putting wire mesh and plastering (cement and sand 1:3), price including finishing and according to supervisor instructions | M2 | 100 |  | 0
5 | Provision of all materials for installation of windows handles of the best quality | No. | 70 |  | 0
6 | Provision of materials, labors and equipment to reconstruction of school wall by 40cm blocks, height is accourding to the school wall ( not less than 2M ) and 20cm width with 2 side plastering (cement and sand 1:3) or 2 layers painting and joint each 4M as per supervisor instructions. | ML | 40 |  | 0
7 | Provision of materials to repair metal and wooden doors for classrooms and management with changing handles and painting 3 layers | No. | 20 |  | 0
8 | Provision of materials to repair broken windows using welding and provision of shortage parts with all required need | M2 | 12 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 6 |  | 0
2 | Provision and installation of good quality Turkish chrome taps | No. | 20 |  | 0
3 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 10 |  | 0
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | Provision of materials to install 4' floursent lights with inspection ( Toshiba brand ) . | No. | 40 |  | 0
2 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 10 |  | 0
3 | Provision materials to install exhaust fan 6" best quality with ( 2X1.5 mm ) wiring, each 2 fans to be connected to one switch. | No. | 6 |  | 0
4 | Provision of materials to install 4X16mm cable best quality | ML | 30 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 07-Abo Obaida
Abo Obaida Al-Jarah School - Boys
Mosul - West Mosul - Al-Amil
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 150 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 4000 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 350 |  | 0
4 | Provision of all materials for installation of windows handles of the best quality | No. | 80 |  | 0
| Provision of materials and labor for filling the wall cracks by special cement, putting wire mesh and plastering (cement and sand 1:3), price including finishing and according to supervisor instructions | M2 | 250 |  | 0
5 | Provision of materials labors and equipment to build by20cm blocks to fill the holes in schools' wall with plastering and paint. | M2 | 20 |  | 0
6 | Provision of materials to repair metal doors for classrooms and management with changing handles and painting 3 layers | No. | 40 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 8 |  | 0
2 | Provision and installation of good quality Turkish chrome taps | No. | 30 |  | 0
3 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 6 |  | 0
4 | Provision of materials to install good quality mixer Turkish origin. | No. | 1
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | Provision of materials to install 4' floursent lights with inspection ( Toshiba brand ) . | No. | 40 |  | 0
2 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 20 |  | 0
3 | Provision materials to install exauhst fan 6" with 2X1.5 mm wiring, each 2 fans to be connected to one switch. | No. | 10 |  | 0
4 | Provision of materials to install fan regulator (ramco) with transformer | No. | 10 |  | 0
5 | Provision of materials to install water pump 1/2 HP best quality with electrical connection using 2X2.5mm wire, price includes fabrication and installation of metal protection fence. | No. | 1 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 08-Al-Thwar
Al-Thwar School for Boys
Mosul - West Mosul - Al-Amil
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 40 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 2750 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 320 |  | 0
4 | Provision of all materials for installation of windows handles of the best quality | No. | 20 |  | 0
5 | Provision of materials for installation of curby plate with steel structure frame . | ML | 399 |  | 0
6 | Provision of materials to repair metal and wooden doors for classrooms and management with changing handles and painting 3 layers | No. | 21 |  | 0
7 | Provision of materials for installation of curby plate without steel structure. | ML | 50 |  | 0
8 | Provision of materials to instal metal doors for classrooms and management with all handles and painting 3 layers | No. | 6 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 8 |  | 0
2 | Provision and installation of good quality Turkish chrome taps | No. | 20 |  | 0
3 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 6 |  | 0
4 | Provision of materials to install mixers, hoses, valves and drains good quality Turkish origin | No. | 4
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | Provision of materials to install 4' floursent lights with inspection ( Toshiba brand ) . | No. | 30 |  | 0
2 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 15 |  | 0
3 | Provision materials to install exauhst fan 6" with 2X1.5 mm wiring, each 2 fans to be connected to one switch. | No. | 6 |  | 0
4 | Provision materials to install rain lights (light and fixture) plastic cover Turkish origin, with 60Watt light (economic big size) with wiring by 2X1.5mm Jordanian origin , price includes installation of electrical switch ( alpha brand )saudi arabia origin. each 2 should be connected to one switch . | No. | 10 |  | 0
5 | Provision of materials to install water pump 1/2 HP best quality with electrical connection using 2X2.5mm wire, price includes fabrication and installation of metal protection fence. | No. | 2 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 09-Ibn Al-Khaldon
Ibn Al-Khaldon School for Boys
Mosul - West Mosul - Tal Al-Roman
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning the ruins . All works should be done according to supervisor instruction. | M2 | 150 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 3500 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not count under the skirting boards) . | M2 | 350 |  | 0
4 | Provision of all materials for installation of windows handles of the best quality | No. | 70 |  | 0
5 | Provision of materials to repair metal doors for classrooms and management with changing handles and painting 3 layers | No. | 40 |  | 0
6 | Provision of materials, labors and equipment to reconstruction of school wall by 40cm blocks, height is accourding to the school wall ( not less than 2M ) and 20cm width with 2 side plastering (cement and sand 1:3) or 2 layers painting and joint each 4M as per supervisor instructions. | ML | 20 |  | 0
7 | Provision of materials and labor for filling the wall cracks by special cement, putting wire mesh and plastering (cement and sand 1:3), price including finishing and according to supervisor instructions | M2 | 200 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 8 |  | 0
2 | Provision and installation of good quality Turkish chrome taps | No. | 20 |  | 0
3 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 6 |  | 0
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | provision and installation of Neon electronic base ( home brand ) , 4' fluorescent lights with inspection ( Toshiba brand ) of best quality , installation of wiring ( 2X1.5mm ) standard Jordanian origin , new plug switch ( alpha brand ) saudi arabia origin with bases and each ( 2 ) fluorescent lights should be connected to one switch . | No. | 15 |  | 0
2 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 20 |  | 0
3 | Provision materials to install exauhst fan 6" with 2X1.5 mm wiring, each 2 fans to be connected to one switch. | No. | 12 |  | 0
4 | Provision of materials to install 4' floursent lights with inspection ( Toshiba brand ) . | No. | 40 |  | 0
5 | Provision of materials to install fan regulator (ramco) with transformer | No. | 12 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0

## 10-Al-Razi
Al-Razi School for Boys
Mosul - West Mosul - Tal Al-Roman
General Notes and Instructions
a | Contractor will be responsible for all damages or site changes related to the work and the contractor will be committed to clean up the site as per site handover
b | All works will be done according to the BOQs and as per supervisor instructions
c | For concrete works mixing rate is 1:2:4 in addition to archive the work progress by photos and reports, curing and the contractor will be responsible for all tests required.
d | Any change or modification should be approved in advance
e | Old materials are not allowed to be used such as flooring, blocks …etc.
f | For electrical works, the contractor should follow standards for electric, submit samples to the supervisor engineer, all materials should be best quality and all work should be done according to site engineer instructions.
Civil Works
# | Item | Unit | Quantity | Cost $ | Total $
1 | Provision of all materials for installation of 4mm glass with all fixing materials and silicon, price includes cleaning. All works should be done according to supervisor instruction | M2 | 100 |  | 0
2 | Provision of materials and labor for painting 3 layers for management, internal space and outside walls, price includes cleaning of old painting and filling the wall cracks using plaster. | M2 | 3500 |  | 0
3 | Provision of materials and labor for painting 2 layers for skirting boards of ( 1.5m ) high, price includes painting all doors, windows and stair rails. NOTE : ( Item ( 2 ) will not counted under the skirting boards) . | M2 | 400 |  | 0
4 | Provision of all materials for installation of windows handles of the best quality | No. | 50 |  | 0
5 | Provision of materials and labor to fill the wall cracks by special cement, putting wire mesh and plastering (cement and sand 1:3), price including finishing and according to supervisor instructions | M2 | 100 |  | 0
6 | Provision of materials to repair metal doors for classrooms and management with changing handles and painting 3 layers | No. | 35 |  | 0
7 | Provision of materials, labors and equipment to reconstruction of school wall by 40cm blocks, height is accourding to the school wall ( not less than 2M ) and 20cm width with 2 side plastering (cement and sand 1:3) or 2 layers painting and joint each 4M as per supervisor instructions. | ML | 15 |  | 0
| Total Cost For Civil Works |  |  |  | 0
Water and Sanitation Works
1 | Provision of materials to install metal galvanized water tank (plate18) of capacity of 1,500L with level valve and all accessories and piping, price include installation of metal base. | No. | 8 |  | 0
2 | Provision of materials for installation new basin mixer (Turkish Origin) | No. | 20 |  | 0
3 | Provision of labors and equipment to reopen waste water lines, manholes and pipes, price includes provision any shortage parts , replacing any damaged parts and desludging of cesspool. | No. | 8 |  | 0
4 | Provision of materials to install mixers, hoses, valves and drains good quality Turkish origin | No. | 4
| Total Cost For WASH Works |  |  |  | 0
Electrical Works
1 | Provision of materials to install 4' floursent lights with inspection ( Toshiba brand ) . | No. | 40 |  | 0
2 | Provision materials to install exhaust fan 6" best quality with ( 2X1.5 mm ) wiring, each 2 fans to be connected to one switch. | No. | 5 |  | 0
3 | Provision of materials to install new fan regulator (ramco - first class - big size ) contains transformer | No. | 12 |  | 0
4 | Provision and installation of good quality 13A plug or plug switch ( alpha brand ) saudi arabia type . | No. | 20 |  | 0
5 | Provision of materials to install 2X4mm standard cable of best quality | ML | 40 |  | 0
6 | Provision of materials to install 2X10mm standard cable of best quality | ML | 30 |  | 0
| Total Cost For Electrical Works |  |  |  | 0
| Total Cost For rehabilitation of the school |  |  |  | 0