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REQUEST FOR QUOTATION

From: NRC Mosul Office, Hai Al Zarai Al Yaqoot Building Mosul East  	
Date: 6th February 2018 		
No. of pages including this page: RFQ 4 Pages & 4 Pages of Office Partition Works Drawings Attached.

Subject: 	Office Partition Works in NRC Mosul office.


Manner of Submission: 
Please submit your sealed quotation in accordance with the requirements to NRC office in Mosul, Hay Al Zarai at Al Yaqoot Building Mosul East. 

In sealed envelope in the RFQ box with clearly mark the RFQ for Office Partition Works Mosul.

NRC Office Mosul Address
Hai Al Zarai , Al Yaqoot Building 
Mosul East  


Deadline for submission of quotations is 13:00 Hrs Iraqi Time on Monday 12th Feb 2018 promptly. Companies who do not submit their quotation by this deadline will not be considered. 

Requirements:
The office of the Norwegian Refugee Council invites your company to make a firm offer for the following supply of items and works
Specifications: As per below table and attached works drawings. 
Quantity: As per below table 



	ill of Quantity Office Partition Works 

	#
	Items Description 
	Unit
	Quantity
	Unit Cost in USD
	Total Cost in USD

	1
	Green Double sided Gypsum board : Provide and instal  of partitions wall by Green gypsumboard parts ( 1.2X2.4m )  . Work includes wax  plastering in both sides of wall and 3 layer of high Quality white turkish painting . All works and dimensions should be done according to the requests and instructions of NRC site engineer.
	m²
	966
	 
	 

	2
	Painting existing walls (Concerete )  : work includes providing paint and painting the surronding walls that exist already with 2 layers of turckish paint the same paint used in painting the gypsum board .  
	m²
	906
	 
	 

	3
	Consolidated glass 10m.l : Provide and instal consolidated  high Quality glass10m.l thickness not transperant . Work includes transporting and providing and installation of the glass .
	m²
	86.4
	 
	 

	4
	Split Air conditionar devices installation  : work includes installing 27 A.C Device in the office (first and second floor ) . And installing 24 A.C Device in the appartments . (Note : the A.C Devices in different sizes 1 ton - 3 ton ) 
	pcs
	51
	 
	 

	5
	Repairing false ceilings   : work includes repairing the false ceiling according to the new interior partitions . Work includes providing missing parts and primary repairing material and repairing parts of ceiling by gypsum board material after installing the A.C devices in the appartments under the two floors 
	m²
	600
	 
	 

	6
	Plastic and wood Doors : supply and install palstic and wooden door large frame and the kind is turckish with the dimension of 1X2 m . 
	pcs
	19
	 
	 

	7
	Glass Doors : supply and install consolidated Glass doors with thickness 10 ml not transperant with dimension 1X2 m .
	pcs
	4
	 
	 

	8
	Electric works: work includes suppling and installing a new electric system for the rooms in the two floors and also includes modifing the old electric system according to the new plan of the floors . The new system parts includes the items mentioned below 
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	Unit 
	Quantity 
	 
	 

	8a
	Cable: 4X4ml turkish
	m
	540
	 
	 

	8b
	Semiens wire : 2X2.5ml turkish 
	m
	540
	 
	 

	8c
	Cable: 1X1ml turkish
	m
	300
	 
	 

	8d
	Wall box : square saudi
	pcs
	40
	 
	 

	8e
	Main circuit : 27 line Oman 
	pcs
	4
	 
	 

	8f
	Switch : 13A turkish 
	pcs
	100
	 
	 

	8g
	Switch : 45A turkish
	pcs
	4
	 
	 

	8h
	Switch : 4 lines china 
	pcs
	8
	 
	 

	8i
	Circuit breaker : Different kindes turkish 
	pcs
	60
	 
	 

	8j
	Circuit breaker : mini/triple turkish 
	pcs
	6
	 
	 

	8k
	Spotlight :  18w china 
	pcs
	200
	 
	 

	8l
	Cable holder : turkish 
	pack
	100
	 
	 

	8m
	Cable brad : 12-16ml turkish 
	pack
	40
	 
	 

	8l
	Work fees 
	floor 
	2
	 
	 

	 
	Total Cost
	 
	 
	 
	 




Delivery location:  NRC Mosul 

Your quotation should clearly indicate the following;
· Currency of offer should be USD 
· Ex-works unit price:
· Transport cost up to delivery place: by air, sea, land (as applicable): By Land
· Total price (INCOTERM Delivered Duty Unpaid (DDU) if the goods is delivered by an international supplier): DDP Delivery and Duty Paid.
· Net price after deduction of discounts:
· Date of Offer: __________________________
· Validity of the offer: _____________________
· Defects liability and guarantee period: 1 month 
· Detailed specifications (if different from stipulated specifications):
· Place of manufacture and country of origin: As per attached Bill of Material.


Conditions of quotation:
Payment will be made within 30 days of receipt of goods, by bank transfer/cheque only. 

NRC is not subject to VAT; therefore, all offers should be exclusive of VAT costs. 

All suppliers doing business with NRC should maintain high standards on ethical issues, respect and apply basic human and social rights, ensure non-exploitation of child labour, and give fair working conditions to their staff. NRC reserves the right to reject quotations provided by suppliers not meeting these standards. 
Vendors doing business with NRC will be screened on anti-corruption due diligence before NRC confirms an order or contract.

NRC aims to purchase products and services that the minimum environmental impact. Environmental considerations form part of the NRC selection criteria, and NRC reserves the right to reject quotations provided by suppliers not meeting these standards. 

Currencies of bid and payment
All prices shall be quoted by the Bidder in (USD) unless otherwise stated. Similarly, all payments will be made in USD 

Inspection 
NRC is obliged to ensure that its procurement decisions are clearly justified and documented and keeping within the Donors mandatory principles. In that regard, full and on-the-spot access must be granted to representatives of NRC, the Donor or any organisation or person mandated by it, to premises belonging to NRC or its contractors. The right to access shall include all documents and information necessary to assess, or audit the implementation of the contract

Supplier Information

Company name………………………………………………Stamp…………………………...

Address…………………………………………………………………………………...............

Contact person……………………………………………………………………………………

Contact Telephone number……………………………………………………………………..

Email/Fax………………………………………………………………………………………….

NRC reserves the right to accept or reject the whole or part of your quotation based on the information provided. Incomplete quotations which do not comply with our conditions will not be considered. 

Shortlisted suppliers will be required to submit samples of each item. Please be sure to have all samples available at short notice, and wait for a response from NRC if you have been shortlisted.
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