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Overview:
Subject:  Supply of Distribution Transformers (630 and 1000) kVA and RMU, West Mosul “Addendum No. 1”
 
Dear Bidders,
 The purpose of this addendum is to amend the following Clause of the ITB for subject mentioned project as following:
 Section 7 – Price Schedule Form – Item No. 3 (11 KV Indoor Type Switchgear for Consumer Substation, Ring Main Unit, Extensible:
Short Circuit Level shall read “25KA/1 Sec” instead of “25KA/3 Sec”
· Section 6 – Technical Bid Form – Technical Complaince Sheet – 11KV Ring Main Units – Item No. 7 under SWITCH & FUSE SWITCH:
· Rated Short Time Current shall read “(1 seconds)” instead of “(3 seconds)”.
 
All other clauses and conditions shall remain unchanged.
Please be guided accordingly.
Thank you.
 
 
 
Anas Fayyad Qarman
Operations Manager
UNDP
 
Subject: ITB No. 156/18 - Supply and Delivery of Distribution Transformers (630 and 1000) kVA and RMU, West Mosul
 
The United Nations Development Programme (UNDP) hereby invites you to submit a Bid to this Invitation to Bid (ITB) for the above-
referenced subject. 
 
This ITB includes the following documents:
Section 1 – This Letter of Invitation
Section 2 – Instructions to Bidders (including Data Sheet)
Section 3 – Schedule of Requirements and Technical Specifications
Section 4 – Bid Submission Form
Section 5 – Documents Establishing the Eligibility and Qualifications of the Bidder
Section 6 – Technical Bid Form
Section 7 – Price Schedule Form (BOQ - Attached separately)
Section 8 – Form for Bid
Section 8a- Template for Bid Security Confirmation
Section 9 – Form for Performance Security  
Section 10 – Form for Advanced Payment – Not Applicable
Section 11 – Contract to be Signed, including General Terms and Conditions for works – (Attached separately)
 
Appendix A – Instructions manual for use of the eTendering system by suppliers.
Appendix B – Registration process presentation.
 
Your offer, comprising of a Technical Bid and Price Schedule, should be submitted in accordance with Section 2, through eTendering online
system and by the deadline indicated in the event posted on  https://etendering.partneragencies.org
 
In case your company is not registered in the E-Tendering Module, please use the following temporary username and password to register
your company/firm:
 
Username: event.guest
Password: why2change
 
You are kindly requested to indicate whether your company intends to submit a Proposal by clicking on “Accept Invitation” button no later
than 31 March 2018.  If that is not the case, UNDP would appreciate your indicating the reason, for our records    
 
 
 
If you have received this ITB through a direct invitation by UNDP, transferring this invitation to another firm requires notifying UNDP
accordingly.  
 
Should you require any clarification, kindly communicate with the contact person identified in the attached Data Sheet as the focal point
for queries on this ITB.  
 
UNDP looks forward to receiving your Bid and thanks you in advance for your interest in UNDP procurement opportunities.
 
Yours sincerely,
 Anas Fayyad Qarman
Operations Manager
 UNDP, Iraq
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