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	Submersible Pump and Motor

	ITEM NO.
	GOODS /DESCRIPTIONS
	QUANTITY
	UNIT PRICE (USD)
	TOTAL PRICE
(USD)

	1. 
	Submersible Pump SP(8A -37 )                    As per annex 1 technical specifications
	3
	
	

	2. 
	Submersible Pump SP(17 -17 )                        As per annex 1 technical specifications
	4
	
	

	3. 
	Submersible Pump SP(30 -20 )                                     As per annex 1 technical specifications
	4
	
	

	4. 
	Submersible Pump SP(30 -15 )                           As per annex 1 technical specifications 
	5
	
	

	5. 
	Submersible Pump SP(30 -10 )                             As per annex 1 technical specifications
	4
	
	

	6. 
	Submersible Pump SP(46 -15 )                               As per annex 1 technical specifications
	4
	
	

	7. 
	Submersible Pump SP(46 -10 )                              As per annex 1 technical specifications
	4
	
	

	8. 
	Supply of flexible power cable (3*6)mm  As per annex 1 technical specifications
	[bookmark: _GoBack]1500 
	
	

	9. 
	Supply of flexible power cable (3*10)mm As per annex 1 technical specifications
	1500 
	
	

	10. 
	Supply of flexible power cable (3*16)mm As per annex 1 technical specifications
	1500 
	
	

	11. 
	Submersible motor 7.5 KW                                     As per annex 1 technical specifications
	6
	
	

	12. 
	Submersible motor 11 KW                                     As per annex 1 technical specifications
	20
	
	

	13. 
	Submersible motor 15 KW                                    As per annex 1 technical specifications
	20
	
	

	14. 
	Submersible motor 18.5 KW                              As per annex 1 technical specifications
	10
	
	

	15. 
	Submersible motor 22 KW                              As per annex 1 technical specifications
	10
	
	

	16. 
	Submersible motor 30 KW                                       As per annex 1 technical specifications
	2
	
	

	17. 
	Control panel 7.5 kw                                         As per annex 1 technical specifications
	4
	
	

	18. 
	Control panel 11 kw                                                 As per annex 1 technical specifications
	5
	
	

	19. 
	Control panel 15 kw                                        As per annex 1 technical specifications
	5
	
	

	20. 
	Control panel 18.5 kw                                        As per annex 1 technical specifications
	5
	
	

	21. 
	Control panel 22 kw                                               As per annex 1 technical specifications
	4
	
	

	22. 
	Control panel 30 kw                                                 As per annex 1 technical specifications
	2
	
	

	
	TOTAL (USD)
	

	DELIVERY TIME:
(Please indicate your shortest delivery time)
	




Remarks
· All Items Should Be delivered to Water directorate warehouse /Iraq/ Duhok .
· Certification of origin for all offered items should be provided before delivery.
· Submit Manufacturer certification report for all offered items should be provided before delivery.
· Catalogues and tech. specifications should be provided with offers.
· All standard accessories for all offered items should be provided.

2 | Page
image1.png
Deutsche Gesellschaft
fur Internationale
Zusammenarbeit (GIZ) GmbH




