| Submersible Pump and Motor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | GOODS /DESCRIPTIONS |  | QUANTITY | UNIT PRICE (USD) | TOTAL PRICE (USD) |
|  | Submersible Pump SP(8A -37 ) As per annex 1 technical specifications |  | 3 |  |  |
|  | Submersible Pump SP(17 -17 ) As per annex 1 technical specifications |  | 4 |  |  |
|  | Submersible Pump SP(30 -20 ) As per annex 1 technical specifications |  | 4 |  |  |
|  | Submersible Pump SP(30 -15 ) As per annex 1 technical specifications |  | 5 |  |  |
|  | Submersible Pump SP(30 -10 ) As per annex 1 technical specifications |  | 4 |  |  |
|  | Submersible Pump SP(46 -15 ) As per annex 1 technical specifications |  | 4 |  |  |
|  | Submersible Pump SP(46 -10 ) As per annex 1 technical specifications |  | 4 |  |  |
|  | Supply of flexible power cable (3*6)mm As per annex 1 technical specifications |  | 1500 |  |  |
|  | Supply of flexible power cable (3*10)mm As per annex 1 technical specifications |  | 1500 |  |  |
|  | Supply of flexible power cable (3*16)mm As per annex 1 technical specifications |  | 1500 |  |  |
|  | Submersible motor 7.5 KW As per annex 1 technical specifications |  | 6 |  |  |
|  | Submersible motor 11 KW As per annex 1 technical specifications |  | 20 |  |  |
|  | Submersible motor 15 KW As per annex 1 technical specifications |  | 20 |  |  |
|  | Submersible motor 18.5 KW As per annex 1 technical specifications |  | 10 |  |  |
|  | Submersible motor 22 KW As per annex 1 technical specifications |  | 10 |  |  |
|  | Submersible motor 30 KW As per annex 1 technical specifications |  | 2 |  |  |
|  | Control panel 7.5 kw As per annex 1 technical specifications |  | 4 |  |  |
|  | Control panel 11 kw As per annex 1 technical specifications |  | 5 |  |  |
|  | Control panel 15 kw As per annex 1 technical specifications |  | 5 |  |  |
|  | Control panel 18.5 kw As per annex 1 technical specifications |  | 5 |  |  |
|  | Control panel 22 kw As per annex 1 technical specifications |  | 4 |  |  |
|  | Control panel 30 kw As per annex 1 technical specifications |  | 2 |  |  |
|  |  |  |  | TOTAL (USD) |  |
| DELIVERY TIME: (Please indicate your shortest delivery time) |  |  |  |  |  |

Remarks

- All Items Should Be delivered to Water directorate warehouse /Iraq/ Duhok .

- Certification of origin for all offered items should be provided before delivery.

- Submit Manufacturer certification report for all offered items should be provided before delivery.

- Catalogues and tech. specifications should be provided with offers.

- All standard accessories for all offered items should be provided.