Norwegian Refugee Council (NRC)- IRAQ

Supply, Installation and Maintenance of Electrical Equipment for IDPs Camps in BzBz and Amiryat Al-Faluja (AAF)

Baghdad 02nd May 2018

Our reference: ITB-BAG 013/5/2018

##### SUBJECT: INVITATION TO TENDER

Dear Mr/Ms

Following your enquiry regarding the publication of the above-mentioned invitation to tender, please find enclosed the following documents, which constitute the tender dossier.

Any request for clarification must be received by NRC in writing at least 2 working days before the deadline for submission of tenders. NRC will reply to bidders' questions at least 1 working day before the deadline for submission of tenders.

Costs incurred by the bidder in preparing and submitting the tender proposals will not be reimbursed.

We look forward to receiving your tender at the address specified in the Instructions to Bidders before 01:00 PM 13th May 2018 as stated in the procurement notice.

If you decide not to submit a tender, we would be grateful if you could inform us in writing, stating the reasons for your decision.

Yours sincerely,

NRC Logistics Team

This ITB document contains the following:

- This cover Letter

- Section 2: Bid Data sheet

- Section 3: NRC Invitation to bid general terms & condition

- Section 4: Technical description of the Bid

- Section 5: Bidding form

- Section 6: Work Schedule

- Section 7: Company Profile and Previous Experience

- Section 8: Bill of Quantities

- Section 9: Suppliers Ethical Standards Declaration

- ANNEX A: Technical Drawings

SECTION 2

Bid Data Sheet

- BACKGROUND DATA

Supply, Installation and Maintenance of Electrical Equipment for IDPs Camps in BzBz and Amiryat Al-Faluja (AAF)

This bid is issued by Norwegian Refugee Council - NRC office in Iraq. Any correspondence can be addressed to the following email address: iq.baghdad.procurment@nrc.no

- SCOPE OF WORK

| Reference No | Country | Location | Work Description |
| --- | --- | --- | --- |
| ITB-BAG 013/5/2018 | Iraq | Amariyat Al-Faluja and BzBz | Supply, installation and maintenance of electrical equipment in AAF and BzBz Camps |

Please refer to the technical specifications, drawings, and BOQs for more details.

MAXIMUM TIME-FRAME FOR COMPLETION OF WORKS: The overall schedule for works for each contract must be completed in less than 30 days. However, you are expected to prepare a schedule to complete the works within the 30 days’ duration. Failure to submit schedule might result in your exclusion from the process.

- SCHEDULE & DEADLINE FOR SUBMISSION

The deadline for submission of bids is 01:00 PM on Sunday 13th May 2018. Late bids will not be accepted.

|  | DATE | TIME* |
| --- | --- | --- |
| Invitation to Bid release | 02nd May 2018 |  |
| Deadline for request for any clarifications from NRC | 08th May 2018 | 12:00 PM |
| Last date on which clarifications are issued by NRC | 09th May 2018 | 12:00 PM |
| Deadline for submission of tenders (receiving date, not sending date) | 13th May 2018 | 01:00 PM |

* All times are in the local time of Baghdad

Please note all dates are provisional dates and NRC reserves the right to modify this schedule.

- MANNER OF SUBMISSION:

Please submit your bids in accordance with the requirements in sealed bids not later than Sunday 13th of

# May 2018 at 13h00 at NRC Baghdad Office in the TENDER BOX

- ASSESSMENT CRITERIA

# Award of the contract(s) will be based on the following:

# Step 1: Administrative compliance check

# Bidders must provide evidence of the following for their bid to be considered compliant:

- Sections 5-9 completed, signed and stamped

- Bidder has included a copy of their valid business licence.

# Step 2: Technical Evaluation

# A Technical Evaluation of all bids received will be conducted to shortlisted bidders. Criteria that will be used to evaluate and score the bids are outlined in Section 3, Clause 26

# Step 3: Financial Evaluation

# Price in comparison to NRC established expectation and in comparison to other bidders of comparable technical quality

يرجى ارسال المغلفات محكومة الاغلاق ومختومة قبل ألساعة  الواحده من يوم ألأحد الموافق 13-05-2018ألى مكتب أن أر سى بغداد

يكتب فقط على خارج المغلف

Supply, Installation and maintenance of electrical equipment in IDPs camps in BzBz and AAF, ITB-BAG-013/05/2018

For more details about the submission, please call logistics team at 0773531854 or send an email to iq.baghdad.procurment@nrc.no.

SECTION 3

NRC Invitation to bid - General Terms & Conditions

- SCOPE OF BID

  - The bid is based on the scope of the assignment as determined in the Bid Data Sheet (Section 2). The instruction to bidders should be read in conjunction with the Bid Data Sheet.

  - The successful Bidder will be expected to complete the assignment by the Intended Completion Date specified in the contract to be signed

- CORRUPT PRACTICES

  - Norwegian Refugee Council requires Employees, Bidders and Contractors, to observe standards of ethics during procurement and the execution of contracts. In pursuit of this, Norwegian refugee Council defines, for the purposes of this provision, the terms set forth below as follows:

  - “Corrupt practice” includes the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and

  - “Fraudulent practice” includes a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Norwegian Refugee Council, and includes collusive practices among Bidders prior to or after bid submission designed to establish bid prices at artificial, non-competitive levels and to deprive the Norwegian Refugee Council of the benefits of free and open competition;

  - In any case where fraud or corruption is identified, NRC will:

- reject any bids where the Bidder has engaged in corrupt or fraudulent practices in competing for the Contract;

- remove bidding contractors who engage in fraudulent or corrupt practices, from our prequalified list

- liaise with District Officials to report if fraudulent or corrupt practices are identified

- terminate works

  - Any communications between a Bidder and the Norwegian Refugee Council related to matters of alleged fraud or corruption must be made in writing and addressed to the Country Director in Iraq

- ELIGIBLE BIDDERS

  - A Bidder shall meet the following criteria to be eligible to participate in NRC procurement of Works:

- the bidder, at the time of bid, is not:

    - insolvent;

    - in receivership;

    - bankrupt; or

    - being wound up

- the bidder’s business activities have not been suspended;

- the bidder is not the subject of legal proceedings for any of the circumstances in (b); and

- The bidder has fulfilled his or her obligations to pay taxes and social security contributions. In a case where VAT is included in a bid, a copy of the VAT certificate must accompany the bid. A Bidder, and all parties constituting the Bidder including sub-contractors, shall not have a conflict of interest. All Bidders found to have a conflict of interest shall be disqualified. A Bidder may be considered to have a conflict of interest with one or more parties in this bidding process, if they have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about or influence on the bid of another Bidder, or influence the decisions of the Norwegian Refugee Council regarding this bidding process

  - A Bidder whose circumstances in relation to eligibility change during a procurement process or during the execution of a contract shall immediately inform the Norwegian Refugee Council.

  - NRC reserves the right to refuse a bid at any time if the bidder or one of its sub-contractors provided material support or resources to any individual or entity that commits, attempts to commit, advocates, facilitates, or participates or is found guilty of fraud, active corruption, collusion, coercive practice, bribery, involvement in a criminal organization or illegal activity, or immoral human resources practices, including but not limited to: child labour, non-discrimination, freedom of association, payment of the legal national minimum wage,  and forced labour.

- JOINT VENTURES, CONSORTIA AND ASSOCIATIONS

Bids submitted by a joint venture, consortium or association of two or more firms as partners will only be accepted in exceptional circumstances.

- ONE BID PER BIDDER PER WORK

Each Bidder shall submit only one Bid per contract. A Bidder who submits or participates in more than one bid per contract will cause all the bids with the Bidder’s participation to be rejected.

- COST OF BIDDING

The Bidder shall bear all costs associated with the preparation and submission of his Bid, and the Norwegian Refugee Council shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

- SITE VISIT

The Bidder, at the Bidder’s own responsibility and risk, is encouraged to visit and examine the Site of Works and its surroundings and obtain all information that may be necessary for preparing the bid and entering into a contract for construction of the Works. The costs of visiting the Site shall be at the Bidder’s own expense.

- INSPECTION

NRC is obliged to ensure that its procurement decisions are clearly justified and documented and keeping within the Donors mandatory principles. In that regard, full and on-the-spot access must be granted to representatives of NRC, the Donor or any organisation or person mandated by it, to premises belonging to NRC or its contractors. The right to access shall include all documents and information necessary to assess, or audit the implementation of the contract

- OBTAINING AND COMPLETING BIDDING DOCUMENTS

  - Bidders who did not obtain the Bidding Document directly from the Norwegian Refugee Council will be rejected during evaluation. Where a Bidding Document is obtained from the Norwegian Refugee Council on a Bidder’s behalf, the Bidder’s name must be registered with the Norwegian Refugee Council at the time of issue.

  - The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Document. Failure to furnish all information or documentation required by the Bidding Document may result in the rejection of the bid.

- CLARIFICATION OF BIDDING DOCUMENT

A prospective Bidder requiring any clarification of the Bidding Document shall contact the Norwegian Refugee Council in writing. The Norwegian Refugee Council will respond in writing to any request for clarification before the deadline for clarification of bids. The Norwegian Refugee Council shall forward copies of its response to all Bidders who have acquired the Bidding Document, including a description of the inquiry but without identifying its source.

- AMENDMENT OF BIDDING DOCUMENT

  - At any time prior and until 48 hours prior to the deadline for submission of bids, the Norwegian Refugee Council may amend or cancel the Bidding Document by informing the bidders in writing.

  - To give prospective Bidders reasonable time in which to take an amendment or cancellation into account in preparing their bids, the Norwegian Refugee Council can, at his discretion, extend the deadline for the submission of bids.

- LANGUAGE OF BID

  - The bid, as well as all correspondence and documents relating to the bid shall be written in English.

  - Supporting documents and printed literature that are part of the bid may be in another language provided they are accompanied by an accurate translation of the relevant passages in English, in which case, for purposes of interpretation of the Bid, such translation shall govern.

- DOCUMENTS COMPRISING THE BID

  - The bid submitted by the Bidder shall comprise the following:

- Signed and stamped Contractor’s Biding form in Section 5

- Any other information and documents requested in Section 4.

- Service provision Schedule (as in Section 6)

- Company Profile and Previous experience (as in Section 7)

- Service Description and Pricing Proposal (as in Section 8)

- Signed and stamped Supplier Ethical Standards Declaration (as in Section 9)

  - All forms must be completed without any alterations to the format, and no substitutes shall be accepted. All blank spaces shall be filled in with the information requested.

- BID PRICE FOR WORKS CONTRACT

  - Bid prices are for complete contracts. Contracts cannot be subdivided into pieces. Where a bid is submitted, all relevant BoQ must be completed. The bid is divided into two lots, all bidders are requested to bid for all lots. NRC has the right to award one or all lots according to budget availability to submitted bids.

  - The Bidder shall fill in rates and prices for all items of the Works/supply or service described in the BoQ, Items for which no rate or price is entered by the Bidder will not be paid for by the Norwegian Refugee Council when executed and shall be deemed covered by the other rates and prices in the BoQ.

  - Unless otherwise specified in the Bid Data Sheet, all duties, taxes and other levies payable by the contractor under the contract, shall be included in the total bid price submitted by the bidder.

  - For bidder subject to VAT, VAT should be mentioned in the offers

  - The priced Bill of Quantities submitted by any Bidder shall be checked for arithmetical errors and for what might be considered unreasonable rates during the evaluation. Where errors are identified one or more of the following steps may be taken:

- If any rates are considered to be unrealistic or unreasonable they may be altered by mutual agreement, provided that no alteration shall be made in the amount of the Bid.

- If any arithmetical errors are detected in an otherwise acceptable bid, and the Bidder, on being so notified, is prepared to confirm his bid and if the Bidder is subsequently awarded the contract, then the Bid shall be altered to reflect the difference.

- The Bidder is reminded that it is entirely his responsibility to ensure the accuracy of his bid. No alteration will be made to the bid after its submission on the grounds of any arithmetical errors subsequently discovered except as provided above.

- CURRENCIES OF BID AND PAYMENT

All prices shall be quoted by the Bidder in Iraqi Dinar (IQD) unless otherwise stated. Similarly, all payments will be made in Iraqi Dinar (IQD).

- BID VALIDITY

  - Bids shall remain valid for a period of 60 calendar days after the date of the bid submission deadline as prescribed by Norwegian Refugee Council. A bid valid for a shorter period shall be rejected as non-compliant.

  - In exceptional circumstances, prior to the expiration of the bid validity period, the Norwegian Refugee Council may request Bidders in writing to extend the period of validity of their bids. A Bidder must confirm in writing his acceptance of the extension. In case of extension, modification of the bid is not permitted.

- ALTERNATIVE BIDS

Bidders shall submit offers that comply with the requirements of the bidding documents, including the basic technical specifications described in BoQ. Alternative bids shall not be considered unless otherwise indicated in Section 2 – the Bid Data Sheet.

- FORMAT AND SIGNING OF BID

The Bidder shall prepare one set of bid documents per contract that he wishes to bid for. The bidder should hold a copy of the documents with himself, for reference purposes.

- SEALING AND MARKING OF THE BID

  - The Bidder shall enclose the bid for each contract in a plain envelope securely sealed

  - The envelopes shall:

  - be addressed to the Logistics Office, Norwegian Refugee Council, in the location specified in Section 2 – the Bid Data Sheet

  - bear the Contract number

  - no other markings should be on the envelope

  - If all envelopes are not sealed and marked as required, the Norwegian Refugee Council will reject the bid

- DEADLINE FOR SUBMISSION OF BIDS

Bids must be received by the Norwegian Refugee Council at the address given and no later than the date and time indicated in Section 2 - the Bid Data Sheet.

- LATE BIDS

The Norwegian Refugee Council shall not consider any bid that arrives after the deadline for submission as stipulated in Section 2 – the Bid Data Sheet. Any bid received by the Norwegian Refugee Council after the deadline for submission of bids shall be declared late and rejected.

- WITHDRAWAL AND REPLACEMENT OF BIDS

  - A Bidder may withdraw or replace its bid after it has been submitted at any time before the deadline for submission of bids by sending a written notice, signed by an authorized representative. Any corresponding replacement of the bid must accompany the respective written notice. All notices must be:

- submitted as with Clauses 20 and 21, and in addition, the envelopes shall be clearly marked “WITHDRAWAL” or “REPLACEMENT” and

- received by the Norwegian Refugee Council prior to the deadline for submission of bids, in accordance with Section 2 – the Bid Data Sheet

  - After the opening of bids, modifications to bids must be documented and any discussions reported in writing. A bid may be withdrawn at any stage, with written notice.

- CONFIDENTIALITY

  - Information relating to the examination, evaluation, comparison, and post-qualification of bids, and recommendation of contract award, shall not be disclosed to bidders or any other persons not officially concerned with such process until information detailing the best evaluated Bidder is communicated to all Bidders.

  - Any effort by a Bidder to influence the Norwegian Refugee Council in the examination, evaluation, comparison, and post-qualification of the bids or contract award decisions may result in the rejection of its bid.

  - From the time of bid opening to the time of Contract award, if any Bidder wishes to contact the Norwegian Refugee Council on any matter related to the bidding process, it should do so in writing.

- CLARIFICATION OF BIDS

Norwegian Refugee Council may, at its discretion, ask any Bidder for a clarification of its Bid. The Norwegian Refugee Council’s request for clarification and the response shall be in writing. Any clarification submitted by a Bidder that is not in response to a request by the Norwegian Refugee Council shall not be considered. All requests for clarifications shall be copied to all bidders for information purposes.  No change in the price or substance of the bid shall be permitted, except to confirm the correction of errors.

- BIDS VALIDATION

  - The Norwegian Refugee Council’s determination of a Bid’s validity is to be based on the contents of the bid itself, which cannot be corrected if determined to be invalid

  - A valid bid is one that complies with all the terms, conditions, and specifications of the Bidding Document, without deviation or omission, which affects, or could affect;

- the scope, quality, or performance of the Works specified in the Contract; or

- limits in any substantial way, the Norwegian Refugee Council’s rights or the Bidder’s obligations under the Contract

- EVALUATION OF BIDS

  - The Norwegian Refugee Council shall examine the legal documentation and other information submitted by Bidders to verify eligibility, and then will review and score bids according to the following criteria;

- Completion and inclusion of requested information and supporting documents (Administrative compliance)

- Price in comparison to NRC estimated rate (Financial evaluation)

- Overall timeframe for the works (Technical evaluation)

- Schedules (Key Personnel and Activity schedule) (Technical evaluation)

- Bill of Quantities (Financial & Technical evaluation)

- Previous experiences in similar works in the past 5 years (Technical evaluation)

  - In case of two contractors being scored the same in the evaluation, the one with the highest technical ranking will be awarded the contract

  - Anti-money laundering, anti-bribery, anti-corruption and anti-terrorism legislation applicable in some jurisdictions may require NRC to verify the identity of the bidder prior to financial transactions. NRC reserves the right to use online screening tools to check the bidder’s record with regards to their possible involvement in illegal or unethical practices.

  - Norwegian Refugee Council reserves the right to reject all bids, and re-tender if no satisfactory bids are submitted

- AWARD PROCEDURE

  - The Norwegian Refugee Council shall award the Contract in writing, with an award letter, to the Bidder whose offer has been determined to be the best, before the end of the bid validity period

  - Any bidder who has not been awarded a contract, will be notified in writing

  - Until a formal contract is prepared and executed, the Award Letter shall constitute a binding agreement between the bidder and NRC.

  - The Award Letter will state the sum that the Norwegian Refugee Council will pay the Contractor in consideration of the Works as prescribed in the Contract, and in accordance with the Bid.

  - The Bidder is thereafter required to submit a Letter of Acceptance, confirming their wish to proceed with a contract.

- SIGNING OF CONTRACT

  - Upon receipt of the Letter of Acceptance, the Norwegian Refugee Council shall call the successful Bidder to sign the Contract.

  - The successful contractor must provide a Performance Guarantee of 5% of total contract amount in the form of a bank guarantee prior of signing the contract.

  - Within an agreed timeframe, the successful Bidder shall sign, date, and return the Contract to the Norwegian Refugee Council.

- CONTRACT

  - The Contractor-to-be will comply with a Works Contract, which will foresee, among others, the following commitments:

- Non-exploitation of child labour and respect of basic social rights and working conditions (including security regulations and insurance for labour);

- Provide transport, with insurance coverage for the materials, up to the warehouse and construction sites;

- Accomplish the works, according to the required quantities and technical specifications indicated in the Bill of Quantities and Technical Drawings (SECTIONS 7 and 8), within the proposed timeframe

- SUB CONTRACTING

Please be advised that subcontracting is not permitted. Bidders must have the capacity to complete the works themselves.

SECTION 4: BIDDING FORM

Please provide information against each requirement.

Additional rows can be inserted for all questions as necessary. If there is insufficient space to complete your answer in the space provided, please include on a separate attachment with a reference to the question.

- Bidder’s general business details

- General information

| Company name: |  |
| --- | --- |
| Any other trading names of company: |  |
| Registered name of company (if different): |  |
| Nature of primary business/trade: |  |
| Primary contact name: |  |
| Job title: |  |
| Phone: |  |
| Email: |  |
| Registered Address: |  |
| Business licence number: |  |
| Country of registration |  |
| Registration date: |  |
| Expiry date: |  |
| Legal status of company (eg. partnership, private limited company, etc.) |  |

- Owners/Managers

Please fill in the below table with the full names and the year of birth of the company’s owner(s) and manager(s)*:

| Full name | Year of birth |
| --- | --- |

* Please note this information is necessary in order to conduct the vetting procedure referred to in clause 25 of the 	Invitation to Bid-General Terms and Conditions.

- Employees

Please list the employees who would be involved with NRC in the event of contract award:

| Employee name | Job title | Role on NRC project | Phone | Email |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| … |  |  |  |  |

- Company bank account details:

| Beneficiary name: |  |  |
| --- | --- | --- |
| Beneficiary account no.: |  |  |
| Beneficiary Bank: |  |  |
| Bank branch: |  |  |
| SWIFT: |  |  |
| IBAN: |  |  |
| Bank address: |  |  |

- References

Please provide details of at least 3 client references whom NRC may contact, preferably from NGOs and UN agencies, for similar related works:

| Client/company name | Contact person | Phone | Email | Contract details (works, location, size, value, etc) |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| … |  |  |  |  |

- Equipment

Please provide details of any relevant machinery/equipment/vehicles owned by the company that would potentially be used for construction: (do not mention rented items):

| Type of machinery/ equipment/ vehicles | Quantity |
| --- | --- |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |
| 6. |  |
| … |  |

- Defects Liability/Guarantee Period

Defects Liability/Guarantee Period

NRC are seeking suppliers who can guarantee the works for 6 months and are able to provide a 5% performance bank guarantee on each purchase order.

- In the event of contract award, please confirm you are able to guarantee the works for a period of six months.

- Yes

- No

- Bid Validity

Please confirm the validity of your bid below (in calendar days):

- Confirmation of Bidder’s compliance

We, the Bidder, hereby certify that our tender is a genuine offer and intended to be competitive and we confirm we are eligible to participate in public procurement and meet the eligibility criteria specified in the Invitation to Bid. We confirm that the prices quoted are fixed and firm for the duration of the validity period and will not be subject to revision or variation.

The following documents are included in our Bid: (please indicate which documents are included by ticking the boxes below).

| Documents | included |
| --- | --- |
| Section 5: Bidding form; completed, signed and stamped | ☐ |
| Section 6: Work Schedule; completed, signed and stamped | ☐ |
| Section 7: Company Profile and Previous Experience; completed, signed and stamped | ☐ |
| Section 8: Pricing Proposal; completed, signed and stamped | ☐ |
| Section 9: Supplier’s ethical standards declaration; completed, signed and stamped | ☐ |
| Copy of valid business licence | ☐ |

We understand that NRC is not bound to accept the lowest, or indeed any bid, received.

We agree that NRC may verify the information provided in this form itself or through a third party as it may deem necessary.

We confirm that NRC may in its consideration of our offer, and subsequently, rely on the statements made herein.

| Name of Signatory: | Tel N°: |
| --- | --- |
| Title of Signatory: | Name of Company: |
| Signature & stamp: | Date of Signing: |
|  | Address: |

SECTION 5

Work Schedule

Attach the work schedule here:

Schedule to include:

      - Duration of each sub-activity

      - Total duration of the works

| # | Activity | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Week 6 | Week 7 | Week 8 | Week 9 | Week 10 | Week … |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |

3. Detailed list of proposed Personnel/Manpower involved in the activities (e.g. engineers, site supervisors, foremen, masons, carpenters, plumbers, unskilled labors, etc.) with an estimate of the total man-day completed by each of the skills.

The Submission of the Manpower shall follow the below simple format:

| # | Proposed Personnel/Manpower | # of workers allocated to this project |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| … |  |  |

NOTE: The list shouldn’t be limited to this Form in regards to the number of proposed Key Personnel.

A comprehensive list has to be submitted adapting the Form to the necessary rows.

SECTION 6

COMPANY PROFILE AND PREVIOUS EXPERIENCE

The Bidder is requested to:

- Submit the Company Profile

- Complete the following Previous Experience Table listing the work or contracts undertaken in the past 5 years similar to the works required under this contract

- Submit evidences of underway and previous experience in form of Contracts, Completion Certificates, Handover Documents etc.

| # | Name of Project / Type of work | Total value of the performed works (.....) | Duration of the works contract | Starting date | Ending date | Contracting Authority and Place |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| … |  |  |  |  |  |  |

NOTE: The list shouldn’t be limited to this Form in regards to the number of works reported. A comprehensive list of the last 5 years’ experience has to be submitted adapting the Form to the necessary rows. Bidders who fails to submit supporting documentation as proof for previous and underway works may be excluded from the tender process.

NRC may conduct reference checks for previous contracts completed

SECTION 8

BILL OF QUANTITIES

Preamble to Bill of Quantities

- The BoQ is divided into two lots. Bidders are requested to apply for all lots, NRC has the faculty to contract all or lots of the requested supply and works according to budget availability.

# The supply and works should be the best available in the market;

# The Bidder must submit supporting documents concerning the proposed construction materials and works (i.e. catalogues, models, brands, drawings, technical documentation, technical specifications, etc. of the offered items); failure to submit supporting documents might result in bidder to be excluded from the evaluation process.

# All the materials to supply and the works to execute must be approved by the NRC Representative, prior to delivery and execution.

# Costs must include all duties, taxes and other levies payable by the contractor under the contract and all mobilization costs specified in section 3.

# Lot 1:  Amiryat Al-Faluja (AAF) IDP Camps (13-17-32)

| الرقم | وصف العمل | الوحدة | الكمية | سعر الوحدة لكل فقرة بالدينار | المجموع لكل فقرة بالدينار | بلد المنشأ للمواد المستخدمة | وصف العمل | الرقم |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Work description | unit | Quantity | Unit price IQD | Total per item In IQD | Country of origin for materials | Work description | No. |
| 1 | Supply and install, a square column for electric cables, using square steel pipe 4 * 4 inch, 2 mm thickness, and a height of 6 meters. Should be welded with square steel pipe 2 * 2 inch, 25 cm length, 2 mm thickness, U-shaped (the end of each one should be closed by rubber plug to prevent rainwater entry), the column's bottom should be welded with two square steel pipes 1 inch, 1.5 mm thickness and 15 cm length, to joint the column with concrete, all parts should be painted with two coats of red oxide paint according to the Engineer instructions.AA17 | NO | 40 |  |  |  | تجهيز وتثبيت اعمدة حاملة لكيبلات الكهرباء: باستخدام انبوب حديدي مربع قياس 4*4 انج سمك 2ملم وارتفاع 6 متر يتم اللحام معه انبوب حديدي مربع 2*2 انج سمك 2ملم ويكون على شكل حرف U (باللغة الانكليزية) (نهاية كل مقطع يجب أن يكون مغلق بسدادة مطاطية لمنع دخول مياه الأمطار) . ويتم لحام مع العمود من الاسفل انبوب حديدي مربع عدد 2 قياس 1 انج وسمك 1.5 ملم وبطول 15 سم لزيادة ربط العمود بالكونكريت وعلى ان تكون جميع الاجزاء مصبوغة بشكل جيد بمادة مانع الصدأ وحسب توجيهات المهندس | 1 |
| 2 | Excavate and fix the columns: the bases of columns with dimensions of 40 * 40 cm and a depth of 75 cm, fill it with a concrete (resistant cement), the cement should be about 200 kg per cubic meter.AA14 | NO | 45 |  |  |  | حفر وصب وتثبيت اعمدة : قواعد الاعمدة بأبعاد 40*40 سم وبعمق 75 سم وتملئ بمادة الكونكريت (اسمنت المقاوم للاملاح) على ان تكون كمية الاسمنت في المتر المكعب الواحد 200 كيلوغرام | 2 |
| 3 | Supply materials, install, connect, test and operate electricity cable (twisted) 4X70mm² XLPE, the work includes supply and install all the necessary accessories to complete the work according to the engineer's instructions.AA17 | ML | 125 |  |  |  | تجهيز وتثبيت وربط وتجربة وتشغيل كيبل ظفيرة (4*70) ملم2 XLPE ويتضمن العمل كافة الملحقات المطلوبة لاكمال العمل حسب توجيهات المهندس المشرف | 3 |
| 4 | Supply materials, install, connect, test and operate electricity cable 16*4 mm², to connect between the main twisted cable and the SDB, the work include supply and install all the nessecery acceceries to complete the work according to the engineers instructions.AA17 | ML | 950 |  |  |  | تجهيز وربط وتشغيل كيبل 16x4 ملم2 يربط بين كيبل الظفيرة وقاطع الدورة ويتضمن العمل تجهيز كل المواد المطلوبة للعمل حسب توجيهات المهندس المشرف | 4 |
| 5 | Supply and install plastic electric power board (capacity of 10 numbers) with a main circuit breaker of (100) amp, connect it to the secondary circuit breaker(20) amp, using all equipment to complete the work properly.AA17 | NO | 40 |  |  |  | تجهيز وتركيب لوح بلاستيكي (بورد) كهربائي (سعة 10 قواطع) مع قاطع دائرة رئيسي (100) أمبير، وتوصيله إلى قواطع الدائرة الثانوية (15) امبير، وذلك باستخدام جميع المعدات لإكمال العمل بشكل صحيح. | 5 |
| 1 | Supply and install, a square column for electric cables, using square steel pipe 4 * 4 inch, 2 mm thickness, and a height of 6 meters. Should be welded with square steel pipe 2 * 2 inch, 25 cm length, 2 mm thickness, U-shaped (the end of each one should be closed by rubber plug to prevent rainwater entry), the column's bottom should be welded with two square steel pipes 1 inch, 1.5 mm thickness and 15 cm length, to joint the column with concrete, all parts should be painted with two coats of red oxide paint according to the Engineer instructions.AA13 | NO | 30 |  |  |  | تجهيز وتثبيت اعمدة حاملة لكيبلات الكهرباء: باستخدام انبوب حديدي مربع قياس 4*4 انج سمك 2ملم وارتفاع 6 متر يتم اللحام معه انبوب حديدي مربع 2*2 انج سمك 2ملم ويكون على شكل حرف U (باللغة الانكليزية) (نهاية كل مقطع يجب أن يكون مغلق بسدادة مطاطية لمنع دخول مياه الأمطار) . ويتم لحام مع العمود من الاسفل انبوب حديدي مربع عدد 2 قياس 1 انج وسمك 1.5 ملم وبطول 15 سم لزيادة ربط العمود بالكونكريت وعلى ان تكون جميع الاجزاء مصبوغة بشكل جيد بمادة مانع الصدأ وحسب توجيهات المهندس | 1 |
| 2 | Excavate and fix the columns: the bases of columns with dimensions of 40 * 40 cm and a depth of 75 cm, fill it with a concrete (resistant cement), the cement should be about 200 kg per cubic meter.AA13 | NO | 30 |  |  |  | حفر وصب وتثبيت اعمدة : قواعد الاعمدة بأبعاد 40*40 سم وبعمق 75 سم وتملئ بمادة الكونكريت (اسمنت المقاوم للاملاح) على ان تكون كمية الاسمنت في المتر المكعب الواحد 200 كيلوغرام | 2 |
| 3 | Supply materials, install, connect, test and operate electricity cable (twisted) 4X50mm² XLPE, the work includes supply and install all the necessary accessories to complete the work according to the engineer's instructions.AA13 | ML | 265 |  |  |  | تجهيز وتثبيت وربط وتجربة وتشغيل كيبل ظفيرة (4*70) ملم2 XLPE ويتضمن العمل كافة الملحقات المطلوبة لاكمال العمل حسب توجيهات المهندس المشرف | 3 |
| 4 | Supply and install of plastic electric power board (capacity of 10 numbers) with a main circuit breaker of (100) amp, connect it to the secondary circuit breaker(20) amp, using all equipment to complete the work properly.AA13 | NO | 25 |  |  |  | تجهيز وتركيب لوح بلاستيكي (بورد) كهربائي (سعة 10 قواطع) مع قاطع دائرة رئيسي (100) أمبير، وتوصيله إلى قواطع الدائرة الثانوية (15) امبير، وذلك باستخدام جميع المعدات لإكمال العمل بشكل صحيح. | 4 |
| 1 | Supply and install, a square column for electric cables, using square steel pipe 4 * 4 inch, 2 mm thickness, and a height of 6 meters. Should be welded with square steel pipe 2 * 2 inch, 25 cm length, 2 mm thickness, U-shaped (the end of each one should be closed by rubber plug to prevent rainwater entry), the column's bottom should be welded with two square steel pipes 1 inch, 1.5 mm thickness and 15 cm length, to joint the column with concrete, all parts should be painted with two coats of red oxide paint according to the Engineer instructions.AAF32 | NO | 70 |  |  |  | تجهيز وتثبيت اعمدة حاملة لكيبلات الكهرباء: باستخدام انبوب حديدي مربع قياس 4*4 انج سمك 2ملم وارتفاع 6 متر يتم اللحام معه انبوب حديدي مربع 2*2 انج سمك 2ملم ويكون على شكل حرف U (باللغة الانكليزية) (نهاية كل مقطع يجب أن يكون مغلق بسدادة مطاطية لمنع دخول مياه الأمطار) . ويتم لحام مع العمود من الاسفل انبوب حديدي مربع عدد 2 قياس 1 انج وسمك 1.5 ملم وبطول 15 سم لزيادة ربط العمود بالكونكريت وعلى ان تكون جميع الاجزاء مصبوغة بشكل جيد بمادة مانع الصدأ وحسب توجيهات المهندس | 1 |
| 2 | Excavate and fix the columns: the bases of columns with dimensions of 40 * 40 cm and a depth of 75 cm, fill it with a concrete (resistant cement), the cement should be about 200 kg per cubic meter.AAF32 | NO | 70 |  |  |  | حفر وصب وتثبيت اعمدة : قواعد الاعمدة بأبعاد 40*40 سم وبعمق 75 سم وتملئ بمادة الكونكريت (اسمنت المقاوم للاملاح) على ان تكون كمية الاسمنت في المتر المكعب الواحد 200 كيلوغرام | 2 |
| 3 | Supply materials, install, connect, test and operate electricity cable (twisted) 4X95 mm² XLPE, the work includes supply and install all the necessary accessories to complete the work according to the engineer's instructions.AAF32 | ML | 155 |  |  |  | تجهيز وتثبيت وربط وتجربة وتشغيل كيبل ظفيرة (4*95) ملم2 XLPE ويتضمن العمل كافة الملحقات المطلوبة لاكمال العمل حسب توجيهات المهندس المشرف | 3 |
| 4 | Supply materials, install, connect, test and operate electricity cable (twisted) 4X50 mm² XLPE, the work includes supply and install all the necessary accessories to complete the work according to the engineer's instructions.AAF32 | ML | 435 |  |  |  | تجهيز وتثبيت وربط وتجربة وتشغيل كيبل ظفيرة (4*50) ملم2 XLPE ويتضمن العمل كافة الملحقات المطلوبة لاكمال العمل حسب توجيهات المهندس المشرف | 4 |
| 5 | Supply materials, install, connect, test and operate electricity cable 16*2 mm², to connect between the main twisted cable and the SDB, the work include supply and install all the nessecery acceceries to complete the work according to the engineers instructions.AAF32 | ML | 346 |  |  |  | تجهيز وربط وتشغيل كيبل 16x2 ملم2 يربط بين كيبل الظفيرة وقاطع الدورة ويتضمن العمل تجهيز كل المواد المطلوبة للعمل حسب توجيهات المهندس المشرف | 5 |
| 6 | Supply and install plastic electric power board (capacity of 10 numbers) with a main circuit breaker of (100) amp, connect it to the secondary circuit breaker(15) amp, using all equipment to complete the work properly.AAF32 | NO | 62 |  |  |  | تجهيز وتركيب لوح بلاستيكي (بورد) كهربائي (سعة 10 قواطع) مع قاطع دائرة رئيسي (100) أمبير، وتوصيله إلى قواطع الدائرة الثانوية (15) امبير، وذلك باستخدام جميع المعدات لإكمال العمل بشكل صحيح. | 6 |
| 7 | Supply and install electric circuit breakers 15 amp with good quality brand.AAF32 | NO | 170 |  |  |  | تجهيز وتثبيت قواطع دورة 15 امبير بنوعية جيدة المنشأ | 7 |
| 8 | Supply, install, connect and operate of external lighting lamps LED projector IP66, 300 watts with wiring & on\off switch. And according to site engineer instructions.AAF32 | NO | 55 |  |  |  | تجهيز وتثبيت وربط وتشغيل مصابيح انارة خارجية بروجكتر( لد) IP66 (300) واط مع نفطة اطفاء وتشغيل المصباح مع التوصيل مع الكهرباء وفق تعليمات المهندس | 8 |
|  | Total in IQD المجموع الكلي بالدينار |  |  |  |  |  |  |  |

|  | Lot 2: AAF and BzBz IDP Camps |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| الرقم | وصف العمل | الوحدة | الكمية | سعر الوحدة لكل فقرة بالدينار العراقي | المجموع لكل فقرة بالدينار العراقي | بلد المنشأ للمواد المستخدمة | وصف العمل | الرقم |
| No. | Work description | unit | Quantity | Unit price IQD | Total per item IQD | Country of origin for materials | Work description | No. |
| 1 | supplying electrical materials and and fixing wires ,establishing , operating ,inspecting and fixing all electrical structural which make assembly completed for every house , materials are: 1- one roll of wire simens 1.5 mm 2-one roll of wire simens 2.5 mm 3-plug switch 13 a ksa origin 5 pieces 4-plug switch 15 A one piece 5- plug double line ksa origin 2 pieces 6- economic base lamp 4 pieces 7-economic lamp 60 W and preparation of all accessories which make assembly full completed according to site engineer instruction | NO | 19 |  |  |  | تجهيز مواد كهربائية ومد اسلاك وتأسيس وتشغيل وفحص وتثبيت جميع التراكيب الكهربائية التي تجعل الفقرة متكاملة لكل بيت والتي تتضمن تجهيز المواد : 1- لفة واير سيمنس 1.5 ملم عدد 1 لفة 2- لفة واير 2.5 ملم سيمنس عدد 1 لفة 3- بلك سويج 13 امبير سعودي المنشأ عدد 5 قطعة 4- بلك سويج 15امبير عدد 1 قطعة 5- بلك خطين سعودي المنشأ عدد 2 قطعة 6- قاعدة مصباح اقتصادي عدد 4 قطعة 7- مصباح اقتصادي 60 واط وتجهيز جميع الملحقات التي تجعل الفقرة متكاملة حسب توجهيات المهندس المشرف | 1 |
| 2 | Supplying electricity of the tents: The work includes the processing and installation of materials as directed by the in charge engineer 1- Install Dual plug box 2- Fix switch plug 13 Amp 3 - switch plug 15 amp 4 - Base for light bulb 5 - light bulb 40 Watt - 6 Siemens wire 1.5 mm 7 - Flex wire 2.5 mm length 25 m 8- Circut breaker 16 amp with a cover all fixed on a wooden base and the qualities and origin of materials are of good quality | NO | 1000 |  |  |  | تاسيس كهرباء للخيم:يشمل العمل تجهيز المواد وتثبيتها حسب توجيهات المهندس المشرف 1- تثبيت بوكس بلك ثنائي 2- تثبيت سويج بلك 13 امبير 3- بلك سويج 15 امبير 4- قاعدة مصباح اقتصادي 5- مصباح اقتصادي 40 واط 6- واير سيمنس 1.5 ملم 7- واير فلكس 2.5 ملم بطول 25متر 8- جوزة 16 امبير مع غطاء جوزة كلها مثبيتها على قاعدة خشبية وتكون النوعيات ومنشأ المواد من مناشيء جيدة | 2 |
| 3 | Maintenance of external fences for camps: includes work, supply materials and maintenance of external fences according to the quantity that determined by site engineer and supply all the necessary accessories to complete the work as directed by site engineer . The measurement of the quantity as follows : repairing of 30 meters of BRC shall be considered as a single site maintenance and installation new 20 meters BRC in a single site | NO | 40 |  |  |  | صيانة الأسوار الخارجية للمخيمات: وتشمل أعمال ومواد التزويد وصيانة الأسوار الخارجية حسب الكمية التي يحددها مهندس الموقع وتزويد جميع الملحقات اللازمة لإنجاز العمل حسب توجيهات مهندس الموقع. يتم اعتبار قياس الكمية كما يلي: إصلاح 30 متر من BRC كصيانة موقع واحد وتركيب 20 متر جديد BRC في موقع واحد | 3 |
| 4 | Maintenance of the external lighting of the camps: The work includes the processing, installation and inspection of materials and this includes the processing of a lamp 105 watts with all the requirements to complete work according to the guidance of the supervisor in terms of origin and quality | NO | 810 |  |  |  | صيانة الانارة الخارجية للمخيمات : ويشمل العمل تجهيز مواد وتثبيتها وفحصها وهذا يشمل تجهيز مصباح اقتصادي 105 واط مع كل المتطلبات الاكمال العمل حسب توجيهات المهندس المشرف من حيث المنشأ والنوعية | 4 |
|  | Total in IQDالعراقي المجموع الكلي بالدينار |  |  |  |  |  |  |  |

| Total amount for Lot 1 |  |
| --- | --- |
| Total for amount for lot 2 |  |
| Grand Total (lot 1 & Lot 2) |  |

| Prepared by: |  |
| --- | --- |
| Name: |  |
| Position: |  |
| Signature: |  |
| Date: |  |
| Stamp: |  |

SECTION 9

SUPPLIER’S ETHICAL STANDARDS DECLARATION

NRC as a humanitarian organisation expects its suppliers and contractors to have high ethical standards. Any organization supplying goods to NRC valued at over 10,000 USD (or equivalent) in one year must sign this declaration.  This declaration will be kept on file for a period of 10 years and should be updated every year or more often as appropriate.

NRC staff may perform spot checks to verify that these standards are adhered to. Should NRC deem that the supplier fails to meet, or is not taking appropriate steps to meet, these standards, any and all contracts and agreements with NRC may be terminated.

Anyone doing business with Norwegian Refugee Council shall as a minimum;

- Comply with all laws and regulations in effect in the country or countries of business;

- Meet the ethical standards as listed below; or

- Positively agree to the standards and be willing to implement changes in their organisation.

- Anti-corruption and supplier’s compliance with laws and regulations:

  - The supplier confirms that it is not involved in any form of corruption.

  - Where any potential conflict of interest exists between the supplier or any of the suppliers staff members with any NRC staff member, the supplier shall notify NRC in writing of the potential conflict.  NRC shall then determine whether action is required.   A conflict of interest can be due to a relationship with a staff member such as close family etc.

  - The supplier will immediately notify senior NRC management if exposed for alleged corruption by representatives of NRC.

  - The supplier shall be registered with the relevant government authority with regard to taxation.

  - The supplier shall pay taxes according to all applicable national laws and regulations.

  - The supplier warrants that it is not involved in the production or sale of any weapons including anti-personnel mines.

- Conditions related to the employees:

  - No workers in our company will be forced, bonded or involuntary prison workers.

  - Workers shall not be required to lodge “deposits” or identity papers with their employer and shall be free to leave their employer after reasonable notice.

  - Workers, without distinction, shall have the right to join or form trade unions of their own choosing and to bargain collectively.

  - Persons under the age of 18 shall not be engaged in work which is hazardous to their health or safety, including night work.

  - Employers of persons under the age of 18 must ensure that the working hours and nature of the work does not interfere with the child’s opportunity to complete his/ her education.

  - There shall be no discrimination at the work place based on ethnic background, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.

  - Measures shall be established to protect workers from sexually intrusive, threatening, insulting or exploitative behaviour, and from discrimination or termination of employment on unjustifiable grounds, e.g. marriage, pregnancy, parenthood or HIV status.

  - Physical abuse or punishment, or threats of physical abuse, sexual or other harassment and verbal abuse, as well as other forms of intimidation, shall be prohibited.

  - Steps shall be taken to prevent accidents and injury to health arising out of, associated with, or occurring in, the course of work, by minimizing, so far as is reasonably practicable, the causes of hazards inherent in the working environment.

  - Wages and benefits paid for a standard working week shall meet, at a minimum, national legal standards or industry benchmark standards, whichever is higher. Wages should always be enough to meet basic needs.

  - Working hours shall comply with national laws and benchmark industry standards, whichever affords greater protection. It is recommended that working hours do not exceed 48 hours per week (8 hours per day).

  - Workers shall be provided with at least one day off for every 7 day period.

  - All workers are entitled to a contract of employment that shall be written in a language they understand.

  - Workers shall receive regular and documented health and safety training, and such training shall be repeated for new workers.

  - Access to clean toilet facilities and to potable water, and, if appropriate, sanitary facilities for food storage shall be provided.

  - Accommodation, where provided, shall be clean, safe and adequately ventilated, and shall have access to clean toilet facilities and potable water.

  - No Deductions from wages shall be made as a disciplinary measure.

- Environmental conditions:

  - Production and extraction of raw materials for production shall not contribute to the destruction of the resources and income base for marginalized populations, such as in claiming large land areas or other natural resources on which these populations are dependent.

  - Environmental measures shall be taken into consideration throughout the production and distribution chain ranging from the production of raw material to the consumer sale. Local, regional and global environmental aspects shall be considered. The local environment at the production site shall not be exploited or degraded by pollution.

  - National and international environmental legislation and regulations shall be respected.

  - Hazardous chemicals and other substances shall be carefully managed in accordance with documented safety procedures.

We, the undersigned verify that we are in compliance with all applicable laws and regulations and meet the ethical standards as listed above, or positively agree to these ethical standards and are willing to implement necessary changes in the organisation.

DATE:				_________________

NAME OF SUPPLIER/COMPANY:	_____________________________________________

NAME OF REPRESENTATIVE:  	_____________________________________________

SIGNATURE: 			_____________________________________________

COMPANY STAMP:		_____________________________________________