Norwegian Refugee Council (NRC) Duhok

Rehabilitation 7 schools

ITB/DHK/01/08/2018

2nd August 2018

Our reference: PR# 8300431

##### SUBJECT: INVITATION TO TENDER FOR Rehabilitation of 7 schools in Duhok in governorate area

Dear Mr/Ms

Following your enquiry regarding the publication of the above-mentioned invitation to tender, please find enclosed the following documents, which constitute the tender dossier.

Any request for clarification must be received by NRC in writing at least 5 working days before the deadline for submission of tenders. NRC will reply to bidders' questions at least 2 working days before the deadline for submission of tenders.

Costs incurred by the bidder in preparing and submitting the tender proposals will not be reimbursed.

We look forward to receiving your tender at the address specified in the Instructions to Bidders before 16th August 2018 at 15:00 Hrs, as stated in the procurement notice.

If you decide not to submit a tender, we would be grateful if you could inform us in writing, stating the reasons for your decision.

Yours sincerely,

NRC Iraq

This ITB document contains the following:

- This cover Letter

- Section 2: Bid Data sheet

- Section 3: NRC Invitation to bid general terms & condition

- Section 4: Technical description of the Bid

- Section 5: Bidding form

- Section 6: Work Schedule

- Section 7: Company Profile and Previous Experience

- Section 8: Bill of Quantities

- Section 9: Suppliers Ethical Standards Declaration

- ANNEX A: Technical Drawings

Sections highlighted in green must be completed by the bidder.

SECTION 2

Bid Data Sheet Work Contract

- BACKGROUND DATA

| Contract Name: Rehabilitation 7 Schools in Duhok governorate | Contract Number: ITB/DHK/01/08/2018 |
| --- | --- |

This bid is issued by Norwegian Refugee Council (NRC). Any correspondence can be addressed the following address office. Norwegian Refugee Council, Zirka Bangawan street 52 house Z007/179/009/01  Kurdistan Region, Duhok – Closed to Duhok University 2nd Gate

- SCOPE OF WORK

| Contract No. | Country | Location | Work Description |
| --- | --- | --- | --- |
| ITB/DHK/01/08/2018 | IRAQ | DUHOK | Rehabilitation of 7 schools in Duhok governorate |

Please refer to the technical specifications, drawings, and BOQs for more details.

MAXIMUM TIME-FRAME FOR COMPLETION OF WORKS: The overall schedule for works for each contract must be completed as per the attached format. However, you are expected to prepare a schedule to complete the works within 10 days

- SCHEDULE & DEADLINE FOR SUBMISSION

The deadline for submission of bids is 15:00 Hrs on the  16th August 2018. Late bids will not be accepted.

|  | DATE | TIME* |
| --- | --- | --- |
| Invitation to Bid release | 2nd August 2018 | 15:00 Hrs |
| Deadline for request for any clarifications from NRC | 9th August 2018 | 15:00 Hrs |
| Last date on which clarifications are issued by NRC | 12th August 2018 | 15:00 Hrs |
| Deadline for submission of tenders (receiving date, not sending date) | 16th August 2018 | 15:00 Hrs |
| Tender opening session by NRC | 19th August2018 | TBD |
| Notification of award to the successful tenderer | TBD |  |
| Signature of the contract | TBD |  |

* All times are in the local time of Iraq

Please note all dates are provisional dates and NRC reserves the right to modify this schedule.

- MANNER OF SUBMISSION:

# Please submit your bids in accordance with the requirements detailed below:

# Complete sealed bid documents shall be hand delivered at NRC Office at Duhok, Zirka Bangawan street 52 house Z007/179/009/01  Kurdistan Region, Duhok–Closed to Duhok University 2nd Gate , not later than 15:00 Hrs, on the due date indicated above. Tenders will be opened immediately thereafter in the presence of the tenderers or their representatives who choose to attend

- ASSESSMENT CRITERIA

# Award of the contract(s) will be based on the following:

# Step 1: Administrative compliance check

# Bidders must provide evidence of the following for their bid to be considered compliant:

- Sections 5-9 completed, signed and stamped

- Bidder has included a copy of their valid business licence.

# Step 2: Technical Evaluation

# A Technical Evaluation of all bids received will be conducted to shortlisted bidders. Criteria that will be used to evaluate and score the bids are outlined in Section 3, Clause 25

# Step 3: Financial Evaluation

# Price in comparison to NRC established expectation and in comparison to other bidders of comparable technical quality

SECTION 3

NRC Invitation to bid - General Terms & Conditions

- SCOPE OF BID

  - The bid is based on the scope of the assignment as determined in the Bid Data Sheet (Section 2). The instruction to bidders should be read in conjunction with the Bid Data Sheet.

  - The successful Bidder will be expected to complete the assignment by the Intended Completion Date specified in the contract to be signed

- CORRUPT PRACTICES

  - Norwegian Refugee Council requires Employees, Bidders and Contractors, to observe standards of ethics during procurement and the execution of contracts. In pursuit of this, Norwegian refugee Council defines, for the purposes of this provision, the terms set forth below as follows:

  - “Corrupt practice” includes the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and

  - “Fraudulent practice” includes a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Norwegian Refugee Council, and includes collusive practices among Bidders prior to or after bid submission designed to establish bid prices at artificial, non-competitive levels and to deprive the Norwegian Refugee Council of the benefits of free and open competition;

  - In any case where fraud or corruption is identified, NRC will:

- reject any bids where the Bidder has engaged in corrupt or fraudulent practices in competing for the Contract;

- remove bidding contractors who engage in fraudulent or corrupt practices, from our prequalified list

- liaise with District Officials to report if fraudulent or corrupt practices are identified

- terminate works

  - Any communications between a Bidder and the Norwegian Refugee Council related to matters of alleged fraud or corruption must be made in writing and addressed to the Country Director in Iraq.

- ELIGIBLE BIDDERS

  - A Bidder shall meet the following criteria to be eligible to participate in NRC procurement of Works:

- the bidder, at the time of bid, is not:

    - insolvent;

    - in receivership;

    - bankrupt; or

    - being wound up

- the bidder’s business activities have not been suspended;

- the bidder is not the subject of legal proceedings for any of the circumstances in (b); and

- The bidder has fulfilled his or her obligations to pay taxes and social security contributions. In a case where VAT is included in a bid, a copy of the VAT certificate must accompany the bid. A Bidder, and all parties constituting the Bidder including sub-contractors, shall not have a conflict of interest. All Bidders found to have a conflict of interest shall be disqualified. A Bidder may be considered to have a conflict of interest with one or more parties in this bidding process, if they have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about or influence on the bid of another Bidder, or influence the decisions of the Norwegian Refugee Council regarding this bidding process

  - A Bidder whose circumstances in relation to eligibility change during a procurement process or during the execution of a contract shall immediately inform the Norwegian Refugee Council.

  - NRC reserves the right to refuse a bid at any time if the bidder or one of its sub-contractors provided material support or resources to any individual or entity that commits, attempts to commit, advocates, facilitates, or participates or is found guilty of fraud, active corruption, collusion, coercive practice, bribery, involvement in a criminal organization or illegal activity, or immoral human resources practices, including but not limited to: child labour, non-discrimination, freedom of association, payment of the legal national minimum wage,  and forced labour.

- JOINT VENTURES, CONSORTIA AND ASSOCIATIONS

Bids submitted by a joint venture, consortium or association of two or more firms as partners will only be accepted in exceptional circumstances.

- ONE BID PER BIDDER PER WORK

Each Bidder shall submit only one Bid per contract. A Bidder who submits or participates in more than one bid per contract will cause all the bids with the Bidder’s participation to be rejected.

- COST OF BIDDING

The Bidder shall bear all costs associated with the preparation and submission of his Bid, and the Norwegian Refugee Council shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

- SITE VISIT

The Bidder, at the Bidder’s own responsibility and risk, is encouraged to visit and examine the Site of Works and its surroundings and obtain all information that may be necessary for preparing the bid and entering into a contract for construction of the Works. The costs of visiting the Site shall be at the Bidder’s own expense.

- INSPECTION

NRC is obliged to ensure that its procurement decisions are clearly justified and documented and keeping within the Donors mandatory principles. In that regard, full and on-the-spot access must be granted to representatives of NRC, the Donor or any organisation or person mandated by it, to premises belonging to NRC or its contractors. The right to access shall include all documents and information necessary to assess, or audit the implementation of the contract

- OBTAINING AND COMPLETING BIDDING DOCUMENTS

  - Bidders who did not obtain the Bidding Document directly from the Norwegian Refugee Council will be rejected during evaluation. Where a Bidding Document is obtained from the Norwegian Refugee Council on a Bidder’s behalf, the Bidder’s name must be registered with the Norwegian Refugee Council at the time of issue.

  - The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Document. Failure to furnish all information or documentation required by the Bidding Document may result in the rejection of the bid.

- CLARIFICATION OF BIDDING DOCUMENT

A prospective Bidder requiring any clarification of the Bidding Document shall contact the Norwegian Refugee Council in writing. The Norwegian Refugee Council will respond in writing to any request for clarification before the deadline for clarification of bids. The Norwegian Refugee Council shall forward copies of its response to all Bidders who have acquired the Bidding Document, including a description of the inquiry but without identifying its source.

- AMENDMENT OF BIDDING DOCUMENT

  - At any time prior and until 48 hours prior to the deadline for submission of bids, the Norwegian Refugee Council may amend or cancel the Bidding Document by informing the bidders in writing.

  - To give prospective Bidders reasonable time in which to take an amendment or cancellation into account in preparing their bids, the Norwegian Refugee Council can, at his discretion, extend the deadline for the submission of bids.

- LANGUAGE OF BID

  - The bid, as well as all correspondence and documents relating to the bid shall be written in English.

  - Supporting documents and printed literature that are part of the bid may be in another language provided they are accompanied by an accurate translation of the relevant passages in English, in which case, for purposes of interpretation of the Bid, such translation shall govern.

- DOCUMENTS COMPRISING THE BID

  - The bid submitted by the Bidder shall comprise the following:

- Signed and stamped Contractor’s Biding form in Section 5

- Any other information and documents requested in Section 4.

- Service provision Schedule (as in Section 6)

- Company Profile and Previous experience (as in Section 7)

- Service Description and Pricing Proposal (as in Section 8)

- Signed and stamped Supplier Ethical Standards Declaration (as in Section 9)

  - All forms must be completed without any alterations to the format, and no substitutes shall be accepted. All blank spaces shall be filled in with the information requested.

- BID PRICE FOR WORKS CONTRACT

- Bid prices are for complete contracts. Contracts cannot be subdivided into pieces. Where a bid is submitted, all relevant BoQ must be completed.

- The Bidder shall fill in rates and prices for all items of the Works/supply or service described in the drawings and specifications and listed in the BoQ, Items for which no rate or price is entered by the Bidder will not be paid for by the Norwegian Refugee Council when executed and shall be deemed covered by the other rates and prices in the BoQ.

- Unless otherwise specified in the Bid Data Sheet, all duties, taxes and other levies payable by the contractor under the contract, shall be included in the total bid price submitted by the bidder.

- For bidder subject to VAT,VAT should be mentioned in the offers

- The priced Bill of Quantities submitted by any Bidder shall be checked for arithmetical errors and for what might be considered unreasonable rates during the evaluation. Where errors are identified one or more of the following steps may be taken:

- If any rates are considered to be unrealistic or unreasonable they may be altered by mutual agreement, provided that no alteration shall be made in the amount of the Bid.

- If any arithmetical errors are detected in an otherwise acceptable bid, and the Bidder, on being so notified, is prepared to confirm his bid and if the Bidder is subsequently awarded the contract, then the Bid shall be altered to reflect the difference.

- The Bidder is reminded that it is entirely his responsibility to ensure the accuracy of his bid. No alteration will be made to the bid after its submission on the grounds of any arithmetical errors subsequently discovered except as provided above.

- CURRENCIES OF BID AND PAYMENT

All prices shall be quoted by the Bidder in USD, unless otherwise stated. Similarly, all payments will be made in USD.

- BID VALIDITY

  - Bids shall remain valid for a period of 60 calendar days after the date of the bid submission deadline as prescribed by Norwegian Refugee Council. A bid valid for a shorter period shall be rejected as non-compliant.

  - In exceptional circumstances, prior to the expiration of the bid validity period, the Norwegian Refugee Council may request Bidders in writing to extend the period of validity of their bids. A Bidder must confirm in writing his acceptance of the extension. In case of extension, modification of the bid is not permitted.

- ALTERNATIVE BIDS

Bidders shall submit offers that comply with the requirements of the bidding documents, including the basic technical design as indicated in the drawings and specifications. Alternative bids shall not be considered unless otherwise indicated in Section 2 – the Bid Data Sheet.

- FORMAT AND SIGNING OF BID

The Bidder shall prepare one set of bid documents per contract that he wishes to bid for. The bidder should hold a copy of the documents with himself, for reference purposes.

- SEALING AND MARKING OF THE BID

  - The Bidder shall enclose the bid for each contract in a plain envelope securely sealed

  - The envelopes shall:

  - be addressed to the Logistics Office, Norwegian Refugee Council, in the location specified in Section 2 – the Bid Data Sheet

  - bear the Contract number

  - no other markings should be on the envelope

  - If all envelopes are not sealed and marked as required, the Norwegian Refugee Council will reject the bid

- DEADLINE FOR SUBMISSION OF BIDS

Bids must be received by the Norwegian Refugee Council at the address given and no later than the date and time indicated in Section 2 - the Bid Data Sheet.

- LATE BIDS

The Norwegian Refugee Council shall not consider any bid that arrives after the deadline for submission as stipulated in Section 2 – the Bid Data Sheet. Any bid received by the Norwegian Refugee Council after the deadline for submission of bids shall be declared late and rejected.

- WITHDRAWAL AND REPLACEMENT OF BIDS

  - A Bidder may withdraw or replace its bid after it has been submitted at any time before the deadline for submission of bids by sending a written notice, signed by an authorized representative. Any corresponding replacement of the bid must accompany the respective written notice. All notices must be:

- submitted as with Clauses 20 and 21, and in addition, the envelopes shall be clearly marked “WITHDRAWAL” or “REPLACEMENT” and

- received by the Norwegian Refugee Council prior to the deadline for submission of bids, in accordance with Section 2 – the Bid Data Sheet

  - After the opening of bids, modifications to bids must be documented and any discussions reported in writing. A bid may be withdrawn at any stage, with written notice.

- CONFIDENTIALITY

  - Information relating to the examination, evaluation, comparison, and post-qualification of bids, and recommendation of contract award, shall not be disclosed to bidders or any other persons not officially concerned with such process until information detailing the best evaluated Bidder is communicated to all Bidders.

  - Any effort by a Bidder to influence the Norwegian Refugee Council in the examination, evaluation, comparison, and post-qualification of the bids or contract award decisions may result in the rejection of its bid.

  - From the time of bid opening to the time of Contract award, if any Bidder wishes to contact the Norwegian Refugee Council on any matter related to the bidding process, it should do so in writing.

- CLARIFICATION OF BIDS

Norwegian Refugee Council may, at its discretion, ask any Bidder for a clarification of its Bid. The Norwegian Refugee Council’s request for clarification and the response shall be in writing. Any clarification submitted by a Bidder that is not in response to a request by the Norwegian Refugee Council shall not be considered. All requests for clarifications shall be copied to all bidders for information purposes.  No change in the price or substance of the bid shall be permitted, except to confirm the correction of errors.

- BIDS VALIDATION

  - The Norwegian Refugee Council’s determination of a Bid’s validity is to be based on the contents of the bid itself, which cannot be corrected if determined to be invalid

  - A valid bid is one that complies with all the terms, conditions, and specifications of the Bidding Document, without deviation or omission, which affects, or could affect;

- the scope, quality, or performance of the Works specified in the Contract; or

- limits in any substantial way, the Norwegian Refugee Council’s rights or the Bidder’s obligations under the Contract

- EVALUATION OF BID

  - The Norwegian Refugee Council shall examine the legal documentation and other information submitted by Bidders to verify eligibility, and then will review and score bids according to the following criteria;

- Completion and inclusion of requested information and supporting documents (Administrative compliance)

- Price in comparison to NRC estimated rate (Financial evaluation)

- Overall timeframe for the works (Technical evaluation)

- Schedules (Key Personnel and Activity schedule) (Technical evaluation)

- Bill of Quantities (Financial & Technical evaluation)

- Previous experiences in similar works (Technical evaluation)

  - In case of two contractors being scored the same in the evaluation, the one with the highest technical ranking will be awarded the contract

  - Anti-money laundering, anti-bribery, anti-corruption and anti-terrorism legislation applicable in some jurisdictions may require NRC to verify the identity of the bidder prior to financial transactions. NRC reserves the right to use online screening tools to check the bidder’s record with regards to their possible involvement in illegal or unethical practices.

  - Norwegian Refugee Council reserves the right to reject all bids, and re-tender if no satisfactory bids are submitted

- AWARD PROCEDURE

  - The Norwegian Refugee Council shall award the Contract in writing, with an award letter, to the Bidder whose offer has been determined to be the best, before the end of the bid validity period

  - Any bidder who has not been awarded a contract, will be notified in writing

  - Until a formal contract is prepared and executed, the Award Letter shall constitute a binding agreement between the bidder and NRC.

  - The Award Letter will state the sum that the Norwegian Refugee Council will pay the Contractor in consideration of the Works as prescribed in the Contract, and in accordance with the Bid.

  - The Bidder is thereafter required to submit a Letter of Acceptance, confirming their wish to proceed with a contract.

- SIGNING OF CONTRACT

  - Upon receipt of the Letter of Acceptance, the Norwegian Refugee Council shall call the successful Bidder to sign the Contract.

  - Within an agreed timeframe, the successful Bidder shall sign, date, and return the Contract to the Norwegian Refugee Council.

- CONTRACT

  - The Contractor-to-be will  comply with a Works Contract, which will foresee, among others, the following commitments:

- Non-exploitation of child labour and respect of basic social rights and working conditions (including security regulations and insurance for labour);

- Provide transport, with insurance coverage for the materials, up to the warehouse and construction sites;

- Accomplish the works, according to the required quantities and technical specifications indicated in the Bill of Quantities and Technical Drawings (SECTIONS 7 and 8), within the proposed timeframe

- SUB CONTRACTING

Please be advised that subcontracting is not permitted. Bidders must have the capacity to complete the works themselves.

SECTION 4

WORKS CONTRACT - Technical description of the bid

SECTION 5: BIDDING

Please provide information against each requirement.

Additional rows can be inserted for all questions as necessary. If there is insufficient space to complete your answer in the space provided, please include on a separate attachment with a reference to the question.

- Bidder’s general business details

- General information

| Company name: |  |
| --- | --- |
| Any other trading names of company: |  |
| Registered name of company (if different): |  |
| Nature of primary business/trade: |  |
| Primary contact name: |  |
| Job title: |  |
| Phone: |  |
| Email: |  |
| Registered Address: |  |
| Business licence number: |  |
| Country of registration |  |
| Registration date: |  |
| Expiry date: |  |
| Legal status of company (eg. partnership, private limited company, etc.) |  |

- Owners/Managers

Please fill in the below table with the full names and the year of birth of the company’s owner(s) and manager(s)*:

| Full name | Year of birth |
| --- | --- |

* Please note this information is necessary in order to conduct the vetting procedure referred to in clause 25 of the 	Invitation to Bid-General Terms and Conditions.

- Employees

Please list the employees who would be involved with NRC in the event of contract award:

| Employee name | Job title | Role on NRC project | Phone | Email |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |

- Company bank account details:

| Beneficiary name: |  |  |
| --- | --- | --- |
| Beneficiary account no.: |  |  |
| Beneficiary Bank: |  |  |
| Bank branch: |  |  |
| SWIFT: |  |  |
| IBAN: |  |  |
| Bank address: |  |  |

- References

Please provide details of at least 3 client references whom NRC may contact, preferably from NGOs and UN agencies, for similar related works:

| Client/company name | Contact person | Phone | Email | Contract details (works, location, size, value, etc) |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4 |  |  |  |  |

- Equipment

Please provide details of any relevant machinery/equipment/vehicles owned by the company that would potentially be used for construction: (do not mention rented items):

| Type of machinery/ equipment/ vehicles | Quantity |
| --- | --- |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |
| 6. |  |
| 7 |  |

- Defects Liability/Guarantee Period

Please provide details below of the defect liability and guarantee period you offer on the works included in this contract:

- Bid Validity

Please confirm the validity of your bid below (in calendar days):

- Confirmation of Bidder’s compliance

We, the Bidder, hereby certify that our tender is a genuine offer and intended to be competitive and we confirm we are eligible to participate in public procurement and meet the eligibility criteria specified in the Invitation to Bid. We confirm that the prices quoted are fixed and firm for the duration of the validity period and will not be subject to revision or variation.

The following documents are included in our Bid: (please indicate which documents are included by ticking the boxes below).

| Documents | included |
| --- | --- |
| Section 5: Bidding form; completed, signed and stamped | ☐ |
| Section 6: Work Schedule; completed, signed and stamped | ☐ |
| Section 7: Company Profile and Previous Experience; completed, signed and stamped | ☐ |
| Section 8: Pricing Proposal; completed, signed and stamped | ☐ |
| Section 9: Supplier’s ethical standards declaration; completed, signed and stamped | ☐ |
| Copy of valid business licence | ☐ |

We understand that NRC is not bound to accept the lowest, or indeed any bid, received.

We agree that NRC may verify the information provided in this form itself or through a third party as it may deem necessary.

We confirm that NRC may in its consideration of our offer, and subsequently, rely on the statements made herein.

| Name of Signatory: | Tel N°: |
| --- | --- |
| Title of Signatory: | Name of Company: |
| Signature & stamp: | Date of Signing: |
|  | Address: |

SECTION 6

Work Schedule

Attach the work schedule here:

Schedule to include:

      - Duration of each sub-activity

      - Total duration of the works

| # | Activity | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Week 6 | Week 7 | Week 8 | Week 9 | Week 10 | Week … |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Civil Works |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Sanitary |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Electrical works |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Shading Works |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Finishing Works |  |  |  |  |  |  |  |  |  |  |  |

3. Detailed list of proposed Personnel/Manpower involved in the activities (e.g. engineers, site supervisors, foremen, masons, carpenters, plumbers, unskilled labors, etc.) with an estimate of the total man-day completed by each of the skills.

The Submission of the Manpower shall follow the below simple format:

| # | Proposed Personnel/Manpower | # of workers allocated to this project |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |

NOTE: The list shouldn’t be limited to this Form in regards to the number of proposed Key Personnel.

A comprehensive list has to be submitted adapting the Form to the necessary rows.

SECTION 7

COMPANY PROFILE AND PREVIOUS EXPERIENCE

The Bidder is requested to:

- Submit the Company Profile

- Complete the following Previous Experience Table listing the work or contracts undertaken in the past 5 years similar to the works required under this contract

- Submit evidences of previous experience in form of Contracts, Completion Certificates, Handover Documents etc.

| # | Name of Project / Type of work | Total value of the performed works (.....) | Duration of the works contract | Starting date | Ending date | Contracting Authority and Place |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| … |  |  |  |  |  |  |

NOTE: The list shouldn’t be limited to this Form in regards to the number of works reported. A comprehensive list of the last 5 years’ experience has to be submitted adapting the Form to the necessary rows.

NRC may conduct reference checks for previous contracts completed

SECTION 8

BILL OF QUANTITIES

Preamble to Bill of Quantities

- NRC has the faculty to contract all or part of the requested supply and works, according to budget availability;

# The supply and works should be the best available in the market;

# The Bidder should submit supporting documents concerning the proposed construction materials and works (i.e. catalogues, models, brands, drawings, technical documentation, technical specifications, etc. of the offered items);

# All the materials to supply and the works to execute must be approved by the NRC Representative, prior to delivery and execution.

# Costs must include all duties, taxes and other levies payable by the contractor under the contract and all mobilization costs specified in section 3.

| BILL OF QUANTITIES FOR REHABILITATION 7 SCHOOLS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Rehabilitation of Seven Schools in Duhok Governorate Area. |
| 1-All the works and materials must be approved by the Project Engineer. |  |  |  |  |  |
| 2-The Contractor must set-up a temporary and adequate office at the project site if needed, according to the Supervisor engineer. |  |  |  |  |  |
| 3-All the materials shall be new and deemed to be of best available type in the local market and as approved by the Project Engineer. |  |  |  |  |  |
| 4-The item description herein after means "Supply of all materials, manpower, transportation, equipment, tools, machinery, temporary works and all the other works required" as approved by the engineer. |  |  |  |  |  |
| 5-In case of differences between bill of quantities and contract documents, the drawings will govern. Unless requirements of the engineer are presented. |  |  |  |  |  |
| Derik High School/ Duhok |  |  |  |  |  |
| Item | Description | Unit | Quantity | Rate (USD) | Amount(USD) |
| Civil work |  |  |  |  |  |
| Repairing fence | Supply materials for repairing and welding unbalanced fence, unfixed parts of existing yard fence and iron columns. The work including adding 2 parts of connection (connection part) for each column to connect column with fence, the work also including fixing base with yard floor, according to the instruction of supervisor engineer. | M2 | 40 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Sanitary |  |  |  |  |  |
| Drilling & 6'' Pipe | Provide materials and equipment to drill concrete floor of school yard, installing 6'' PVC pipe and all other accessories with consideration of good water slope, the work including 2 manhole (20*20)cm, covering with cement-san mortar after installation, according to the instructions of supervisor engineer. | ML | 20 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Finishing |  |  |  |  |  |
| Handrail | Provide and install handrail 1.2m height fixing with floor by drilling proper steel bar in the floor and welding to the handrail, using steel square pipe (4*8)cm C/C 1.2m, and Good quality BRC C/C 8cm thickness 0.6mm according to the drawings, 1 inch steel square pipe for strengthening according to the drawing, the work including installing two doors with same handrail materials, removing old handrail and cleaning area, according to the instructions of the supervisor engineer. | ML | 56 |  |  |
| BRC Door | Supply and install iron gate steel frame 1inch and BRC (8*8) cm thickness 5mm, the work including using 2.5-inch square pipe 2mm thick for sides columns with good concrete base, the work including removing and re-installing old fence during working, according to the instruction of the site engineer. | No. | 1 |  |  |
| NRC & NMFA Logo | Supply and installing good quality metal plate (1.3m*1.4m),painting NMFA & NRC logo on it, one layer anti rust paint and two layer of oil paint , frame will be fix in the wall by using possible screw or by welding . | No. | 1 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Total Cost |  |  |  |  |  |
| Gahin School/ Duhok |  |  |  |  |  |
| Item | Description | Unit | Quantity | Rate (USD) | Amount(USD) |
| Civil work |  |  |  |  |  |
| Roof Shading Zinc | Provide and install galvanized corrugated zinc 0.5mm for prefab caravan roof , the work including using (4*8)cm steel square pipe 2mm thick for horizontal beams spacing C/C 1m and vertical beams C/C 2.5m 2 rows, with installing 8 steel column from 4*8vm pipe 2mm height 2.3m thick in the wall to hold shade zinc, the height of the shading will be 0.5m over caravan roof, taking consideration of the good slope for rain water according to the instruction of the site engineer. | M2 | 52 |  |  |
| Partially Prefab caravan ( two side open place) | Supplying Materials and Installing partitions of prefab sandwich panel for walls caravan inside school in the two side open place, with inner dimension (2.7*4.8)m and height 3.2m, third and fourth sides need sandwich panel streak 30cm width and 10m length, the work include installing frame (square pipe) for the iron structure size (10cm*10cm), 3 mm thickness for horizontal ties on the base and top of the structure, all sandwich edges and corners should be covered by aluminum or plastic angles and covers. The work include Supplying 1PVC window size (1*1)m with the steel protection and double glass 4 mm and window shield -metal bars and install exhaust fan 4 inch best quality, with Steel hinged door double plated (2.00*1.00)m gage 16, with frame 2 inch, plated on one side, 4 hinge to fix the door to the iron frame, electrical work including 2 fluorescent lights (120cm) for roof and one 40W spot light for outside, with good quality wire (2*2.5)mm and switch plug and 1 socket plug, installing one ceiling fan, and fixing the class room to the new electrical point by (2*2.3)mm wire using circuit break 16Amp in small box, concreting 10cm base with all requirements of work, and according to Drawing and instructions of site engineer | No. | 1 |  |  |
| Partially Prefab caravan (three side open place) | Supplying Materials and Installing partitions of prefab sandwich panel for walls caravan inside school in the three side open place, with inner dimension (2.7*4.8)m and height 3.2m, fourth side need sandwich panel streak 30cm width and 7m length, the work include installing frame (square pipe) for the iron structure size (10cm*10cm), 3 mm thickness for horizontal ties on the base and top of the structure, all sandwich edges and corners should be covered by aluminum or plastic angles and covers, with slope of roof 2% backwards. The work include Supplying 1PVC window size (1*1)m with the steel protection and double glass 4 mm and window shield -metal bars and install exhaust fan 4 inch best quality, with Steel hinged door double plated (2.00*1.00)m gage 16, with frame 2 inch, plated on one side, 4 hinge to fix the door to the iron frame, electrical work including 2 fluorescent lights (120cm) for roof and one 40W spot light for outside, with good quality wire (2*2.5)mm and switch plug and 1 socket plug, installing one ceiling fan, and fixing the class room to the new electrical point by (2*2.3)mm wire using circuit break 16Amp in small box, concreting 10cm base with all requirements of work, and according to Drawing and instructions of site engineer | No. | 1 |  |  |
| Concreting Floor | Concreting caravan floor 10cm thickness, Concrete should be 210 kg/cm2. Shuttering should be done using new or clean plywood fair face formwork. Concrete must be regularly watered during the curing process, to prevent cracking. The foundation should be fitted with BRC wire mesh 6mm thickness, with a grid of (15cm*15cm) in dimension in fixing with existing concrete floor by drilling steel bars into floor and welding with BRC mesh | M3 | 3 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Sanitary |  |  |  |  |  |
| 30*30cm steel Manhole cap | Supply and install iron manhole cap, manhole is exist it is need cap, the work including cleaning manhole surround. | No. | 1 |  |  |
| Drilling & 6'' Pipe | Provide materials and equipment to drill concrete floor (old small pipe place) of school corridor, installing 6'' PVC pipe and all other accessories with consideration of good water slope, the work including 6 manhole (20*20)cm and covering with cement-san mortar, according to the instructions of supervisor engineer. | ML | 33 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Finishing |  |  |  |  |  |
| Partition Plate | Supply and install steel (1.2*2)m partition with thermo plate, the work including using 2'' square steel pipe 2mm thick, fixing with fence and wall by screw or welding, thickness of thermo plate should be 0.5mm according to the instruction of supervisor engineer. | No. | 2 |  |  |
| Steel Stair | Supply and construct stair with solid concrete block for the level between playground and school width dimensions 1.2m height and 1.5m width , the work including using 4 m3 of solid concrete block (15*20*40)cm, plastering stair with cement-sand mortar and painting with 3 layer emulsion paint, the work also including installing proper handrail for both sides and panting handrail work by one layer of anti rust paint and two layer of oil paint, removing 1.5m of school existing handrail, all work should be according to the drawing and specification of supervisor engineer. | LS | 1 |  |  |
| Steel door | Supply material and labor to replace school broken aluminum doors with new steel door, the work including repairing door frame and locks and fixing door balance with all needs, according to site engineer instructions | No. | 3 |  |  |
| Door handle | Supply and replace new good quality handles and locks doors, the cost including removing old handles and fixing handle area if needed. | No. | 10 |  |  |
| NRC & NMFA Logo | Supply and installing good quality metal plate (0.4m*0.8m),painting NFMA & NRC logo on it, one layer anti rust paint and two layer of oil paint , frame will be fix in the wall by using possible screw or by welding . | No. | 1 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Total Cost |  |  |  |  |  |
| Kurdini School / Akre |  |  |  |  |  |
| Item | Description | Unit | Quantity | Rate (USD) | Amount(USD) |
| Civil work |  |  |  |  |  |
| Repairing fence | Supply materials for repairing and welding unbalanced fence, unfixed parts of existing yard fence and iron columns the work including adding 2 parts of connection (connection part) for each column to connect column with fence, the work also including fixing base with yard floor, according to the instruction of supervisor engineer. | M2 | 140 |  |  |
| Prefab caravan | Supplying Materials and Installing Prefab Sandwich Panel Caravan inside school with inner dimension (3.5*5)m and height 2.8m the work include installing frame (square pipe) for the iron structure size (10cm*10cm), 3 mm thickness for horizontal ties on the base and top of the structure, iron structure (3*5*13 )cm as show in drawing , thickness (3 mm) for columns in four corners, adding 2 square pipes (4*8)cm with thickness (2mm) columns for the middle of the long side of the caravan and using 2 square pipes (10*10)cm thick 2mm for roof strengthening according to the drawings, using sandwich panel for walls and roof with 5cm thickness all sandwich edges and corners should be covered by aluminum or plastic angles and covers, with slope of roof 2% backwards. The work include Supplying 2 Pvc windows size (1*1)m with the steel protection and double glass 4 mm and window shield -metal bars and install exhaust fan 4 inch best quality, with Steel hinged door double plated (2.00*1.00)m gage 16, with frame 2 inch, plated on one side, 4 hinge to fix the door to the iron frame, electrical work including 3 fluorescent lights (120cm) for roof and one 40W spot light for outside, with good quality wire (2*2.5)mm and switch plug and 3 socket plug, and installing one AC unit (2ton), best quality with guarantee 1 year using (2*4)mm wire with switch plug best quality, installing one ceiling fan, and fixing the class room to the new electrical point by (2*10)mm wire using circuit break 40 AMP double and 3 numbers of 25 Amp. in box . the work include install new electrical point that connected to the main power of school, with all requirements of work, and according to Drawing and instructions of site engineer | No. | 1 |  |  |
| Ceramic Tile | Supply materials and install good quality ceramic tiles (40*40cm) with using cement-sand mortar suitable ratio for this work, the work include filling all joints with white cement , according to the instruction of the site Engineer. | M2 | 17.5 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Sanitary |  |  |  |  |  |
| Water Pump | Supply and install electric water pump Capacity: about 80 L/min must be good quality, the work include connecting to the pipe in purpose area, according to the engineer and head teacher instructions. | No. | 2 |  |  |
| Water Tank | Supply and install 1.25mm thick galvanized horizontal water tank, 1500 liter and ,connecting to the water source , overflow, valves. 3/4" Inlet and outlet pipe holes according to the instructions of the supervisor Engineers. | No. | 3 |  |  |
| Mixer | Supply materials to replace schools mixers by best quality mixer for hand-wash sink | No. | 10 |  |  |
| Replacing Tap | Supply materials to replace school taps by new good quality plastic taps, according to the site engineer instructions | LS | 18 |  |  |
| Water tank Valve | Supply and install good quality valve for water tank, work including removing old valves | No. | 15 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Electricity |  |  |  |  |  |
| Fluorescent light | Provide and replacing new fluorescent tube with base ,must be good quality ,the work include removing all old bases with connecting wire and changing plug if needed ,according to the instructions of supervisor engineer | No. | 30 |  |  |
| Gas of AC units | Provide tools and equipment to fill AC units of gas | No. | 5 |  |  |
| Changing AC Fan | Provide and install new fan for AC unit, the work including removing old one with all other necessary according to the instruction of site engineer. | No. | 2 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Finishing |  |  |  |  |  |
| Ring bell | Provide and install good quality of ring bell for the school for playground with wire and switch, according to the instruction of the supervisor engineer. | No. | 1 |  |  |
| Security Camera | Supply and install good quality security camera in purpose areas, the work including extending wire and connecting to the existing DVR, and all other necessary. | No. | 4 |  |  |
| AC Units Cage | Provide and install cage for AC units, the work include using 1.5'' pipe 2mm thick , 6mm BRC space 10*10cm, painting steel and BRC, according to the instructions of site engineer. | No. | 8 |  |  |
| Steel door | Supply material and labor to replace school broken aluminum doors with new steel door, the work including repairing door frame and locks and fixing door balance with all needs, according to site engineer instructions | No. | 2 |  |  |
| Door handle | Supply and replace new good quality handles and locks doors, the cost including removing old handles and fixing handle area if needed. | No. | 15 |  |  |
| NRC & NMFA Logo | Supply and installing good quality metal plate (0.4m*0.8m),painting NFMA & NRC logo on it, one layer anti rust paint and two layer of oil paint , frame will be fix in the wall by using possible screw or by welding . | No. | 1 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Total Cost |  |  |  |  |  |
| Lozheen School/ Duhok |  |  |  |  |  |
| Item | Description | Unit | Quantity | Rate (USD) | Amount(USD) |
| Civil work |  |  |  |  |  |
| Roof Shading Zinc | Provide and install galvanized corrugated zinc 0.5mm for prefab caravan roof , the work including using (4*8)cm steel square pipe 2mm thick for horizontal beams spacing C/C 1m and vertical beams C/C 2.5m three rows, with consideration of the good slope for rain water according to the instruction of the site engineer. | M2 | 130 |  |  |
| Roof Shading Zinc | Provide and install galvanized corrugated zinc 0.5mm for space between two caravans , the work including using (4*8)cm steel square pipe 2mm thick for horizontal beams spacing C/C 1m and vertical beams C/C 2.5m three rows, with consideration of the good slope for rain water according to the instruction of the site engineer. | M2 | 20 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Sanitary |  |  |  |  |  |
| Main Water Tank Base | Provide labor and materials to construct 4 colons 60*60cm height 1.5m for main water tank base, from concrete block (15*20*40)cm, the wok include construct 4 concrete base (70*70cm) 20cm thick with using double sheet of BRC c/c 15*15 thick 6mm, the work including un-installing water tank, water pipe and iron base and using lifting machine to put down and pick up (5k liter) the vertical tank, reinstalling water tank, base and all other necessary works according to the instructions of supervisor engineer. | LS | 1 |  |  |
| Mixer | Supply materials to replace schools mixers by best quality mixer for hand-wash sink | No. | 8 |  |  |
| Toilet hose | Supply and replace toilet taps with new special toilet taps with hose, according to the instruction od supervisor engineer. | No. | 12 |  |  |
| 3/4 inch hose | provide best quality 3/4 best quality plastic hose | ML | 50 |  |  |
| Water Tank | Supply and install 1.25mm thick galvanized water tank, 2000 litre and installing on base 2.5m height ( two tanks on one base) using steel angle 2.5*2.5 inch 3mm thickness the cost include installing good thickness plate base must be approved by site engineer, and panting iron base with one layer anti rust and two layer of oil painting ,connecting to the water source by all needed materials, overflow, valves. 3/4" Inlet and outlet pipe holes, the work including using PPR pipe to connect to the nearest points, according to the instructions of the supervisor Engineers. | No. | 2 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Electricity |  |  |  |  |  |
| Wall Fan | Supply and install good quality wall fan, the work including hanging fans with good screw to sandwich panel wall, connecting to the electricity by extending wire and adding plugs if needed, according to the instruction of supervisor engineer. | No. | 27 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Finishing |  |  |  |  |  |
| Covering Cage with plate | Supply materials and tools to cover the sanitary cage with thermo iron plan, thick 0.5mm should be thermo plate. | M2 | 12 |  |  |
| Floor Plastic Sheet | Provide materials and tools to install floor plastic sheet by new one, the work including removing old sheets and cleaning place before working, according to the instructions of the supervisor engineer. | M2 | 70 |  |  |
| Window protection | Suppy and install good quality window protection by using good quality steel square pipe, spacing between bars 11cm according to the instruction of supervisor engineer. | M2 | 12 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Total Cost |  |  |  |  |  |
| Miserik High School / Duhok |  |  |  |  |  |
| Item | Description | Unit | Quantity | Rate (USD) | Amount(USD) |
| Civil work |  |  |  |  |  |
| Cemet Plastering | Supply materials and manpower to plaster the frame shape in the school façade by using cement-sand mortar 1:3, the work include remove two floor façade ceramic tile before plastering and cleaning place after removing ceramic, the ceramic is line frame of ceramic tile 31CM , according to the instructions of supervisor engineer. | M2 | 135 |  |  |
| Gypsum Plastering | Supply materials and manpower to re-plaster the interior of the school corridor ceiling and stair sides by using gypsum plaster, the height of the ceiling is between 4m to 5m, the work include removing old gypsum plastering and cleaning place after removing old plaster, according to the instructions of supervisor engineer. | M2 | 140 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Sanitary |  |  |  |  |  |
| Toilet Siphon | Supply and replace toilet siphon with good quality siphon, the work including removing old ones, installing tap, hose if needed and all other needs. | No. | 6 |  |  |
| Replacing Tap | Supply materials to replace school taps by new good quality plastic taps, according to the site engineer instructions | No. | 10 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Electricity |  |  |  |  |  |
| Fan Regular | Supply and replace good quality regular for ceiling fan, the work including removing old ones and, cleaning and preparing regular area with extending wire if needed. | No. | 5 |  |  |
| socket switch 13 AMP | Supply and replace socket switch 13 Amp for the classrooms, the work including removing old ones and, cleaning and preparing plug area with extending wire if needed. | No. | 5 |  |  |
| Fluorescent light | Provide and replacing new fluorescent tube with base ,must be good quality ,the work include removing all old bases with connecting wire and changing plug if needed ,according to the instructions of supervisor engineer | No. | 30 |  |  |
| socket switch 4 gangs | Supply and replace socket switch 4 gangs for the classrooms, the work including removing old ones and, cleaning and preparing plug area with extending wire if needed. | No. | 5 |  |  |
| Ceiling Fan | Supply and install good quality ceiling fan, the work including hanging fans with good hook and screw to roof, connecting to the electricity by extending wire if needed, according to the instruction of supervisor engineer. | No. | 8 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Finishing |  |  |  |  |  |
| Fixing Wood Doors | Provide materials and tools to fix wooden doors, covering bottom of the doors with proper anti-rust plate in both sides the height of the plate should be 80 cm, the should be fixed with door by proper screws, all work should be according to the instructions and approvals of the supervisor engineer. | No. | 20 |  |  |
| Painting doors | Provide materials and painting school steel and wooden doors, as defined by the engineer (3) layers of emulsion paint and oil paint from the best quality of Turkish paint. The price should include cleaning of the damped and the dirty areas fill in any nail holes, bullet holes, small dents, the color according to the instructions of supervisor engineer. | No. | 25 |  |  |
| LED Bulb Light 100V | Supply and install good quality 100 V LED bulb light with base, the work including removing old ones with extending wire if needed, according to the specification of the site engineer. | No. | 40 |  |  |
| Door handle | Supply and replace new good quality handles and locks doors, for steel and wooden doors, the cost including removing old handles and fixing handle area if by using proper material for this purpose, according to the instructions of the site engineer. | No. | 35 |  |  |
| NRC & NMFA Logo | Supply and installing good quality metal plate (0.4m*0.8m),painting NFMA & NRC logo on it, one layer anti rust paint and two layer of oil paint , frame will be fix in the wall by using possible screw or by welding . | No. | 1 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Total Cost |  |  |  |  |  |
| Payam High School / Dumiz |  |  |  |  |  |
| Item | Description | Unit | Quantity | Rate (USD) | Amount(USD) |
| Shading Work |  |  |  |  |  |
| Roof Shading Zinc | Provide and install galvanized corrugated zinc shade 0.5mm over sandwich panel roof , the work including using (10*10)cm thickness 3mm beams for the main support structure and (4*8)cm steel square pipe 2mm thick for secondary beams spacing C/C 1.5m according to the specifications and drawings, cutting eaves (cantilever) of sandwich panel before installing shading, taking consideration of the good slope for rain water, leaking test will be done by using suitable water truck to make shore shading is working, according to the instruction of the site engineer. | M2 | 540 |  |  |
| Repairing gutter | Provide materials to un-install existing gutter and plastic pipes of rainwater around school roof, before installing corrugated zinc shading, the work including re-installing gutter and pipes in addition if it needs any changes in length and welding work after installing corrugated zinc shading | LS | 1 |  |  |
| Total Cost |  |  |  |  |  |
| Zivreen School / Duhok |  |  |  |  |  |
| Item | Description | Unit | Quantity | Rate (USD) | Amount(USD) |
| Sanitary |  |  |  |  |  |
| Replacing Tap | Supply materials to replace school taps by new good quality plastic taps, according to the site engineer instructions | LS | 20 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Electricity |  |  |  |  |  |
| Ceiling LED Light | Provide and installing ceiling 18W led light, snowy white, must be good quality with at least one year guarantee, the work include cutting off suspended ceiling fluorescent tube bases, with connecting wire to the suspended ceiling fluorescent and changing plug if needed ,according to the instructions of supervisor engineer. | No. | 100 |  |  |
| exhaust fan | Providing materials and installation of exhaust fan 6" dia. Japanese made the price include wire, fitting and all requirements. | No. | 5 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Finishing |  |  |  |  |  |
| Painting | Provide materials and painting school interior, exterior walls and ceiling, as defined by the engineer (3) layers of emulsion paint) from the best quality of Turkish emulsion paint. The price should include cleaning of the damped and the dirty plastering, Fill in any nail holes, bullet holes, small dents, hairline cracks, the work also including transporting furniture, desks, whiteboard, sofa and materials that will be obstacle for painting then replacing back to the same place, with covering drawing and picture painted on walls to avoid painting, fixing joint line before painting, the color according to the instructions of supervisor engineer. | M2 | 3100 |  |  |
| Wall Plastic Paneling | Supply and install wall good quality plastic panel for head teacher room, the work including cleaning gypsum wall before installing panels, according to the instructions of the supervisor engineer. | M2 | 35 |  |  |
| BRC Fence with Door | Provide materials and tools to install BRC fence, the work including using steel square pipe 2'' 2mm thickness, streel structure grid C/C 1m, good quality BRC spacing C/C 10cm and 6mm thickness, the work including installing one door with same materials and BRC (1*2)m, painting all work with one layer of antirust paint and one layer of oil paint, according to the instructions of the site engineer. | M2 | 4.7 |  |  |
| NRC & NMFA Logo | Supply and installing good quality metal plate (0.4m*0.8m),painting NFMA & NRC logo on it, one layer anti rust paint and two layer of oil paint , frame will be fix in the wall by using possible screw or by welding . | No. | 1 |  |  |
| Sub Total Cost |  |  |  |  |  |
| Total Cost |  |  |  |  |  |
| Total Cost of all Schools |  |  |  |  |  |

NOTE: In case of discrepancy between BoQs and Drawings, the BoQs will prevail. In case of discrepancy between drawings, the one at larger scale will prevail.

| Prepared by: |  |
| --- | --- |
| Name: |  |
| Position: |  |
| Signature: |  |
| Date: |  |
| Stamp: |  |

SECTION 9

SUPPLIER’S ETHICAL STANDARDS DECLARATION

NRC as a humanitarian organisation expects its suppliers and contractors to have high ethical standards. Any organization supplying goods to NRC valued at over 10,000 USD (or equivalent) in one year must sign this declaration.  This declaration will be kept on file for a period of 10 years and should be updated every year or more often as appropriate.

NRC staff may perform spot checks to verify that these standards are adhered to. Should NRC deem that the supplier fails to meet, or is not taking appropriate steps to meet, these standards, any and all contracts and agreements with NRC may be terminated.

Anyone doing business with Norwegian Refugee Council shall as a minimum;

- Comply with all laws and regulations in effect in the country or countries of business;

- Meet the ethical standards as listed below; or

- Positively agree to the standards and be willing to implement changes in their organisation.

- Anti-corruption and supplier’s compliance with laws and regulations:

  - The supplier confirms that it is not involved in any form of corruption.

  - Where any potential conflict of interest exists between the supplier or any of the suppliers staff members with any NRC staff member, the supplier shall notify NRC in writing of the potential conflict.  NRC shall then determine whether action is required.   A conflict of interest can be due to a relationship with a staff member such as close family etc.

  - The supplier will immediately notify senior NRC management if exposed for alleged corruption by representatives of NRC.

  - The supplier shall be registered with the relevant government authority with regard to taxation.

  - The supplier shall pay taxes according to all applicable national laws and regulations.

  - The supplier warrants that it is not involved in the production or sale of any weapons including anti-personnel mines.

- Conditions related to the employees:

  - No workers in our company will be forced, bonded or involuntary prison workers.

  - Workers shall not be required to lodge “deposits” or identity papers with their employer and shall be free to leave their employer after reasonable notice.

  - Workers, without distinction, shall have the right to join or form trade unions of their own choosing and to bargain collectively.

  - Persons under the age of 18 shall not be engaged in work which is hazardous to their health or safety, including night work.

  - Employers of persons under the age of 18 must ensure that the working hours and nature of the work does not interfere with the child’s opportunity to complete his/ her education.

  - There shall be no discrimination at the work place based on ethnic background, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.

  - Measures shall be established to protect workers from sexually intrusive, threatening, insulting or exploitative behaviour, and from discrimination or termination of employment on unjustifiable grounds, e.g. marriage, pregnancy, parenthood or HIV status.

  - Physical abuse or punishment, or threats of physical abuse, sexual or other harassment and verbal abuse, as well as other forms of intimidation, shall be prohibited.

  - Steps shall be taken to prevent accidents and injury to health arising out of, associated with, or occurring in, the course of work, by minimizing, so far as is reasonably practicable, the causes of hazards inherent in the working environment.

  - Wages and benefits paid for a standard working week shall meet, at a minimum, national legal standards or industry benchmark standards, whichever is higher. Wages should always be enough to meet basic needs.

  - Working hours shall comply with national laws and benchmark industry standards, whichever affords greater protection. It is recommended that working hours do not exceed 48 hours per week (8 hours per day).

  - Workers shall be provided with at least one day off for every 7 day period.

  - All workers are entitled to a contract of employment that shall be written in a language they understand.

  - Workers shall receive regular and documented health and safety training, and such training shall be repeated for new workers.

  - Access to clean toilet facilities and to potable water, and, if appropriate, sanitary facilities for food storage shall be provided.

  - Accommodation, where provided, shall be clean, safe and adequately ventilated, and shall have access to clean toilet facilities and potable water.

  - No Deductions from wages shall be made as a disciplinary measure.

- Environmental conditions:

  - Production and extraction of raw materials for production shall not contribute to the destruction of the resources and income base for marginalized populations, such as in claiming large land areas or other natural resources on which these populations are dependent.

  - Environmental measures shall be taken into consideration throughout the production and distribution chain ranging from the production of raw material to the consumer sale. Local, regional and global environmental aspects shall be considered. The local environment at the production site shall not be exploited or degraded by pollution.

  - National and international environmental legislation and regulations shall be respected.

  - Hazardous chemicals and other substances shall be carefully managed in accordance with documented safety procedures.

We, the undersigned verify that we are in compliance with all applicable laws and regulations and meet the ethical standards as listed above, or positively agree to these ethical standards and are willing to implement necessary changes in the organisation.

DATE:				_____________________________________________

NAME OF SUPPLIER/COMPANY:	_____________________________________________

NAME OF REPRESENTATIVE:  	_____________________________________________

SIGNATURE: 			_____________________________________________

COMPANY STAMP:		_____________________________________________