Norwegian Refugee Council (NRC) IRAQ

Frame Work Agreement (FWA) Shelter Upgrades - Hawiga and Tuz Districts

ITB – 005 - 2018 – NRC - Iraq

Our reference: ITB – 005 - 2018 – NRC - Iraq

SUBJECT: INVITATION TO TENDER FOR (FWA) Shelter Upgrades - Hawiga and Tuz Districts

Dear Mr/Ms

Following your enquiry regarding the publication of the above-mentioned invitation to tender, please find enclosed the following documents, which constitute the tender dossier.

Any request for clarification must be received by NRC in writing at least 5 working days before the deadline for submission of tenders. NRC will reply to bidders' questions at least 2 working days before the deadline for submission of tenders.

Costs incurred by the bidder in preparing and submitting the tender proposals will not be reimbursed.

We look forward to receiving your tender at the address specified in the Instructions to Bidders before 21st October 1500hrs. As stated in the procurement notice.

If you decide not to submit a tender, we would be grateful if you could inform us in writing, stating the reasons for your decision.

Yours sincerely,

NRC

This ITB document contains the following:

- This cover Letter

- Section 2: Bid Data sheet

- Section 3: NRC Invitation to bid general terms & condition

- Section 4: Technical description of the Bid

- Section 5: Bidding form

- Section 6: Work Schedule

- Section 7: Company Profile and Previous Experience

- Section 8: Bill of Quantities

- Section 9: Suppliers Ethical Standards Declaration

- ANNEX A: Technical Drawings

- ANNEX B: Tendering Time fame/ Work Plan

Sections highlighted in green must be completed by the bidder.

SECTION 2

Bid Data Sheet Work Contract

- BACKGROUND DATA

| Contract Name: Frame Work Agreement (FWA) Shelter Upgrades – Hawiga and Tuz Districts | Contract Number: ITB – 005 - 2018 – NRC - Iraq |
| --- | --- |

This bid is issued by Norwegian Refugee Council (NRC office in Erbil Iraq. Any correspondence can be addressed the following address office.

Norwegian Refugee Council

Ekhlas Empire Building, Beside Hogir Fuel Station Korani Ankara area, 100 m street- Erbil; IRAQ

All queries can be sent to the following e mail

iq.procurement@nrc.no

- SCOPE OF WORK

| Contract No. | Country | Work Description |
| --- | --- | --- |
| ITB – 005 - 2018 – NRC - Iraq | Iraq | Frame Work Agreement (FWA) Shelter Upgrades at Hawiga and Tuz Districts |

Please refer to the technical specifications, drawings, and BOQs for more details.

MAXIMUM TIME-FRAME FOR COMPLETION OF WORKS: The overall schedule for works for each contract/Work Order must be completed as per the attached format. However, you are expected to prepare a schedule to complete the works within 14 Calendar Days for upgradation of 20 shelters.

- SCHEDULE & DEADLINE FOR SUBMISSION

The deadline for submission of bids is 1500 hrs. on the 21st October 2018. Late bids will not be accepted.

|  | DATE | TIME* |
| --- | --- | --- |
| Invitation to Bid release | 23rd Sept 2018 |  |
| Deadline for request for any clarifications from NRC | 11th Oct 2018 |  |
| Deadline for submission of tenders (receiving date, not sending date) | 21st October 2018 | 1500 hrs |

* All times are in the local time of Iraq

Please note all dates are provisional dates and NRC reserves the right to modify this schedule.

- MANNER OF SUBMISSION:

# Please submit your bids in accordance with the requirements detailed below:

# Complete sealed bid documents shall be hand delivered at NRC Office at

Norwegian Refugee Council

Ekhlas Empire Building, Beside Hogir Fuel Station Korani Ankara area, 100 m street- Erbil

# Not later than 1500 hrs.on the due date indicated above. Tenders will be opened immediately thereafter in the presence of the tenderers or their representatives who choose to attend

- ASSESSMENT CRITERIA

# Award of the contract(s) will be based on the following:

# Step 1: Administrative compliance check

# Bidders must provide evidence of the following for their bid to be considered compliant:

- Sections 5-9 completed, signed and stamped

- Bidder has included a copy of their valid business licence.

# Step 2: Technical Evaluation

# A Technical Evaluation of all bids received will be conducted to shortlisted bidders. Criteria that will be used to evaluate and score the bids are outlined in Section 3, Clause 25

# Step 3: Financial Evaluation

# Price in comparison to NRC established expectation and in comparison to other bidders of comparable technical quality

SECTION 3

NRC Invitation to bid - General Terms & Conditions

- SCOPE OF BID

  - The bid is based on the scope of the assignment as determined in the Bid Data Sheet (Section 2). The instruction to bidders should be read in conjunction with the Bid Data Sheet.

  - The successful Bidder will be expected to complete the assignment by the Intended Completion Date specified in the contract to be signed

- CORRUPT PRACTICES

  - Norwegian Refugee Council requires Employees, Bidders and Contractors, to observe standards of ethics during procurement and the execution of contracts. In pursuit of this, Norwegian refugee Council defines, for the purposes of this provision, the terms set forth below as follows:

  - “Corrupt practice” includes the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and

  - “Fraudulent practice” includes a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Norwegian Refugee Council, and includes collusive practices among Bidders prior to or after bid submission designed to establish bid prices at artificial, non-competitive levels and to deprive the Norwegian Refugee Council of the benefits of free and open competition;

  - In any case where fraud or corruption is identified, NRC will:

- reject any bids where the Bidder has engaged in corrupt or fraudulent practices in competing for the Contract;

- remove bidding contractors who engage in fraudulent or corrupt practices, from our prequalified list

- liaise with District Officials to report if fraudulent or corrupt practices are identified

- terminate works

  - Any communications between a Bidder and the Norwegian Refugee Council related to matters of alleged fraud or corruption must be made in writing and addressed to the Country Director in Iraq.

- ELIGIBLE BIDDERS

  - A Bidder shall meet the following criteria to be eligible to participate in NRC procurement of Works:

- the bidder, at the time of bid, is not:

    - insolvent;

    - in receivership;

    - bankrupt; or

    - being wound up

- the bidder’s business activities have not been suspended;

- the bidder is not the subject of legal proceedings for any of the circumstances in (b); and

- The bidder has fulfilled his or her obligations to pay taxes and social security contributions. In a case where VAT is included in a bid, a copy of the VAT certificate must accompany the bid. A Bidder, and all parties constituting the Bidder including sub-contractors, shall not have a conflict of interest. All Bidders found to have a conflict of interest shall be disqualified. A Bidder may be considered to have a conflict of interest with one or more parties in this bidding process, if they have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about or influence on the bid of another Bidder, or influence the decisions of the Norwegian Refugee Council regarding this bidding process

  - A Bidder whose circumstances in relation to eligibility change during a procurement process or during the execution of a contract shall immediately inform the Norwegian Refugee Council.

  - NRC reserves the right to refuse a bid at any time if the bidder or one of its sub-contractors provided material support or resources to any individual or entity that commits, attempts to commit, advocates, facilitates, or participates or is found guilty of fraud, active corruption, collusion, coercive practice, bribery, involvement in a criminal organization or illegal activity, or immoral human resources practices, including but not limited to: child labour, non-discrimination, freedom of association, payment of the legal national minimum wage,  and forced labour.

- JOINT VENTURES, CONSORTIA AND ASSOCIATIONS

Bids submitted by a joint venture, consortium or association of two or more firms as partners will only be accepted in exceptional circumstances.

- ONE BID PER BIDDER PER WORK

Each Bidder shall submit only one Bid per contract. A Bidder who submits or participates in more than one bid per contract will cause all the bids with the Bidder’s participation to be rejected.

- COST OF BIDDING

The Bidder shall bear all costs associated with the preparation and submission of his Bid, and the Norwegian Refugee Council shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

- SITE VISIT

The Bidder, at the Bidder’s own responsibility and risk, is encouraged to visit and examine the Site of Works and its surroundings and obtain all information that may be necessary for preparing the bid and entering into a contract for construction of the Works. The costs of visiting the Site shall be at the Bidder’s own expense.

- INSPECTION

NRC is obliged to ensure that its procurement decisions are clearly justified and documented and keeping within the Donors mandatory principles. In that regard, full and on-the-spot access must be granted to representatives of NRC, the Donor or any organization or person mandated by it, to premises belonging to NRC or its contractors. The right to access shall include all documents and information necessary to assess, or audit the implementation of the contract

- OBTAINING AND COMPLETING BIDDING DOCUMENTS

  - Bidders who did not obtain the Bidding Document directly from the Norwegian Refugee Council will be rejected during evaluation. Where a Bidding Document is obtained from the Norwegian Refugee Council on a Bidder’s behalf, the Bidder’s name must be registered with the Norwegian Refugee Council at the time of issue.

  - The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Document. Failure to furnish all information or documentation required by the Bidding Document may result in the rejection of the bid.

- CLARIFICATION OF BIDDING DOCUMENT

A prospective Bidder requiring any clarification of the Bidding Document shall contact the Norwegian Refugee Council in writing. The Norwegian Refugee Council will respond in writing to any request for clarification before the deadline for clarification of bids. The Norwegian Refugee Council shall forward copies of its response to all Bidders who have acquired the Bidding Document, including a description of the inquiry but without identifying its source.

- AMENDMENT OF BIDDING DOCUMENT

  - At any time prior and until 48 hours prior to the deadline for submission of bids, the Norwegian Refugee Council may amend or cancel the Bidding Document by informing the bidders in writing.

  - To give prospective Bidders reasonable time in which to take an amendment or cancellation into account in preparing their bids, the Norwegian Refugee Council can, at his discretion, extend the deadline for the submission of bids.

- LANGUAGE OF BID

  - The bid, as well as all correspondence and documents relating to the bid shall be written in English.

  - Supporting documents and printed literature that are part of the bid may be in another language provided they are accompanied by an accurate translation of the relevant passages in English, in which case, for purposes of interpretation of the Bid, such translation shall govern.

- DOCUMENTS COMPRISING THE BID

  - The bid submitted by the Bidder shall comprise the following:

- Signed and stamped Contractor’s Biding form in Section 5

- Any other information and documents requested in Section 4.

- Service provision Schedule (as in Section 6)

- Company Profile and Previous experience (as in Section 7)

- Service Description and Pricing Proposal (as in Section 8)

- Signed and stamped Supplier Ethical Standards Declaration (as in Section 9)

  - All forms must be completed without any alterations to the format, and no substitutes shall be accepted. All blank spaces shall be filled in with the information requested.

- BID PRICE FOR WORKS CONTRACT

- Bid prices are for complete contracts. Contracts cannot be subdivided into pieces. Where a bid is submitted, all relevant BoQ must be completed.

- The Bidder shall fill in rates and prices for all items of the Works/supply or service described in the drawings and specifications and listed in the BoQ, Items for which no rate or price is entered by the Bidder will not be paid for by the Norwegian Refugee Council when executed and shall be deemed covered by the other rates and prices in the BoQ.

- Unless otherwise specified in the Bid Data Sheet, all duties, taxes and other levies payable by the contractor under the contract, shall be included in the total bid price submitted by the bidder.

- For bidder subject to VTA, VTA should be mentioned in the offers

- The priced Bill of Quantities submitted by any Bidder shall be checked for arithmetical errors and for what might be considered unreasonable rates during the evaluation. Where errors are identified one or more of the following steps may be taken:

- If any rates are considered to be unrealistic or unreasonable they may be altered by mutual agreement, provided that no alteration shall be made in the amount of the Bid.

- If any arithmetical errors are detected in an otherwise acceptable bid, and the Bidder, on being so notified, is prepared to confirm his bid and if the Bidder is subsequently awarded the contract, then the Bid shall be altered to reflect the difference.

- The Bidder is reminded that it is entirely his responsibility to ensure the accuracy of his bid. No alteration will be made to the bid after its submission on the grounds of any arithmetical errors subsequently discovered except as provided above.

- CURRENCIES OF BID AND PAYMENT

All prices shall be quoted by the Bidder in USD, unless otherwise stated. Similarly, all payments will be made in USD.

- BID VALIDITY

  - Bids shall remain valid for a period of 45 CDs after the date of the bid submission deadline as prescribed by Norwegian Refugee Council. A bid valid for a shorter period shall be rejected as non-compliant.

  - In exceptional circumstances, prior to the expiration of the bid validity period, the Norwegian Refugee Council may request Bidders in writing to extend the period of validity of their bids. A Bidder must confirm in writing his acceptance of the extension. In case of extension, modification of the bid is not permitted.

- ALTERNATIVE BIDS

Bidders shall submit offers that comply with the requirements of the bidding documents, including the basic technical design as indicated in the drawings and specifications. Alternative bids shall not be considered unless otherwise indicated in Section 2 – the Bid Data Sheet.

- FORMAT AND SIGNING OF BID

The Bidder shall prepare one set of bid documents per contract that he wishes to bid for. The bidder should hold a copy of the documents with himself, for reference purposes.

- SEALING AND MARKING OF THE BID

  - The Bidder shall enclose the bid for each contract in a plain envelope securely sealed

  - The envelopes shall:

  - be addressed to the Logistics Office, Norwegian Refugee Council, in the location specified in Section 2 – the Bid Data Sheet

  - bear the Contract number

  - no other markings should be on the envelope

  - If all envelopes are not sealed and marked as required, the Norwegian Refugee Council will reject the bid

- DEADLINE FOR SUBMISSION OF BIDS

Bids must be received by the Norwegian Refugee Council at the address given and no later than the date and time indicated in Section 2 - the Bid Data Sheet.

- LATE BIDS

The Norwegian Refugee Council shall not consider any bid that arrives after the deadline for submission as stipulated in Section 2 – the Bid Data Sheet. Any bid received by the Norwegian Refugee Council after the deadline for submission of bids shall be declared late and rejected.

- WITHDRAWAL AND REPLACEMENT OF BIDS

  - A Bidder may withdraw or replace its bid after it has been submitted at any time before the deadline for submission of bids by sending a written notice, signed by an authorized representative. Any corresponding replacement of the bid must accompany the respective written notice. All notices must be:

- submitted as with Clauses 20 and 21, and in addition, the envelopes shall be clearly marked “WITHDRAWAL” or “REPLACEMENT” and

- received by the Norwegian Refugee Council prior to the deadline for submission of bids, in accordance with Section 2 – the Bid Data Sheet

  - After the opening of bids, modifications to bids must be documented and any discussions reported in writing. A bid may be withdrawn at any stage, with written notice.

- CONFIDENTIALITY

  - Information relating to the examination, evaluation, comparison, and post-qualification of bids, and recommendation of contract award, shall not be disclosed to bidders or any other persons not officially concerned with such process until information detailing the best evaluated Bidder is communicated to all Bidders.

  - Any effort by a Bidder to influence the Norwegian Refugee Council in the examination, evaluation, comparison, and post-qualification of the bids or contract award decisions may result in the rejection of its bid.

  - From the time of bid opening to the time of Contract award, if any Bidder wishes to contact the Norwegian Refugee Council on any matter related to the bidding process, it should do so in writing.

- CLARIFICATION OF BIDS

Norwegian Refugee Council may, at its discretion, ask any Bidder for a clarification of its Bid. The Norwegian Refugee Council’s request for clarification and the response shall be in writing. Any clarification submitted by a Bidder that is not in response to a request by the Norwegian Refugee Council shall not be considered. All requests for clarifications shall be copied to all bidders for information purposes.  No change in the price or substance of the bid shall be permitted, except to confirm the correction of errors.

- BIDS VALIDATION

  - The Norwegian Refugee Council’s determination of a Bid’s validity is to be based on the contents of the bid itself, which cannot be corrected if determined to be invalid

  - A valid bid is one that complies with all the terms, conditions, and specifications of the Bidding Document, without deviation or omission, which affects, or could affect;

- the scope, quality, or performance of the Works specified in the Contract; or

- limits in any substantial way, the Norwegian Refugee Council’s rights or the Bidder’s obligations under the Contract

- EVALUATION OF BID

  - The Norwegian Refugee Council shall examine the legal documentation and other information submitted by Bidders to verify eligibility, and then will review and score bids according to the following criteria;

- Completion and inclusion of requested information and supporting documents (Administrative compliance) – Iraqi Registration and Tax Clearance certificate is a Mandatory Requirement.

- Price in comparison to NRC estimated rate (Financial evaluation)

- Overall timeframe for the works (Technical evaluation) – Providing Time Frame is a Mandatory requirement.

- Schedules (Key Personnel and Activity schedule) (Technical evaluation)

- Bill of Quantities (Financial & Technical evaluation)

- Previous experiences in similar works (Technical evaluation)

  - In case of two contractors being scored the same in the evaluation, the one with the highest technical ranking will be awarded the contract

  - Anti-money laundering, anti-bribery, anti-corruption and anti-terrorism legislation applicable in some jurisdictions may require NRC to verify the identity of the bidder prior to financial transactions. NRC reserves the right to use online screening tools to check the bidder’s record with regards to their possible involvement in illegal or unethical practices.

  - Norwegian Refugee Council reserves the right to reject all bids, and re-tender if no satisfactory bids are submitted

- AWARD PROCEDURE

  - The Norwegian Refugee Council shall award the Contract in writing, with an award letter, to the Bidder whose offer has been determined to be the best, before the end of the bid validity period

  - Any bidder who has not been awarded a contract, will be notified in writing

  - Until a formal contract is prepared and executed, the Award Letter shall constitute a binding agreement between the bidder and NRC.

  - The Award Letter will state the sum that the Norwegian Refugee Council will pay the Contractor in consideration of the Works as prescribed in the Contract, and in accordance with the Bid.

  - The Bidder is thereafter required to submit a Letter of Acceptance, confirming their wish to proceed with a contract.

- SIGNING OF CONTRACT

  - Upon receipt of the Letter of Acceptance, the Norwegian Refugee Council shall call the successful Bidder to sign the Contract.

  - Within an agreed timeframe, the successful Bidder shall sign, date, and return the Contract to the Norwegian Refugee Council.

- CONTRACT

  - The Contractor-to-be will  comply with a Works Contract, which will foresee, among others, the following commitments:

- Non-exploitation of child labour and respect of basic social rights and working conditions (including security regulations and insurance for labour);

- Provide transport, with insurance coverage for the materials, up to the warehouse and construction sites;

- Accomplish the works, according to the required quantities and technical specifications indicated in the Bill of Quantities and Technical Drawings (SECTIONS 7 and 8), within the proposed timeframe

- SUB CONTRACTING

Please be advised that subcontracting is not permitted. Bidders must have the capacity to complete the works themselves.

SECTION 4

WORKS CONTRACT - Technical description and proposed work plan of the bid

NOTE:

- Having Iraqi Registration and Tax Clearance certificate for 2018 is a Mandatory Requirement (Bids will be rejected if these documents are not provided)

- A Detailed Work Plan is also a mandatory requirement, please propose your Work Plan/ Timeframe for upgrading a group of 20 Shelters.

- Please submit Bank statement for last 6 months ( Mandatory Requirement)

Refer Annexure A - BoQ Scope of Work

| Ref | Item Description |  | Unit | Quantity |
| --- | --- | --- | --- | --- |
| A | Concrete work | الاعمال الخرسانية |  | - |
| A01 | Debris removal: Preparing site for implementation including the removal of all type of debris and other remnants. This also covers the transportation of the excess materials far away from the site according to the regulations and requirements of municipality. Site engineer must ensure that the work site is clean and clear from any residuals. All works must be according to the instructions and requests of site engineer. | رمي الانقاض وتهيئة الموقع: إعداد موقع العمل بما في ذلك إزالة جميع أنواع الانتقاض وغيرها من المخلفات. هذا يشمل أيضا نقل المواد الزائدة عن العمل بعيدا عن موقع العمل وفقا لشروط ومتطلبات البلدية. يجب أن يضمن مهندس الموقع أن موقع العمل نظيف وخالي من أي مخلفات. جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m3 | 1.0 |
| A02 | Excavation and Compaction: Carry out the necessary excavation (soil and/or stones or floor concrete) for the requested places. Works include compaction of the excavated area to be ready for foundation works by using water and suitable compactors and The bed of excavated area should be cleaned and levelled. The work should be done without damaging the existing pipes. All works should be conducted as per the site Engineer's instructions. | اعمال الحفريات والحدل: القيام بأعمال الحفر الضرورية (التربة و / أو الحجارة أو الخرسانة) للأماكن المطلوبة. وتتضمن الفقرة حدل المساحة المطلوبة لتكون جاهزة لأعمال الأساس باستخدام الماء والحادلات المناسبة ويتضمن العمل يجب تنظيف وتجفيف المساحات المحفورة. جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m3 | 1.0 |
| A03 | Filling and Compacting with Sub-base: Supplying and laying screened sub-base material by using Type B and compacting in one layer of 20cm depth with using a suitable compactor. All works must be according to the instructions and requests of site engineer. | اعمال الردم والحدل للخابط: تجهيز وفرش الخابط نوع B مع الحل لكل طبقة واحدة بعمق 20 سم باستخدام حادلات مناسبة. جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| A04 | Concrete Flooring: Cast 10 cm plain concrete 1:2:4 mix using BRC 6 mm, the work includes laying a layer of crushed stone or gravel and compacting it properly (below the concrete layer), The surface should be smooth and fair face with out segregation and cracks, the work includes remove the damaged flooring if exist. All works must be according to the requests and instructions of site engineer. | صب الارضیة: الصب للارضيات بالخرسانة 4:2:1 وبسمك 10سم وباستخدام الاسمنت المقاوم للاملاح وطبقة من BRC, يشمل السعر التربيع بالحجرق المكسر او الجلمود مع الرص الجيد.سطح الصبه يجب ان يكون مصقول ومستوي ومتجانس ولا يحتوي على التشققات, العمل يتضمن رفع الصبة القديمة المتضررة اذا وجد.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| A05 | Column: Supply materials and cast column by using reinforced and the Concrete should be class C 1:1.5:3 mix B300, 25 Mpa Concrete. the size (30X30)cm and variable in height. Using main bar #12mm vertically and #8mm for stirrup @20cm Works include shuttering. Concrete must be regularly watered during curing process and also should be vibrated by using suitable vibrator. All works must be according to the requests and instructions of site engineer. | الاعمدة الخرسانية:تجهيز المواد اللازمة وصب الاعمدة باستخدام الخرسانة المسلحة صنف C :1:1.5:3 خلطة B300 ،وبقوة 25 ميكاباسكال.ابعاد الاعمدة(30*30)سم وبارتفاعات مختلفة.يجب استخدام حديد تسليح 12قطر ملم و8 ملم للقفائص وبمسافة 20سم ويتضمن الفقرة اعمال القالب.يتضمن الفقرة رش الحرسانة بالماء واستخدام الهزاز خلال عملية الصب.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m.l | 1.0 |
| A06 | Beams: Supply materials and cast Beams by using reinforced and the Concrete should be class C 1:2:4 mix (21Mpa) B250. the size (30X40)cm and variable in length. Using steel bar #12mm for main rows and steel bar #10mm for stirrup @15cm and Works include shuttering. Concrete must be regularly watered during curing process and also should be vibrated by using suitable vibrator. All works must be according to the requests and instructions of site engineer. | الرباطات: تجهيز المواد اللازمة وصب الرباطات باستخدام الخرسانة المسلحة ويجب أن تكون خلطة الخرسانة من الفئة C 1: 2: 4 mix (21Mpa) B250. بابعاد (30 × 40) سم باطوال مختلفة..يجب استخدام حديد تسليح 12قطر ملم و10 ملم للقفائص وبمسافة 15سم. ويتضمن الفقرة اعمال القالب.يتضمن الفقرة رش الحرسانة بالماء واستخدام الهزاز خلال عملية الصب.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m.l | 1.0 |
| A07 | Concrete slab: Supply and cast 15cm concrete slab. Concrete should be class C 1:2:4 mix (21Mpa). Using steel bar #12mm in both direction @25 C/C works include deforming(formwork). Concrete must be regularly watered during curing process and also should be vibrated by using suitable vibrator, to prevent cracking and tools should use during casting process. Steel reinforcement bars must be in follows specifications, Yield strength of 250Mpa. All supplied steel bars must be rust free. High tensile strength wires should be used for all steel fixing. Plastic Rebar Clip Chair Spacer is used and ensure that Rebar free from rust. the poured area should be levelled, All works to be according to the specification, drawings and instruction of site engineer. | السقوف: تجهيز المواد اللازمة وصب السقوف بسمك 15 سم باستخدام الخرسانة المسلحة ويجب أن تكون خلطة الخرسانة من الفئة C 1: 2: 4 (21Mpa) B250..يجب استخدام حديد تسليح 12قطر ملم باتجاهين وبمسافة 25سم من مركز الى مركز. ويتضمن الفقرة اعمال القالب وبالاشكال والاحجام المطلوبة للسقف .يتضمن الفقرة رش الحرسانة بالماء واستخدام الهزاز خلال عملية الصب.ويجب ان يكون سطح الصبه يجب ان يكون مصقول ومستوي ومتجانس ولا يحتوي على التشققات.يجب أن تكون حديد التسليح حسب المواصفات التالية ، قوة مقاومة الشد 250Map. يجب أن تكون جميع حديد التسليح الموردة خالية من الصدأ. يجب استخدام أسلاك مقاومة الشد العالية لجميع عمليات التثبيت حديد التسليح. يتم استخدام فاصل (كرسي) حديد بلاستيكي والتأكد من خلوها من الصدأ.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| A08 | Concrete Ramp :Supply material and cast concrete (1:2:4) Ramp (1 m width), the slope should not be more than (1:5), for elevations of more than 20cm of height, supply and cast concrete over the nylon, for making concrete ramp 1m in width and %12 slope rate for each 1m in length. Concrete should be class C 1:2:4 mix (21Mpa). All works to be according to the specification, The item includes any special design needs for disabled persons drawings and requests of site engineer. | رامبة خرسانية : تجهيز المواد و القيام بعمل رمبة خرسانية وبخلطة (1:2:4) (رامبة خرسانية) , بعرض لايقل عن 1 م , و ميل لا يزيد عن (سلوب) (1:5)لكل 20سم اريفاع.يتضمن الفقرة استخدام نايلون تحت الصبة.يجب ان يكون معدل الميل 12% لكل 1 م طول وعرض 1م.خلطة الصبة الخرسانية يجب ان تكون من فئة C 1:2:4 . ويتضمن الفقرة اي شكل وتصميم خاص حسب متطلبات العمل والتصميم الخاص باشخاص ذوي الاعاقات الجسدية وارشادات مهندس الموقع. | m.l. | 1.0 |
| A09 | Nylon Covering: Supply and spread layer of Nylon, 1.00 mm thick, on compacted soil. The Nylon should spread in a proper way in the foundation place or any other needed place as per requests. Site engineer must ensure that all the excavated area are covered by nylon without any exception. Nylon works should be according to engineering specifications and requests of site engineer. | التغطية بالنايلون: تجهيز وفرش طبقة من النايلون ، بسماكة 1.00 ملم ، على التربة ا(الرضية المحدولة). يجب أن يتم فرش النايلون بطريقة مناسبة في مكان الأساس أو أي مكان آخر مطلوب حسب مطلبات العمل. يجب على مهندس الموقع التأكد من تغطية جميع المساحة المحفورة بالنايلون دون أي استثناء. يجب أن تكون أعمال النايلون وفقا للمواصفات الهندسية وارشادات مهندس الموقع. | m2 | 1.0 |
| B | Wall Works | اعمال البناء |  |  |
| B01 | Concrete Hollow Block (20X20X40):Provide and build concrete hollow block (20X20X40 cm) with weight not less than 22 KG with 1:3 cement mortar using ordinary Portland cement. Work include flash poin the joints between blocks from the outside and the inside and watering. The price include install steel angle lintels (2.5X2.5" and thickness 3mm ) over openings of doors and windows. The work includes removing the old partitions, if exist. Concrete solid blocks should be at the same required measurement and not broken or severed and thickness of cement mortar should be no less than 2cm. Walls should be sprayed with water during 2 days. All works and dimensions should be done according to the requests and instructions of site engineer. | البناء بالبلوك المجوف (20*20*40) سم: تجهيز و بناء بالبلوك الاسمنتي قياس 20*20*40 سم وان لايقل وزن البلوكة المستخدمة عن 22 كغم , ومونة الاسمنت العادي والرمل بنسبة خلط 1:3 يتضمن السعر حديد الزاوية 2.5X2.5 انج وسمك 3 ملم المطلوب فوق الابواب والشبابيك , العمل يتضمن ملئ الفراغات (درز) بين البلوك من الخارج والداخل و ازالة المقاطع القديمة (اذا وجد) .مواصفات البلوك يجب ان تكون لديها زواية وحواف منتظمة وان تكون ات متانة عالية لا تنكسر بسهولة ويجب ان تكون المونة بيتن السافات البلةك بسمك لا يقل عن 2سم.ويضمن الفقرة الرش بالماء خلال يومين وحسب ارشادات المهندس المشرف على العمل .جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| B02 | Concrete Hollow Block (15X20X40):Provide and build concrete hollow block (10X20X40 cm) with weight not less than 12 KG with 1:3 cement mortar using ordinary Portland cement. Work include filling the joints between blocks from the outside and the inside and watering. The price include install steel angle lintels (2.5X2.5" and thickness 3mm ) over openings of doors and windows, the work includes removing the old partitions, if exist. Concrete solid blocks should be at the same required measurement and not broken or severed and thickness of cement mortar should be no less than 2cm. Walls should be sprayed with water during 2 days. All works and dimensions should be done according to the requests and instructions of site engineer. | البناء بالبلوك المجوف (15*20*40) سم: تجهيز و بناء بالبلوك الاسمنتي قياس 15*20*40 سم وان لايقل وزن البلوكة المستخدمة عن 12 كغم , ومونة 2الاسمنت العادي والرمل بنسبة خلط 1:3 يتضمن السعر حديد الزاوية 2.5X2.5 انج وسمك 3 ملم المطلوب فوق الابواب والشبابيك , العمل يتضمن ملئ الفراغات (درز) بين البلوك من الخارج والداخل و ازالة المقاطع القديمة (اذا وجد) .مواصفات البلوك يجب ان تكون لديها زواية وحواف منتظمة وان تكون ات متانة عالية لا تنكسر بسهولة ويجب ان تكون المونة بيتن السافات البلةك بسمك لا يقل عن 2سم.ويضمن الفقرة الرش بالماء خلال يومين وحسب ارشادات المهندس المشرف على العمل .جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| B03 | Concrete Solid Block (15X20X40 cm): Construct new walls by masonry building with concrete solid block (15X20X40 cm) using ordinary Portland cement/sand mortar of 1:3 ratio. Solid blocks should be used in case of need to raise the level of the foundation and to construct a retaining and support walls on the concrete foundation according to the site engineer requests. Concrete solid blocks should be at the same required measurement and not broken or severed and thickness of cement mortar should be no less than 2cm. Walls should be sprayed with water during 2 days. All works and dimensions should be done according to the requests and instructions of site engineer. | البناء بالبلوك الصلد (15*20*40) سم: تجهيز و بناء بالبلوك الاسمنتي الصلد قياس 15*20*40 , ومونة الاسمنت العادي والرمل بنسبة خلط 1:3 البلوك الصلد يسخن في اعمال بناء الاساسات والارتفاعات المطلوية لتعلية الاساسات وايضا يستخم كجار ساند اذا تطلب العمل ذلك, العمل يتضمن ملئ الفراغات (درز) بين البلوك من الخارج والداخل و ازالة المقاطع القديمة (اذا وجد) .مواصفات البلوك يجب ان تكون لديها زواية وحواف منتظمة وان تكون ات متانة عالية لا تنكسر بسهولة ويجب ان تكون المونة بيتن السافات البلةك بسمك لا يقل عن 2سم.ويضمن الفقرة الرش بالماء خلال يومين وحسب ارشادات المهندس المشرف على العمل .جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| B04 | Filling Concrete Blocks Joints: Supply materials and filling concrete block joints in inner and outer sides of the wall. All block gaps and block joints should be filled horizontally and vertically using ordinary Portland cement / sand and sand must be sieved before mixing it with cement and mortar should be with 1:3 ratio. Filled gaps should be smooth. Filling concrete blocks should be done according to instructions of site engineer. | اعمال الدرز لجدران البلوك:اعمال الدرز للجدران اليلوك من الخارج والدخل باسخدان خلطة مونة السمن العايو والرمل المنخول بنسبة خلط1:3 .يتضمن العمل ملع جميع الفؤاغات العمودية والافقية وجميع الشقوق والفراغات وبشكل هندسي وذات سطوح ملساء. .جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| B05 | Gypsum plaster: Internal plastering with gypsum in two layers at least, each layer min. of 15 mm thickness for walls with approved gypsum, the wall and ceiling to be cleaned and splashed by cement- sand mortar prior of plastering. Final surface shall be clean, smooth and white, using checking wire width of 50 cm between different materials. Gypsum plastering should be done according to instructions of site engineer. | اعمال البياض(الجص): البياض الداخلي باسخدام الجبس بطبقتين على الأقل ، كل طبقة لا تقل سماكها15عن 15 مم للجدران باسخدامجبس نوعية معتمدة ، ويجب تنطيف الجدران والسقوف عمل عمل الباض ورشهما بمونة الرمل والاسمن(شربت). يجب أن يكون السطح النهائي نظيفًا وأملسًا وأبيضًا ، وذلك باستخدام سلك(جيكن واير) عرض يبلغ 50 سمًا بين المواد المختلفة. يجب أن يتم التجصيص الجبس وفقا لتعليمات مهندس الموقع.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| B06 | Cement Plastering: Plastering the internal walls & ceilings with 2 layers of cement: sand(smooth) mix (1:3) , with taking into consideration the verticality and alignment of the surfaces according to the technical specifications, the work includes fixing wire mesh over the steel lintels of doors and windows and watering. If applicable. Cement plastering should be done according to instructions of site engineer. | اللبخ الاسمنتي: لبخ الجدران و السقوف بطبقتين من بمونة السمنت والرمل الناعم (1 : 3 ), مع اخذ بنظر الاعتبار سطع البخ ان تكون بشكل شاقولي وعدل و الاستواء الاوجة و كل ما يتطلبة العمل بموجب المواصفات الفنية, العمل یتضمن استخدام شبكة (chicken wire) و تثبته على جبهة الابواب و الشبابيك الحديدية ,العمل يتضمن ازالة الوايرات و الملحقات الكهربائية الموجودة, و اعادة تركيب الوايرات و الملحقات الكهربائية على اللبخ الجديد.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| B07 | Cement Re-Plastering: Remove worn-out old plaster (or any other finishing) & repair all cracks in the wall and ceiling if found by using (chicken wire) and steel bars if needed , surface should be dry before re-plastering, then Re-plastering the internal walls & ceilings with 2 layers of cement: sand(smooth) mix (1:3) , with taking into consideration the verticality and alignment of the surfaces according to the technical specifications. If applicable. Cement re-plastering should be done according to instructions of site engineer. | اعادة اللبخ الاسمنتي : ازالة اللبخ القديم او ايانهاءات القديمة وتصليح الشقوق الموجودة او التي تظهر في الجدران و السقوف بعد رفع طبقة الانهاء باستخدام شبكة (chicken wire) تثبت على الفطر وقضبان الحديد اذا تطلب العمل وكذلك تصليح المناطق المرطبة (يجب التاكد من جفاف هذة المناطق قبل المباشرة باعادة الانهاء), واعادة اللبخ بطبقتين من بمونة السمنت والرمل الناعم (1 : 3 ), مع اخذا بنظر الاعتبار الشا قولية و الاستواء الاوجة و كل ما يتطلبة العمل بموجب المواصفات الفنية, العمل يتضمن ازالة الوايرات و الملحقات الكهربائية الموجودة, و اعادة تركيب الوايرات و الملحقات الكهربائية على اللبخ الجديد.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| B08 | Bitumen Layer: Spreading a layer of bitumen layer (Isogam layer), Isogam should be done according to instructions of site engineer. | طبقة البيتومين(ايزوكام):تجهيزو فرش طبقة البيتومين (طبقة الأيزوجام) حسب متطابات العمل، يجب أن يتم عمل الايزكام وفقًا لتعليمات مهندس الموقع.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| C | Roof Works | اعمال التسقيف |  |  |
| C01 | Sandwich panel Roofing: Fix a new sandwich panel (thickness 5cm) roof fixed on 3” and thickness 3mm steel channels fixed on the walls and in the middle of the roof as support (maximum span between the supports 1.7 m), which should be raised to give the required slope using T shape rods (as described in SOW). Where necessary, install rain water drains to drain water collected over roofs to prevent water draining to adjacent roofs. Drainage should be done using Galvanic sheet shaped into a U-shaped channel and connected with PVC pipe 3" to drain accumulated water away from the shelter. Work include plastering of both sides of the raised walls & all hooks, bolts, screws, etc. & finishing the joints with the adjacent walls by mastic material and galv. sheet cover, and also includes filling all openings and gaps between the roof and walls using cement: sand mortar and plastering 20cm of the walls as mentioned in the scope of work attached. The work includes removing the old/damaged roof (if exists). Work include testing with water before handover. | السقوف الساندويج بنل: التسقيف بأستخدام الواح الساندويج بنل سمك (5 سم)الذي يتم تثبيته على حديد الساقيه قياس 3 أنج سمك 3 ملم بعد تثبيته بالجدران وحديد ساقية بنفس القياس في منتصف السقف كساند للسقف كل 1.7م , و يجب رفع الساقيات باستخدام عود عديدي على شكل T بما يؤمن أنسابية تصريف مياه الامطار(مع عمل مجرى نظامي لتصريف مياه الامطار المتجمعة فوق السقوف في حالة وجود مفصل بين السقف الجديد والقديم مستخدمين صفائح الحديد المغلون لعمل ساقية وربطها بانبوب بلاستيك 3 انج وتصريف المياه المتجمعة بعيدا عن غرف المأوى ) شاملا السعر عمل مفصل نظامي مع الجدران المجاوره وملئها بالماستك ووضع غطاء من الصفيح المغلون و البراغي و القنجات ولبخ جزء الجدار الذى تم رفعة من الداخل و الخارج وحسب المواصفات الفنيه وتوجيه المهندس المشرف، العمل یتضمن سد كل الفراغات بين الجدار و السقف باستخدام مونة الرمل و السمنت, ولبخ 20 سم من الجدران حسب وصف العمل المرفق, والعمل يتضمن رفع السقف القديم (اذا وجد).جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. يتضمن العمل فحص السقف بالمياة قبل التسليم. | m2 | 1.0 |
| C02 | Corrugated Iron Roofing: Install ceiling of steel corrugate sheets (Kirby) gauge 05 submitted on steel frame square section 1.5x1.5 inch 5mm thickness, connected with to the walls using T shape rods to give the required slope, according to sketch will submit by the site Engineer. Corrugated sheet should be fixed to the frame using screws with rubber washer at every 50cm. Steel works should be painted with anti-corrosion paint and oil paint. The work includes filling all openings and gaps between the roof and walls using cement: sand mortar and plastering 20cm of the walls as mentioned in the scope of work attached. The work includes remove the old existing roof (if exists). Work include testing with water before handover. | السقوف الكيربي(جنكو): تجهيز مواد وعمل سقيفة من الكيربي (الحديد المضلع قياس 05) ومدعوم بمقطع حديدي بوري مربع 1,5*1,5 انج وسمك 5ملم للهيكل الحديدي مصبوغ بصبغ دهني طبقتين احدهما صبغ مقاوم للصدأ والاخرى دهني مع الربط بالبراغي وصمولات وواشر مطاطي كل 50سم واللحام وتركب في المكان لمحدد وو يتم تثبته على الجدران و يجب رفع السقف باستخدام عود عديدي على شكل T بما يؤمن أنسابية تصريف مياه الامطار ,حسب المخطط المرفق ويشمل السعر ملئ الفراغات بين الجدران الطينية والسقف, العمل یتضمن سد كل الفراغات بين الجدار و السقف باستخدام مونة الرمل و السمنت, ولبخ 20 سم من الجدران حسب وصف العمل المرفق, , والعمل يتضمن رفع السقف القديم (اذا وجد).جب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. يتضمن العمل فحص السقف بالمياة قبل التسليم. | m2 | 1.0 |
| C03 | Plastic Sheeting: Supplying and fix plastic sheet (polyethylene nylon) for roofs, (Turkish made or any approved equivalent type) 0.165 kg/m2 , the fixing will be by using nails with rubber washer (1.5" long) and flat timber panels (Flat timber thickness 2.5cm minimum and width 5cm). The flat timber panels will be fixed on the walls all around the roof by using nails every 30 cm to fix the plastic sheet properly (the distance between the roof and the timber panel should be at least 20cm). The plastic sheet should work as a water proofing layer and should be tested before handover. | النایلون: تجهیز وتركیب نایلون سمیك (بولیاپیلین 0.165 كغ/م2) للسقوف، نوع تركي او اي نوع موافق علیها من قبل المهندس المشرف, عملية التثبيت للنايلون ستكون باستخدام الواح خشبية بسمك 2.5 وعرض 5 سم واستخدام مسامير بطول 1.5انج تثبت على الجدران من جميع الجوانب الغرفة يكون توزيع تثبيت المسامير كل 30 سم ويجب ان يكون نزول طبقة النيلون من السقف على الجدران بمسافة لاتقل عن 20 سم لكي يعمل على عزل نزول ياه الامطار المتجمعة وضمن حماية السقف والجدران من نزول المياه. يتضمن العمل فحص السقف بالمياة قبل التسليم. | m2 | 1.0 |
| D | Door and Windows | الابواب والشبابيك |  |  |
| D01 | Exterior Gate Door: Supply and install steel hinged doors, with frame and support cross 2.5" x 2, 5' with 2mm thick steel hollow bar plated on both sides steel plate gauge 18. ,All metal surfaces should be painted, primed with anti-corrosion paint with two layers of oil paint. supplying and fixing of all required locks, hinges, two slide bolts vertical and horizontal etc. & removal of old doors & frames (if exist) and repair of all damages that may occur to the wall or finish due to the replacement process, and the work includes plastering the frame of the door with cement: sand plastering and 15 cm around the frame with oil painting this frame. Design according to the approval of site engineer | الابواب الحديدية الخارجية (الباب الرئيسي): قلع الابواب الحديدية القديمة وتبديلها بباب حديدي كبس وجه واحد (بليت حديد كيج 18مع هيكل الباب حديد زاويه قياس 1,5*1,5انج* سمك 5 ملم) وحسب المخططات ويشمل العمل الصبغ بمادة مانع الصدأ والصبغ الدهني بطبقتين ومع تثبيت السركي من الداخل والخارج مع تجهيز وتثبيت كيلون (عادي ) من النوع الجيد شاملا العمل الاطار من الحديد الزاوية قياس (2 *2 أنج *5 ملم )مع تصليح اي ضرر قد يحصل للجدار او الانهائيات, و العمل يتضمن ازالة الابواب القديمة (اذا وجد) و لبخ اطار الباب بمونة السمنت و الرمل و 15 سم حول الاطار كما موضح في وصف العمل المرفق. والعمل يتضمن رفع السقف القديم (اذا وجد). | m2 | 1.0 |
| D02 | Steel Doors :Supply and install steel hinged doors, with frame 2 x 2”, 5 mm thick steel angle , plated on both side steel plate gauge 18. All metal surfaces should be painted, primed with anti-corrosion paint with two layers of oil paint. supplying and fixing of all required locks, hinges, etc. & removal of old doors & frames (if exist) and repair of all damages that may occur to the wall or finish due to the replacement process, and the work includes plastering the frame of the door with cement: sand plastering and 15 cm around the frame with oil painting this frame. | الابواب الحديدية : تجهيز ونصب باب حديدي كبس وجهين (بليت حديد كيج 18مع هيكل الباب حديد زاويه قياس 1,5*1,5انج* سمك 5 ملم) وحسب المخططات ويشمل العمل الصبغ بمادة مانع الصدأ والصبغ الدهني بطبقتين ومع تثبيت السركي من الداخل والخارج مع تجهيز وتثبيت كيلون (عادي ) من النوع الجيد شاملا العمل الاطار من الحديد الزاوية قياس (2 *2 أنج *5 ملم )مع تصليح اي ضرر قد يحصل للجدار او الانهائيات, و العمل يتضمن ازالة الابواب القديمة (اذا وجد) و لبخ اطار الباب بمونة السمنت و الرمل و 15 سم حول الاطار كما موضح في وصف العمل المرفق. والعمل يتضمن رفع السقف القديم (اذا وجد).يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| D03 | PVC Doors: Supply materials and install new PVC doors complete with the frames. key locks & painted & glass where required , the work Includes removal of old doors & frames (if exist) and repair of all damages that may occur to the wall or finish due to the replacement process, also wall frame repair and plastering the frame with cement: sand mortar and 15 cm all around the frame with oil paint of this frame. | أبوابَ PVC: تجهيزِ تركيب أبوابَ PVC جديدةِ مع الإطار الباب م للحمامات والمطابخ وكيلون وقفل من النوع الجيد, ويتضمن العمل تجهيز زجاج للابواب وحسب الحاجة, العمل يتضمن ازالة الابواب القديمة (اذا وجد) و تصليح اي ضرر يحصل للجدران او الانهائيات ,و لبخ الاطار بمونة السمنت و الرمل و 15 سم حول الاطار كما موضح في وصف العمل المرفق. يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| D04 | PVC Windows: Supply & install new PVC windows, with the ability to open and lock. Work includes all the required accessories (glass, handles, hinges, wire mesh ....etc.) and fixing according to the required access and attached drawings. Work includes wall frame repair and plastering the frame with cement: sand mortar and 15 cm all around the frame with oil paint of this frame. Works includes removing old windows (if exists). | شبابيك PVC: تجهيز مواد وتركيب شبابيك PVC شاملا السعر الزجاج و اليدات والنرمادات ومانع الذباب ويجب ان يكون الشباك قابلا للفتح والغلق وتركيب ورفع الشباك القديم ان وجد وكل ما يتطلبه العمل وحسب المواصفات الفنية والمخططات المرفقة, العمل يتضمن تصليح اي ضرر يحصل للجدران او الانهائيات ,و لبخ الاطار بمونة السمنت و الرمل و 15 سم حول الاطار كما موضح في وصف العمل المرفق, و العمل يتضمن ازالة الشبابيك القديمة (اذا وجد).ويتم العمل وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |
| D05 | Steel Window : Supply & install steel windows with 1.2m in height and 1m in width by using Frame of angle section 4 cm 4mm thickness, open window 40 cm, 1,25 inch, 3 mm thickness. Using steel T section for window frame in bottom line (4*2)cm with having Hole at front side. Window should be 180 degree fully openable. Windows should be provided with a locking mechanism with railway steel handle. Windows must be painted with one layer of antirust and one layer of oil painting by using silver coloured anti-rust paint. The window glass should be 4mm thick and semi-transparent. | النوافذ الحديدية: تجهيز وتركيب نوافذ حديدية بارتفاع 1.2 م وعرض 1 م باستخدام إطارحديد زاوية زاوية 4 سم سماكة 4 مم ، نافذة(الفردة) مفتوحة 40 سم ، 1،25 انج ، 3 ملم. واستخدام مقطعT لإطار النافذة في القاعدة (4 * 2) سم مع وجود ثقب في الجانب الأمامي. يجب أن تكون النافذة 180 درجة قابلة للفتح بالكامل. ينبغي تزويد الشبابيك قفل مزودة بمقبض حديدي. يجب طلاء النوافذ بطبقة واحدة من مانع االصدأ وطبقة واحدة من الطلاء الزيتي باستخدام طلاء مضاد للصدأ بلون فضي. ويتضمن العمل تجهيز وتركيب زجاج النافذة بسماكة 4 ملم وشبه شفاف..ويتم العمل وفقا للتعليمات وارشادات مهندس الموقع | m2 | 1.0 |
| D06 | Replacing Window Glass: Supply & install glass of 4mm thickness. using approved type of paste by the supervisor engineer, and painting it with anti rust paint ( when founded), The price includes removing and cleaning broken glasses & it's paste. | زجاج الشبابيك : ازالة الزجاج المكسور وتبديلة باخر جديد من النوعية الجيدة سمك 4 ملم مع المعجون والتنظيف الجيد وبحسب المواصفات الفنية وكل ما يتطلبه العمل, و طلائه بمادة مقاومة للصدأ ( أن وجد). | m2 | 1.0 |
| D07 | PVC Partitions: Supply & install materials for fixing PVC wall partitions ,the price includes all the detailed Frames and the PVC partition may include installation required according the instruction of the site Engineer and attached scope of work and drawings, the price includes all the required accessories for installation where required. | قواطع PVC : تجهيز مواد والعمل لتثبيت قاطع للجدران من ال (PVC) شاملا السعر كل التفاصيل الهيكل البلاستيكي و ابواب و شبابيك اينما تطلب الامر حسب توجيه المهندس المشرف و حسب المخططات و شرح العمل المرفق, العمل يتضمن كل الملحقات (زجاج , مقبض الابواب, مقابض الشبابيك, الاقفال......الخ) و حسب متطلبات العمل. | m2 | 1.0 |
| D08 | Door Locks (Exterior): Supply and fix of best quality door handles with locks (for gates and exterior doors), approved by the technical supervising engineer. | كيلون باب خارجي: جهيز وتثبيت كيلون باب (للابواب الخارجية) مع مفتاح وقفل من النوع الجيد والمصادق عليه من قبل المهندس المشرف. | No | 1.0 |
| D09 | Door Locks (Interior): Supply and fix of best quality door handles with locks (for internal doors), approved by the technical supervising engineer. | كيلون باب داخلي: جهيز وتثبيت كيلون باب (للابواب الداخلية) من النوع الجيد والمصادق عليه من قبل المهندس المشرف. | No | 1.0 |
| D10 | Window Locks: Supply and fix of best quality window handles (for Steel /PVC windows), approved by the technical supervising engineer. | كيلون شباك: جهيز وتثبيت كيلون شباك (حديدي/بلاستيكي) من النوع الجيد والمصادق عليه من قبل المهندس المشرف. | No | 1.0 |
| E | Finishing Works | اعمال الانهائيات |  |  |
| E01 | Steel Handrails: Supply & install materials for new steel frame of handrail 90 cm high (Baluster opening between vertical members should not be more than 10 cm), using steel square pipe 1.5"X1.5" for stiffeners frame and 3"x1.5" and thickness 1.5mm for main handrail and frame ,. install it properly with bolts and welding and painting it with 2-layer of anti-rust paint and two layers. of oil painting, The item includes any special design needs for disabled persons according the instruction of the site engineer | درابزين فولاذي(محجل): تجهيز مواد وتركيب اكار حديدي جديد بارتفاع 90 سم (يجب أن لا يكون طول الفواصل بين الأعضاء العمودية أكثر من 10 سم) ، يجي استخدام أنبوب مربع فولاذي 1.5 "X1.5" لإطار التقوية و 3 "x1.5 "وسمك 1.5 ملم للدرابزين الرئيسي والإطار ،.يجب تثبيته بشكل صحيح مع البراغي واللحام واوصبغها بطبقتين من الطلاء المضادة للصدأ وطبقتين من الصبغ الدهني ، ويشمل هذا الفقرة أي احتياجات او تصميم خاص للاشخاص ذوي الاحتياجات الخاصةووفقا لتعليمات وارشادات مهندس الموقع. | m.l | 1.0 |
| E02 | Painting: Supply and apply water emulsion paint with acrylic base. Three finishing coats in addition to under coat. Emulsion paint on plastered surfaces include removing all defected surfaces, preparation of surfaces, sanding, cleaning, application of thin putty filler as required. The colour of the paint and source of the material is subject to the Engineer's approval. | الصبغ: تجهيزِ مواد وصْبغُ الجدرانَ الداخليةَ والخارجية، للغُرَفِ والممراتِ بثلاثة طبقات طلاءِ ايمولشن-مائي) نوعية جيدة. يَتضمّنُ السعرُ ازالة الطلاء القديم و تَصليح كُلّ السطوح قبل الصبغ واذا اية اجزاء بلاستيكي او مواد اخرى وتعديل السكن ومليء وصقل الفتحات والتشققات. لون الطلاءِ سَيُخصّصُ مِن قِبل المهندسِ المشرف. | m2 | 1.0 |
| E03 | Oil Painting: Supply material & paint the internal walls of the WC & kitchen. with 3 coats of flat matt oil, good quality paint. Price include removing the old paint & repair all defect surfaces. The colour of the paint will be assigned by the engineer. | الصبغ الدهني: تجهيزِ مواد وصْبغُ الجدرانَ الداخليةَ، للحمامات والمطابخ بثلاثة طبقات طلاءِ (دهني) واقي من المياة والرطوبة وذو نوعية جيدة. يَتضمّنُ السعرُ ازالة الطلاء القديم و تَصليح كُلّ السطوح قبل الصبغ . لون الطلاءِ سَيُخصّصُ مِن قِبل المهندسِ المشرف. | m2 | 1.0 |
| F | Sanitary Works | اعمال الصحيات |  |  |
| F01 | Sink: Supply and fix of best quality stainless steel sink, single basin, one wing, properly fixed on galv. steel pipe stand. Work include supply of chrome mixing tap to be connected to water supply system. Sink to be connected to nearest gully trap with best quality rubber hose properly connected to 2” diam. galv. steel drain. | سنك: تجهيز مع تثبيت سنك حوض واحد جناح واحد للمطبخ مثبت على ستاند من انابيب الحديد المغلون وتجهيز وتركيب خلاط كروم من النوع الجيد مع ربطه باقرب مصدر للماء البارد والحار (ان وجد) وايصال انبوب التصريف المطاطي الى انبوب التصريف وكافة التاسيسات الصحية للازمة وربط انبوب 2 انج حديدي لفتحة التصريف وحسب المواصفات الفنية وكل ما يتطلبة العمل. | No | 1.0 |
| F02 | Steel Water Tank: Supply and install galvanized steel tank, 1 m3 in capacity, on concrete blocks or steel stand (if available). Tank shall be made of galv. sheets gauge 18 complete. with overflow, drain & control valve, inlet and outlet pipes with all necessary fittings. | خزان المياه: تجهيز ونصب وتأسيس خزان ماء سعة 1 م3 من الصفيح المغلون كيج 18 كامل وينصب في الأماكن التي يحددها المهندس على قواعد كونكريتية او حديدية (اذا وجد)، مع كافة المواد اللازمة للربط من الطوافة والأنابيب الداخلة والخارجة وانبوب الطفح و قفل (محبس) التنظيف. | No | 1.0 |
| F03 | Water Tank Stand: Supply and install steel stand for the water steel tank, using steel angle 2.5x2.5 inch 3mm thick with 3.5 m height. The stand will be supported in hole of 0.3X0.3 m , 0.5 m depth , casted with concrete (SR cement) and according to the technical specifications and attached scope of work and drawings. The work includes painting the steel stand with anti corrosion and oil paint , and relocating and putting the existing water tank properly on the steel stand and re-connecting the pipes if exists. | قاعدة حامل خزان المياه: تجهيز وتركيب قاعدة حامل فولاذي لخزان المياه ، باستخدام حديد زاوية 2.5x2.5 انج 3 ملم مع ارتفاع 3.5 متر. يثبت القاعدة بصبة 0.3 × 0.3 م ، عمق 0.5 متر ، مصبوبة بالخرسانة (أسمنت SR) وطبقاً للمواصفات الفنية ومتطلبات العمل ويشمل العمل طلاء القاعدة الحديدة مقاوم للصداء وبطلاء زيتي ، ويشمل الفقرة وضع الخزان بشكل صحيح على الحامل الفولاذي وإعادة توصيل الأنابيب إن وجدت. | No | 1.0 |
| F04 | PPR Water Pipes: Supply & installing new 1/2''PPR pipes for fresh water, price including all fittings & connections, and also connecting with main water network. | الانابيب البلاستيكية: التجهيز ومد انابيب من بلاستيكية PPR جديدةً 1/2 '' ، يَتضمّنُ السعرَ الملحقات المطلوبة والإتّصالَ بشبكةِ الماءِ الرئيسيةِ. | m.l | 1.0 |
| F05 | PVC Drain Pipes: Supply & install new 100 mm diam (4") , work includes removing the old pipes (if exists) and laying new pipes on a layer of sand & covered with concrete as mentioned in the scope of work attached, then connected with the manhole. Work including fittings & connection (gully trap, elbow, extension .... etc.). | انابيب الصرف البلالستيكية: تجهيز وتركّيبُ انابيب بلاستيكية PVC (ضغط عالي) قطر 100 ملم(4 انج) لشبكةِ مياه المجاري المتضرّرِة، يَتضمّنُ السعرُ رفع الانابيب القديمة (اذا وجد) و مد الأنابيبِ الجديدة على طبقةِ من الرملِ مع التغليف بالخرسانة والربط بالمنهول الرئيسي, و السعر يتضمن كل الملحقات المطلوبة (كلي, عكس.....الخ). | m.l | 1.0 |
| F06 | Floor Drain: Supply & install new 100 mm diam (4") , work includes excavations, casting, refilling , connecting the drain pipes and fitting works (, elbow, extension .... etc.). | انابيب الصرف الارضي:تجهيز وتركّيبُ انابيب بلاستيكية PVC (ضغط عالي) قطر 100 ملم(4 انج) يَتضمّنُ السعرُ مد الأنابيبِ الجديدة على طبقةِ من الرملِ مع التغليف بالخرسانة والربط بالمنهول الرئيسي, و السعر يتضمن كل الملحقات المطلوبة (كلي, عكس.....الخ). | No | 1.0 |
| F07 | Eastern Toilet Base: Provide and install white new ceramic oriental toilet. The price includes installing 4 inch gully trap and casting floor concrete ,supply and installing 1/2" tap, according to the technical specifications, the price includes removal of the old damaged oriental toilet (if exist). | مقعد التواليت: تجهيز وتثبيت مقعد شرقي (خزف) عميق من النوع الجيد ابيض اللون ,مع كلي (4 انج ) والربط بالمانهول و صب الارضية بالكونكريت ,ويشمل السعر تثبيت حنفية الماء 1/2 انج وتجهيز وتبيث الدوش مع كافة ملحقاته وايصال الماء اليه ومايتطلبه ذلك من انابيب وملحقات لأتمام العمل. وحسب المواصفات الفنية وكل ما يتطلبة العمل , العمل يتضمن قلع التواليث القديم ان وجد. | No | 1.0 |
| F08 | Western Toilet Base: Supply and install western type ceramic toilet pan approved quality, flushing tank, gully 4" and necessary fitting. | مقعد تواليت غربي: تحهيز وتركيب مراحيض الخزفية نوع غربي ذات الجودةونوعية جيد مع خزان الشطف و التنظيف ،وكلي 4 انج مع جميع ما يتطلبه العمل والتركيبات اللازمة وحسب ارشادات المهندس المشرف. | No | 1.0 |
| F09 | Cesspool: Supply materials & erecting cesspool 90 cm inner diameter for black water . the work includes excavation 6m in height by using drill machine and drilling the cesspool 90cm diameter, putting cylinder reinforcing concrete pipes 80 cm clear diameter with at least 4 holes in concrete cylinder sides ,12cm thick, concrete pipes Joints to be filled with cement mortar 1:3, casting the roof by reinforced concrete C21 of 1:2:4 ratio by 15 cm in thickness. Steel bars 16 mm @ 15 cm c/c , The gaps between outer and inner diameter should be filled by using gravel (1-10)mm in size. The Price includes provide back filling all around the cesspool. All works must be according to the instructions and requests of site engineer. | خزان المياه الثقيلة(بالوعة):تجهيزوحفر خزان بقطر داخلي 90 سم للمياه الثقيلة وبعمق 6 أمتار .ويجب استخدام آلة الحفر وحفر حفرة قطرها 90 سم ، ووضع الأنابيب الخرسانية التسليح الخرسانيةبقطر 80 سم مع ما لا يقل عن 4 ثقوب في جوانب الانبوب الخرساني ،ويجب ان الانبوب الخرساني بسمك 12 سم ، ويشمل العمل ملىء المفاصل بين الأنابيب الخرسانية بمونة الأسمنت 1 : 3 ، ويجب صب السقف بواسطة الخرسانة المسلحة C21 موبخلطة 1: 2: 4 وسمك الصبة ان لايقل عن 15 سمواستخدام حديد تسليح 16 ملم وباتجاهين ومسافة 15 سم من مركز الى مركز ، يجب سد الثغرات بين القطر الخارجي والداخلي باستخدام الحصى باحجام(1-10) ملم .ويشمل السعر اعادة ردم اطراف وجوانب البالوعة أخرى حول . جميع الأعمال يجب أن تكون وفقا للتعليمات وطلبات مهندس الموقع. | No | 1.0 |
| F10 | Construction of manholes: supply material and construct (40*40*40)cm concrete manholes with plastic cover , the price is include required excavation. | بناء المنهولات: تجهيز المواد و بناء منهول كونكريتي (40*40*40)سم مع غطاء بلاستيكي , السعر يشمل جميع الردم الحفريات المطلوبة. | No | 1.0 |
| F11 | Water Tap: Provide & Install ¾" Chrome Water Tap Turkish Made, According to Technical Engineer Recommendations. | حنفيات بلاستيكية: تجهيز وتركيب حنفيات بلاستيكية بحجم ¾ انج تركية الصنع مع جميع الملحقات اللازمة، حسب توجيهات وتوصيات المهندس التقني المشرف. | No | 1.0 |
| F12 | Water Mixer: Provide & Install ¾" Chrome Water mixer Turkish Made, According to Technical Engineer Recommendations. | خلاط الماء :تجهيز وتركيب خلاط مياه3/4 انج كروم تركي الصنع ، حسب توصيات المهندس التقني | No | 1.0 |
| F13 | Hand wash: Supply and fix white ceramic hand wash basin size 50 cm x 50 cm good quality (approved by technical site engineer). Complete with all water supply connections , plug and chain, water mixer good quality (approved by technical site engineer), Ceramic pedestal 90 cm minimum, and 2'' drainage line to floor trap according to specifications, and engineer's instructions. | مغسلة: تجهيز وتركيب حوض سيراميك ابيض حجم 50 سم × 50 سم ذات نوعية جيدة (بموافق المهندس التقني). مع استكمال الربط مع إمدادات المياه، وسلسلة و سدادة، خلاط مياه ذات نوعية جيدة (بموافق المهندس التقني)، و قاعدة سيراميك بارتفاع 90 سم كحد أدنى، و خط الصرف 2 '' إلى نقطة التصريف وفقا لمواصفات وتعليمات المهندس المشرف. | No | 1.0 |
| G | Electrical Works |  |  |  |
| G01 | Wiring (2.5mm): Re-set wire net for one room inside the house using Siemens wire 2.5X2mm local or western origin according Engineer instructions. | التسليك: اعادة تأسيس الاسلاك والتوصيلات الكهربائيه(لغرفة واحدة) داخل الدار باستخدام واير سيمنز 2.5X2ملم منشأ محلي او غربي وحسب توجيه المهندس المشرف. | m.l | 1.0 |
| G02 | Wiring (1.5mm): Re-set wire net for one room inside the house using Siemens wire 1.5X2mm local or western origin according Engineer instructions. | التسليك: اعادة تأسيس الاسلاك والتوصيلات الكهربائيه(لغرفة واحدة) داخل الدار باستخدام واير سيمنز 1.5X2ملم منشأ محلي او غربي وحسب توجيه المهندس المشرف. | m.l | 1.0 |
| G03 | Electricity Board interior: Provide, install, fix, test & operate single phase surface or flush distr. plastic board with door to be mounted on or in the wall with main double circuit breaker of 40Amp, 2 way MCB of ratings as required. Work include connect with main circuit breaker and wires. All the cables include in the price, work must insure safety and should be local or western origin . | لوحة الكهرباء(بورد خارجي): تجهيز وتثبيت وفحص وتشغيل لوحة توزيع طور واحد يثبت مع الجدار وذات باب خارجي ذات قاطع دورة عدد اثنان رئيسي مزدوج 40 أمبير مع قواطع دورة أوتوماتيكية عدد 2 تحدد قيمتها حسب التوزيع والربط بالميزانية ومصدر الطاقة الخارجي وقاطع الدورة الرئيسى والدوائر الفرعية وازالة الخطورة ويشمل السعر كل الأسلاك والقابلوات المطلوبة يجب ان تكون ذات منشأ محلي او غربي . | No | 1.0 |
| G04 | Electricity Board Exterior: Provide, install, fix, test & operate single phase surface or flush distr. Steel board with door to be mounted on or in the wall with main double circuit breaker of 40Amp, 2 way MCB of ratings as required. Work include connect with main circuit breaker and wires. All the cables include in the price, work must insure safety and should be local or western origin . | لوحة الكهرباء(بورد داخلي): تجهيز وتثبيت وفحص وتشغيل لوحة توزيع طور واحد يثبت مع الجدار وذات باب خارجو ذات قاطع دورة رئيسي مزدوج 40 أمبير مع قواطع دورة أوتوماتيكية عدد 2 تحدد قيمتها حسب التوزيع والربط بالميزانية ومصدر الطاقة الخارجي والدوائر الفرعية وازالة الخطورة ويشمل السعر كل الأسلاك والقابلوات المطلوبة يجب ان تكون ذات منشأ محلي او غربي . | No | 1.0 |
| G05 | FL- tube: Supply, install & operate a surface type, wall or ceiling mounted single FL-fitting with FL- tube 4 feet, chock & starter of good quality with all wiring system fixed surface wall, as per approval. of the supervising. Engineer Price includes supply, inst. & test the operating switch, and all the provided materials should be Turkish or western origin | مصباح فلورسنت: تجهيز و تركيب وفحص نقطة انارة عبارة عن مصباح فلورسنت قياس 4 قدم مع القاعدة من نوعية جيدة مثبت بالسقف او الجدار مع كافة التسليك ومفتاح التشغيل (السويج) وحسب توجيهات المهندس المشرف. كل المواد المجهزة يجب ان تكون ذات منشأ تركي او غربي. | No | 1.0 |
| G06 | Circuit breaker: Circuit breaker 10 and 16 amp white in colour . semense Turkish type | قواطع دوائر: تجهيز وتركيب قواطع دوائر 10 و 16 أمبير باللون الأبيض. semense نوع التركية | No | 1.0 |
| G07 | Socket: Supply, install & test socket 13-15 AMP, 250 V, comb with switch, inside a suitable plastic box on the wall with 2x2.5 mm feeder wire. Turkish or western origin according Engineer instructions | ماخذ قوى(سوكيت): تجهيزو تركيب ماخذ قوى 13 -15 امبير 250 فولت ( نوعية تحدد من قبل المهندس ) مثبت في بوكس بلاستيكي على ان تكون الاسلاك قياس 2.5×2 ملم. منشأ تركي او غربي وحسب توجيه المهندس المشرف | No | 1.0 |
| G08 | Switch: Supply, install & test electrical. switch 1 gang or 2 g., 1 way switch with all the required connection and the materials should be Turkish or western origin and approved by site engineer . | سويج(مفتاح كهربائي): تجهيز و تثبيت سويج ثنائي او احادي حسب الحاجة مع كافة التوصيلات الكهربائية وكل ما يتطلبة العمل وحسب توجيهات المهندس المشرف.يجب ان تكون المواد المستخدمة ذات منشأ تركي او غربي | No | 1.0 |
| G09 | Electrical cover :Supply and install electrical plastic cover for the abounded electrical points, materials should be Turkish or western origin and approved by site engineer . | الغطاء الكهربائي: تجهيز وتركيب غطاء بلاستيكي كهربائي للنقاط الكهربائية المتروكة ، يجب أن تكون المواد من أصل تركي أو غربي ومعتمدة من قبل مهندس الموقع. | No | 1.0 |
| G10 | Lamp: Supply, install and operate lamp (economic type) with its holder, with wiring & switch. And according to site Engineer Instruction. All the using materials should be western origin . | نقطة انارة: تجهيز وتركيب وفحص نقطة انارة عبارة عن مصباح اقتصادي مع الحامل مع كافة التسليك ومفتاح التشغيل (السويج) يثبت على وجه الحائط وحسب توجيهات المهندس المشرف. يجب ان تكون المواد المستخدمة ذات منشأ غربي | No | 1.0 |
| G11 | Ventilation Fan: Supply and install 8 inch ventilation Fan, best quality available in local market. | مفرغة هواء : توريد وتركيب مروحة تهوية 8 انج ، وبأفضل نوعية و جودة متوفرة في السوق المحلية. | No | 1.0 |
| G12 | Ventilation Fan: Supply and install 6 inch ventilation Fan, best quality available in local market. | مفرغة هواء : توريد وتركيب مروحة تهوية 6 انج ، وبأفضل نوعية و جودة متوفرة في السوق المحلية. | No | 1.0 |

NOTE: The Arabic Translation is for the ease of understanding by the bidders. The English version is the documents that will be considered and accepted in case of any confusion as final BOQ.

The Frame Work Agreement (FWA) when signed is NOT a Contract or a Work Order.

This is an agreement where all the works, Timelines and prices are agreed between NRC and the Bidder.

Whenever NRC has some Contracts/Works Orders to Place this FWA will be used (with all its terms and conditions)

A separate Contract/Work Oder will be issued to the FWA holder based on the FWA with the specific time line to finish the contract/Work Oder.

Depending on the Contract/Work Order NRC will select the BOQ line with the prices on the FWA for each Contract/Work Order.

NRC Proposed Work Plan

Key – CDs = Calendar Days

| BatchID | PackageID | Days | Number of Shelter | M1 |  |  |  | M2 |  |  |  | M3 |  |  |  | M4 |  |  |  | M5 |  |  |  | M6 |  |  |  | M7 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 |
|  |  |  |  | 01-Dec | 08-Dec | 15-Dec | 22-Dec | 29-Dec | 05-Jan | 12-Jan | 19-Jan | 26-Jan | 02-Feb | 09-Feb | 16-Feb | 23-Feb | 02-Mar | 09-Mar | 16-Mar | 23-Mar | 30-Mar | 06-Apr | 13-Apr | 20-Apr | 27-Apr | 04-May | 11-May | 18-May | 25-May | 01-Jun |
| Batch 1 | Package 1 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 1 | Package 2 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 1 | Package 3 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 1 | Package 4 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 1 | Package 5 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 2 | Package 1 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 2 | Package 2 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 2 | Package 3 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 2 | Package 4 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 2 | Package 5 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 3 | Package 1 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 3 | Package 2 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 3 | Package 3 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 3 | Package 4 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 3 | Package 5 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 4 | Package 1 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 4 | Package 2 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 4 | Package 3 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 4 | Package 4 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 4 | Package 5 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 5 | Package 1 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 5 | Package 2 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 5 | Package 3 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 5 | Package 4 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Batch 5 | Package 5 | 14 CDs | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SECTION 5: BIDDING FORM

Please provide information against each requirement.

Additional rows can be inserted for all questions as necessary. If there is insufficient space to complete your answer in the space provided, please include on a separate attachment with a reference to the question.

- Bidder’s general business details

- General information

| Company name: |  |
| --- | --- |
| Any other trading names of company: |  |
| Registered name of company (if different): |  |
| Nature of primary business/trade: |  |
| Primary contact name: |  |
| Job title: |  |
| Phone: |  |
| Email: |  |
| Registered Address: |  |
| Business licence number: |  |
| Country of registration |  |
| Registration date: |  |
| Expiry date: |  |
| Legal status of company (eg. partnership, private limited company, etc.) |  |

- Owners/Managers

Please fill in the below table with the full names and the year of birth of the company’s owner(s) and manager(s)*:

| Full name | Year of birth |
| --- | --- |

* Please note this information is necessary in order to conduct the vetting procedure referred to in clause 25 of the 	Invitation to Bid-General Terms and Conditions.

- Employees

Please list the employees who would be involved with NRC in the event of contract award:

| Employee name | Job title | Role on NRC project | Phone | Email |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| … |  |  |  |  |

- Company bank account details:

| Beneficiary name: |  |  |
| --- | --- | --- |
| Beneficiary account no.: |  |  |
| Beneficiary Bank: |  |  |
| Bank branch: |  |  |
| SWIFT: |  |  |
| IBAN: |  |  |
| Bank address: |  |  |

- References

Please provide details of at least 3 client references whom NRC may contact, preferably from NGOs and UN agencies, for similar related works:

| Client/company name | Contact person | Phone | Email | Contract details (works, location, size, value, etc) |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| … |  |  |  |  |

- Equipment

Please provide details of any relevant machinery/equipment/vehicles owned by the company that would potentially be used for construction: (do not mention rented items):

| Type of machinery/ equipment/ vehicles | Quantity |
| --- | --- |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |
| 6. |  |
| … |  |

- Defects Liability/Guarantee Period

Please provide details below of the defect liability and guarantee period you offer on the works included in this contract:

- Bid Validity

Please confirm the validity of your bid below (in CDs): Proffered 45 Days

- Confirmation of Bidder’s compliance

We, the Bidder, hereby certify that our tender is a genuine offer and intended to be competitive and we confirm we are eligible to participate in public procurement and meet the eligibility criteria specified in the Invitation to Bid. We confirm that the prices quoted are fixed and firm for the duration of the validity period and will not be subject to revision or variation.

The following documents are included in our Bid: (please indicate which documents are included by ticking the boxes below).

| Documents | included |
| --- | --- |
| Section 5: Bidding form; completed, signed and stamped | ☐ |
| Section 6: Work Schedule; completed, signed and stamped | ☐ |
| Section 7: Company Profile and Previous Experience; completed, signed and stamped | ☐ |
| Section 8: Pricing Proposal; completed, signed and stamped | ☐ |
| Section 9: Supplier’s ethical standards declaration; completed, signed and stamped | ☐ |
| Annexure B Tendering Time Frame | ☐ |
| Copy of valid business licence ( Iraqi Registration Certificate) | ☐ |
| Tax Clearance Certificate | ☐ |
| Bank Statement ( Last 6 months) | ☐ |

We understand that NRC is not bound to accept the lowest, or indeed any bid, received.

We agree that NRC may verify the information provided in this form itself or through a third party as it may deem necessary.

We confirm that NRC may in its consideration of our offer, and subsequently, rely on the statements made herein.

| Name of Signatory: | Tel N°: |
| --- | --- |
| Title of Signatory: | Name of Company: |
| Signature & stamp: | Date of Signing: |
|  | Address: |

SECTION 6

Financial BID (in USD)

| Ref | Item Description | Item Description | Unit | Quantity | Unit Cost (Hawiga District) | Unit Cost (TUZ District) |
| --- | --- | --- | --- | --- | --- | --- |
| A | Concrete work | الاعمال الخرسانية |  | - |  |  |
| A01 | Debris removal: Preparing site for implementation including the removal of all type of debris and other remnants. This also covers the transportation of the excess materials far away from the site according to the regulations and requirements of municipality. Site engineer must ensure that the work site is clean and clear from any residuals. All works must be according to the instructions and requests of site engineer. | رمي الانقاض وتهيئة الموقع: إعداد موقع العمل بما في ذلك إزالة جميع أنواع الانتقاض وغيرها من المخلفات. هذا يشمل أيضا نقل المواد الزائدة عن العمل بعيدا عن موقع العمل وفقا لشروط ومتطلبات البلدية. يجب أن يضمن مهندس الموقع أن موقع العمل نظيف وخالي من أي مخلفات. جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m3 | 1.0 |  |  |
| A02 | Excavation and Compaction: Carry out the necessary excavation (soil and/or stones or floor concrete) for the requested places. Works include compaction of the excavated area to be ready for foundation works by using water and suitable compactors and The bed of excavated area should be cleaned and levelled. The work should be done without damaging the existing pipes. All works should be conducted as per the site Engineer's instructions. | اعمال الحفريات والحدل: القيام بأعمال الحفر الضرورية (التربة و / أو الحجارة أو الخرسانة) للأماكن المطلوبة. وتتضمن الفقرة حدل المساحة المطلوبة لتكون جاهزة لأعمال الأساس باستخدام الماء والحادلات المناسبة ويتضمن العمل يجب تنظيف وتجفيف المساحات المحفورة. جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m3 | 1.0 |  |  |
| A03 | Filling and Compacting with Sub-base: Supplying and laying screened sub-base material by using Type B and compacting in one layer of 20cm depth with using a suitable compactor. All works must be according to the instructions and requests of site engineer. | اعمال الردم والحدل للخابط: تجهيز وفرش الخابط نوع B مع الحل لكل طبقة واحدة بعمق 20 سم باستخدام حادلات مناسبة. جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| A04 | Concrete Flooring: Cast 10 cm plain concrete 1:2:4 mix using BRC 6 mm, the work includes laying a layer of crushed stone or gravel and compacting it properly (below the concrete layer), The surface should be smooth and fair face with out segregation and cracks, the work includes remove the damaged flooring if exist. All works must be according to the requests and instructions of site engineer. | صب الارضیة: الصب للارضيات بالخرسانة 4:2:1 وبسمك 10سم وباستخدام الاسمنت المقاوم للاملاح وطبقة من BRC, يشمل السعر التربيع بالحجرق المكسر او الجلمود مع الرص الجيد.سطح الصبه يجب ان يكون مصقول ومستوي ومتجانس ولا يحتوي على التشققات, العمل يتضمن رفع الصبة القديمة المتضررة اذا وجد.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| A05 | Column: Supply materials and cast column by using reinforced and the Concrete should be class C 1:1.5:3 mix B300, 25 Mpa Concrete. the size (30X30)cm and variable in height. Using main bar #12mm vertically and #8mm for stirrup @20cm Works include shuttering. Concrete must be regularly watered during curing process and also should be vibrated by using suitable vibrator. All works must be according to the requests and instructions of site engineer. | الاعمدة الخرسانية:تجهيز المواد اللازمة وصب الاعمدة باستخدام الخرسانة المسلحة صنف C :1:1.5:3 خلطة B300 ،وبقوة 25 ميكاباسكال.ابعاد الاعمدة(30*30)سم وبارتفاعات مختلفة.يجب استخدام حديد تسليح 12قطر ملم و8 ملم للقفائص وبمسافة 20سم ويتضمن الفقرة اعمال القالب.يتضمن الفقرة رش الحرسانة بالماء واستخدام الهزاز خلال عملية الصب.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m.l | 1.0 |  |  |
| A06 | Beams: Supply materials and cast Beams by using reinforced and the Concrete should be class C 1:2:4 mix (21Mpa) B250. the size (30X40)cm and variable in length. Using steel bar #12mm for main rows and steel bar #10mm for stirrup @15cm and Works include shuttering. Concrete must be regularly watered during curing process and also should be vibrated by using suitable vibrator. All works must be according to the requests and instructions of site engineer. | الرباطات: تجهيز المواد اللازمة وصب الرباطات باستخدام الخرسانة المسلحة ويجب أن تكون خلطة الخرسانة من الفئة C 1: 2: 4 mix (21Mpa) B250. بابعاد (30 × 40) سم باطوال مختلفة..يجب استخدام حديد تسليح 12قطر ملم و10 ملم للقفائص وبمسافة 15سم. ويتضمن الفقرة اعمال القالب.يتضمن الفقرة رش الحرسانة بالماء واستخدام الهزاز خلال عملية الصب.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m.l | 1.0 |  |  |
| A07 | Concrete slab: Supply and cast 15cm concrete slab. Concrete should be class C 1:2:4 mix (21Mpa). Using steel bar #12mm in both direction @25 C/C works include deforming (formwork). Concrete must be regularly watered during curing process and also should be vibrated by using suitable vibrator, to prevent cracking and tools should use during casting process. Steel reinforcement bars must be in follows specifications, Yield strength of 250Mpa. All supplied steel bars must be rust free. High tensile strength wires should be used for all steel fixing. Plastic Rebar Clip Chair Spacer is used and ensure that Rebar free from rust. the poured area should be levelled, All works to be according to the specification, drawings and instruction of site engineer. | السقوف: تجهيز المواد اللازمة وصب السقوف بسمك 15 سم باستخدام الخرسانة المسلحة ويجب أن تكون خلطة الخرسانة من الفئة C 1: 2: 4 (21Mpa) B250..يجب استخدام حديد تسليح 12قطر ملم باتجاهين وبمسافة 25سم من مركز الى مركز. ويتضمن الفقرة اعمال القالب وبالاشكال والاحجام المطلوبة للسقف .يتضمن الفقرة رش الحرسانة بالماء واستخدام الهزاز خلال عملية الصب.ويجب ان يكون سطح الصبه يجب ان يكون مصقول ومستوي ومتجانس ولا يحتوي على التشققات.يجب أن تكون حديد التسليح حسب المواصفات التالية ، قوة مقاومة الشد 250Map. يجب أن تكون جميع حديد التسليح الموردة خالية من الصدأ. يجب استخدام أسلاك مقاومة الشد العالية لجميع عمليات التثبيت حديد التسليح. يتم استخدام فاصل (كرسي) حديد بلاستيكي والتأكد من خلوها من الصدأ.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| A08 | Concrete Ramp :Supply material and cast concrete (1:2:4) Ramp (1 m width), the slope should not be more than (1:5), for elevations of more than 20cm of height, supply and cast concrete over the nylon, for making concrete ramp 1m in width and %12 slope rate for each 1m in length. Concrete should be class C 1:2:4 mix (21Mpa). All works to be according to the specification, The item includes any special design needs for disabled persons drawings and requests of site engineer. | رامبة خرسانية : تجهيز المواد و القيام بعمل رمبة خرسانية وبخلطة (1:2:4) (رامبة خرسانية) , بعرض لايقل عن 1 م , و ميل لا يزيد عن (سلوب) (1:5)لكل 20سم اريفاع.يتضمن الفقرة استخدام نايلون تحت الصبة.يجب ان يكون معدل الميل 12% لكل 1 م طول وعرض 1م.خلطة الصبة الخرسانية يجب ان تكون من فئة C 1:2:4 . ويتضمن الفقرة اي شكل وتصميم خاص حسب متطلبات العمل والتصميم الخاص باشخاص ذوي الاعاقات الجسدية وارشادات مهندس الموقع. | m.l. | 1.0 |  |  |
| A09 | Nylon Covering: Supply and spread layer of Nylon, 1.00 mm thick, on compacted soil. The Nylon should spread in a proper way in the foundation place or any other needed place as per requests. Site engineer must ensure that all the excavated area are covered by nylon without any exception. Nylon works should be according to engineering specifications and requests of site engineer. | التغطية بالنايلون: تجهيز وفرش طبقة من النايلون ، بسماكة 1.00 ملم ، على التربة ا(الرضية المحدولة). يجب أن يتم فرش النايلون بطريقة مناسبة في مكان الأساس أو أي مكان آخر مطلوب حسب مطلبات العمل. يجب على مهندس الموقع التأكد من تغطية جميع المساحة المحفورة بالنايلون دون أي استثناء. يجب أن تكون أعمال النايلون وفقا للمواصفات الهندسية وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| B | Wall Works | اعمال البناء |  |  |  |  |
| B01 | Concrete Hollow Block (20X20X40):Provide and build concrete hollow block (20X20X40 cm) with weight not less than 22 KG with 1:3 cement mortar using ordinary Portland cement. Work include flash poin the joints between blocks from the outside and the inside and watering. The price include install steel angle lintels (2.5X2.5" and thickness 3mm ) over openings of doors and windows. The work includes removing the old partitions, if exist. Concrete solid blocks should be at the same required measurement and not broken or severed and thickness of cement mortar should be no less than 2cm. Walls should be sprayed with water during 2 days. All works and dimensions should be done according to the requests and instructions of site engineer. | البناء بالبلوك المجوف (20*20*40) سم: تجهيز و بناء بالبلوك الاسمنتي قياس 20*20*40 سم وان لايقل وزن البلوكة المستخدمة عن 22 كغم , ومونة الاسمنت العادي والرمل بنسبة خلط 1:3 يتضمن السعر حديد الزاوية 2.5X2.5 انج وسمك 3 ملم المطلوب فوق الابواب والشبابيك , العمل يتضمن ملئ الفراغات (درز) بين البلوك من الخارج والداخل و ازالة المقاطع القديمة (اذا وجد) .مواصفات البلوك يجب ان تكون لديها زواية وحواف منتظمة وان تكون ات متانة عالية لا تنكسر بسهولة ويجب ان تكون المونة بيتن السافات البلةك بسمك لا يقل عن 2سم.ويضمن الفقرة الرش بالماء خلال يومين وحسب ارشادات المهندس المشرف على العمل .جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| B02 | Concrete Hollow Block (15X20X40):Provide and build concrete hollow block (10X20X40 cm) with weight not less than 12 KG with 1:3 cement mortar using ordinary Portland cement. Work include filling the joints between blocks from the outside and the inside and watering. The price include install steel angle lintels (2.5X2.5" and thickness 3mm ) over openings of doors and windows, the work includes removing the old partitions, if exist. Concrete solid blocks should be at the same required measurement and not broken or severed and thickness of cement mortar should be no less than 2cm. Walls should be sprayed with water during 2 days. All works and dimensions should be done according to the requests and instructions of site engineer. | البناء بالبلوك المجوف (15*20*40) سم: تجهيز و بناء بالبلوك الاسمنتي قياس 15*20*40 سم وان لايقل وزن البلوكة المستخدمة عن 12 كغم , ومونة 2الاسمنت العادي والرمل بنسبة خلط 1:3 يتضمن السعر حديد الزاوية 2.5X2.5 انج وسمك 3 ملم المطلوب فوق الابواب والشبابيك , العمل يتضمن ملئ الفراغات (درز) بين البلوك من الخارج والداخل و ازالة المقاطع القديمة (اذا وجد) .مواصفات البلوك يجب ان تكون لديها زواية وحواف منتظمة وان تكون ات متانة عالية لا تنكسر بسهولة ويجب ان تكون المونة بيتن السافات البلةك بسمك لا يقل عن 2سم.ويضمن الفقرة الرش بالماء خلال يومين وحسب ارشادات المهندس المشرف على العمل .جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| B03 | Concrete Solid Block (15X20X40 cm): Construct new walls by masonry building with concrete solid block (15X20X40 cm) using ordinary Portland cement/sand mortar of 1:3 ratio. Solid blocks should be used in case of need to raise the level of the foundation and to construct a retaining and support walls on the concrete foundation according to the site engineer requests. Concrete solid blocks should be at the same required measurement and not broken or severed and thickness of cement mortar should be no less than 2cm. Walls should be sprayed with water during 2 days. All works and dimensions should be done according to the requests and instructions of site engineer. | البناء بالبلوك الصلد (15*20*40) سم: تجهيز و بناء بالبلوك الاسمنتي الصلد قياس 15*20*40 , ومونة الاسمنت العادي والرمل بنسبة خلط 1:3 البلوك الصلد يسخن في اعمال بناء الاساسات والارتفاعات المطلوية لتعلية الاساسات وايضا يستخم كجار ساند اذا تطلب العمل ذلك, العمل يتضمن ملئ الفراغات (درز) بين البلوك من الخارج والداخل و ازالة المقاطع القديمة (اذا وجد) .مواصفات البلوك يجب ان تكون لديها زواية وحواف منتظمة وان تكون ات متانة عالية لا تنكسر بسهولة ويجب ان تكون المونة بيتن السافات البلةك بسمك لا يقل عن 2سم.ويضمن الفقرة الرش بالماء خلال يومين وحسب ارشادات المهندس المشرف على العمل .جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| B04 | Filling Concrete Blocks Joints: Supply materials and filling concrete block joints in inner and outer sides of the wall. All block gaps and block joints should be filled horizontally and vertically using ordinary Portland cement / sand and sand must be sieved before mixing it with cement and mortar should be with 1:3 ratio. Filled gaps should be smooth. Filling concrete blocks should be done according to instructions of site engineer. | اعمال الدرز لجدران البلوك:اعمال الدرز للجدران اليلوك من الخارج والدخل باسخدان خلطة مونة السمن العايو والرمل المنخول بنسبة خلط1:3 .يتضمن العمل ملع جميع الفؤاغات العمودية والافقية وجميع الشقوق والفراغات وبشكل هندسي وذات سطوح ملساء. .جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| B05 | Gypsum plaster: Internal plastering with gypsum in two layers at least, each layer min. of 15 mm thickness for walls with approved gypsum, the wall and ceiling to be cleaned and splashed by cement- sand mortar prior of plastering. Final surface shall be clean, smooth and white, using checking wire width of 50 cm between different materials. Gypsum plastering should be done according to instructions of site engineer. | اعمال البياض(الجص): البياض الداخلي باسخدام الجبس بطبقتين على الأقل ، كل طبقة لا تقل سماكها15عن 15 مم للجدران باسخدامجبس نوعية معتمدة ، ويجب تنطيف الجدران والسقوف عمل عمل الباض ورشهما بمونة الرمل والاسمن(شربت). يجب أن يكون السطح النهائي نظيفًا وأملسًا وأبيضًا ، وذلك باستخدام سلك(جيكن واير) عرض يبلغ 50 سمًا بين المواد المختلفة. يجب أن يتم التجصيص الجبس وفقا لتعليمات مهندس الموقع.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| B06 | Cement Plastering: Plastering the internal walls & ceilings with 2 layers of cement: sand(smooth) mix (1:3) , with taking into consideration the verticality and alignment of the surfaces according to the technical specifications, the work includes fixing wire mesh over the steel lintels of doors and windows and watering. If applicable. Cement plastering should be done according to instructions of site engineer. | اللبخ الاسمنتي: لبخ الجدران و السقوف بطبقتين من بمونة السمنت والرمل الناعم (1 : 3 ), مع اخذ بنظر الاعتبار سطع البخ ان تكون بشكل شاقولي وعدل و الاستواء الاوجة و كل ما يتطلبة العمل بموجب المواصفات الفنية, العمل یتضمن استخدام شبكة (chicken wire) و تثبته على جبهة الابواب و الشبابيك الحديدية ,العمل يتضمن ازالة الوايرات و الملحقات الكهربائية الموجودة, و اعادة تركيب الوايرات و الملحقات الكهربائية على اللبخ الجديد.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| B07 | Cement Re-Plastering: Remove worn-out old plaster (or any other finishing) & repair all cracks in the wall and ceiling if found by using (chicken wire) and steel bars if needed , surface should be dry before re-plastering, then Re-plastering the internal walls & ceilings with 2 layers of cement: sand(smooth) mix (1:3) , with taking into consideration the verticality and alignment of the surfaces according to the technical specifications. If applicable. Cement re-plastering should be done according to instructions of site engineer. | اعادة اللبخ الاسمنتي : ازالة اللبخ القديم او ايانهاءات القديمة وتصليح الشقوق الموجودة او التي تظهر في الجدران و السقوف بعد رفع طبقة الانهاء باستخدام شبكة (chicken wire) تثبت على الفطر وقضبان الحديد اذا تطلب العمل وكذلك تصليح المناطق المرطبة (يجب التاكد من جفاف هذة المناطق قبل المباشرة باعادة الانهاء), واعادة اللبخ بطبقتين من بمونة السمنت والرمل الناعم (1 : 3 ), مع اخذا بنظر الاعتبار الشا قولية و الاستواء الاوجة و كل ما يتطلبة العمل بموجب المواصفات الفنية, العمل يتضمن ازالة الوايرات و الملحقات الكهربائية الموجودة, و اعادة تركيب الوايرات و الملحقات الكهربائية على اللبخ الجديد.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| B08 | Bitumen Layer: Spreading a layer of bitumen layer (Isogam layer), Isogam should be done according to instructions of site engineer. | طبقة البيتومين(ايزوكام):تجهيزو فرش طبقة البيتومين (طبقة الأيزوجام) حسب متطابات العمل، يجب أن يتم عمل الايزكام وفقًا لتعليمات مهندس الموقع.جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| C | Roof Works | اعمال التسقيف |  |  |  |  |
| C01 | Sandwich panel Roofing: Fix a new sandwich panel (thickness 5cm) roof fixed on 3” and thickness 3mm steel channels fixed on the walls and in the middle of the roof as support (maximum span between the supports 1.7 m), which should be raised to give the required slope using T shape rods (as described in SOW). Where necessary, install rain water drains to drain water collected over roofs to prevent water draining to adjacent roofs. Drainage should be done using Galvanic sheet shaped into a U-shaped channel and connected with PVC pipe 3" to drain accumulated water away from the shelter. Work include plastering of both sides of the raised walls & all hooks, bolts, screws, etc. & finishing the joints with the adjacent walls by mastic material and galv. sheet cover, and also includes filling all openings and gaps between the roof and walls using cement: sand mortar and plastering 20cm of the walls as mentioned in the scope of work attached. The work includes removing the old/damaged roof (if exists). Work include testing with water before handover. | السقوف الساندويج بنل: التسقيف بأستخدام الواح الساندويج بنل سمك (5 سم)الذي يتم تثبيته على حديد الساقيه قياس 3 أنج سمك 3 ملم بعد تثبيته بالجدران وحديد ساقية بنفس القياس في منتصف السقف كساند للسقف كل 1.7م , و يجب رفع الساقيات باستخدام عود عديدي على شكل T بما يؤمن أنسابية تصريف مياه الامطار(مع عمل مجرى نظامي لتصريف مياه الامطار المتجمعة فوق السقوف في حالة وجود مفصل بين السقف الجديد والقديم مستخدمين صفائح الحديد المغلون لعمل ساقية وربطها بانبوب بلاستيك 3 انج وتصريف المياه المتجمعة بعيدا عن غرف المأوى ) شاملا السعر عمل مفصل نظامي مع الجدران المجاوره وملئها بالماستك ووضع غطاء من الصفيح المغلون و البراغي و القنجات ولبخ جزء الجدار الذى تم رفعة من الداخل و الخارج وحسب المواصفات الفنيه وتوجيه المهندس المشرف، العمل یتضمن سد كل الفراغات بين الجدار و السقف باستخدام مونة الرمل و السمنت, ولبخ 20 سم من الجدران حسب وصف العمل المرفق, والعمل يتضمن رفع السقف القديم (اذا وجد).جميع الأعمال يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. يتضمن العمل فحص السقف بالمياة قبل التسليم. | m2 | 1.0 |  |  |
| C02 | Corrugated Iron Roofing: Install ceiling of steel corrugate sheets (Kirby) gauge 05 submitted on steel frame square section 1.5x1.5 inch 5mm thickness, connected with to the walls using T shape rods to give the required slope, according to sketch will submit by the site Engineer. Corrugated sheet should be fixed to the frame using screws with rubber washer at every 50cm. Steel works should be painted with anti-corrosion paint and oil paint. The work includes filling all openings and gaps between the roof and walls using cement: sand mortar and plastering 20cm of the walls as mentioned in the scope of work attached. The work includes remove the old existing roof (if exists). Work include testing with water before handover. | السقوف الكيربي(جنكو): تجهيز مواد وعمل سقيفة من الكيربي (الحديد المضلع قياس 05) ومدعوم بمقطع حديدي بوري مربع 1,5*1,5 انج وسمك 5ملم للهيكل الحديدي مصبوغ بصبغ دهني طبقتين احدهما صبغ مقاوم للصدأ والاخرى دهني مع الربط بالبراغي وصمولات وواشر مطاطي كل 50سم واللحام وتركب في المكان لمحدد وو يتم تثبته على الجدران و يجب رفع السقف باستخدام عود عديدي على شكل T بما يؤمن أنسابية تصريف مياه الامطار ,حسب المخطط المرفق ويشمل السعر ملئ الفراغات بين الجدران الطينية والسقف, العمل یتضمن سد كل الفراغات بين الجدار و السقف باستخدام مونة الرمل و السمنت, ولبخ 20 سم من الجدران حسب وصف العمل المرفق, , والعمل يتضمن رفع السقف القديم (اذا وجد).جب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. يتضمن العمل فحص السقف بالمياة قبل التسليم. | m2 | 1.0 |  |  |
| C03 | Plastic Sheeting: Supplying and fix plastic sheet (polyethylene nylon) for roofs, (Turkish made or any approved equivalent type) 0.165 kg/m2 , the fixing will be by using nails with rubber washer (1.5" long) and flat timber panels (Flat timber thickness 2.5cm minimum and width 5cm). The flat timber panels will be fixed on the walls all around the roof by using nails every 30 cm to fix the plastic sheet properly (the distance between the roof and the timber panel should be at least 20cm). The plastic sheet should work as a water proofing layer and should be tested before handover. | النایلون: تجهیز وتركیب نایلون سمیك (بولیاپیلین 0.165 كغ/م2) للسقوف، نوع تركي او اي نوع موافق علیها من قبل المهندس المشرف, عملية التثبيت للنايلون ستكون باستخدام الواح خشبية بسمك 2.5 وعرض 5 سم واستخدام مسامير بطول 1.5انج تثبت على الجدران من جميع الجوانب الغرفة يكون توزيع تثبيت المسامير كل 30 سم ويجب ان يكون نزول طبقة النيلون من السقف على الجدران بمسافة لاتقل عن 20 سم لكي يعمل على عزل نزول ياه الامطار المتجمعة وضمن حماية السقف والجدران من نزول المياه. يتضمن العمل فحص السقف بالمياة قبل التسليم. | m2 | 1.0 |  |  |
| D | Door and Windows | الابواب والشبابيك |  |  |  |  |
| D01 | Exterior Gate Door: Supply and install steel hinged doors, with frame and support cross 2.5" x 2, 5' with 2mm thick steel hollow bar plated on both sides steel plate gauge 18. ,All metal surfaces should be painted, primed with anti-corrosion paint with two layers of oil paint. supplying and fixing of all required locks, hinges, two slide bolts vertical and horizontal etc. & removal of old doors & frames (if exist) and repair of all damages that may occur to the wall or finish due to the replacement process, and the work includes plastering the frame of the door with cement: sand plastering and 15 cm around the frame with oil painting this frame. Design according to the approval of site engineer | الابواب الحديدية الخارجية (الباب الرئيسي): قلع الابواب الحديدية القديمة وتبديلها بباب حديدي كبس وجه واحد (بليت حديد كيج 18مع هيكل الباب حديد زاويه قياس 1,5*1,5انج* سمك 5 ملم) وحسب المخططات ويشمل العمل الصبغ بمادة مانع الصدأ والصبغ الدهني بطبقتين ومع تثبيت السركي من الداخل والخارج مع تجهيز وتثبيت كيلون (عادي ) من النوع الجيد شاملا العمل الاطار من الحديد الزاوية قياس (2 *2 أنج *5 ملم )مع تصليح اي ضرر قد يحصل للجدار او الانهائيات, و العمل يتضمن ازالة الابواب القديمة (اذا وجد) و لبخ اطار الباب بمونة السمنت و الرمل و 15 سم حول الاطار كما موضح في وصف العمل المرفق. والعمل يتضمن رفع السقف القديم (اذا وجد). | m2 | 1.0 |  |  |
| D02 | Steel Doors :Supply and install steel hinged doors, with frame 2 x 2”, 5 mm thick steel angle , plated on both side steel plate gauge 18. All metal surfaces should be painted, primed with anti-corrosion paint with two layers of oil paint. supplying and fixing of all required locks, hinges, etc. & removal of old doors & frames (if exist) and repair of all damages that may occur to the wall or finish due to the replacement process, and the work includes plastering the frame of the door with cement: sand plastering and 15 cm around the frame with oil painting this frame. | الابواب الحديدية : تجهيز ونصب باب حديدي كبس وجهين (بليت حديد كيج 18مع هيكل الباب حديد زاويه قياس 1,5*1,5انج* سمك 5 ملم) وحسب المخططات ويشمل العمل الصبغ بمادة مانع الصدأ والصبغ الدهني بطبقتين ومع تثبيت السركي من الداخل والخارج مع تجهيز وتثبيت كيلون (عادي ) من النوع الجيد شاملا العمل الاطار من الحديد الزاوية قياس (2 *2 أنج *5 ملم )مع تصليح اي ضرر قد يحصل للجدار او الانهائيات, و العمل يتضمن ازالة الابواب القديمة (اذا وجد) و لبخ اطار الباب بمونة السمنت و الرمل و 15 سم حول الاطار كما موضح في وصف العمل المرفق. والعمل يتضمن رفع السقف القديم (اذا وجد).يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| D03 | PVC Doors: Supply materials and install new PVC doors complete with the frames. key locks & painted & glass where required , the work Includes removal of old doors & frames (if exist) and repair of all damages that may occur to the wall or finish due to the replacement process, also wall frame repair and plastering the frame with cement: sand mortar and 15 cm all around the frame with oil paint of this frame. | أبوابَ PVC: تجهيزِ تركيب أبوابَ PVC جديدةِ مع الإطار الباب م للحمامات والمطابخ وكيلون وقفل من النوع الجيد, ويتضمن العمل تجهيز زجاج للابواب وحسب الحاجة, العمل يتضمن ازالة الابواب القديمة (اذا وجد) و تصليح اي ضرر يحصل للجدران او الانهائيات ,و لبخ الاطار بمونة السمنت و الرمل و 15 سم حول الاطار كما موضح في وصف العمل المرفق. يجب أن تكون وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| D04 | PVC Windows: Supply & install new PVC windows, with the ability to open and lock. Work includes all the required accessories (glass, handles, hinges, wire mesh ....etc.) and fixing according to the required access and attached drawings. Work includes wall frame repair and plastering the frame with cement: sand mortar and 15 cm all around the frame with oil paint of this frame. Works includes removing old windows (if exists). | شبابيك PVC: تجهيز مواد وتركيب شبابيك PVC شاملا السعر الزجاج و اليدات والنرمادات ومانع الذباب ويجب ان يكون الشباك قابلا للفتح والغلق وتركيب ورفع الشباك القديم ان وجد وكل ما يتطلبه العمل وحسب المواصفات الفنية والمخططات المرفقة, العمل يتضمن تصليح اي ضرر يحصل للجدران او الانهائيات ,و لبخ الاطار بمونة السمنت و الرمل و 15 سم حول الاطار كما موضح في وصف العمل المرفق, و العمل يتضمن ازالة الشبابيك القديمة (اذا وجد).ويتم العمل وفقا للتعليمات وارشادات مهندس الموقع. | m2 | 1.0 |  |  |
| D05 | Steel Window : Supply & install steel windows with 1.2m in height and 1m in width by using Frame of angle section 4 cm 4mm thickness, open window 40 cm, 1,25 inch, 3 mm thickness. Using steel T section for window frame in bottom line (4*2)cm with having Hole at front side. Window should be 180 degree fully openable. Windows should be provided with a locking mechanism with railway steel handle. Windows must be painted with one layer of antirust and one layer of oil painting by using silver coloured anti-rust paint. The window glass should be 4mm thick and semi-transparent. | النوافذ الحديدية: تجهيز وتركيب نوافذ حديدية بارتفاع 1.2 م وعرض 1 م باستخدام إطارحديد زاوية زاوية 4 سم سماكة 4 مم ، نافذة(الفردة) مفتوحة 40 سم ، 1،25 انج ، 3 ملم. واستخدام مقطعT لإطار النافذة في القاعدة (4 * 2) سم مع وجود ثقب في الجانب الأمامي. يجب أن تكون النافذة 180 درجة قابلة للفتح بالكامل. ينبغي تزويد الشبابيك قفل مزودة بمقبض حديدي. يجب طلاء النوافذ بطبقة واحدة من مانع االصدأ وطبقة واحدة من الطلاء الزيتي باستخدام طلاء مضاد للصدأ بلون فضي. ويتضمن العمل تجهيز وتركيب زجاج النافذة بسماكة 4 ملم وشبه شفاف..ويتم العمل وفقا للتعليمات وارشادات مهندس الموقع | m2 | 1.0 |  |  |
| D06 | Replacing Window Glass: Supply & install glass of 4mm thickness. using approved type of paste by the supervisor engineer, and painting it with anti rust paint ( when founded), The price includes removing and cleaning broken glasses & it's paste. | زجاج الشبابيك : ازالة الزجاج المكسور وتبديلة باخر جديد من النوعية الجيدة سمك 4 ملم مع المعجون والتنظيف الجيد وبحسب المواصفات الفنية وكل ما يتطلبه العمل, و طلائه بمادة مقاومة للصدأ ( أن وجد). | m2 | 1.0 |  |  |
| D07 | PVC Partitions: Supply & install materials for fixing PVC wall partitions ,the price includes all the detailed Frames and the PVC partition may include installation required according the instruction of the site Engineer and attached scope of work and drawings, the price includes all the required accessories for installation where required. | قواطع PVC : تجهيز مواد والعمل لتثبيت قاطع للجدران من ال (PVC) شاملا السعر كل التفاصيل الهيكل البلاستيكي و ابواب و شبابيك اينما تطلب الامر حسب توجيه المهندس المشرف و حسب المخططات و شرح العمل المرفق, العمل يتضمن كل الملحقات (زجاج , مقبض الابواب, مقابض الشبابيك, الاقفال......الخ) و حسب متطلبات العمل. | m2 | 1.0 |  |  |
| D08 | Door Locks (Exterior): Supply and fix of best quality door handles with locks (for gates and exterior doors), approved by the technical supervising engineer. | كيلون باب خارجي: جهيز وتثبيت كيلون باب (للابواب الخارجية) مع مفتاح وقفل من النوع الجيد والمصادق عليه من قبل المهندس المشرف. | No | 1.0 |  |  |
| D09 | Door Locks (Interior): Supply and fix of best quality door handles with locks (for internal doors), approved by the technical supervising engineer. | كيلون باب داخلي: جهيز وتثبيت كيلون باب (للابواب الداخلية) من النوع الجيد والمصادق عليه من قبل المهندس المشرف. | No | 1.0 |  |  |
| D10 | Window Locks: Supply and fix of best quality window handles (for Steel /PVC windows), approved by the technical supervising engineer. | كيلون شباك: جهيز وتثبيت كيلون شباك (حديدي/بلاستيكي) من النوع الجيد والمصادق عليه من قبل المهندس المشرف. | No | 1.0 |  |  |
| E | Finishing Works | اعمال الانهائيات |  |  |  |  |
| E01 | Steel Handrails: Supply & install materials for new steel frame of handrail 90 cm high (Baluster opening between vertical members should not be more than 10 cm), using steel square pipe 1.5"X1.5" for stiffeners frame and 3"x1.5" and thickness 1.5mm for main handrail and frame ,. install it properly with bolts and welding and painting it with 2-layer of anti-rust paint and two layers. of oil painting, The item includes any special design needs for disabled persons according the instruction of the site engineer | درابزين فولاذي(محجل): تجهيز مواد وتركيب اكار حديدي جديد بارتفاع 90 سم (يجب أن لا يكون طول الفواصل بين الأعضاء العمودية أكثر من 10 سم) ، يجي استخدام أنبوب مربع فولاذي 1.5 "X1.5" لإطار التقوية و 3 "x1.5 "وسمك 1.5 ملم للدرابزين الرئيسي والإطار ،.يجب تثبيته بشكل صحيح مع البراغي واللحام واوصبغها بطبقتين من الطلاء المضادة للصدأ وطبقتين من الصبغ الدهني ، ويشمل هذا الفقرة أي احتياجات او تصميم خاص للاشخاص ذوي الاحتياجات الخاصةووفقا لتعليمات وارشادات مهندس الموقع. | m.l | 1.0 |  |  |
| E02 | Painting: Supply and apply water emulsion paint with acrylic base. Three finishing coats in addition to under coat. Emulsion paint on plastered surfaces include removing all defected surfaces, preparation of surfaces, sanding, cleaning, application of thin putty filler as required. The colour of the paint and source of the material is subject to the Engineer's approval. | الصبغ: تجهيزِ مواد وصْبغُ الجدرانَ الداخليةَ والخارجية، للغُرَفِ والممراتِ بثلاثة طبقات طلاءِ ايمولشن-مائي) نوعية جيدة. يَتضمّنُ السعرُ ازالة الطلاء القديم و تَصليح كُلّ السطوح قبل الصبغ واذا اية اجزاء بلاستيكي او مواد اخرى وتعديل السكن ومليء وصقل الفتحات والتشققات. لون الطلاءِ سَيُخصّصُ مِن قِبل المهندسِ المشرف. | m2 | 1.0 |  |  |
| E03 | Oil Painting: Supply material & paint the internal walls of the WC & kitchen. with 3 coats of flat matt oil, good quality paint. Price include removing the old paint & repair all defect surfaces. The colour of the paint will be assigned by the engineer. | الصبغ الدهني: تجهيزِ مواد وصْبغُ الجدرانَ الداخليةَ، للحمامات والمطابخ بثلاثة طبقات طلاءِ (دهني) واقي من المياة والرطوبة وذو نوعية جيدة. يَتضمّنُ السعرُ ازالة الطلاء القديم و تَصليح كُلّ السطوح قبل الصبغ . لون الطلاءِ سَيُخصّصُ مِن قِبل المهندسِ المشرف. | m2 | 1.0 |  |  |
| F | Sanitary Works | اعمال الصحيات |  |  |  |  |
| F01 | Sink: Supply and fix of best quality stainless steel sink, single basin, one wing, properly fixed on galv. steel pipe stand. Work include supply of chrome mixing tap to be connected to water supply system. Sink to be connected to nearest gully trap with best quality rubber hose properly connected to 2” diam. galv. steel drain. | سنك: تجهيز مع تثبيت سنك حوض واحد جناح واحد للمطبخ مثبت على ستاند من انابيب الحديد المغلون وتجهيز وتركيب خلاط كروم من النوع الجيد مع ربطه باقرب مصدر للماء البارد والحار (ان وجد) وايصال انبوب التصريف المطاطي الى انبوب التصريف وكافة التاسيسات الصحية للازمة وربط انبوب 2 انج حديدي لفتحة التصريف وحسب المواصفات الفنية وكل ما يتطلبة العمل. | No | 1.0 |  |  |
| F02 | Steel Water Tank: Supply and install galvanized steel tank, 1 m3 in capacity, on concrete blocks or steel stand (if available). Tank shall be made of galv. sheets gauge 18 complete. with overflow, drain & control valve, inlet and outlet pipes with all necessary fittings. | خزان المياه: تجهيز ونصب وتأسيس خزان ماء سعة 1 م3 من الصفيح المغلون كيج 18 كامل وينصب في الأماكن التي يحددها المهندس على قواعد كونكريتية او حديدية (اذا وجد)، مع كافة المواد اللازمة للربط من الطوافة والأنابيب الداخلة والخارجة وانبوب الطفح و قفل (محبس) التنظيف. | No | 1.0 |  |  |
| F03 | Water Tank Stand: Supply and install steel stand for the water steel tank, using steel angle 2.5x2.5 inch 3mm thick with 3.5 m height. The stand will be supported in hole of 0.3X0.3 m , 0.5 m depth , casted with concrete (SR cement) and according to the technical specifications and attached scope of work and drawings. The work includes painting the steel stand with anti corrosion and oil paint , and relocating and putting the existing water tank properly on the steel stand and re-connecting the pipes if exists. | قاعدة حامل خزان المياه: تجهيز وتركيب قاعدة حامل فولاذي لخزان المياه ، باستخدام حديد زاوية 2.5x2.5 انج 3 ملم مع ارتفاع 3.5 متر. يثبت القاعدة بصبة 0.3 × 0.3 م ، عمق 0.5 متر ، مصبوبة بالخرسانة (أسمنت SR) وطبقاً للمواصفات الفنية ومتطلبات العمل ويشمل العمل طلاء القاعدة الحديدة مقاوم للصداء وبطلاء زيتي ، ويشمل الفقرة وضع الخزان بشكل صحيح على الحامل الفولاذي وإعادة توصيل الأنابيب إن وجدت. | No | 1.0 |  |  |
| F04 | PPR Water Pipes: Supply & installing new 1/2''PPR pipes for fresh water, price including all fittings & connections, and also connecting with main water network. | الانابيب البلاستيكية: التجهيز ومد انابيب من بلاستيكية PPR جديدةً 1/2 '' ، يَتضمّنُ السعرَ الملحقات المطلوبة والإتّصالَ بشبكةِ الماءِ الرئيسيةِ. | m.l | 1.0 |  |  |
| F05 | PVC Drain Pipes: Supply & install new 100 mm diam (4") , work includes removing the old pipes (if exists) and laying new pipes on a layer of sand & covered with concrete as mentioned in the scope of work attached, then connected with the manhole. Work including fittings & connection (gully trap, elbow, extension .... etc.). | انابيب الصرف البلالستيكية: تجهيز وتركّيبُ انابيب بلاستيكية PVC (ضغط عالي) قطر 100 ملم(4 انج) لشبكةِ مياه المجاري المتضرّرِة، يَتضمّنُ السعرُ رفع الانابيب القديمة (اذا وجد) و مد الأنابيبِ الجديدة على طبقةِ من الرملِ مع التغليف بالخرسانة والربط بالمنهول الرئيسي, و السعر يتضمن كل الملحقات المطلوبة (كلي, عكس.....الخ). | m.l | 1.0 |  |  |
| F06 | Floor Drain: Supply & install new 100 mm diam (4") , work includes excavations, casting, refilling , connecting the drain pipes and fitting works (, elbow, extension .... etc.). | انابيب الصرف الارضي:تجهيز وتركّيبُ انابيب بلاستيكية PVC (ضغط عالي) قطر 100 ملم(4 انج) يَتضمّنُ السعرُ مد الأنابيبِ الجديدة على طبقةِ من الرملِ مع التغليف بالخرسانة والربط بالمنهول الرئيسي, و السعر يتضمن كل الملحقات المطلوبة (كلي, عكس.....الخ). | No | 1.0 |  |  |
| F07 | Eastern Toilet Base: Provide and install white new ceramic oriental toilet. The price includes installing 4 inch gully trap and casting floor concrete ,supply and installing 1/2" tap, according to the technical specifications, the price includes removal of the old damaged oriental toilet (if exist). | مقعد التواليت: تجهيز وتثبيت مقعد شرقي (خزف) عميق من النوع الجيد ابيض اللون ,مع كلي (4 انج ) والربط بالمانهول و صب الارضية بالكونكريت ,ويشمل السعر تثبيت حنفية الماء 1/2 انج وتجهيز وتبيث الدوش مع كافة ملحقاته وايصال الماء اليه ومايتطلبه ذلك من انابيب وملحقات لأتمام العمل. وحسب المواصفات الفنية وكل ما يتطلبة العمل , العمل يتضمن قلع التواليث القديم ان وجد. | No | 1.0 |  |  |
| F08 | Western Toilet Base: Supply and install western type ceramic toilet pan approved quality, flushing tank, gully 4" and necessary fitting. | مقعد تواليت غربي: تحهيز وتركيب مراحيض الخزفية نوع غربي ذات الجودةونوعية جيد مع خزان الشطف و التنظيف ،وكلي 4 انج مع جميع ما يتطلبه العمل والتركيبات اللازمة وحسب ارشادات المهندس المشرف. | No | 1.0 |  |  |
| F09 | Cesspool: Supply materials & erecting cesspool 90 cm inner diameter for black water . the work includes excavation 6m in height by using drill machine and drilling the cesspool 90cm diameter, putting cylinder reinforcing concrete pipes 80 cm clear diameter with at least 4 holes in concrete cylinder sides ,12cm thick, concrete pipes Joints to be filled with cement mortar 1:3, casting the roof by reinforced concrete C21 of 1:2:4 ratio by 15 cm in thickness. Steel bars 16 mm @ 15 cm c/c , The gaps between outer and inner diameter should be filled by using gravel (1-10)mm in size. The Price includes provide back filling all around the cesspool. All works must be according to the instructions and requests of site engineer. | خزان المياه الثقيلة(بالوعة):تجهيزوحفر خزان بقطر داخلي 90 سم للمياه الثقيلة وبعمق 6 أمتار .ويجب استخدام آلة الحفر وحفر حفرة قطرها 90 سم ، ووضع الأنابيب الخرسانية التسليح الخرسانيةبقطر 80 سم مع ما لا يقل عن 4 ثقوب في جوانب الانبوب الخرساني ،ويجب ان الانبوب الخرساني بسمك 12 سم ، ويشمل العمل ملىء المفاصل بين الأنابيب الخرسانية بمونة الأسمنت 1 : 3 ، ويجب صب السقف بواسطة الخرسانة المسلحة C21 موبخلطة 1: 2: 4 وسمك الصبة ان لايقل عن 15 سمواستخدام حديد تسليح 16 ملم وباتجاهين ومسافة 15 سم من مركز الى مركز ، يجب سد الثغرات بين القطر الخارجي والداخلي باستخدام الحصى باحجام(1-10) ملم .ويشمل السعر اعادة ردم اطراف وجوانب البالوعة أخرى حول . جميع الأعمال يجب أن تكون وفقا للتعليمات وطلبات مهندس الموقع. | No | 1.0 |  |  |
| F10 | Construction of manholes: supply material and construct (40*40*40)cm concrete manholes with plastic cover , the price is include required excavation. | بناء المنهولات: تجهيز المواد و بناء منهول كونكريتي (40*40*40)سم مع غطاء بلاستيكي , السعر يشمل جميع الردم الحفريات المطلوبة. | No | 1.0 |  |  |
| F11 | Water Tap: Provide & Install ¾" Chrome Water Tap Turkish Made, According to Technical Engineer Recommendations. | حنفيات بلاستيكية: تجهيز وتركيب حنفيات بلاستيكية بحجم ¾ انج تركية الصنع مع جميع الملحقات اللازمة، حسب توجيهات وتوصيات المهندس التقني المشرف. | No | 1.0 |  |  |
| F12 | Water Mixer: Provide & Install ¾" Chrome Water mixer Turkish Made, According to Technical Engineer Recommendations. | خلاط الماء :تجهيز وتركيب خلاط مياه3/4 انج كروم تركي الصنع ، حسب توصيات المهندس التقني | No | 1.0 |  |  |
| F13 | Hand wash: Supply and fix white ceramic hand wash basin size 50 cm x 50 cm good quality (approved by technical site engineer). Complete with all water supply connections , plug and chain, water mixer good quality (approved by technical site engineer), Ceramic pedestal 90 cm minimum, and 2'' drainage line to floor trap according to specifications, and engineer's instructions. | مغسلة: تجهيز وتركيب حوض سيراميك ابيض حجم 50 سم × 50 سم ذات نوعية جيدة (بموافق المهندس التقني). مع استكمال الربط مع إمدادات المياه، وسلسلة و سدادة، خلاط مياه ذات نوعية جيدة (بموافق المهندس التقني)، و قاعدة سيراميك بارتفاع 90 سم كحد أدنى، و خط الصرف 2 '' إلى نقطة التصريف وفقا لمواصفات وتعليمات المهندس المشرف. | No | 1.0 |  |  |
| G | Electrical Works |  |  |  |  |  |
| G01 | Wiring (2.5mm): Re-set wire net for one room inside the house using Siemens wire 2.5X2mm local or western origin according Engineer instructions. | التسليك: اعادة تأسيس الاسلاك والتوصيلات الكهربائيه(لغرفة واحدة) داخل الدار باستخدام واير سيمنز 2.5X2ملم منشأ محلي او غربي وحسب توجيه المهندس المشرف. | m.l | 1.0 |  |  |
| G02 | Wiring (1.5mm): Re-set wire net for one room inside the house using Siemens wire 1.5X2mm local or western origin according Engineer instructions. | التسليك: اعادة تأسيس الاسلاك والتوصيلات الكهربائيه(لغرفة واحدة) داخل الدار باستخدام واير سيمنز 1.5X2ملم منشأ محلي او غربي وحسب توجيه المهندس المشرف. | m.l | 1.0 |  |  |
| G03 | Electricity Board interior: Provide, install, fix, test & operate single phase surface or flush distr. plastic board with door to be mounted on or in the wall with main double circuit breaker of 40Amp, 2 way MCB of ratings as required. Work include connect with main circuit breaker and wires. All the cables include in the price, work must insure safety and should be local or western origin . | لوحة الكهرباء(بورد خارجي): تجهيز وتثبيت وفحص وتشغيل لوحة توزيع طور واحد يثبت مع الجدار وذات باب خارجي ذات قاطع دورة عدد اثنان رئيسي مزدوج 40 أمبير مع قواطع دورة أوتوماتيكية عدد 2 تحدد قيمتها حسب التوزيع والربط بالميزانية ومصدر الطاقة الخارجي وقاطع الدورة الرئيسى والدوائر الفرعية وازالة الخطورة ويشمل السعر كل الأسلاك والقابلوات المطلوبة يجب ان تكون ذات منشأ محلي او غربي . | No | 1.0 |  |  |
| G04 | Electricity Board Exterior: Provide, install, fix, test & operate single phase surface or flush distr. Steel board with door to be mounted on or in the wall with main double circuit breaker of 40Amp, 2 way MCB of ratings as required. Work include connect with main circuit breaker and wires. All the cables include in the price, work must insure safety and should be local or western origin . | لوحة الكهرباء(بورد داخلي): تجهيز وتثبيت وفحص وتشغيل لوحة توزيع طور واحد يثبت مع الجدار وذات باب خارجو ذات قاطع دورة رئيسي مزدوج 40 أمبير مع قواطع دورة أوتوماتيكية عدد 2 تحدد قيمتها حسب التوزيع والربط بالميزانية ومصدر الطاقة الخارجي والدوائر الفرعية وازالة الخطورة ويشمل السعر كل الأسلاك والقابلوات المطلوبة يجب ان تكون ذات منشأ محلي او غربي . | No | 1.0 |  |  |
| G05 | FL- tube: Supply, install & operate a surface type, wall or ceiling mounted single FL-fitting with FL- tube 4 feet, chock & starter of good quality with all wiring system fixed surface wall, as per approval. of the supervising. Engineer Price includes supply, inst. & test the operating switch, and all the provided materials should be Turkish or western origin | مصباح فلورسنت: تجهيز و تركيب وفحص نقطة انارة عبارة عن مصباح فلورسنت قياس 4 قدم مع القاعدة من نوعية جيدة مثبت بالسقف او الجدار مع كافة التسليك ومفتاح التشغيل (السويج) وحسب توجيهات المهندس المشرف. كل المواد المجهزة يجب ان تكون ذات منشأ تركي او غربي. | No | 1.0 |  |  |
| G06 | Circuit breaker: Circuit breaker 10 and 16 amp white in colour . semense Turkish type | قواطع دوائر: تجهيز وتركيب قواطع دوائر 10 و 16 أمبير باللون الأبيض. semense نوع التركية | No | 1.0 |  |  |
| G07 | Socket: Supply, install & test socket 13-15 AMP, 250 V, comb with switch, inside a suitable plastic box on the wall with 2x2.5 mm feeder wire. Turkish or western origin according Engineer instructions | ماخذ قوى(سوكيت): تجهيزو تركيب ماخذ قوى 13 -15 امبير 250 فولت ( نوعية تحدد من قبل المهندس ) مثبت في بوكس بلاستيكي على ان تكون الاسلاك قياس 2.5×2 ملم. منشأ تركي او غربي وحسب توجيه المهندس المشرف | No | 1.0 |  |  |
| G08 | Switch: Supply, install & test electrical. switch 1 gang or 2 g., 1 way switch with all the required connection and the materials should be Turkish or western origin and approved by site engineer . | سويج(مفتاح كهربائي): تجهيز و تثبيت سويج ثنائي او احادي حسب الحاجة مع كافة التوصيلات الكهربائية وكل ما يتطلبة العمل وحسب توجيهات المهندس المشرف.يجب ان تكون المواد المستخدمة ذات منشأ تركي او غربي | No | 1.0 |  |  |
| G09 | Electrical cover :Supply and install electrical plastic cover for the abounded electrical points, materials should be Turkish or western origin and approved by site engineer . | الغطاء الكهربائي: تجهيز وتركيب غطاء بلاستيكي كهربائي للنقاط الكهربائية المتروكة ، يجب أن تكون المواد من أصل تركي أو غربي ومعتمدة من قبل مهندس الموقع. | No | 1.0 |  |  |
| G10 | Lamp: Supply, install and operate lamp (economic type) with its holder, with wiring & switch. And according to site Engineer Instruction. All the using materials should be western origin . | نقطة انارة: تجهيز وتركيب وفحص نقطة انارة عبارة عن مصباح اقتصادي مع الحامل مع كافة التسليك ومفتاح التشغيل (السويج) يثبت على وجه الحائط وحسب توجيهات المهندس المشرف. يجب ان تكون المواد المستخدمة ذات منشأ غربي | No | 1.0 |  |  |
| G11 | Ventilation Fan: Supply and install 8 inch ventilation Fan, best quality available in local market. | مفرغة هواء : توريد وتركيب مروحة تهوية 8 انج ، وبأفضل نوعية و جودة متوفرة في السوق المحلية. | No | 1.0 |  |  |
| G12 | Ventilation Fan: Supply and install 6 inch ventilation Fan, best quality available in local market. | مفرغة هواء : توريد وتركيب مروحة تهوية 6 انج ، وبأفضل نوعية و جودة متوفرة في السوق المحلية. | No | 1.0 |  |  |

Work Schedule

MANDATORY – the Bids will be rejected if the Work Schedule is not provided)

1 Package Might Have 20 Shelters.

1 Batch will consist of 5 Packages

Please check the NRC Proposed work Plan in SECTION 4WORKS CONTRACT - Technical description of the bid.

Please fill the Annexure B and attach it along with the Bid (Mandatory Requirement)

3. Detailed list of proposed Personnel/Manpower involved in the activities (e.g. engineers, site supervisors, foremen, masons, carpenters, plumbers, unskilled labors, etc.) with an estimate of the total man-day completed by each of the skills.

The Submission of the Manpower shall follow the below simple format:

| # | Proposed Personnel/Manpower | # of workers allocated to this project |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| … |  |  |

NOTE: The list shouldn’t be limited to this Form in regards to the number of proposed Key Personnel.

A comprehensive list has to be submitted adapting the Form to the necessary rows.

SECTION 7

COMPANY PROFILE AND PREVIOUS EXPERIENCE

The Bidder is requested to:

- Submit the Company Profile

- Complete the following Previous Experience Table listing the work or contracts undertaken in the past 5 years similar to the works required under this contract

- Submit evidences of previous experience in form of Contracts, Completion Certificates, Handover Documents etc.

| # | Name of Project / Type of work | Total value of the performed works (.....) | Duration of the works contract | Starting date | Ending date | Contracting Authority and Place |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| … |  |  |  |  |  |  |

NOTE: The list shouldn’t be limited to this Form in regards to the number of works reported. A comprehensive list of the last 5 years’ experience has to be submitted adapting the Form to the necessary rows.

NRC may conduct reference checks for previous contracts completed

SECTION 8

BILL OF QUANTITIES

Preamble to Bill of Quantities

- NRC has the faculty to contract all or part of the requested supply and works, according to budget availability;

# The supply and works should be the best available in the market;

# The Bidder should submit supporting documents concerning the proposed construction materials and works (i.e. catalogues, models, brands, drawings, technical documentation, technical specifications, etc. of the offered items);

# All the materials to supply and the works to execute must be approved by the NRC Representative, prior to delivery and execution.

# Costs must include all duties, taxes and other levies payable by the contractor under the contract and all mobilization costs specified in section 3.

NOTE: In case of discrepancy between BoQs and Drawings, the BoQs will prevail. In case of discrepancy between drawings, the one at larger scale will prevail.

| Prepared by: |  |
| --- | --- |
| Name: |  |
| Position: |  |
| Signature: |  |
| Date: |  |
| Stamp: |  |

SECTION 9

SUPPLIER’S ETHICAL STANDARDS DECLARATION

تصريح بالمعايير الأخلاقية للموردين

المجلس النرويجي للاجئين كمنظمة إنسانية يتوقع من الموردين والمقاولين أن يتحلوا بمعايير أخلاقية عالية. يجب على أي منظمة تقوم بتوريد البضائع للمجلس النرويجي للاجئين والتي تم تقييمها بأكثر من10000 $ في عام واحد التوقيع على هذا الإعلان. سيتم الاحتفاظ بهذا الإعلان في ملف لمدة 10 أعوام، ويجب أن يتم تحديثه كل سنة أو أكثر في كثير من الأحيان، حسب الاقتضاء.

قد يقوم موظفو المجلس النرويجي للاجئين باختبارات للتحقق من الالتزام بهذه المعايير. إذا اعتبر المجلس أن المورد فشل في تلبية أو أخذ الخطوات المناسبة لتلبية هذه المعايير، أي وجميع العقود والاتفاقيات مع المجلس النرويجي للاجئين يجوز إنهاءها.

أي شخص يتعامل مع المجلس النرويجي للاجئين كحد أدنى عليه ما يلي؛

أ) الامتثال لجميع القوانين واللوائح المعمول بها في بلد أو بلدان الأعمال

و

ب) تلبية المعايير الأخلاقية كما هو موضح أدناه.

أو

الموافقة بإيجابية على المعايير ويكون على استعداد لتنفيذ تغييرات في منظمته.

1. مكافحة الفساد والموردين الامتثال للقوانين واللوائح:

1.1 يؤكد المورد أنه لم يشارك في أي شكل من أشكال الغش، الفساد، التواطؤ، الممارسة القسرية، الرشوة، المشاركة في منظمة إجرامية أو نشاط غير قانوني.

1.2 حين يوجد أي تضارب محتمل في المصالح بين المورد أو أي من موظفين الموردين مع أي موظف من المجلس النرويجي للاجئين، يلتزم المورد بإعلام المجلس النرويجي للاجئين بصيغة مكتوبة عن تضارب المصالح المحتمل. يجب على المجلس النرويجي للاجئين من بعدها تحديد ما إذا كان يلزم اتخاذ إجراءات. تضارب المصالح يمكن أن يكون راجعاً إلى وجود علاقة مع أحد الموظفين مثل فرد قريب من الأسرة الخ...

1.3 يقوم المورد على الفور بإبلاغ الإدارة العليا للمجلس النرويجي للاجئين إذا تعرض لمحاولة فساد من قبل ممثلو المجلس النرويجي للاجئين.

1.4 يجب أن تسجل الشركة الموردة مع الجهة الحكومية ذات الصلة فيما يتعلق بالضرائب.

1.5 يجب على المورد دفع الضرائب وفقا لجميع القوانين والأنظمة الوطنية المعمول بها.

1.6 على المورد أن يضمن أنه لم يشارك في إنتاج أو بيع أية أسلحة بما في ذلك الألغام المضادة للأفراد.

2. شروط تتعلق بالعاملين:

2.1 لا عامل في الشركة، مُجبرأو مستعبد أو عامل بشكل غير طوعي.

2.2 ولا يشترط على العمال وضع "ودائع" أو أوراق هوية مع صاحب العمل، ويجب أن يكون حراً في ترك صاحب العمل بعد إشعار معقول.

2.3 العمال، دون تمييز، يحق لهم

الانضمام أو تشكيل النقابات التي يختارونها والمفاوضة الجماعية.

2.4 لا يجوز أن يشارك الأشخاص الذين يقل عمرهم عن 18 سنة في العمل الذي يشكل خطر على صحتهم أو سلامتهم، بما في ذلك العمل ليلاً.

2.5 يجب على أرباب العمل للأشخاص الذين تقل أعمارهم عن 18 سنة التأكد من أن ساعات العمل وطبيعة العمل لا تتداخل مع فرصة للطفل لاستكمال فرصته/ها بالتعليم.

2.6 لا يجب أن يكون هناك أي تمييز في مكان العمل على أساس الخلفية العرقية أو الدين أو السن، الإعاقة أو الجنس أو الحالة الاجتماعية أو التوجه الجنسي أو عضوية نقابة أو الانتماء السياسي.

2.7 يجب إنشاء تدابير لحماية العمال من أي تدخل جنسي، تهديد، سلوك مهين أو الاستغلالي، ومن التمييز أو الفصل من العمل على

أسباب غير مبررة، على سبيل المثال، الزواج والحمل والأبوة أو حمل فيروس نقص المناعة البشرية.

2.8 الإيذاء الجسدي أو العقاب، أو التهديد بالإيذاء الجسدي أو الجنسي أو أي تحرش وإساءة لفظية، فضلاً عن غيرها من أشكال الترهيب، يجب أن يتم تحظيرها.

2.9 يجب اتخاذ خطوات لمنع وقوع الحوادث والإصابات المتعلقة بالصحة الناشئة عن، أو ترتبط، أو تحدث في سير العمل، عن طريق التقليل، بقدر ما هو في حدود المعقول، أسباب المخاطر الكامنة في بيئة العمل.

2.10 الأجور والفوائد المدفوعة لمدة أسبوع عمل يجب أن تقابل كحد أدنى، المعايير القانونية الوطنية أو معايير مؤشر الصناعة، أيهما أعلى. ينبغي أن تكون الأجور دائماً كافية لتلبية الاحتياجات الأساسية.

2.11 يجب أن تتوافق ساعات العمل مع القوانين الوطنية ومعايير مؤشر الصناعة، أيهما يوفر حماية أكبر. فمن المستحسن أن لا تتجاوز ساعات العمل 48 ساعة في الأسبوع (8 ساعات يومياً).

2.12 يجب توفير للعمال يوم واحد على الأقل عطلة من كل فترة 7 أيام.

2.13 يحق لجميع العمال أن يحظوا بعقد عمل الذي يجب أن يكون مكتوب بلغة يفهمونها.

2.14 يجب أن يحصلوا العمال على الرعاية الصحية المنتظمة والتدريب في مجال السلامة والصحة، وعلى هذا الأساس يعاد تدريب العمال الجدد.

2.15 الوصول إلى المراحيض النظيفة والمياه الصالحة للشرب، وإذا كان ذلك مناسباً، توفير مرافق صحية لتخزين المواد الغذائية.

2.16 السكن، حيث تقدم، يجب أن تكون نظيفة وآمنة وذات تهوية كافية، ويكون متوفر الوصول إلى المراحيض النظيفة والمياه الصالحة للشرب.

  - لا يجب وضع خصومات من الأجور كإجراء تأديبي.

3. الظروف البيئية:

3.1 ألا تساهم عملية إنتاج واستخراج المواد الخام اللازمة للإنتاج في تدمير الموارد وقاعدة الدخل للسكان المهمشين، كما هو الحال في أخذ مساحات كبيرة من الأراضي أو الموارد الطبيعية الأخرى التي يعتمد عليها هؤلاء السكان.

3.2 اتخاذ التدابير البيئية بعين الاعتبار في جميع مراحل الإنتاج وسلسلة التوزيع بدءً من إنتاج المواد الخام حتى البيع للمستهلك. يجب الأخذ بعين الاعتبار الجوانب البيئية المحلية، الإقليمية والعالمية. لا يجوز استغلال البيئة المحلية أو إضرارها بسبب التلوث في موقع الانتاج.

3.3 يجب احترام التشريعات والأنظمة البيئية الوطنية والدولية.

3.4 يجب أن تدار المواد الكيميائية الخطرة وغيرها من المواد بعناية وفقاً لإجراءات السلامة الموثقة.

نحن الموقعين أدناه، نؤكد من أننا سنمتثل لجميع القوانين المعمول بها، واللوائح، وسنلبي المعايير الأخلاقية كما مذكورة أعلاه أو إيجاباً نوافق على هذه المعايير الأخلاقية، ونحن مستعدون لتنفيذ التغييرات اللازمة في المنظمة.

التاريخ: _____________________________

اسم المورد/الشركة: ______________________

اسم الممثل: ___________________________

التوقيع: _____________________________

Suppliers Ethical Standards Declaration

NRC as a humanitarian organisation expects the suppliers and contractors to have high ethical standards. Any organization supplying goods to NRC valued at over USD$10 000 in one year must sign this declaration. This declaration will be kept on file for a period of 10 years and should be updated every year or more often as appropriate.

NRC staff may perform checks to verify that these standards are adhered to. Should NRC deem that the supplier fails to meet or is not taking appropriate steps to meet these standards, any and all contracts and agreements with NRC may be terminated.  Anyone doing business with Norwegian Refugee Council shall as a minimum;

a) Comply with all laws and regulations in effect in the country or countries of business

AND

b) Meet the ethical standards as listed below.

OR

Positively agree to the standards and be willing to implement changes in their organisation.

1. Anti-corruption and suppliers compliance with laws and regulations:

1.1 The supplier confirms that it is not involved in any form of fraud, corruption, collusion, coercive practice, bribery, involvement in a criminal organization or other illegal activity.

1.2 Where any potential conflict of interest exists between the supplier or any of the suppliers staff members with any NRC staff member, the supplier shall notify NRC in writing of the potential conflict. NRC shall then determine whether action is required. A conflict of interest can be due to a relationship with a staff member such as close family etc.

1.3 The supplier will immediately notify senior NRC management if exposed for alleged corruption by representatives of NRC.

1.4 The supplier shall be registered with the relevant government authority with regard to taxation.

1.5 The supplier shall pay taxes according to all applicable national laws and regulations.

1.6 The supplier warrants that it is not involved in the production or sale of any weapons including anti-personnel mines.

2. Conditions related to the employees:

2.1 No workers in our company will be forced, bonded or involuntary prison workers.

2.2 Workers shall not be required to lodge “deposits” or identity papers with their employer and shall be free to leave their employer after reasonable notice.

2.3 Workers, without distinction, shall have the right

to join or form trade unions of their own choosing and to bargain collectively.

2.4 Persons under the age of 18 shall not be engaged in work which is hazardous to their health or safety, including night work.

2.5 Employers of persons under the age of 18 must ensure that the working hours and nature of the work does not interfere with the child’s opportunity to complete his/ her education.

2.6 There shall be no discrimination at the work place based on ethnic background, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.

2.7 Measures shall be established to protect workers from sexually intrusive, threatening, insulting or exploitative behavior, and from discrimination or termination of employment on unjustifiable grounds, e.g. marriage, pregnancy, parenthood or HIV status.

2.8 Physical abuse or punishment, or threats of physical abuse, sexual or other harassment and verbal abuse, as well as other forms of intimidation, shall be prohibited.

2.9 Steps shall be taken to prevent accidents and injury to health arising out of, associated with, or occurring in, the course of work, by minimizing, so far as is reasonably practicable, the causes of hazards inherent in the working environment.

2.10 Wages and benefits paid for a standard working week shall meet, at a minimum, national legal standards or industry benchmark standards, whichever is higher. Wages should always be enough to meet basic needs.

2.11 Working hours shall comply with national laws and benchmark industry standards, whichever affords greater protection. It is recommended that working hours do not exceed 48 hours per week (8 hours per day).

2.12 Workers shall be provided with at least one day off for every 7 day period.

2.13 All workers are entitled to a contract of employment that shall be written in a language they understand.

2.14 Workers shall receive regular and documented health and safety training, and such training shall be repeated for new workers.

2.15 Access to clean toilet facilities and to potable water, and, if appropriate, sanitary facilities for food storage shall be provided.

2.16 Accommodation, where provided, shall be clean, safe and adequately ventilated, and shall have access to clean toilet facilities and potable water.

2.17 No Deductions from wages shall be made as a disciplinary measure.

3. Environmental conditions:

3.1 Production and extraction of raw materials for production shall not contribute to the destruction of the resources and income base for marginalized populations, such as in claiming large land areas or other natural resources on which these populations are dependent.

3.2 Environmental measures shall be taken into consideration throughout the production and distribution chain ranging from the production of raw material to the consumer sale. Local, regional and global environmental aspects shall be considered. The local environment at the production site shall not be exploited or degraded by pollution.

3.3 National and international environmental legislation and regulations shall be respected.

3.4 Hazardous chemicals and other substances shall be carefully managed in accordance with documented safety procedures.

We, the undersigned, verify that we are in compliance with all applicable laws and regulations, and meet the ethical standards as listed above or positively agree to these ethical standards and are willing to implement necessary changes in the organisation.

DATE:_________________

NAME OF SUPPLIER/COMPANY:_____________________________________________

NAME OF REPRESENTATIVE ______________________________________________

SIGNATURE: _________________________________