## Sheet
ANNEX 2. Bid Form Tender No: 91123094
ITEM NO. | GOODS /DESCRIPTIONS | Qty | Unit Price | Total price
1 | Supply of polyethylene electrofusion coupler (PE 100 SDR 11 PN 16 BAR) best quality and according to the following dimensions and weight.
1.1 | For size(315) mm, weight (8.142) kg, length (267)mm. | 11
1.2 | For size(250) mm, weight (4.678) kg, length (248)mm. | 15
1.3 | For size(200) mm, weight (1.866) kg, length (208)mm. | 15
1.4 | For size(180) mm, weight (1.747) kg, length (192)mm. | 15
1.5 | For size(160) mm, weight (1.362) kg, length (180)mm. | 15
1.6 | For size(125) mm, weight (0.718) kg, length (156)mm. | 15
1.7 | For size(110) mm, weight (0.692) kg, length (145)mm. | 15
1.8 | For size(90) mm, weight (0.406) kg, length (125)mm. | 15
1.9 | For size(75) mm, weight (0.282) kg, length (110)mm. | 15
1.10 | For size(63) mm, weight (0.194) kg, length (96)mm. | 10
2 | Supply of ductile Gate valves with all accessories, good quility and according to the following specifications and standard
Specifications:
* Class : PN 25 - PN 16 bar
* Design : BS 5163
* Face to face : BS 5163/ISO 5752 3 series
* End Flange : BS 4504/BS EN 1092
* Test : BS 5163
Srandard Materials Of Main Parts
* Body : Ductile Iron
* Disc : Ductile Iron+NBR/EPDM
* Bonnet : Ductile Iron
* Stem : Stainless steel 410,431,316
* Stem Nut : Brass
* Holding Ring : Brass
* Scaling Ring : Brass
* Gland : Ductile Iron
* Hand Wheel : Ductile Iron
* Bonnet Gasket : NBR/EPDM
* O Ring : NBR
* Dust Ring : NBR
* Bonnet Bolts : Stainless Steel
2.1 | For size (10"), 16 bar weight not less than (125) kg, height (680)mm, length (330)mm. | 8
2.2 | For size (8"), 16 bar weight (75) kg, height (580)mm, length (292)mm. | 5
2.3 | For size (6"), 16 bar weight (50) kg, height (485)mm, length (267)mm. | 10
2.4 | For size (4"), 16 bar weight (26) kg, height (341)mm, length (229)mm. | 20
2.5 | For size (3"), 16 bar weight (22) kg, height (335)mm, length (203)mm. | 20
2.6 | For size (2.5"), 16 bar weight (15) kg, height (300)mm, length (190)mm. | 20
2.7 | For size (2"), 16 bar weight (13) kg, height (280)mm, length (178)mm. | 20
3 | Supply of Ductile flow meters west European made best quality, cubic meter reading with presure gage with all accessories (flanges, sockets, rings, screws….etc.).
3.1 | For size( 180)mm. | 3
3.2 | For size(125)mm. | 3
3.3 | For size( 90)mm. | 3
4 | Supply of socket and flanges with rings and screws (PE 100 SDR 11 PN 16 BAR) best quality and according to the following sizes
4.1 | For size (200) mm | 8
4.2 | For size (180) mm | 8
4.3 | For size (160) mm | 8
4.4 | For size (125) mm | 15
4.5 | For size (90) mm | 15
4.6 | For size (75) mm | 15
4.7 | For size (63) mm | 8
Total (USD)
DELIVERY TIME: (Please indicate your shortest delivery time)