- Technical Specifications

| Item No | Product Name | Product Specifications | Quantity | Unit | Similar Reference Pictures |
| --- | --- | --- | --- | --- | --- |
| 1 | Irrigation hose | Material: Plastic Type: Thermoplastic pipe. Size: 2” Length: 25 meters. Shape: As Shown round. Color: Blue, Red and green. Usage: water supply pipe. | 7 | pcs |  |
| 2 | Irrigation hose | Material: Plastic. Type: Thermoplastic pipe. Size: 1’’ Length: 25 meters. Shape: As Shown Round. Color: Blue, red and green. Usage: water supply pipe. | 25 | Pcs |  |
| 3 | Irrigation Tap | Material: polyethylene Type: high density polyethylene tap. Size: diameter 20 mm, normal and serrated. Length: 95 mm Shape: As Shown Color: As Available. Usage: Water Irrigation System tap. Each sack contains 100 Pieces . | 22 | Sack |  |
| 4 | Irrigation nozzle | Material: polyethylene Type: high density polyethylene nozzle Size: diameter 20 mm Length: 20 mm Shape: As Shown as shown Usage: Water Irrigation System nozzle. Each sack contains 100 Pieces . | 95 | sack |  |
| 5 | Irrigation stopper | Material: polyethylene Type: high density polyethylene stopper. Size: diameter 20 mm. Length: 40 mm Shape: As Shown Usage: Water Irrigation System. Each sack contains 100 pieces. | 32 | sack |  |
| 6 | Irrigation connecter | Material: polyethylene. Type: high density polyethylene. Size: diameter 20 mm. Length: 65 mm Shape: As Shown Usage: Water Irrigation System. Each sack contains 100 pieces. | 16 | sack |  |
| 7 | Irrigation pipe | Material: polyethylene Type: high density polyethylene pipe. Size: 20 mm. Length: 300 meters. Shape: As Shown round. Color: black. Usage: Water Irrigation System. | 50 | pcs |  |
| 8 | Irrigation pipe | Material: polyethylene Type: high density polyethylene pipe. Size: 63 mm. Length: 100 meters. Shape: As Shown round. Color: black. Usage: Water Irrigation System. | 2 | pcs |  |
| 9 | Drip irrigation stand | Material: polyethylene Type: high density polyethylene. Size: diameter 1.5’’ by 3/4 “. Length: 90 mm Shape: As Shown as shown Color: As Available. Usage: Irrigation system | 170 | pcs |  |
| 10 | Drip irrigation stand | Material: polyethylene Type: high density polyethylene. Size: diameter 2’’ by 3/4". Length: 110 mm Shape: As Shown Color: As Available. Usage: Water Irrigation System. | 10 | pcs |  |
| 11 | Drip irrigation stand | Material: polyethylene Type: high density polyethylene. Size: diameter 2.5’’ to ¾. Length: 130 mm Color: As Available Usage: Water Irrigation System. | 5 | pcs |  |
| 12 | Drip irrigation stand | Material: polyethylene Type: high density polyethylene. Size: diameter 2.5’’ to 1.5’’. Length: 130 mm Shape: As Shown Color: any available Usage: Water Irrigation System. | 30 | pcs |  |
| 13 | Drip irrigation stand | Material: polyethylene Type: high density polyethylene. Size: diameter 3’’ by 1.5’’ Length: 150 mm Shape: As Shown Color: any available Usage: Water Irrigation System | 12 | pcs |  |
| 14 | Drip irrigation stand | Material: polyethylene Type: high density polyethylene. Size: diameter 2’’ by 1.5’’. Length: 110 mm Shape: As Shown Color: available color. Usage: Water Irrigation System | 10 | pcs |  |
| 15 | Irrigation lock | Material: polyethylene. Type: high density polyethylene. Size: diameter 2.5 inch. Length: 200 mm Shape: As Shown Color: As Available. Usage: Water Irrigation System | 8 | pcs |  |
| 16 | Irrigation connector | Material: polyethylene. Type: high density polyethylene. Size: diameter 3”. Length: 270 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 17 | Irrigation connector | Material: polyethylene Type: high density polyethylene. Size: diameter 2.5’’ Length: 240 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 18 | Irrigation hose Tetep | Material: Plastic. Type: thermoplastic pipe. Size: Diameter 17 mm. Length: 1500 meters. Shape: As Shown round. Color: black. Usage: Water Irrigation System. | 4 | pcs |  |
| 19 | Drip Irrigation | Material: polyethylene Type: high density polyethylene. Size: Diameter 75 mm . Length: 100 meters. Shape: As Shown round. Color: black Usage: water supply pipe. | 2 | pcs |  |
| 20 | Steel Irrigation lock | Material: steel stainless. Type: steel. Size: 2.5 inch. Length: more than 130 mm, height: more than 125 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 21 | Steel irrigation lock | Material: steel stainless. Type: steel. Size: 2 inches. Length: more than 120 mm, height: more than 110 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 24 | pcs |  |
| 22 | Steel irrigation lock | Material: steel stainless. Type: steel. Size: 3 inches. Length: more than 160 mm, height: more than 150 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 12 | pcs |  |
| 23 | Steel irrigation lock | Material: steel stainless. Type: steel. Size: 4 inches. Length: more than 160 mm, height: more than 200 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 6 | pcs |  |
| 24 | irrigation connector | Material: steel stainless. Type: steel. Size: 2 inches. Length: more than 80 mm, height: more than 55 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 25 | irrigation connector | Material: steel stainless. Type: steel. Size: 3 inches. Length: more than 90 mm, height: more than 80 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 26 | irrigation Reverse | Material: steel stainless. Type: reverse steel. Size: 2 inches. Length: more than 120 mm, height: more than 55 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 27 | irrigation Reverse | Material steel stainless. Type: steel. Size: 3 inches. Length: more than 200 mm, height: more than 80 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 28 | irrigation division | Material: steel stainless. Type: steel. Size: 2 inches. Length: more than 110 mm, height: more than 56 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 29 | irrigation division | Material: steel stainless. Type: steel. Size: 3 inches. Length: more than 140 mm, height: more than 80 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 9 | pcs |  |
| 30 | irrigation stopper | Material: steel stainless. Type: steel. Size: 2 inches. Length: more than 40 mm, height: more than 55 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 31 | irrigation stopper | Material: steel stainless. Type: steel. Size: 3 inches. Length: more than 50 mm, height: more than 80 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 32 | irrigation lock | Material: steel stainless. Type: steel. Size: ¾ inch. Length: more than 70 mm, height: more than 60 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 70 | pcs |  |
| 33 | Irrigation lock | Material: steel stainless. Type: steel. Size: 1 inch. Length: more than 75 mm, height: more than 25 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 10 | pcs |  |
| 34 | Irrigation lock | Material: steel stainless. Type: steel. Size: ½ inch. Length: more than 50 mm, height: more than 25 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 50 | pcs |  |
| 35 | Irrigation miniature | Material: steel stainless. Type: steel. Size: 2 to 3 inches. Length: more than 40 mm, Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 8 | pcs |  |
| 36 | Irrigation tap | Material: steel stainless. Type: steel. Size: ¾ inch. Length: more than 100 mm, height: more than 65 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 102 | pcs |  |
| 37 | Irrigation tap | Material: steel stainless. Type: steel. Size: ½ inch. Length: more than 80 mm, height: more than 65 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 50 | pcs |  |
| 38 | Irrigation tap | Material: steel stainless. Type: steel. Size: 1 inch. Length: more than 120 mm, height: more than 75 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 300 | pcs |  |
| 39 | Irrigation lock | Material: polyethylene. Type: high density polyethylene. Size: diameter 2 inches. Length: 200 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 26 | pcs |  |
| 40 | irrigation lock | Material: polyethylene. Type: high density polyethylene. Size: diameter 3 inches. Length: Shape: As Shown Color: As Available Usage: Water Irrigation System | 11 | pcs |  |
| 41 | Irrigation connector | Material: polyethylene. Type: high density polyethylene. Size: diameter 1 inch. Length: 130 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 40 | pcs |  |
| 42 | Irrigation connector | Material: polyethylene. Type: high density polyethylene. Size: diameter 2 inches. Length: 200 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 12 | pcs |  |
| 43 | Irrigation connector | Material: polyethylene. Type: high density polyethylene. Size: diameter 2.5 inches. Length: 225 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 5 | pcs |  |
| 44 | Irrigation connector | Material: polyethylene. Type: high density polyethylene. Size: diameter 3 inches. Length: 250 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 4 | pcs |  |
| 45 | irrigation Reverse | Material: polyethylene. Type: high density polyethylene. Size: diameter 1 inches. Length: 180 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 80 | pcs |  |
| 46 | irrigation Reverse | Material: polyethylene. Type: high density polyethylene. Size: diameter 2 inches. Length: 230 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 38 | pcs |  |
| 47 | Irrigation Reverse | Material: polyethylene. Type: high density polyethylene. Size: diameter 2.5 inches. Length: 270 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 6 | pcs |  |
| 48 | Irrigation Reverse | Material: polyethylene. Type: high density polyethylene. Size: diameter 3 inches. Length: 300 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 6 | pcs |  |
| 49 | irrigation stand | Material: polyethylene. Type: high density polyethylene. Size: diameter 2 inches. Length: 110 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 75 | pcs |  |
| 50 | Irrigation stand | Material: polyethylene. Type: high density polyethylene. Size: diameter 3 inches. Length: 150 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 6 | pcs |  |
| 51 | Irrigation lock | Material: polyethylene. Type: high density polyethylene. Size: diameter 1 inches. Length: 145 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 125 | pcs |  |
| 52 | Irrigation lock | Material: polyethylene. Type: high density polyethylene. Size: diameter ¾ inches. Length: 110 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 50 | pcs |  |
| 53 | Irrigation lock | Material: polyethylene. Type: high density polyethylene. Size: diameter ½ inch. Length: 80 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 24 | pcs |  |
| 54 | Irrigation stopper | Material: polyethylene. Type: high density polyethylene. Size: diameter 2 inches. Length: 120 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 32 | pcs |  |
| 55 | Irrigation stopper | Material: polyethylene Type: high density polyethylene. Size: diameter 1.5 inches. Length: 90 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 24 | pcs |  |
| 56 | Irrigation stopper | Material: polyethylene. Type: high density polyethylene. Size: diameter 2.5 inches. Length: 140 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 5 | pcs |  |
| 57 | Irrigation stopper | Material: polyethylene. Type: high density polyethylene. Size: diameter 3 inches. Length: 170 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 6 | pcs |  |
| 58 | Irrigation miniature | Material: polyethylene. Type: high density polyethylene. Size: diameter 3 to 2 inches. Length: 240 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 6 | pcs |  |
| 59 | Irrigation division | Material: polyethylene. Type: high density polyethylene. Size: diameter 2 inches. Length: 270 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 32 | pcs |  |
| 60 | Drip Irrigation | Material: polyethylene Type: high density polyethylene. Size: diameter 2 inches. Length: 100 meters. Shape: As Shown round. Color: black Usage: water supply pipe. | 14 | pcs |  |
| 61 | Pipe | Material: polyethylene Type: high density polyethylene. Size: Diameter 16 mm. Length: 400 meters. Shape: As Shown round. Color: black. Usage: Water Irrigation System. | 25 | pcs |  |
| 62 | Drip irrigation | Material: polyethylene Type: high density polyethylene Size: diameter 3 inches. Length: 100 meters. Shape: As Shown round. Color: black. Usage: water supply pipe. | 3 | pcs |  |
| 63 | Irrigation Lock | Material: polyethylene. Type: high density polyethylene. Size: diameter 4 inches. Length:320 mm Shape: As Shown Color: As Available Usage: Water Irrigation System Italy or equivalent international standards | 4 | Pcs |  |
| 64 | Jack valve | Material: steel stainless. Type: steel. Size: 6 inches. Length: more than 450 mm, height: more than 225 mm. Fluid temperature: -10 to 150 C. Shape: As Shown Color: As Available Usage: Water Irrigation System | 1 | pcs |  |
| 65 | Plastic hose | Material: Plastic Type: Thermoplastic pipe. Size: 6 inches. Length: 12 meters. Shape: As Shown round. Color: Black, Red and green. Usage: water supply pipe. | 12 | M.L METRE LENGTH |  |
| 66 | Ring (Washer) | Material: Plastic. Type: Thermoplastic ring. Size: diameter 2.5 inches. Shape: As Shown Color: As Available Usage: Water Irrigation System | 200 | pcs |  |
| 67 | Ring (Washer) | Material: Plastic. Type: Thermoplastic ring Size: diameter 5 inches. Shape: As Shown Color: As Available Usage: Water Irrigation System | 100 | pcs |  |
| 68 | irrigation connector | Material: polyethylene. Type: high density polyethylene. Size: diameter 1.5 inches. Length: 150 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 22 | pcs |  |
| 69 | Plastic irrigation hose 1.5" | Material: polyethylene Type: thermoplastic pipe. Size: diameter 1.5 inches. Length: 100 meters. Shape: As Shown round. Color: As Available black. Usage: water supply pipe. | 18 | pcs |  |
| 70 | Irrigation division | Material: polyethylene. Type: high density polyethylene. Size: diameter 1.5 inches. Length: 210 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 68 | pcs |  |
| 71 | Irrigation lock | Material: polyethylene. Type: high density polyethylene. Size: diameter 1.5 inches. Length: 120 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 12 | pcs |  |
| 72 | Sprinkler spray | Material: polyethylene. Type: Spray. Size: diameter 5 mm. Length: 140 mm Shape: As Shown Color: As Available Usage: used in green houses as hanging sprinkler. | 125 | pcs |  |
| 73 | Fittings | Material: polyethylene. Type: high density polyethylene. Size: diameter 90 mm. Length: 150 -175 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 40 | pcs |  |
| 74 | clamp | Material: steel. Type: stainless steel. Size: 1 inch. Length: 25 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 150 | pcs |  |
| 75 | Cap | Material: polyethylene. Type: Size: diameter ¾ inches. Length: 60 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 50 | pcs |  |
| 76 | Cap | Material: polyethylene. Type: Size: diameter 1 inch. Length: 80 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 50 | pcs |  |
| 77 | Irrigation reverser | Material: polyethylene. Type: high density polyethylene. Size: diameter 1.5 inches. Length: 210 mm Shape: As Shown Color: As Available Usage: Water Irrigation System | 18 | pcs |  |

- DELIVERY TIME AND DELIVERY LOCATION

-    The Delivery Location is GIZ/CFW warehouse in Duhok City.

-    Supplier must specify delivery time in bid form.

- REMARKS AND CONDITIONS

- Providing, Supplying, and Transportation costs (loading and unloading) are included in the price.

- Catalogues or samples will be requested by GIZ during process for the needed items and GIZ will physically check and approve and the rest quantity will be provided after that.

- The laboratory test cost are included in price.

- In case any conflict between GIZ and supplier regarding the quality check of the product, Duhok construction laboratory will the reference to check the quality of the product.