## Sheet
ITEM NO. | GOODS /DESCRIPTIONS | Qty | Unit Price | Total price
1 | PeCOD® ANALYZER 15-MINUTE CHEMICAL OXYGEN DEMAND (COD) ANALYSIS: | 1
2 | PeCOD supply starter kit for Bench Top Units running in Advanced Blue or Green Range. | 1
3 | PeCOD GREEN range (<150mg/L) | 1
4 | PeCOD supply starter kit for Bench Top Units running in any range. | 1
5 | PeCOD RED range (<15,000mg/L) | 1
6 | ONE (1) Sensor for PeCOD COD Analysers. Contains TiO2, a powerful UV-activated oxidant | 1
7 | Premium Electrolyte solution suitable for COD range <15,000mg/L (Red Range) 1L | 1
8 | pe COD yellow range (<1,500 mg/l) | 1
9 | GGA single Use vials, 6ml, package of 48 vials | 2
10 | Polyseed, 50 capsules per bottle, package of 3 bottles | 1
11 | BOD nutrient Buffer pillows | 2
12 | ATU/Inhibitor for use in CBOD analysis. | 1
13 | complete set of tubing for pc-BOD Rinse pump | 1
14 | Complete Set Of Tubing for PC-BOD Single Head Dilution Pump. Includes Tygon antimicrobial tubing to inhibit the growth of microbes. | 1
15 | 300 ml glass BOD bottles with caps, pkg/24 | 1
16 | Consumable parts package for Preventative Maintenance of PC-BOD systems | 1
17 | Vario Total Nitrogen HR Reagent Set 0-150 part 1/2 | 1
18 | Vario Total Nitrogen HR Reagent Set 0-150 part 2/2 | 1
19 | Vario NH4-N HR Reagent Set 0-50 | 1
20 | Vario Total phosphate Reagent Set 0-3.5 PO4 | 1
21 | COD Reagent Set 0-15000 | 2
22 | Glass Fiber membrane filter , supply 47mm 0.45um | 1
Total (USD)
DELIVERY TIME: (Please indicate your shortest delivery time)