- Technical Specifications

| # | Material Name | Specifications | Quantity | Unit |
| --- | --- | --- | --- | --- |
|  | Oil Paint | - To be used in painting metal, wood and walls, comply with the Iraqi Standard Specifications number 960/2000 or equivalent, friendly environmentally, Iraqi standard or equivalent. | 1678 | Liter |
|  | Emulsion Paint | - To be used for Interior and Exterior walls, washable, weather-endure, has high coverage, meets Iraqi Standard Specification Number 985/1994 or equivalent, friendly environmentally. Turkish or equivalent. | 2000 | KG |
|  | Silicon exterior paint | - Water based, environmentally friendly, non-irritating, quick drying, apply to surfaces, relaxed breathily space, Turkish made or equivalent. | 13600 | KG |

- DELIVERY

-    The delivery locations will be in three governorates as below;

- In Erbil, Near Sami park.

- In Sulaymaniyah, the delivery will be in University of Sulaymaniyah (GIZ store).

- In Duhok, the delivery will be in Duhok – Malta quarter.

- REMARKS AND CONDITIONS

- Providing, Supplying, and Transportation costs (loading and unloading) are included in the price.

- The Supplier must specify the delivery time in the Bid Form.

- Samples will be requested by GIZ during technical evaluation process.

- Sample/Paint must pass the related laboratory tests. Comply with standard Iraqi specification number 960/2000 or equivalent.

- The color will be chosen by GIZ during the delivery process.