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ES program RFQ-Supply of Outdoor Transformers (20/0.4 KV)
PRF/2019/30128			
[bookmark: _Toc530913579][bookmark: _Toc530928843]Request for Quotations (RFQ)
Under the Essential Services Program (ES)
	Subject
	Request for Quotation (RFQ) for Supply of Outdoor 3 Phase Hermetically Sealed, Ground Mounting Transformer (20/0.4 KV) Northeast Syria (NES). 

	Tender PRF Number
	PRF/2019/30128

	Project Name
	Essential Services Program (ES) 

	[bookmark: _Toc530928844]Release Date
	July 21, 2019

	[bookmark: _Toc530913581][bookmark: _Toc530928846]Time and Date for Questions on RFQ
	July 27, 2019, no later than 1:00 Noon Jordan time to Tenders@esprogram.org

	[bookmark: _Toc530928847]Time and Date of Answers to Questions
	July  29, 2019, 4:00 PM Jordan time

	[bookmark: _Toc530928848]Closing Time and Date for submitting the PDF offer via Email
	[bookmark: _GoBack]August 1, 2019 at 1:00 Noon Jordan time to Tenders@esprogram.org
-Offer should be submitted in PDF format and separate technical from financial in two different documents.
Important Note: No offers will be accepted after the deadline

	Official Offers Requirement
	Bid/Offer must be proposed in USD and excluded from Customs and Sales Tax



Issuance of this RFQ does not constitute a commitment on the part of the Blumont nor U.S. Government nor USAID to issue an award. Furthermore, it does not constitute an obligation for Blumont or USAID to pay any costs incurred in relation to this RFQ.  
Please follow all instructions to Offeror and complete all documents thoroughly and accurately. Failure to provide the information required may result in disqualifying your proposal. 
All proposal submittals will remain confidential and there will be no public opening of proposal documents.
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REQUEST FOR QUOTATIONS
Request for Quotations (RFQ) for Supply of Outdoor 3 Phase Hermetically Sealed, Ground Mounting Transformer (20/0.4 KV). 
RFQ No. 2019/30128
[bookmark: _Toc530928849]PURPOSE
Essential Services Program (ES) is soliciting technical and financial quotations/offers from eligible and qualified firms to acquire technical services for the work required for the supply of Outdoor 3 Phase Hermetically Sealed, Ground Mounting Transformers (20/0.4 KV).  ES intends to award a single contract as a result of this solicitation. 
[bookmark: _Toc530928850]
INSTRUCTIONS TO OFFERORS
Offerors interested in submitting technical and price proposal in response to this Request for Quotation (RFQ) must prepare proposals in accordance with the instructions found in Section 3 of this solicitation. Failure to provide all required information will lead to the rejection of the proposal.  

This RFQ in no way obligates ES to award a contract nor does it commit ES to pay any cost incurred in the preparation and submission of a proposal.  

ES bears no responsibility for data errors resulting from transmission or conversion processes. 
[bookmark: RFP][bookmark: _Toc530928851]
SECTION 1 – SERVICES AND CONTRACT TYPE
Blumont intends to issue and sign a FIRM FIXED UNIT PRICE type subcontract with the Offeror that submits the Lowest Technically Accepted Offer that determined to be substantially responsive to the RFQ documents and requirements and who has offered the lowest evaluated offer price, provided that such Offeror has been technically qualified in accordance with the RFQ requirements. 

The offer must be in USD, and tax exempted. Please see Annex 1 Bill of Quantities as template for price offer.
[bookmark: _Toc530928852]
SECTION 2 – DESCRIPTION OF SERVICES AND DELIVERABLES

[bookmark: _Toc530928853]2.1 Technical Requirements
1. The Objective of this project is to supply and deliver to requested equipment to Raqqa city in Northeast Syria (NES).

Additional details are provided in (Annex 1 Bill of Quantities) and (Annex 2 Technical Specifications) of this tender.

The proposal should include all items required for the complete supply and delivery of the requested item(s). The proposal submitted is to include the following required items:

· One (1) 1600 kVA, 20/0.4 kV electrical transformer ground mounted hermitically sealed.
· Thirteen (13) 1000 kVA, 20/0.4 kV electrical transformer ground mounted hermitically sealed.


1. Full price for the Bill of Quantities (Annex 1) showing items, quantities, unit price, total price of each item, and grand total.
2. Technical Specifications including product datasheet, layout design and circuit diagrams.
3. Delivery date for onsite handover.
4. Partial delivery is not accepted.  
[bookmark: _Toc530928854]2.2 Timeline for Bid/Official Offers
Deadline for submitting quotations: Official Offers Technical and Financial Documents must be submitted by email to Tenders@ESprogram.org in PDF Format by the closing date and time listed on the cover page.  No late Bid/Official Offer will be accepted. However, Blumont has the right to cancel the RFQ without giving any reasons for no obligation toward the Offerors. 
[bookmark: _Toc530928855]2.3 Eligible Offerors
This RFQ is open to all qualified firms who meet the following eligibility criteria. Proposals from Offerors that do not meet the outlined criteria will be rejected. 
a) Are registered with the appropriate authorities of the country where the company’s home office/official entity is located;
b) Are able to issue a zero VAT invoice;
c) Are able to provide proposal guarantee if and when requested;
d) Are able to provide a valid income tax deductible at source certificate;
e) Have proven experience and capability to perform the prospective subcontract. Including but not limited to having the financial resources to perform the work. Offerors must provide past performance information of relevant and recent contracts equal to or above $200,000 for performance of similar types of work, similar complexity of tasks, and similar contexts. Offeror must have past performance implementing at least one similar sized works/projects in Northeast Syria within the past three years;
f) Are eligible to receive fund from the US Government and;
g) Offerors shall not be under a declaration of ineligibility for corrupt and fraudulent practices in accordance with Sub-Clause 3.6.

[bookmark: _Toc530928856]2.4 Requirements and Standards
Interested firms must provide all additional information needed and fulfill all conditions requested. All interested firms submitting price quotation in response to this tender are required to fulfill certain number of minimal pre-qualification requirements incorporated into their Bid/Offer. Offers that do not fully meet any of the requirements listed below will be disqualified/rejected. 

[bookmark: _Toc530928857]2.5 Project Completion and Turnover Activities
The selected supplier shall test, prepare and submit test results, operation and maintenance manuals, and officiated county of origin documents for the supplied equipment. 

[bookmark: _Toc530928859]SECTION 3 – GENERAL REQUIREMENTS

[bookmark: _Toc530928860]3.1 Delivery Location 
The items requested will be delivered to Raqqa city in Northeast Syria.  

[bookmark: _Toc530928861]3.2 Period of Performance
The period of performance of the project for the delivery of transformers to the designated site in Raqqa City not to exceed 120 calendar days. 

The Period of Performance starts from the date of BLUMONT’s issuance and signing of the subcontract.
[bookmark: _Toc530928862]3.3 Quality Requirements
Supplied equipment must fully comply with the required specifications as per agreed upon models presented at the time of bid submission. Any deviation from standard models will be rejected. Proposal must include Country of Origin for each component of the equipment items included in Annex 2. Bidder must provide proper test and quality documents for the equipment. Bidders should provide manufacturer procedures/instructions on installation, operation and maintenance both in English and Arabic language.

[bookmark: _Toc530928863]3.4 Extent of Obligation
The subcontract award does not obligate any funds. ES is obligated only to the extent of works implemented under the contract’s agreed upon bill of quantities. 

[bookmark: _Toc530928864]3.5 Penalty on Late Delivery
ES reserves the right to impose penalty/late delivery charges at 1% per day on the total value of undelivered works and that this amount may be deducted from the due payment of bills. However, total amount of penalty shall not exceed 15% of total cost of that particular task order. If delivery is delayed beyond 15 days of the agreed upon delivery date, ES reserves the right to Terminate for Default. 
[bookmark: _Toc530928865]3.6 Documents Comprising the Proposal
All documents necessary to complete the information required to assess the Offeror’s capability as stated in the “Evaluation Criteria” of this proposal.
The Proposal submitted shall comprise of two separate files with the following inside:
First File TECHNICAL:
1. Technical Specifications according to section 2.1
2. Past Performance
3. Delivery Time
4. Registration 
Second File COST:
Detailed cost proposal (signed and stamped).
The Offeror is to complete the Bill of Quantities provided in the proposal package. The Offeror is to complete all items in the Bill of Quantities. If a line item “Amount” in the Bill of Quantities does not equal the unit rate times the line item’s quantity, the unit rate for the line item will prevail. Prices should be inclusive of all project costs (Direct and Indirect).  
The Offeror’s technical capability component will be evaluated first. If the technical proposal is deemed unresponsive then the price/cost proposal will not be opened. 
Note: If any information provided by the Offeror is found to be false, the Offeror shall be immediately disqualified and shall not be allowed to participate in any future ES Program Request for Proposal.
[bookmark: _Toc530928866]




SECTION 4 – SPECIAL REQUIREMENTS

4.1 Offer Validity and Details 
The offer must be valid for 90 days (three months) and must include, but not limited to, fixed price bill of quantities and technical specifications. US manufactured products or technology are not accepted for this tender.

4.2 Delivery Terms
a) Items must be according to Bill of Quantities and Technical Specifications.
b) Items must be officially tested.
c) Items must be verified by ES Engineers before final payment.

4.3 Quality Requirements and Certificates
Equipment must fully comply with the required specifications as per above mentioned clauses.  Any deviation from standard models will be rejected unless justified. Quotation must include Country of Origin for each component of the equipment. Bidders must provide proper test and quality documents for the equipment.  Required certificates are:
· Provide full supplier name, address, names of owner, financial manager, operations officer, and any other key employees for this project, for vetting purposes.
· Attach a valid copy of legal registration certificate (Arabic version is acceptable).
· Attach a copy of the manufacturer’s warranty certificates.
· Attach a copy of catalogues for each item showing its brand and model number.
· Provide certificates to international and local standards. 
· Company profile includes the past performance with other NGOs/INGs for the similar activities. 

4.4 Payment Terms
Payment will be made within 45 days after verification that the requested equipment has been delivered on the designated site, tested and accepted by ES Engineers at the location specified and after the submission of actual invoices. 

ES is not liable for any damage or loss of property that may result prior to delivery, verification and/or acceptance by ES Engineers.

Payment
(a) Supplier will submit their final invoice after complete delivery of all the items including all documents required in section 2, subject in all cases to any other pertinent provisions of the Subcontract.   

Payment of proper invoices shall be made promptly, generally within forty five (45) days after the later of (a) certification by the Director of Engineering or (b) receipt by ES of corresponding funds from USAID.  Delayed payment by ES that is not in accordance with the foregoing or otherwise justifiable may be subject to payment of interest pursuant to FAR 52.232-27. 

(b) Payment request must first be certified by the Director of Procurement. The Director of Procurement may withhold one or more certificates, and may revise previously issued certificates, based on new information. Notwithstanding issuance of a certificate, temporary withholding or retention may be effected if deemed necessary by ES due to USAID’s withholding or retention of corresponding or associated amounts under the USG Prime Contract.

(e) Invoice to be submitted in accordance with this Article shall be accompanied by such supporting documents and information as the Director of Procurement may reasonably prescribe, by written notice to Supplier. In addition, invoice shall contain a certification, manually signed by an official authorized to bind the Supplier, as follows:

	“I hereby certify, to the best of my knowledge and belief, that  (1) the work covered by the invoices has been satisfactorily performed; (2) the amounts requested are correct, properly due and owing under, and are only for performance in accordance with the Specifications and other terms and conditions of, ES Subcontract no. ES/SES II/2018/SES II.XXXXX (3) all payments due to Lower-Tier Suppliers from previous payments received under the Subcontract have been made, and timely payments in the ordinary course of business will be made from the proceeds of the payment covered by this certification, in accordance with the Lower-Tier Subcontracts and other applicable requirements; (4)  this request for payment does not include any amounts which are intended to be withheld or retained from a Lower-Tier Supplier in accordance with the terms and conditions of the applicable Lower-Tier Subcontract; (5) all required ES approvals have been obtained; and (6) Supplier will promptly make full refund of any amount subsequently determined by ES or USAID to have been paid based on erroneous, false or fraudulent information, or to have otherwise not been earned under, or to have been in violation of, the Subcontract.”
	
(f) All payments for properly invoiced amounts will be made by ES by corporate check made out to Supplier or by electronic funds transfer to the following: (to be provided).  ES expressly disclaims all liability for the receipt, accountability, control, and use of funds transferred in accordance with the information contained in this paragraph. Changes to this provision shall only be made by Amendment.
(g) ES may prescribe further detailed procedures for payment at any time, or from time to time, with written notice to Supplier.
(h) All invoices and payments shall be denominated exclusively in U.S. dollars. ES accepts no risk as to the value of U.S. dollars relative to any other currency; all such risks shall be borne by Supplier.
(i) Notwithstanding any other provision of this Subcontract, all ES payments and liabilities to Supplier of whatever nature shall be subject to prior receipt of the corresponding funds from USAID.
(j) If Supplier becomes aware of a duplicate payment, an erroneous payment, or any other type of over-payment by ES (including a payment for performance by Supplier that fails to conform to the Subcontract requirements), it shall immediately notify ES in writing and request instructions for disposition of the relevant amount.
(k) Before or upon commencing the Works, and from time to time thereafter, Supplier shall consult with ES, which will provide, in writing, the rate(s), channel(s) and procedure(s) (if any), USAID requires to be used in converting U.S. dollars to local currency. 

4.5 Progress Reporting 
This procurement will not include any reporting




4.6 Site Access
Supplier shall deliver to the designated site as instructed by the ES technical team and included in the contract. As the delivery is to Raqqa city, the supplier shall deliver to the city and coordinate with ES team for exact location in the city.

4.7 Security
The Supplier acknowledges the importance of security considerations in performing the Work and agrees to comply fully with USAID and ES security requirements. The Supplier shall be fully responsible for security of the equipment during delivery and until proper handover to ES staff is complete. Any handover between local authorities and the Supplier shall be coordinated through ES. The costs of such security compliance shall be included in the proposal. Should any security issues arise, the Supplier will be responsible for coordinating directly with the appropriate local authorities and keeping ES informed of any issues and communications with local authorities.

4.8 Quality Control Plan
Supplier shall submit official items testing results at factory for ES team approval. ES team reserves the right to attend the testing exempting the supplier of any financial expenses of such visit. Nevertheless, the supplier shall coordinate when asked for all necessary arrangements for the ES team access to testing site (factory, lab, or any other testing facility).

4.9 Quantities
(a) With respect to items specified in the Bill of Quantities, the Works Price shall be deemed applicable to the quantities specified and any additional quantities up to 15% of the specified quantities if/as necessary and as authorized (subject to all applicable Subcontract Ceilings). In the event that additional quantities of any one or more of these item(s) above 15% are needed, Supplier shall notify ES in advance and obtain written authorization from the Director of Engineering before procuring and supplying such item(s).  If approved, an Amendment will be prepared pursuant to which such item(s) shall be charged to the Subcontract at the unit price(s) negotiated by the Parties and the Works Price will be increased accordingly.  If quantities required are significantly less than those in the Bill of Quantities, ES will issue a Change Order incorporating an appropriate downward equitable adjustment in the Works Price.  Items not priced in the Bill of Quantities will be subject to review by the Director of Engineering, who shall determine whether they are [i] necessarily inherent in the Specification of the Works (in which case, they shall be deemed to be included in the Works Price), or [ii] validly considered to be in addition to such Price (in which case, a Change Order will be issued subject to the availability of funds.

4.10 Changes
A) FAR 52.243.1 (Changes Fixed Price (Aug 1987)) shall apply to the Subcontract.  (References to the Contracting Officer therein shall be deemed to mean the Director of Engineering) 
[bookmark: wp1128920](a) The ES Contracting Officer may at any time, by written order, and without notice to the sureties, if any, make changes within the general scope of this subcontract in any one or more of the following: 
[bookmark: wp1128921](1) Drawings, designs, or specifications when the supplies to be furnished are to be specially manufactured for the Government in accordance with the drawings, designs, or specifications. 
[bookmark: wp1128922](2) Method of shipment or packing. 
[bookmark: wp1128923](3) Place of delivery. 
[bookmark: wp1128924](b) If any such change causes an increase or decrease in the cost of, or the time required for, performance of any part of the work under this contract, whether or not changed by the order, the ES Contracting Officer shall make an equitable adjustment in the subcontract price, the delivery schedule, or both, and shall modify the subcontract. 
[bookmark: wp1128925](c) The Supplier must assert its right to an adjustment under this clause within 30 days from the date of receipt of the written order. However, if the ES Contracting Officer decides that the facts justify it, the Contracting Officer may receive and act upon a proposal submitted before final payment of the subcontract. 
[bookmark: wp1128926][bookmark: wp1128927](d) If the Supplier’s proposal includes the cost of property made obsolete or excess by the change, the Contracting Officer shall have the right to prescribe the manner of the disposition of the property. (e) Failure to agree to any adjustment shall be a dispute under the Disputes clause. However, nothing in this clause shall excuse the Supplier from proceeding with the contract as changed. 
4.11 Discoveries
Supplier shall immediately notify the Director of Engineering in the event that anything of historical, cultural, archeological, natural or other interest or of significant value is discovered on the Site, and shall carry out the Director of Engineering’s instructions for dealing with such items.

4.12 Safety
Supplier shall be solely responsible for the safety of equipment and items.  In addition, and without prejudice to the foregoing, Supplier shall ensure strict compliance with any Accident Prevention Plan and Health and Safety Plan, as well as (to the extent not inconsistent with the foregoing) any safety-related information submitted with Supplier’s bid.  In addition to any other measures reasonably directed by ES, Supplier shall, at a minimum, ensure that all working personnel have [i] all necessary personal and protective equipment, including hard hats, protective glasses and working shoes, as well as hording around the work area; and [ii] all necessary safety measures are in place to ensure site safety during the implementation of the Works, including installed warning signs appropriate for the conditions and locations of the Works.  When obtaining required goods, materials, and performing all Subcontract Work, the Supplier shall bear in mind the fact that the Works to be constructed will directly affect and be crucial to the preservation of, human health, safety and security, and shall seek to ensure achievement of a level of quality and functionality commensurate with the seriousness of the endeavor.  The costs of all required safety measures shall be deemed included in the Works Price.

4.13 Labor Disputes 
Supplier shall immediately notify ES (providing all relevant information) whenever it knows, or has reason to know, that any actual or potential labor dispute is delaying or threatens to delay the timely performance of the Subcontract.  

4.14 Employees 
(a) The following Supplier officer(s) or employee(s) is/are designated as Key Personnel: 
1. An Authorized Representative with appropriate credentials.  
 (b) Prior to recruiting or employing U.S. citizen, U.S. lawfully admitted permanent resident alien, or third-country national employees to perform the Work, Supplier shall consult with ES, which will supply certain mandatory special provisions required by U.S. Government laws, regulations, rules and policies.  Compliance with such special provisions shall be without additional cost to the Subcontract, except as otherwise agreed by ES in advance.
4.15 Manuals and Drawings
If “as built” drawings and/or operating and maintenance manuals are required, Supplier shall supply them in a form and substance acceptable to ES by the date specified in the Specifications or the Schedule (failing which, ES reserves the right to withhold an appropriate amount from payments otherwise due pending submission of acceptable items).  Reports, data, and other information and documentation (including any drawings) prepared or collected by Supplier and its Lower-Tier Suppliers in connection with the Subcontract and the Works shall be considered the property of ES (on behalf of itself and/or USAID) and shall not be reproduced, disseminated or discussed in open forum, other than for purposes of completing the Works, without ES approval.  All findings, conclusions and recommendations shall be considered confidential and proprietary to ES.

4.16 Restrictions on Certain Purchases
Unless otherwise approved by ES, Supplier shall not acquire supplies or services for use in constructing the Works from Cuba, Iran, North Korea, or Syria. 

4.17 Logistics Support
Supplier and its employees and consultants are not allowed to use ES or USG facilities (e.g., office space), equipment or personnel (including security) in constructing the Works except to the extent that ES expressly approves such use in advance.  If at any time it is determined that such use has nevertheless occurred without approval, ES may, at its sole option, deduct the value of such facilities, equipment or personnel from any payment(s) otherwise due to Supplier.

4.18 Relationships
AIDAR 752.7013, SUB-CONTRACTOR-MISSION RELATIONSHIPS (OCT 1989), paras. (a) – (e) apply to the Subcontract.  The Parties recognize the U.S. Ambassador’s right to direct the discharge from the Subcontract of any third country or Cooperating Country national if, at his or her discretion, the interests of the USG so require.  Under these circumstances, replacement of an employee by an acceptable substitute shall be at no cost to ES or USAID.  
   
4.19 Communications
All communications with USAID or other USG agency, the Cooperating Country Government or the End User concerning the Subcontract shall be made through ES except as otherwise approved. Supplier is called upon by any of the foregoing to communicate directly regarding the Sub-contract, Supplier shall notify and consult with the Director of Engineering before responding.

4.20 No Encumbrances
Supplier shall not pledge, assign, hypothecate, lien, or otherwise encumber the plant, equipment, materials and supplies used or for use in performing the Subcontract.  Any such encumbrances shall be void vis-à-vis ES, USAID, the Cooperating Country Government and the End User.

4.21 Compliance with Law
In performing its obligations and exercising rights pursuant to the Subcontract, Supplier shall comply with all applicable laws, regulations, rules and requirements (including safety codes, and the like) as amended from time.   All risks and costs of achieving such compliance shall be for Supplier’s account; the costs shall conclusively be deemed to be included in the Works Price.

4.22 Environmental Compliance
Supplier shall construct the Works in such a manner as to minimize the pollution of air, water or land; to control noise and dust; and to safeguard other aspects of the environment in accordance with all applicable Cooperating Country environmental laws and regulations, as well as any mitigating measures described in the Specification of the Works and any additional measures prepared and notified to Supplier by ES.

4.23 Disabled Persons
In performing the Subcontract, Supplier shall not discriminate against persons with disabilities, and shall demonstrate a comprehensive, consistent approach to including men, women and children with disabilities.

4.24 Early Warning
Supplier shall warn the Director of Engineering in writing at the earliest opportunity of specific likely future events or circumstances that may adversely affect the quality of the work, increase the Works Price or any substantial portion thereof, or delay the execution of the Works.  The Director of Engineering may require Supplier to estimate the anticipated effect(s) of the future event or circumstance on the said Price and/or Completion Date.  Supplier shall (a) provide the requested estimate a soon as reasonably possible; (b) cooperate with the Director of Engineering by proposing how to avoid or mitigate the effect(s) of such an event or circumstance; and (c) carry out any resulting instruction from the Director of Engineering. Supplier shall obtain written approval from the Director of Engineering before entering into any subcontract with other Suppliers concurrent with Supplier’s performance of the Subcontract Work.   

4.25 Insurance, Risk and Title
(a) In addition to such other policies and coverages customarily secured by a prudent company engaged in implementation of projects comparable to the Works in Syria, Supplier shall provide, in the joint names of ES and the Supplier, insurance cover from the Start Date to the end of the Defects Liability Period, as follows:
[i] loss of or damage to the Works and any associated equipment, materials or supplies; and
[ii] loss of or damage to property other than [a] in connection with the Subcontract.
In addition, and without prejudice to the generality of the above, except to the extent (if any) otherwise specifically stated in other Article(s) of the Subcontract, Supplier shall retain all risk and title to plant, equipment, materials and supplies for incorporation into the Works until they have been accepted by ES.  
(b) Insurance policies and certificates shall be delivered by the Supplier to the Director of Engineering for the latter’s approval prior to the Start Date.  All such insurance shall provide for compensation (unless and only to the extent otherwise approved by ES) to be payable in U.S. dollars.
(c) If Supplier does not provide one or more of the required policies/certificates, ES may affect the insurance which Supplier should have provided and deduct the premiums from payments otherwise due to Supplier, or, if no such payments are due, ES may require Supplier to refund the cost.
(d) Supplier shall maintain the insurance required by this Article until the end of the Defects Liability Period and shall not make any changes to the policies without the approval of the Director of Engineering.
4.26 Defects Liability: 
Notwithstanding Completion and acceptance, Supplier is required to provide the warranty of implementation for one year after issuance of the Certificate of Completion.  ES will notify Supplier in writing of Defects identified during the Performance Period.  Supplier shall correct each such Defect within the time specified in the notice.  For each part of the Works for which a Defect is required to be corrected during the Defects Liability Period, the Period shall be deemed extended for a period of 1 (one) year from the date of correction.  Unless otherwise instructed or approved, Supplier shall ensure that all required or otherwise provided warranties shall run to [i] ES, [ii] USAID, and [iii] the Cooperating Country Government.  Defects Liability Certificates confirming successful correction of identified Defects will be issued by ES as earned.

4.27 Offsets:
ES reserves the right, at any time, or from time to time, to deduct from any payment otherwise due to Supplier all or part of any amount, whether in connection with the Subcontract or any other agreement, that ES determines it is owed by Supplier.  ES will use this authority cautiously and fairly, providing advance written notice and an opportunity to comment whenever deemed practicable in ES’s sole discretion (if prior notice is deemed impracticable, ES will give notice subsequently).

4.28 Taxation: 
(a) FAR 52.229-6, TAXES-FOREIGN FIXED-PRICE CONTRACTS (JAN 1991) applies to the Subcontract.  In addition, and without prejudice to the foregoing, the additional guidelines set forth in paragraphs (b) – (d) shall also apply. 
(b) According to USAID, pursuant to agreements between the USG, the Jordanian Authority (“JA”) and the Government of Jordan (“GOJ”), all imports and expenditures under the Subcontract by Supplier and any Lower-Tier Suppliers will be exempt from JA Value-Added Tax (“VAT”) and customs duties and from GOJ customs duties if Supplier and the Lower-Tier Suppliers are “non-local.”  In accordance with FAR 52.229-6(c), if Supplier or any Lower-Tier Suppliers meet the definition of “non-local,” they are required to [i] make all reasonable efforts to avoid Jordanian VAT at the point of sale and [ii] exclude Jordanian VAT and Jordanian and GOJ customs duties from the Price and the price of the pertinent Lower-Tier Subcontracts.  For purposes of this paragraph, “non-local” means that a firm is present in Syria solely for the purpose of performing work financed by USAID or other tax-exempt foreign donors.
(c) Organizations that are not “non-local” may not qualify for the above exemptions.  However, for each year (covering October 1 to September 30) within the Performance Period, Supplier shall submit to ES, and have its “non-local” Lower-Tier Suppliers submit, an annual report of JD-assessed VAT and customs duties on Subcontract-financed commodity purchase transactions.  This report must be filed by March 15 of the year following.  ES will provide Supplier with detailed guidelines regarding this report. 
(d) The Supplier is responsible to submit to ES ZERO VAT invoices. ES will facilitate the VAT exemption process through notifying the Jordanian Authority with the signed subcontract information
4.29 Severability:
If any Subcontract provision(s) is/are determined by a court of competent jurisdiction to be invalid or unenforceable, the remaining provisions shall continue in full force and effect, as if the Subcontract had been executed with the affected provision(s) eliminated.

4.30 Survival of Provisions:
In addition to the rights and obligations which may survive as expressly provided for elsewhere in this Subcontract, the other provisions which by their nature should survive shall do so and continue after any termination hereof.

4.31 Limitation on Damages:
If a claim for damages or a right to any other form of relief, whether based on contract, indemnity, negligence or otherwise should arise in connection with the Subcontract, the claiming Party shall take all necessary measures to mitigate the damages or loss to the extent that this can be accomplished without unreasonable cost or inconvenience.  In no event shall any such claim or relief include or permit recovery of exemplary, punitive or consequential damages, however described.

4.32 Subcontracting with Government or Quasi-Government Entities – August 17, 2005:
No subcontracting with any government or quasi-government entity shall be conducted under this subcontract unless a specific waiver is approved for this purpose.

4.33 Exclusive Agreement:
This Subcontract is the exclusive agreement between Blumont and Supplier pertaining to the subject matter hereof.  It supersedes all prior agreements, understandings, communications, negotiations and discussions, whether oral, written or electronic.  No purported trade usage, custom, course of dealing or verbal statements of any kind shall be binding upon Blumont.

4.34 Third Parties Not to Benefit:
This Subcontract is for the benefit of the Parties hereto, and is not intended to create, nor shall it be deemed to create, any rights in or on behalf of or responsibilities of the Parties to any other person, entity or third party, except as may be otherwise specifically stated herein.

4.35  Cross Border Shipments:
Any items being shipping across the Iraq (Fyshkhabour) – Syria border under this program must be pre-notified to Blumont for coordination with local authorities. Notification must be made to Blumont at least 5 working days in advance.

4.36  Termination for Convenience:
Blumont reserves the right to terminate this subcontract, or any part hereof, for its sole convenience.  In the event of such termination, the Supplier shall immediately stop all work hereunder and shall immediately cause any and all of its suppliers and Suppliers to cease work. Subject to the terms of this contract, the Supplier shall be paid a percentage of the Subcontract price reflecting the percentage of the work performed prior to the notice of termination, plus reasonable charges the Supplier can demonstrate to the satisfaction of BES using its standard record keeping system, have resulted from the termination. The Supplier shall not be required to comply with the cost accounting standards or contract cost principles for this purpose.  The Supplier shall not be paid for any work performed or costs incurred which reasonably could have been avoided.

4.37  Termination for Default:
Blumont may terminate this subcontract, or any part hereof, for cause in the event of any default by the Supplier, or if the Supplier fails to comply with any contract terms and conditions, or fails to provide Blumont, upon request, with adequate assurances of future performance.  In the event of termination for cause, Blumont shall not be liable to the Supplier for any amount for supplies or services not accepted, and the Supplier shall be liable to Blumont for any and all rights and remedies provided by law or this Contract.  If it is determined that Blumont improperly terminate this subcontract for default, such termination shall be deemed a termination for convenience.
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SECTION 5 – EVALUATION CRITERIA AND AWARD TERMS

BLUMONT will evaluate the substantially responsive proposal in relation to the Offeror’s relative capability and ability to perform the requirements of this RFQ, 1.	Technical Specifications according to section 2.1, Past Performance, Delivery Time, and Registration as described in Section 3.

Blumont reserves the right to ask for additional clarification on the prices submitted for individual BOQ line items.

Blumont intends to award the Subcontract on the basis of the lowest evaluated price of proposals meeting or exceeding the acceptability standards for non-cost factors.

The submitted technical information will be evaluated based on scoring minimum of 70% of each of the technical evaluation criteria as per the table below by a Technical Evaluation Committee (TEC) using acceptability standards. The technical criteria listed below are presented by major category in order of importance so that Offerors are aware of which areas require emphasis in the preparation of proposal:

	Technical Evaluation Criteria
	Percentage %
	Blumont Comments

	Technical Specifications
	75
	

	Past Performance
	10
	

	Delivery
	10
	

	Registration
	5
	


 
Blumont will compare the price of Offerors that were technically qualified and select the Offeror that submitted the Lowest Price.

1. Terms and Conditions:

· Issuance of this RFQ for this tender does not constitute an award commitment on the part of the Blumont, nor does it commit ES to pay for costs incurred in the preparation and submission of a bid. 
· USA made items will not be accepted for this RFQ. 
· ES may contact bidders to confirm contact person, address, bid amount, specification, clarification of elements of the bid, and to confirm that the bid was submitted for this solicitation.
· Bidders must provide full, accurate and complete information as required, and failure to do so will result in disqualification of the vendor.

· Bidders must provide disclosure of any past, present or future relationships with any parties associated with the issuance, review or management of this solicitation and anticipated award.  Failure to provide full and open disclosure may result in ES having to re-evaluate selection of a potential Bidder.
· ES also reserves the right to reject any or all proposals received without explanation. 
· Bids/Official Offers become the property of ES and thus reserves the right in its sole discretion to disqualify any offer based on Bidder’s failure to follow instructions; extend the time for submission of all RFQ responses after notification to all Vendors; terminate or modify the RFQ process at any time and re-issue the RFQ.  Award only part of the RFQ or issue multiple awards.

2. Submission Instruction:

Bidders are requested to submit signed, stamped and dated offers. Quotations shall be submitted on Bidder’s letterhead and signed by the authorized company representative.   

As a minimum, offers must reflect the following:
· The RFQ reference number;
· The name, addresses (street, email, other), and telephone number of the Bidder;
· A detailed technical description /specification of the equipment being offered in sufficient detail to evaluate compliance with the requirements in the solicitation. This may include product literature, or other documents, if necessary;
· Terms of any offer related warranty;
· Price, including transport, as applicable;
· Summary price table of unit prices, quantities, and total value for all equipment included in the bid; 
· “Remit to”/ “Submit to” address, if different than mailing address; 
· Manufacturer warranty of the equipment;
· Manufacturer catalogues showing brand and model. 

3. Questions/Clarification Requests:

Questions related to this RFQ shall be submitted in writing to ES Procurement, via email: Tenders@esprogram.org by the time and date listed on the cover page. 

(!!!) VERY IMPORTANT
THE CONTRACT/PURCHASE ORDERS RESULTING FROM THIS SOLICICTATION MUST BE SIGNED BY BOTH PARTIES IN ORDER TO BE CONSIDERED VALID AND IN FORCE.
ALL COSTS ASSOCIATED WITH, BUT NOT LIMITED TO, PRODUCTION, PREPARATION AND/OR DELIVERY OF GOODS OR SERVICES, INCLUDING DELIVERIES, ACCEPTED BY BLUMONT STAFF, WITHOUT A FULLY EXECUTED (SIGNED BY BOTH PARTIES) CONTRACT/PURCHASE ORDER, ARE AT THE VENDOR’S RISK ONLY.  ES SHALL NOT PAY FOR ANY COSTS, WITHOUT LIMITATION, ASSOCIATED WITH PRODUCTION, PREPARARTION OR DELIVERY OF GOODS AND/OR SERVICES UNDER THIS OR ANY OTHER CONTRACT/PURCHASE ORDER, WHICH HAS NOT BEEN SIGNED BY BOTH PARTIES



Offeror shall sign and submit the below certifications with it Price Quotation.
[bookmark: CL_Attachment_J7]Certification Regarding Debarment and Suspension
(1) Contractor certifies to the best of its knowledge and belief that it and its principals:
a. Are not presently debarred, suspended, proposed for disbarment, declared ineligible, or voluntarily excluded from covered transactions by any Federal department or agency;
b. Have not within a three-year period preceding this application been convicted of or had a civil judgment rendered against them for commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (Federal, State or local) transaction or contract under a public transaction; violation of Federal or State antitrust statues or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, or receiving stolen property;
c. Are not presently indicted for or otherwise criminally or civilly charged by a governmental entity (Federal, State, or local) with commission of any of the offenses enumerated in paragraph (1) b. of this certification; and
d. Have not within a three-year period preceding this application had one or more public transactions (Federal, State, or local) terminated for cause or default.

As the authorized certifying official, I hereby certify that the above specified certifications are true.



Business Name:	

			
Authorized Representative Name (print)	Authorized Representative Title (print)	
			
Authorized Representative Signature	Date



Certification Regarding Lobbying

By signing this contract, the Contractor certifies that it will not and has not used Federal appropriated funds to pay any person or organization for influencing or attempting to influence an officer or employee of any US agency, SES II, a member of US Congress, officer or employee of US Congress, or an employee of a member of US Congress in connection with obtaining any Federal contract, grant or any other award covered by 31 U.S.C. 1352. 

As the authorized certifying official, I hereby certify that the above specified certifications are true.

Business Name:	

			
Authorized Representative Name (print)	Authorized Representative Title (print)	
			
Authorized Representative Signature	Date 







Certification Regarding Terrorist Financing

By signing and submitting this application, the Contractor provides and is bound by the certification set out below:

1. Contractor, to the best of its current knowledge, did not provide, within the previous ten years, and will take all reasonable steps to ensure that it does not and will not knowingly provide, material support or resources to any individual or entity that commits, attempts to commit, advocates, facilitates, or participates in terrorist acts, or has committed, attempted to commit, facilitated, or participated in terrorist acts, as that term is defined in paragraph 3.

2. The following steps may enable Contractor to comply with its obligations under paragraph 1:

a. Before providing any material support or resources to an individual or entity, Contractor will verify that the individual or entity does not (i) appear on the master list of Specially Designated Nationals and Blocked Persons, which list is maintained by the U.S. Treasury’s Office of Foreign Assets Control (OFAC) and is available online at www.epls.gov  or (ii) is not included in any supplementary information concerning prohibited individuals or entities that may be provided by SES II to Contractor.

b. Before providing any material support or resources to an individual or entity, Contractor also will verify that the individual or entity has not been designated by the United Nations Security (UNSC) sanctions committee established under UNSC Resolution 1267 (1999) (the “1267 Committee”) [individuals and entities linked to the Taliban, Usama bin Laden, or the Al Qaida Organization]. To determine whether there has been a published designation of an individual or entity by the 1267 Committee, Contractor should refer to the consolidated list available online at the Committee’s website: http://www.un.org/Docs/sc/committees/1267/1267ListEng.htm.

c. Before providing any material support or resources to an individual or entity Contractor will consider all information about that individual or entity of which it is aware and all public information that is reasonably available to it or of which it should be aware.

d. Contractor also will implement reasonable monitoring and oversight procedures to safeguard against assistance being diverted to support terrorist activity.

3. For purposes of this Certification:

a. “Material support and resources” means currency or monetary instruments or financial securities, financial services, lodging, training, expert advice or assistance, safe houses, false documentation or identification, communications equipment, facilities, weapons, lethal substances, explosives, personnel, transportation, and other physical assets, except medicine or religious materials.

b. “Terrorist act” means-


i. an act prohibited pursuant to one of the 12 United Nations Conventions and Protocols related to terrorism (see UN terrorism conventions Internet site: http://untreaty.un.org/English/Terrorism.asp); or 
ii. an act of premeditated, politically motivated violence perpetrated against noncombatant targets by sub-national groups or clandestine agents; or 
iii. any other act intended to cause death or serious bodily injury to a civilian, or to any other person not taking an active part in hostilities in a situation of armed conflict, when the purpose of such act, by its nature or context, is to intimidate a population, or to compel a government or an international organization to do or to abstain from doing any act.

c. “Entity” means a partnership, association, corporation, or other organization, group or subgroup.

d. References in this Certification to the provision of material support and resources shall not be deemed to include the furnishing of USAID funds or USAID-financed commodities to the ultimate beneficiaries of USAID assistance, such as recipients of food, medical care, micro-enterprise loans, shelter, etc., unless Contractor has reason to believe that one or more of these beneficiaries commits, attempts to commit, advocates, facilitates, or participates in terrorist acts, or has committed, attempted to commit, facilitated or participated in terrorist acts. 

e. Contractor’s obligations under paragraph 1 are not applicable to the procurement of goods and/or services by Contractor that are acquired in the ordinary course of business through contract or purchase, e.g., utilities, rents, office supplies, gasoline, etc., unless Contractor has reason to believe that a Vendor or supplier of such goods and services commits, attempts to commit, advocates, facilitates, or participates in terrorist acts, or has committed, attempted to commit, facilitated or participated in terrorist acts.

f. Any violation, notified or discovered, of this Certification prior to completion of the contract work shall be grounds for voidance of the contract in its entirety by SES II and no costs shall be recoverable by the Contractor.  Any violation of this Certification, notified or discovered after any of the Work has been performed under this contract shall result in immediate termination of this contract by SES II and no payments for any Work performed or goods delivered prior to such termination shall be made without express written approval of USAID.

Business Name: 	

			
Authorized Representative Name (print)	Authorized Representative Title (print)	
			
Authorized Representative Signature	Date 
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ANNEX 1 BILL OF QUANTITIES
Outdoor 3 Phase Hermetically Sealed, Ground Mounting Transformer (20/0.4 KV)
	[bookmark: _Toc530928869]Item
	Unit of Measure
	Qty.
	Unit Price ($)
	Item Total Price ($)

	1000 kVA 20/0.4 kV transformer
	Piece
	13
	
	

	1600 kVA 20/0.4 kV transformer
	Piece
	1
	
	

	Total Price
	



















ANNEX 2 TECHNICAL SPECIFICATIONS
Outdoor 3‐Phase Hermetically Sealed, Ground Mounting Transformer 
(20/0.4 KV) Technical Specification.
	Description
	Unit
	Particulars

	
Rated Power 
	
KVA
	
1000 KVA
	
1600 KVA

	
Rated frequency  
	
Hz
	
50

	
Primary Voltage
	
KV
	
20

	
Secondary Voltage 
	
KV
	
0.4

	
Type of cooling
	
	
ONAN

	
Winding
	
	
Electrolytic Copper

	
Vector Group
	
	
Dyn11

	
Max ambient Temperature
	

°C

	

50

	Maximum Temperature Rise for Oil
	
°C

	
50

	Maximum Temperature Rise of Windings
	
°C

	
55

	
Noise Level 
	
dB
	
Up to 68
	
Up to 70

	
Insulation
	
	
Class A

	
High Voltage Tapping 
	

	
Off circuit tap changer 5 positions              ±2x2.5% 

	
Standard Compliance
	
	
IEC60076 

	
Impedance Voltage

	
%
	
6


	Protection Against Water and Corrosion

	
	
Yes

	Multi control protection relay
	
	
Yes with Buchholz Relays

	
No load losses 
	
W
	
1400
	
2200

	
Full Load Losses 
 
	
W
	
10500
	
17000

	
Efficiency at full load (at Pf=0.8)
	
%
	
Not Less Than 98.4 %
	
Not Less Than 98.5 %


Notes 
1- Each transformer shall equipped with all needed protections/parts/accessories (oil indicator, bimetal thermometer, pressure safety valve ….etc.) needed for a fully operation.
2- Transformer tests shall be in presence of Blumont Engineer Or as his instructions. In addition,    each transformer shall be provided with official manufacturer test certificate and shall be submitted to Blumont Engineer.
3- Each transformer shall be provide with nameplate, which shows the transformer parameters.
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