ANNEX I
Distribution Plan of Medical Equipment  
Medical equipment that included in the two years free maintenance (labor and spare parts) including one year warranty (Manufacturer's Warranty):

	
Device and equipment
	PHC  Sansal
	PHC Sherwin 
	PHC Jalawla'a
	PHC Rabia
	PHC Sad Al Adheem 
	PHC Mansoriyat Al Jabal
	Total 

	Billirubinometer
	 
	 
	2
	 
	3
	2
	7

	Centrifuge
	2
	2
	2
	 
	5
	5
	16

	Chlorid meter
	2
	2
	 
	 
	3
	4
	11

	CPAP , Neonate
	 
	 
	 
	 
	1
	2
	3

	Defibrillator- Monitor 
	1
	1
	 
	 
	2
	 
	4

	Dental ultrasonic scaler
	1
	1
	 
	 
	 
	 
	2

	Dental Unit
	1
	1
	1
	 
	1
	1
	5

	Dental unit Autoclave
	1
	1
	 
	 
	 
	 
	2

	Digital Intraoral x ray system
	1
	1
	 
	 
	1
	 
	3

	Dry chemistry analyzer ( strip)
	 
	 
	 
	 
	6
	7
	13

	ECG 
	2
	2
	2
	 
	5
	3
	14

	ELISA system
	 
	 
	2
	 
	 
	 
	2

	Fetal heart detector
	1
	1
	 
	 
	6
	 
	8

	Hemoglobin meter
	 
	 
	1
	 
	3
	3
	7

	Infant Incubator
	 
	 
	 
	 
	1
	 
	1

	Infusion pump
	 
	 
	 
	 
	2
	 
	2

	Laboratory autoclave
	2
	2
	1
	 
	6
	1
	12

	Laboratory incubator
	 
	 
	 
	 
	1
	 
	1

	Laboratory Oven 50 L
	2
	2
	1
	 
	3
	3
	11

	Light cure 
	 
	 
	1
	 
	 
	 
	1

	Light microscope
	1
	1
	1
	 
	5
	2
	10

	Microcentrifuge 
	2
	2
	2
	 
	3
	2
	11

	Mobile  x ray
	1
	1
	1
	 
	1
	1
	5

	Nebulizer
	3
	3
	2
	1
	6
	5
	20

	Portable ultrasound
	 
	 
	1
	 
	1
	1
	3

	Spectrophotometer  Visible
	1
	1
	2
	 
	2
	1
	7

	Suction unit 
	2
	2
	 
	 
	8
	2
	14

	Water bath
	1
	1
	1
	 
	2
	1
	6

	Water Distillator
	 
	 
	2
	 
	2
	 
	4

	Delivary bed
	 
	 
	 
	 
	 
	2
	2



	Device and equipment
	General  Hospital -Jalawla'a (DIY)
	Medical Rehabitition Hospital  - Degla (SAL)
	priorties Total Qty

	ECG
	7
	 
	7

	ansthesia machine
	3
	 
	3

	CPAP 
	2
	 
	2

	General surgical operation bed
	2
	 
	2

	immunoassay system automated
	1
	 
	1

	infant incubator
	10
	 
	10

	mobile surgical light 
	4
	 
	4

	phototherapy free stand
	8
	 
	8
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	Device and equipment
	PHC  Sansal
	PHC Sherwin 
	PHC Jalawla'a
	PHC Rabia
	PHC Sad Al Adheem 
	PHC Mansoriyat Al Jabal
	Total 

	Digital infant scale
	 
	 
	 
	 
	1
	5
	6

	Digital scale 
	 
	 
	4
	1
	5
	1
	11

	Low pressure Oxygen regulator
	 
	 
	 
	 
	10
	 
	10

	Ophthalmoscope
	 
	 
	 
	 
	3
	1
	4

	Otoscope
	 
	 
	 
	1
	3
	1
	5

	Oxygen Cylinder 
	 
	 
	 
	 
	 
	5
	5

	Portable glucose meter
	 
	 
	2
	 
	 
	 
	2

	Sphgmomanometer
	 
	 
	16
	4
	19
	10
	49

	Stethoscope 
	 
	 
	9
	4
	22
	9
	44

	Stainless steel paravan 
	4
	6
	3
	 
	 
	9
	22

	Examination couch with steps
	 
	6
	3
	 
	9
	5
	23

	Surgical Courtage set
	 
	 
	 
	 
	3
	 
	3

	Lead barrier 3mm lead 1x2 m
	 
	6
	 
	 
	 
	3
	9

	Bed side cabinet
	 
	 
	 
	 
	5
	 
	5

	Phlebotomy chair
	1
	 
	 
	 
	2
	1
	4

	Stretcher stainless steel
	 
	4
	 
	 
	 
	 
	4

	Wheel chair 
	 
	 
	5
	 
	 
	 
	5

	Dressing trolly
	1
	8
	4
	 
	7
	8
	28

	Iv pole
	 
	 
	 
	 
	8
	3
	11

	Drug Trolly
	
	
	4
	
	
	
	4



