## RFQ
Request for Bids طلب عرض
From من |  |  |  | To (Supplier / Vendor) معلومات المزود |  |  |  | RFQ Date/ تاريخ العرض
Bahar Organization منظمة بهار | [7 empty] | PIR REF | BO/NES/RQ/PHII/02/2.4/001 BO/NES/RQ/PHII/02/2.5/001
Address العنوان |  |  |  | Address العنوان |  |  |  | Project Code | BO/NES/RQ/PHII
Ashti district (Via Bahar street),near um al-ma'una church 333 Ainkawa (Two sides),EBL,KRG,Iraq | [7 empty] | Department | Program
Tel& Mail | procurement.tr@baharorganization.org |  |  | Tel& Mail الهاتف او الايميل |  |  |  | Location | Ar-raqqa
Sr. | Description الوصف |  |  | Unit الوحدة | Qty الكمية | Unit Price سعر الوحدة | Total Price السعر الكلي | Brand/model العلامة التجارية /الطراز | Origin بلد المنشأ
1 | Examination Couch Manual-Fixed hight-2 sections |  |  | Piece | 12
2 | gynaecological examination table |  |  | Piece | 8
3 | Sphygmomanometer Aneroid Sphygmomanometer Measurement range 0-300 mmHg Cuff Circumference 22-42 cm |  |  | Piece | 12
4 | Stethoscope Binaural : Dual-leaf spring encased at 15° angle Tunable diaphragm: Hear high or low frequency sounds by slightly adjusting pressure on the chestpiece. |  |  | Piece | 12
5 | Oxygen Cylinder Oxygen Cylinder Aluminium Lightweight Oxygen Regulator 2-in-1 Pin-index Regulator and Flow meter Able to use with or without humidifier bottle Adjustable flow rate from 0 - 15 LPM Oxygen Capacity> 1200 LITER Service Pressure 2015 PSI / 139 bar |  |  | Piece | 12
6 | Pulse Oximeter Light and compact handheld design High resolution, 2.4” color display Visual & sound alarms IPX1 level protection against liquids |  |  | Piece | 12
7 | Otoscope standard illumination with 2.5V vacuum bulb, three-times magnification and rotating lens Dimmable rheostat 20 disposable ear specula, 10 each 2.5mm and 4.0mm |  |  | Piece | 12
8 | Examination Lamp Halogen lamp Flexible Metal rod adjustable by knob Folding stand |  |  | Piece | 8
9 | Suction Machine Power supply: 230-240V/50Hz, Vacuum capacity: 18 litres/mim ,Maximum depression: -75kPa (-563mmHg), Connection tube: Silicone tubing, diameter 12x7mm, length 25cm, and 2 connectors: 1,straight and 1 curved 90°. Suction tube: Reusable silicone tube: diameter 7x12mm, length 200mm. |  |  | Piece | 4
10 | Dressing Set (scissors, needle holder, forceps, gauze) SURGICAL GRADE STAINLESS STEEL INSTRUMENTS 1 x IRIS Scissors 1 x ADSON Tweezers (1:2 Toothed) 1 x CRILEWOOD Needle Holder (3-Step Rachet) 1 x Swann-Morton B.P. No.3 Scalpel Handle |  |  | Piece | 4
11 | Glucometer Blood sample size: 1 to 2 microlitres Time for result with test strip in the meter: 5 seconds Memory: 500 results with date and time Measurement range: 0.6 – 33.3 mmol/L Display: LCD Auto Power Off: 30 or 90 seconds according to operating status Data transfer: Via USB interface with Micro-USB cable |  |  | Piece | 8
12 | Autoclave Chamber Capacity: 22 L (1340 cubic inches)." Start-Up Time (to 273 °F): 12 minutes warm. Total Cycle Time: 16 minutes warm (unwrapped). Drying Cycle: 30 minutes pre-programmed. |  |  | Piece | 4
13 | Emergency Trolley The headrest, main table surface and padded areas on the side guards are upholstered with synthetic leather. The upholstery thickness for the headrest and main table surface is 64 mm. The side guards (dimensions approx. 760 x 230 mm, LxH) can be adjusted up or down with a simple rotation mechanism and locked in place with a sliding bolt. When both side guards and down, the overall width of the upholstered area is increased from approx. 600 mm to approx. 700 mm. The headrest is continuously adjustable by gas pressure spring (300N) up to +30°. The release button is located at the front end, directly underneath the headrest. Built-in brackets on either side of the head section for the optional infusion pole. |  |  | Piece | 4
14 | Speculums Vaginal stanless steel |  |  | Piece | 9
15 | Ultrasound machine IMAGING MODE B, B/B, 4B, B/M, M, SCANNING MODES CONVEX LINCER, GRAY SCALE 256, DISPLAY 10” NON-INTERLACED MONITOR, GAIN UP TO 120 DB, TRANSDUCER CONNECTOR |  |  | Piece | 4
16 | X-ray Viewer Neon tubes of 6.000°Kelvin Upper and/or central pressing rolls film holding system; Bipolar switches on the front Arranged for wall mounting installation through expansion dowels; |  |  | Piece | 4
17 | Thermometer High accuracy Digital display Auto power off |  |  | Piece | 42
18 | ECG Digital 12 Channel ECG, colour screen, lead acquisition on screen guide and inbuilt printer and memory, real-time waveform freezing for user flexibility and control, colour LCD monitor with adjustable contrast |  |  | Piece | 4
19 | Defibrillator Monophasic/ biphasic ECG monitoring Auto AED with spo2 Printer |  |  | Piece | 4
20 | Delivery Set Artery Forceps Needle Holders Dressing Scissors Dissecting Forceps Episiotomy Scissors Outlet Forceps. |  |  | Piece | 4
21 | Measuring Tape 1.5 M- Inch and CM |  |  | Piece | 34
22 | nebulizer |  |  | Piece | 14
23 | washing machine |  |  | Piece | 4
24 | bed sheets 10 small and 30 larg |  |  | Piece | 40
25 | sharps waste container |  |  | Piece | 21
26 | stepping stool |  |  | Piece | 20
27 | new born scale |  |  | Piece | 8
28 | Mother and child scale Measuring range 0 to no less than 150 kg. Graduation: 100 g minimum Accuracy: ± 100 g over the entire range of measurement. Back-lit LCD or other feature for low light reading Operator Keys– On/Off/Tare, Units, Hold |  |  | Piece | 19
29 | Microscope Eyepieces: Wide Field focusable paired eyepiece WF 10x/22mm, with foldable eye guard, anti-fungus coating Nosepiece: Reverse angle quadruple nosepiece (Ball bearing type) with click stops and rubber grip, anti-fungus coating Objectives: RP Series DIN Infinity Corrected Plan Achromatic objectives 4x, 10x, 40x (Spring loaded), 100x (spring loaded, oil) Mechanical Stage: Rackless X-axis, double plate mechanical stage plate size 200 x 160mm, X/Y travel range 78 x54mm. Low drive movement controls. Hard coated surface for scratch resistance, Condenser: Sub-stage Abbe condenser NA 1.25 with aspheric lens and iris diaphragm. Rack and pinion movements on stainless steel guides. Day light blue filter provided.Focusing: Co-axial coarse and fine focusing on ball drive system for smooth operation. Illumination: Halogen 6V-20W illumination with variable illumination control. Up to 2,000 hours of Halogen lamp life.Electrical: Input 220V-240V AC |  |  | Piece | 4
30 | Tubes centrifuge Speed 100 – 15,000 rpm (50 rpm steps) Max. capacity 24 × 1.5/2.0 mL Rotors available 4 Acceleration time1 15 s Deceleration time1 16 s Display LCD Timer 30 s to 9:59 h, with continuous run function SOFT brake function yes Noise level < 48 dB(A) with Rotor FA-45-24-11 Volume range 48 mL Power supply 230 V, 50 – 60 Hz |  |  | Piece | 4
31 | Spectrophotometre Complete Range of LEDs (340-405,505,535,560,600,670nm) Durable, humidity Proof Hard Coated Filters + 2 free positions Black BOX-Optics Sealed Optic Systems-no Filter Wheel Battery Pack Power Failure (2 hrs), Monochromatic/Bichromatic Reading, Photometric Rang (0.0 to 3.5A) for all Wavelengths Sipping volume from 100 µL- 5000 µL,Temp. System from 25° - 40°C (1° C increment) controlled by Peltier, Flow Cuvette 18 µL Ergonomic designed accessible Pulse for sample loading Prog Memory up to 150 Techniques Backlit Graphic Display 320 x 240 pixels with contrast settings Tactile Membrane Keyboard USB and serial RS-232 for external Computer Use Thermal Printer (easy loading) Patient Result up to 2000 with blank and calibration values can be stored Levy-Jennings QC chart based on Westgard's rule Calibration by Factor, single calibrator or calibration curve Kinetics by Linear Regression PC Communication |  |  | Piece | 4
32 | Hematology analyzer Operation Mode Automatic Number of Chambers 2 Sample Mode Whole Blood, Capillary, Pre-Diluted Method Electrical Impedance Throughput 60 samples Number of Parameters 21 parameters Sample Volume 9ul Storage 100,000 results Sample Volume (ml) 9ul Chamber Double |  |  | Piece | 4
33 | Electrolytes device Small sample volume Whole blood, serum, plasma or urine sample User input with external keyboard Optional barcode scanner Stores up to 1,000 results Test results in 60 seconds Small, benchtop unit Internal printer |  |  | Device | 4
34 | Haematocrit centrifuge Max Speed: 12000r/min Rotor Capacity: 24pieces of capillary Time Range: 0～99min Motor: NO brush DC Motor Power Supply: Ac220V 50Hz 2A Noise: ≤65dB (A) |  |  | Piece | 4
35 | Water distillation unit High-quality distillate – conductivity approx 2,5 µS/cm Electronic control system (automatic water and power cut-off when tank is full and automatic start, after distillate is taken from tank) Electronic leakage-proof safety system with solenoid valve Thermostatic low-water cut-off safety system Fully made of stainless steel |  |  | Unit | 4
36 | Refrigerator |  |  | Piece | 4
37 | Stop watch Multiple functions include timer, stopwatch, clock and alarm |  |  | Piece | 8
38 | Westergren ESR tubes are specially used for blood sampling for determination of the erythrocyte sedimentation rate (ESR) by the Westergren Method + stand |  |  | Set | 4
39 | micropipettes Variable- 1-10 uL- 20-100 uL-100-1000 uL |  |  | Units | 4
40 | water bath shaker |  |  | Units | 7
Currency العملة |  | USD $ |  |  | Total Cost السعر الكلي
Delivery date / تاريخ التسليم
Payment term / شروط الدفع
The quantities can be less or more according to the need الكميات يمكن ان تويد ام تنقص حسب الحاجة
ملاحظات Notes |  |  | Provider have to attach all Catalogues and Technical Data sheets
Other Terms شروط اخرى |  |  |  |  | Validity of quotation صلاحية العرض
Prepared by Log Name جهز من قبل |  |  |  |  | Stamp and Signature الختم والتوقيع
Title المنصب
Date التاريخ
Signature التوقيع