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Request for Quotation / Sealed envelope      
                                                                                                                                           Tender#A21/IRAQ/2019   
Vendor’s name:

Phone: 

E-mail:

Address:

Please officially quote for the following requested items/services according to the terms & conditions mentioned below: 

	Specifications / Remarks
	Warranty
	Delivery time
	Origin
	Total price $
	Unit price $
	Quantity
	Unit
	Description
	#

	1- CPU desktop (includes

keyboard, mouse, Ram 8 GB, OS: Microsoft Windows 7)

2-Mon LCD (LCD Monitor)

3- Kit SD plus clinic USB (29 channel EEG acquisition Kit composed of headbox SD plus clinic, cable HBC express and interface BQ USB express).

4- Kit Caps EEG SPA (elastic silicone caps for EEG composed of:

A- 1 large cap / CAP EEG SPL/

B- 1 medium elastic cap / CAP EEG SPM/

1 package of 23 body electrode / EL SP TA/, 23 cables / 23*EL TAP2/

1 jar of EEG conductive paste / EEG PASTE/)

5- Kit Car Toro (complete kit trolley for EEG Series system, includes: transformer TOR 500.

6- ARM LCD SW (vertical support for LCD sensor to fix on trolleys)

7- BQ stand plus (SD plus headbox stand)

8- Kit Flash 10 (photic stimulator with wheel support. composed of FLASH 10 S and BQSTAND FL10)

9- PRN LASER (laser printer).

10-SW ACQ CLINIC (Software of EEG acquisition and review, clinic.
	
	
	EC or equaled
	
	
	1
	No.
	Digital Electroencephalogram (EEG)

for diagnosis and follow up on patients with epilepsy and comatose patients
	1

	1- 12 touch screen

2- large color-coded screen and readings

3- stimulation control with knob or screen

4- full wireless remote operation

5- two interface options

6- independent control of 4 lesions at once 

7- doctor and patient presets

8- monopolar and bipolar RF
	
	
	
	
	EC or equaled
	1
	No.
	Radiofrequency Device

for pain management and neurosurgery

(treat four sites at once, SI joint lesions, treat multiple nerves at the same time, pain relief for many joints)
	2

	used in examination of nasal, postnasal, .and pharyngeal regions.
	
	
	
	
	EC or equaled
	1
	No.
	Fibreoptic Nasopharyngoscope

2.7mm size
	3

	used in:

1- sinonasal exaination and surgery.

2- Ear examination and surgery.
	
	
	
	
	EC or equaled
	1
	No.
	Rigid sinuscope

0 degree/ 4 mm size
	4

	
	
	Total Price USD
	


Special Terms & Conditions:
1- All Equipment and Devices should be delivered and installed in Mosul City Hospitals to the locations assigned by QRC team.
2- Warranty should be Minimum two year.

3- The Company is responsible for training of Hospital staff at site on all equipment provided by company.
4- Catalogues or brochures should be submitted with the offer, and the offer will be rejected without them.
5- Certificate of Origin should be available at delivering of equipment.
6- The supplier will bear all transportation expenses and security and government approvals.
General Terms & conditions:
1. LATE SUBMISSIONS ARE DISQUALIFIED

2. If required, Site visits will be scheduled by the logistics department.

3. All offers must be sent to QRC IRAQ HQ in Erbil, address: Villa No. 722, Dream City. 
4. All offers must be in a signed and sealed envelope indicating company name, bid number, contacts, and date 

5. All pages of this document, and any supporting documents must be stamped

6. No corrections, amendments, erasing, or handwriting on this document use computer to fill out. 

7. All inquiries should be addressed directly to logistics in writing only, no verbal communication, no communication with other departments

POC: Logistics Department / tendering@qrcs-iraq.org
8. To fill all the above-mentioned fields 

9. The offer validity should be for 3 months.
10. Payment terms: after delivery and approved with 40 days after invoice date.
11. Shipping method: air, sea or land freight 

12. The vendor should strictly adhere to all the details mentioned in his offer 

13. QRC is not obliged to accept to lowest price without giving any justification
14. QCR has the right to cancel or re-announce the P.O, P.C, tender without any justification 

15. Closing date is 22/12/2019    Time:    02:00 PM
I hereby   adhere to the all the above-mentioned terms and conditions 

Authorized person name & signature: 

Company stamp
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