## RFQ
REQUEST FOR QUOTATION
Date Prepared: 03/18/2021
RFQ Number:
GENERATOR FOR SINJAR TENDER
Integrity of the Public Tender procurement process is of the utmost importance. Un-ethical procurement conduct will not be tolerated and will result in the immediate dismissal from the Public Tender procurement process. All bids are received directly by the Tender committee. It is not possible to influence the decision or outcome of the Tender. Submit your best value proposal the first and only time. No Samaritan's Purse employee will solicit you outside of this tender. Questions regarding the Public Tender that require a formal response must be submitted in writing to Samaritan's Purse Logistical Department, REPORT ALL UNETHICAL BEHAVIOR, FOR CONFIDENTIALITY REPORT TO THE Samaritan’s Purse HOTLINE @ 0750 863 6742 . If you, the supplier, suspects fraud from an SP employee, are asked to commit fraud, or witness an SP employee act in a decitful way, please notify Samaritan's Purse leadership by calling our confidential hotline where Arabic and Kurdish speakers are ready to receive your call. Please call: 0750 863 6742
Samaritan's Purse Information Area Only |  |  |  | Supplier: Please fill out all white boxes
# | Description | Qty | UOM | Per Unit Price USD | Total Price All Units USD | Additional Comments
1 | Generator between 200 to 220 kVA/Standby Power Rating, Perkins engine, Diesel - 50Hz, soundproof canopy. Preferred Teksan or JET generator or equivalent. | 1 | EA
2 - Option A | ATS board for generator between 200kVA to 220kVA, with Installation and wiring (10 meters) the generator at Sinuni Base. | 1 | EA
2 - Option B | ATS board - Supplying materials, tools, and manpower to install ATS with waterproof box 160x100x60 cm (for 3 Generators +Local Main Power) the ATS should mixing the 4 sources of power to provide 1 load line, the work includes making a run schedule system for 2 generators to be setting as the following running times automatically ( from 8:AM to 5:00 PM) for 200 kva and (from 5:00 PM to 8:00 AM) for the 110 kva, and the 3rd generator (60kva) will be using manual, with all accessories (Timers second, Relay, Timers days & Hours, pole Circuit Breaker, Digital Mustimeter, Signal Lamp, CT, Phase Failure, Pole Miniature...etc.) and work requirement | 1 | EA
3 | Transportation to Sinjar/Sinuni | 1 | Trip
Date of the Quotation: |  |  |  | Total Price | 0
NOTES:
I. | Samaritan's Purse Iraq reserves the right to cancel the tender at any stage, because of the following reasons: The tender procedure has been unsuccessful, lack of clarity in the RFQ that leads to discrepancy in the bids where the goods and services and prices proposed cannot be compared, funding ending, being canceled or reduced; force majeure, and other reasons that the Samaritan’s Purse tender committee would find valid.
II. | Quotes shall remain valid at least for a period of 3 calendar months or longer after the deadline for receipt of Bids.
III. | The currency used in this RFQ must be only in United States Dollars (USD).
IV. | Payment terms: a) After delivery and installation is completed, b) A percentage will be withheld from the payment until the warranty period is completed.
Required Submittal Information - To be considered for this tender, the bidder must submit all documents requested below: | [5 empty] | Comment / Description / Answer
A | SUPPLIER MUST SUBMIT A CATALOG OF GENERATOR SPECIFICATIONS [brand, engine specification, alternator, etc.]
B | The supplier will be responsible to provide all the needed access letters for the checkpoints. The Generator must be delivered and installed by the Supplier in Sinjar.
C | Provide Company Registration.
D | Provide a list of all your Office Locations in KRG and GOI.
E | Provide your company CV.
F | Attach a list of references with the contact details (referenced with other NGOs or Companies that are or were your customers)
* Please fill out all the information required below يرجى ملء جميع المعلومات المطلوبة أدناه
Company Name / اسم الشركة : |  |  |  | Contact Name / الاسم الثلاثي للشخص المعني بالأتصال :
Company Address / عنوان الشركة : |  |  |  | Contact Phone / رقم الهاتف الشخصي :
Contact Email / البريد الألكتروني : |  |  |  | Contact Signature / توقيع الشخص المعني بالأتصال :
Warranty Duration: مدة الضمان |  |  | Validity of Quote: مدة صلاحية العرض |  |  |  | Supplier Stamp ختم المورد
Provide Delivery YES / NO توفير التوصيل ؟ (نعم او لا) |  |  | Delivery Time: وقت التوصيل
Payment Type: طريقة الدفع |  |  | Payment Terms: شروط الدفع وتسديد الأجور