## Tech. Evaluation Reconstruction
Offers TECHNICAL AND COMMERCIAL EVALUATION Construction of Refrigerated Agriculture Storages in Anbar
Process No: 83389750 |  | Construction of Agriculture Storages in Anbar Scoring Criteria (Equations, Scores, Comments, Exclusion Criteria)
Purpose of Evaluation/Service | Construction of Agriculture Storages in Anbar Methodology
Company Name:
Date:
Name of Contractor represntative:
Address:
Tender Name:
General Information (Eligibility Criteria)
1- General Requirements (Commercial eligibility) | Documents provided? |  |  |  | Eligible Yes/NO Exclusion Criteria | Comments
1.1 Company Profile (Offices, structure of the company and history of company ) Evidence of commercial register entry
1.2 Fiduciary bank account Confirmation
1.3 Similar works table (Annex C) Reference projects with a minimum value of 200.000 USD and at least 1 reference project in the technical area of a) Building Construction, b) Mechanical and Electrical System and c) Prefab/Sandwich panel and Caravans Installation
1.4 Average annual turnover for the last three financial years (2020, 2019,2018) - At least: 950000 USD (in average)
1.5 Fully filed BoQ in Excel and PDF( stamped and signed on each page)
Technical Part 1
2.- Technical Evaluation | Criteria | Exclusion criteria? 1=NO 0=YES | Scoring criteria | Deserved Score | Final score | Comments
2.1- Experience in Similar Project (Annex E) | Prefab/Sandwich panel and Caravans Installation Experience | 0 | 3 |  | 0 | one point for Each project experience Accumilative Score | 1 point for each project
| Building Construction Experience | 0 | 3
| Mechanical and Electrical System Experience | 0 | 3
| Refrigerated System Experience | 1 | 3
| Supplies Experience | 1 | 3
2.2- Previous experience with GIZ/UN/ INGOs/NGOs | No Experience | 1 | 0 |  | 0 | Not-Accumilative Score
| Between 1-3 Projects |  | 2.5
| more than 3 projects |  | 5
D- Time Completion per provided work experience | Time rate exceed the deadlines |  | 0
| Time rate at the deadlines |  | 5
| Time rate before the deadlines |  | 10
Sub- Total = 20 - Minimum Requirement 10 points ( If 10 points or obeve), the Company will pass to the next stage) |  | 0
Technical Part 2: 30% 3- Material quality and Human Resources (Annex F and D) | Scoring Criteria |  | Brand/Origin/ Drop down function |  | Final score | Comments
Iron Bars used in Concrete Reinforcement | from 0 to 2 based on Brand or Origin | 1 | Ukraine |  | 2
integrated Cooling and ventilation System for 5 chambers | from 0 to 6 based on Brand or Origin | 1 | KS 330 - CP/CPE Compact |  | 6 | For Technical reason, the only acceptable one will be IKS 330 - CP/CPE Compact
Electrical Cables | from 0 to 2 based on Brand or Origin | 1 | Saudi (Al-Fanar) |  | 2
Switch Socket | from 0 to 2 based on Brand or Origin | 1 | schneider or ABB |  | 2
Air cooler devices | from 0 to 2 based on Brand or Origin | 1 | GE & Tossot & Media |  | 2
[8 empty] | Steel Bars origin | Scoring | Switch Socket Brand & Origin | Scoring | Ceramic Tiles Origin | Scoring
Ceramic Tiles (Floors and walls) | from 0 to 2 based on Brand or Origin | 1 | Spain |  | 2 |  |  | Ukraine | 2 | schneider or ABB | 2 | Spain | 2
[8 empty] | Turkey | 1.4 | Other Europian or American brands | 1.6 | Kleopatra- Egypt | 1.6
Exterior Transformer 400 KVA (11/0.)KV | from 0 to 2 based on Brand or Origin | 1 | Turkey |  | 2 |  |  | Saudi | 1.4 | Saudi | 1.4 | India - ITACA | 1.2
[8 empty] | Iraqi | 1.2 | edison/Emirate | 2 | Chinese | 0.6
Water Pipes | from 0 to 2 based on Brand or Origin | 1 | Egypt - Germany |  | 2 |  |  | Chinese | 1 | Chinese | 0.8 | Iranian | 0.4
[8 empty] | Not mentioned | 0 | Not Mentioned | 0 | Not Mentioned | 0
Company Human Resource Capacity/Staff required 10% (According to Annex F) Machinery to be added (according Annex F) | Technical staff (Specialist, engineer, foreman, supervisors etc..) | 1 | Technical Staff. At least one(engineer, foreman, supervisors) |  | 4 | Accumilative Score
| Technicians (plumber, electrician etc..) |  | Technicians ( (plumber, electrician, Smith, Carpenter etc..)_ |  | 4
| Support Staff (HR, Logistic, Supply chain, etc...) |  | Support Staff (HR, Logistic, Supply chain, etc...) |  | 2
Sub- Total Technical evaluation score 30% in Total |  | 30 | [5 empty] | Electrical Cables origin | Scoring | Air cooler devices Brand & Origin | Scoring | Exterior Transformer 400 KVA (11/0.)KV | Scoring | Water Pipes | Scoring
Financial Part 70% | [7 empty] | Saudi (Al-Fanar) | 2 | GE & Tossot & Media | 2 | Turkey | 2 | Egypt - Germany | 2
4- Financial evaluation | Scoring Criterie Formula | Scoring Criteria |  |  | Final score | Comments |  | Jordanian | 1.8 | LG | 1.6 | Iraqi | 1.6 | Italy | 1.6
4.1 Financial Score | Scoring Criterie = 100* (Lowest Price/Offered price) | 100 |  |  | 70 |  |  | Europian | 1.8 | Samsung & Al-Hafidh | 1.4 | Saudi | 1.2 | Iraqi | 1.2
Overall Technical Evaluation and financial evaluation Score |  |  |  |  | 100 |  |  | Iraqi | 1.2 | Gibson | 1 | Not Mentioned | 0 | Chinese | 0.6
[8 empty] | Chinese | 1 | Al-Rayan | 0.8 |  |  | Iranian | 0
[8 empty] | Iranian | 0 | Chinese brands | 0.6 | Cooling System Brand | Scoring | Not Mentioned | 0
[8 empty] | Not Mentioned | 0 | Not Mentioned | 0 | KS 330 - CP/CPE Compact | 6
[12 empty] | Not Mentioned | 0
|  |  | Construction Unit |  |  |  |  | Company Human Resource Capacity | Scoring
[8 empty] | Technical Staff. At least one(engineer, foreman, supervisors) | 4
|  |  | Approved by: |  |  |  |  | Technicians ( (plumber, electrician, Smith, Carpenter etc..)_ | 4
|  |  | Name: |  |  |  |  | Support Staff (HR, Logistic, Supply chain, etc...) | 2
|  |  | Position: |  |  |  |  | Not Mentioned | 0
Date:
Signature:
Construction Unit DV
Approved by:
Name:
Position:
Date:
Signature:
Note on B28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Adapatation Criteria
Note on B43: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Adapatation Criteria
Note on B66: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Adapatation Criteria