## Fuel&Spare part - Technical Bid
ANNEX A1 - TECHNICAL BID FORM ITB reference number: DRC/IQ-TIK-2021-PA-005– Provide of Fuel and Generator Spare Part
To be Filled by Bdder
# | Category | Item Description | Qty | UOM | listed below photos are for illustrative purpose only | Sample is required | Offered Specifications | Brand Name | Offered Quantity | UOM | Country of Origin
1 | Fuel & Oil | Fuel for generator for DRC Office in Tikrit, and other place in Salah AlDin governorate ( the fuel must be Good Quality ): Fuel, pure diesel for generators with following specifications: - Density at 15 C degree: 820-840 - Water: <500 mg/kg - Copper Strip corrosion: Class 1 - Lubricity: < 460 - (The samples will be test) وقود محركات (كاز) بنوعية جيدة يتم تجهيزه الى مقر منظمة DRC في تكريت او اي مكان في محافظة صلاح الدين (عينات الوقود ستخضع للفحص) | 1 | Liter |  | Yes
2 |  | Engine Oil of Generator type Perkins Jerry can of 20 liter similler to shell. زيت مولد بيركنز 20 لتر نوعية جيدة مشابه لزيت نوعية شيل | 1 | Liter |  | Yes
15 |  | Fuel Filter of Generator type Perkins capacityd 65kv & 45 kv size 4461493, (فلتر كاز ). | 1 | pc |  | Yes
18 |  | Oil Filter of Generator type Perkins capacity 65kv and 45 kv (فلتر دهن ) size2664403 . | 1 | pc |  | Yes
|  | Air filter of Generator type Perkins capacity 65kv and 45 kv , (فلتر دهن) size 26510337 . | 1 | pc |  | Yes
|  | Oil pressure sensor for Generator type Perkins capacity 45kv | 1 | pc |  | Yes
|  | Oil pressure sensor for Generator type Perkins capacity 65kv | 1 | pc |  | Yes
20 |  | plastic jerry cans 20 liters | 1 | pc |  | Yes
DRC to complete | [6 empty] | Bidder to complete
| Requested delivery lead time : | to be deliver within 3 calendar days from PO signed |  |  |  |  | Offred delivery lead time:
| Delivery Terms required (Add Incoterm if necessary): | DDP( incoterm 2020) |  |  |  |  | Delivery Terms offered (must include incoterm):
| Delivery Destination required ( per each Lot): | Salah Al-Din districts- (Tikrit -Balab,Baiji,Samara) |  |  |  |  | Delivery Destination offered:
| Minimum bid validity period required: | 90 days |  |  |  |  | Bid validity period offered:
| Essential Criteria | [5 empty] | Company Name:
| Additional Comments: Bidders should note that Delivery will be to DRC Distribution sites. Possible Delivery District Locations have been listed in the "Delivery Destination required" cell. Delivery may be requested in required quantities to several locations simultaneously. | [5 empty] | Contact Person:
Address:
Phone number:
Email Address:
Date:
Do you agree on all Essential Criteria ?
Signed by a duly authorized company representative:
Title:
Print Name:
Stamp of company