## Financial Bid
| ANNEX A2 - FINANCIAL BID FORM ITB reference number: DRC/IQ-TIK-2021-PA-005– Provide of Fuel and Generator Spare Part | [7 empty] | Annex A.2 Financial Bid
DRC to complete |  |  |  |  | Bidder to complete
# | Item Required and Specification |  | Quantity required | UOM | Item offered (please mention make and source with full specification) |  | Quantity offered | UOM | Unit Price (IQD)
1 | Fuel for generator for DRC Office in Tikrit, and other place in Salah AlDin governorate ( the fuel must be Good Quality ): Fuel, pure diesel for generators with following specifications: - Density at 15 C degree: 820-840 - Water: <500 mg/kg - Copper Strip corrosion: Class 1 - Lubricity: < 460 - (The samples will be test) وقود محركات (كاز) بنوعية جيدة يتم تجهيزه الى مقر منظمة DRC في تكريت او اي مكان في محافظة صلاح الدين (عينات الوقود ستخضع للفحص) |  | 1 | Liter
2 | Engine Oil of Generator type Perkins Jerry can of 20 liter similler to shell. زيت مولد بيركنز 20 لتر نوعية جيدة مشابه لزيت نوعية شيل | PPR Clamp with 1/2 inches Dia. For fixing the PPR pipes with 1/2" on the walls. | 1 | Liter
3 | Fuel Filter of Generator type Perkins capacityd 65kv & 45 kv size 4461493, (فلتر كاز ). | PPR end cap with 3/4" for closing the dead ends in the PPR water pipes system.- | 1 | pc
4 | Oil Filter of Generator type Perkins capacity 65kv and 45 kv (فلتر دهن ) size2664403 . | PPR end cap with 1/2" for closing the dead ends in the PPR water pipes system.- | 1 | pc
5 | Air filter of Generator type Perkins capacity 65kv and 45 kv , (فلتر دهن) size 26510337 . | PPR (Polypropylene Pipes Random) Water Pipe for cold water system, Size: Diameter 1/2" , length 6M | 1 | pc
6 | Oil pressure sensor for Generator type Perkins capacity 45kv | Wall plate PPR with 3\4" diameter and two female elbows of 90 degrees for use in fixing the water taps. | 1 | pc
7 | Oil pressure sensor for Generator type Perkins capacity 65kv | PPR (Polypropylene Pipes Random) Water Pipe for cold water system, Size: Diameter 3/4" , length 6M | 1 | pc
8 | plastic jerry cans 20 liters | Reinforced PPR (Polypropylene Pipes Random) Water Pipe for hot water system, Size: Diameter 1/2" , length 6M | 1 | pc
Total Cost
DRC to complete |  |  |  |  | Bidder to complete
Delivery time required (days after PO signature): |  | Tikrit office - 3 Calendar Days Baiji Center - 3 Calendar Days Balad Center - 3 Calendar Days Samara - 3 Calendar Days |  |  | Delivery time offered (days after PO signature): | Tikrit office - Baiji Center - Balad Center - Samara -
Delivery Terms required (Add Incoterm if necessary): |  | DDP INCOTERMS 2020 |  |  | Delivery Terms offered (must include incoterm):
Delivery Destination required: |  | Salah Al Din (Samara , Balad, Baiji and Tikrit) |  |  | Delivery Destination offered:
Minimum bid validity period required: |  | 90 Days |  |  | Bid validity period offfered:
Currency of Tender: |  | IQD |  |  | Currency of Bid:
Additional Comments: Bidders should note that Delivery will be to DRC Distribution sites. Possible Delivery District Locations have been listed in the "Delivery Destination required" cell. Delivery may be requested in required quantities to several locations simultaneously. |  |  |  |  | Company Name:
Signed by a duly authorized company representative:
Title:
Date:
Print Name:
Stamp of company