## Electrical Transformer-Fin bid
| Annex A.2 -Financial Bid Form | ITB-IQ-TIK-2021-011 For Maintenance and Rehabilitation of Public Electricity Grid and Infrastructure in Baiji - Salah Al-Din
| DRC to Complete |  |  | Bidder to Complete
Category | ITEMS DESCRIPTION | UNIT | Requested Qty. | Offered Unit | Offered quantity | Offered Unit Price in USD
A | Electrical Transformers
A.1 | Supply, install and connect Electrical transformers 11/0.416KV, 3 phase with capacity of 250KVA, Similar to Beta Brand (Turkish made) and according to the IEC standard as well as Iraqi minsitry of electricity technical specifications. this also includes all the necessary quality and technical lab testing in the Salah Al-Din Directorate of Electricity. work also includes supplying and installing the following: 1- C section steel Channel, Hot rolled tapered type (width 4 inch, length 210 cm) to serve as a base for the electric transformers (2 units per each transformer). 2- Circuit Breaker (3 Phase, 250 Amp) of Authentic Origin and high Quality similar to brands (Hyundai, Schnider, ABB) as well as water resistant (IP65) Metal Box (2 units per each Transformer). 3- Supply and install a Link fuse set ( 11 KV, 3 Phase) with its supporting base ( 1 set per each transformer), High quality. 4- supply and install ALuminum Washer (like the one used bind cables togother, 3 screws)(8 units per each transformer). 5- supply and install copper cable connector terminal (Lugs, 95 mm2, thickness 4 mm) (24 units per each transformer) | Unit | 2
تجهيز ونصب و ربط وتشغيل وتوزيع محولة كهرباء 11/0.416 كيفي,ثلاثية الطور و بسعة 250 كيفي امبير ,مشابهة لنوع بيتا ذات المنشأ التركي و وتكون مطابقة لمواصفات IEC والمواصفات التقنية الخاصة بوزارة الكهرباء العراقية والمواصفات التقنية الخاصة بدائرة كهرباء صلاح الدين, العمل يتضمن الفحص المختبري في المختبر الخاص بدائرة كهرباء صلاح الدين. يشمل العمل كذلك تنصيب و تجهيز الاغراض الاتية لكل محولة: 1- جنلات حديد عدد 2 لكل محولة (قياس 4 انج بطول 210 سم). 2- قاطع دورة كهربائي ثلاثي الطور سعة 250 امبير من منشأ رصين شبيه بـنوع (Hyundai او Schnider او ABB)(عدد 2 لكل محولة ). مع صندوق حديد مقاوم للماء (عدد 2 لكل محولة ). 3- تجهيز و نصب و ربط تخم لنك فيوز 11KV ثلاثي الطور لكل محولة مع القاعده الخاصة به مع كل ملحقات الربط (عدد 1 لكل محولة) من منشأ رصين. 4-تجهيز و نصب قفيص المنيوم لربط الكيبلات عدد 8 لكل محولة (ثلاثي البرغي). 5-تجهيز و ربط ترامل نحاسية حجم (95 ملم) و بسمك 4 ملم، عدد 24 لكل محولة.
B | Electricity Poles
B.1 | Supply and install a galvanize steel tubular pole (height 11 m, thickness 5.5mm ) with steel channel C Section, Hot rolled tapered type (4 inch Section, 6 mm thickness and 1.2m length) with it's cap and pin insulator (Heigh voltage) as well as all the other required items and parts ( bolts, screws,..etc) and according to the standard specifications of Iraqi ministry of Electricity ,the worked includes fixing the pole in the ground by digging hale with depth 2m and casting concrete type C25 with nick with dimension (50x50 cm and height of 25 cm above ground level. | Piece | 6
تجهيز ونصب عمود كهرباء دائري حديد مغلون بطول 11 متر (بسمك 5.5ملم) مع قطعة الحديد المستعرضة نوع جنل ( المقطع 4 انج ، سمك 6 ملم وبطول 1.2 متر)مع غطاء العمود العلوي والعازل (فنجان) ضغط عالي مع جميع البراغي و الملحقات الخاصه به و حسب المواصفات العراقية , العمل يتضمن تثبيت العمود في الارض عن طريق عمل حفرة بعمق 2 متر وصب العمود باستخدام الخرسانة نوع C25 مع عمل رقبة خرسانية للعمود بأبعاد 50*50 سم ارتفاع 30 سم عن سطح الارض و بما يضمن اداء العمل بصورة متكاملة و صحيحه.
B.2 | Supply and install a galvanize steel tubular pole (height 9 m, thickness 5.5mm ) with it's cap and pin insulator (low voltage) as well as all the other required items and parts ( bolts, screws,..etc) and according to the standard specifications of Iraqi ministry of Electricity ,the work includes fixing the pole in the ground by digging hale with depth 2m and casting concrete type C25 with nick with dimension 40*40 and 20 cm height. | Piece | 38
تجهيز ونصب عمود كهرباء دائري حديد مغلون (طول 9 متر، بسمك 5.5 ملم) مع العازل (الفنجان) ضغط واطئ مع جميع الاجزاء و القطع اللازمة لانجاز العمل بصمرة كاملة (براغي، صامولات،.....الخ). العمل يتضمن تثبيت العمود في الارض عن طريق عمل حفرة بعمق 2 متر وصب العمود باستخدام الخرسانة نوع C25 مع عمل رقبة خرسانية للعمود بأبعاد 40*40 سم وبارتفاع 50 سم و بما يضمن اداء العمل بصورة متكاملة و صحيحه.
B.3 | supply and install 11m galvanize steel lattice electricity poles( 5.5 mm thickness)(truss shape),with steel C channel, 4 inch width, 6 mm thickened and 1.2m length with it cap and pin insulator (low voltage). the worke aslo includes fixing the pole in the ground by digging a hole with diameter 60cm and depth 2m, casting concrete type C25 with nick with dimension 60*60 and 20 cm height | Piece | 1
تجهيز ونصب عمود كهرباء مشبك حديد مغلون بطول 11 مترو بسمك سم 5.5 ملم مع قطعة الحديد المستعرضة نوع (جنل 4 انج بسمك 6 ملم وبطول 1.2 متر) مع العازل (الفنجان) ضغط واطئ مع جميع البراغي و الملحقات الخاصة به. العمل يتضمن تثبيت العمود في الارض عن طريق عمل حفرة بعمق 2 متر وصب العمود باستخدام الخرسانة نوع C25 مع عمل رقبة خرسانية للعمود بأبعاد 60x60 سم , و بارتفاع 30 سم.
C | Electrical Cables
C.1 | Supply, install and connect high voltage non insulated Aluminum cable 95 mm2 Similar to high quality turkish brands. | ML | 2000
تجهيز وربط سلك المنيوم بسمك 95 ملم ضغط عالي ذو جودة عالية ذو منشأ رصين شبيه للمنشأ التركي.
C.2 | Supply, install and connect non insulated Aluminum cable 70 mm2 Similar to high quality turkish brands. | ML | 6700
تجهيز وربط سلك المنيوم بسمك 70 ملم مشابه الى الصناعة التركية
C.3 | Supply and install an insulated Single core copper cable (1 x 95 mm2) similar to high quality Brands of Authrntic Origin (Jordan, Saudi or Turkish) | ML | 150
تجهيز وربط قابلو نحاسي قياس 95 ملم ضغط عالي ذو جودة عالية ومن منشأ رصين شبيه للمنشأ التركي او الاردني او السعودي.
C.4 | Supply and install low voltage ceramic spool insulator with it U shape steel piece and screws. | Piece | 170
تجهيز ونصب فنجان كهرباء ضغط واطئ مع قطعة الحديد شكل U مع البراغي اللازمة.
C.5 | Supply and install Cap & pin insulator with galvanizes spindle 11KV with all it accessories | Piece | 26
تجهيز ونصب فنجان كهرباء ضغط عالي 11 الف مع ملحقاته.
TOTAL PRICE in USD
DRC to complete |  |  |  | Bidder to complete
Requested delivery lead time for completing work (days after site handover): | Salah Al Din Governorate - 30 Calendar Days |  |  | Offered delivery lead time for completing work (days after Site Handover):
Delivery Terms required (Add Incoterm if necessary): | DDP(incoterm 2020) |  |  | Delivery Terms offered (must include incoterm):
Delivery Destination required ( per each Lot): | Salah Al Din - Baiji
Minimum bid validity period required: | 90 days |  |  | Bid validity period offered:
Additional comments to bidders: |  |  |  | Company Name:
N/A |  |  |  | Contact Person:
Address:
Phone number:
Email Address:
Date:
Signed by a duly authorized company representative:
Title:
Print Name:
Stamp of company