## Financial Bid
| ANNEX A2 - FINANCIAL BID FORM ITB reference number: DRC/IQ-TIK-22-PA-001– Provide of Fuel and Generator Spare Part | [7 empty] | Annex A.2 Financial Bid
DRC to complete |  |  |  |  | Bidder to complete
# | Item Required and Specification |  | Estimated Qty | UOM | Quantity offered |  | UOM | Unit Price (IQD) | Total Price (IQD)
1 | Fuel for generator for DRC Office in Tikrit, and other place in Salah AlDin governorate ( the fuel must be Good Quality ): Fuel, pure diesel for generators with following specifications: - Density at 15 C degree: 820-840 - Water: <500 mg/kg - Copper Strip corrosion: Class 1 - Lubricity: < 460 - (The samples will be test) |  | 190000 | Liter
وقود محركات (كاز) بنوعية جيدة يتم تجهيزه الى مقر منظمة DRC في تكريت او اي مكان في محافظة صلاح الدين وحسب المواصفات المذكورة اعلاه. (عينات الوقود ستخضع للفحص)
2 | Engine Oil of Generator type Perkins Jerry can of 20 liter similler to shell type -15w40. زيت مولد بيركنز 20 لتر نوعية جيدة مشابه لزيت نوعية شيل | PPR end cap with 3/4" for closing the dead ends in the PPR water pipes system.- | 50000 | Liter
3 | Fuel Filter of Generator type Perkins capacityd 65kv & 45 kv size 4461493, (فلتر كاز ). |  | 100 | pc
4 | Fuel Filter of Generator type Perkins capacityd 50 kv size 26560163, (فلتر كاز ). |  | 100 | pc
5 | Oil Filter of Generator type Perkins capacity 65kv and 45 kv (فلتر دهن ) size2664403 . |  | 100 | pc
6 | Air filter of Generator type Perkins capacity 65kv and 45 kv , (فلتر هواء) size 26510337 . |  | 100 | pc
Total Cost
DRC to complete |  |  |  |  | Bidder to complete
Delivery time required (days after PO signature): |  | Tikrit office - 3 Calendar Days Baiji Center - 3 Calendar Days Balad Center - 3 Calendar Days Samara - 3 Calendar Days |  |  | Delivery time offered (days after PO signature): | Tikrit office - Baiji Center - Balad Center - Samara -
Delivery Terms required (Add Incoterm if necessary): |  | DDP INCOTERMS 2020 |  |  | Delivery Terms offered (must include incoterm):
Delivery Destination required: |  | Salah Al Din (Samara , Balad, Baiji and Tikrit) |  |  | Delivery Destination offered:
Minimum bid validity period required: |  | 90 Days |  |  | Bid validity period offfered:
Currency of Tender: |  | IQD |  |  | Currency of Bid:
Additional Comments: Bidders should note that Delivery will be to DRC sites. The Delivery District Locations have been listed in the "Delivery Destination required" cell. |  |  |  |  | Company Name:
Signed by a duly authorized company representative:
Title:
Date:
Print Name:
Stamp of company