General Specifications

1- Iraqi General Technical Specifications (I.G.T.S.) guidelines applies to this BoQ.

2- All materials provided shall be inspected and approved by save the children engineer and DoW engineer.

3- The materials shall be tested and approved by the National Center of Construction Laboratories (NCCL) when required.

4- All the materials shall be new and deemed to be of best available type in the local market (or as approved by the DoW and SCI engineer).

5- The item description herein after means "Supply of all materials, manpower, transportation, equipment, tools, machinery, temporary works  and all the other implementation related works", as approved by the Engineer.

6- In case of differences between bill of quantities and contract documents, the drawings (if existed) will govern. Unless specific requirements of the Engineer were addressed.

7- Sanctioned Countries - Iran, Syria, North Korea, Cuba, Somalia, )