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	UNOPS eSourcing v2021
	ITB Ref No: xxx



Section III: Returnable Bidding Forms
eSourcing reference: ITB/2021/38051
Note to Bidders: The following returnable forms are part of this ITB and must be completed and returned by bidders as part of their Bid. Instructions to complete each Form are highlighted in blue in each Form. Please complete the Returnable Bidding Forms as instructed and return them as part of your bid by uploading them against their specific Document Checklist in the UNOPS eSourcing system.


[bookmark: _heading=h.gjdgxs]This Section comprises the following Returnable Bidding Forms:
· Form A: Joint Venture Partner Information Form
· Form B: Bid Submission Form
· Form C: Price Schedule Form
· Form D: Technical Bid Form
· Form G: Performance Statement Form
· Form H: No Adverse Action Confirmation



Form A: Joint Venture Partner Information Form
The Bidder shall fill in this Form in accordance with the instructions indicated below.

ITB reference no: [insert ITB reference No.]
Name of Bidder: [insert name of bidder]
Date: [insert submission date]

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

	JV / Consortium/ Association Information

	Name
	[complete]

	Names of each partner and contact information
(address, telephone numbers, fax numbers, e-mail address)  
	[complete]

	Name of leading partner (with authority to bind the JV, Consortium, Association during the Bidding process and, in the event a Contract is awarded, during contract execution)
	[complete]

	Proposed proportion of responsibilities between partners (in %) with indication of the type of the goods/services to be delivered by each
	[complete]



Signatures of all partners of the JV: 	 

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: ________________________		Name of partner: _________________________ 

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date:  ________________________



Name of partner: ________________________		Name of partner: _________________________ 

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date:  ________________________
Form B: Bid Submission Form
Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted. 

Date: [Insert submission date]

Subject: Bid for the supply of [Insert a brief description of goods/services] in [Name of country/city], ITB Case No. [Insert ITB ref number], dated [insert date]

We, the undersigned, declare that: 

a. We have examined and have no reservations to the bidding documents, including amendments No.: [Insert the number and issuing date of each amendment]; 
b. We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract, and in accordance with the delivery schedules specified in the Schedule of Requirements
c. The total price of our bid, excluding any discounts offered in item (d) below, is: [Insert the total bid price in words and figures, indicating the various amounts and the respective currencies];
d. The discounts offered and the methodology for their application are:
· Discounts: If our bid is accepted, the following discounts shall apply. [Specify in detail each discount offered and the specific item of the Schedule of Requirements to which it applies, including if applicable discounts for accelerated payment.]
· Methodology of application of the discounts: The discounts shall be applied using the following method: [Specify in detail the method that shall be used to apply the discounts];
e. Our bid shall be valid for the period of time of [insert number of days which shall not be less than the specified in the Tender Particulars section, Period of Validity of Bids] from the date fixed for the bid submission deadline as set out in the ITB, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;
f. If our bid is accepted, and if so requested in the Tender Particulars section, we commit to obtain a performance security in accordance with Instructions to Bidders Article 34 and the General Conditions of Contract;
g. We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS;
h. We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;

i. Our firm confirms that the Bidder and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;
j. We embrace the principles of the United Nations Supplier Code of Conduct and adhere to the principles of the United Nations Global Compact;
k. Our firm, its affiliates or subsidiaries – including any subcontractors or suppliers for any part of the contract – has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 4, Eligibility;
l. We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this ITB and will not engage in any such activity during the performance of any contract awarded; 
m. We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.
I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid: 

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________


[Stamp form of bid with official stamp of the bidder]

Form C: Price Schedule Form

ITB reference no: [insert ITB reference No.]
Name of Bidder: [insert name of bidder]

Bidders shall fill in these Price Schedule Forms in accordance with the instructions indicated. 

Bid Summary

	Bidder’s Total prices FCA (Price of goods FCA + Related Services if applicable) 
	[insert amount and currency]

	Bidder’s Total prices DAP(Price of goods DAP + Related Services if applicable) 
	[insert amount and currency]

	Total Price of Goods FCA
	[insert amount and currency]

	Total Price of Goods DAP
	[insert amount and currency]




	Total Price of Related Services
	[insert amount and currency]

	Freight Cost per 20/40 ft. container (if applicable)
	[insert amount and currency]

	Customs clearance costs (if applicable)
	[insert amount and currency]



Prices for Goods as per the requirements mentioned in Section II: Schedule of Requirements in the aforementioned ITB.
	#
	Description
	Qty
(a)
	Currency - USD

	
	
	
	Unit price FCA (b)
	Unit price DAP (c)
	Total price FCA (a)x(b)
	Total price
DAP (a)x(c)

	1.
	Supply & Installation of Digital multimeter 
	50
	
	
	
	

	2.
	Supply & Installation of Digital Oscilloscope 
	50
	
	
	
	

	3.
	Supply & Installation of Digital Spectrum Analyzer 
	50
	
	
	
	

	4.
	Supply & Installation of Soldering iron
	50
	
	
	
	

	5.
	Supply & Installation of De-soldering station
	50
	
	
	
	

	Total Price of Goods
	
	



Bidder’s delivery data 

	Country of origin of offered products
	Item 1
	

	
	Item 2
	

	
	Item 3
	

	
	Item 4
	

	
	Item 5
	

	FCA point(s) of delivery for offered products
	Item 1
	

	
	Item 2
	

	
	Item 3
	

	
	Item 4
	

	
	Item 5
	

	Shipment dimensions of offered products (Including package)
	
	Gross weight
	Total volume
	Containers (if   applicable)

	
	
	
	
	Number
	Size

	
	Item 1
	
	
	
	

	
	Item 2
	
	
	
	

	
	Item 3
	
	
	
	

	
	Item 4
	
	
	
	

	
	Item 5
	
	
	
	

	
	Total
	
	
	
	



[bookmark: _heading=h.30j0zll]I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid: 

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________



Form D: Technical Bid Form

ITB reference no: [insert ITB reference No.]
Name of Bidder: [insert name of bidder]

Bidders are required to complete the Comparative Data Tables included in Section II: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your bid.

Technical specifications for Goods – Comparative Data Table

	#
	UNOPS minimum technical requirements
	Quantity
	Is bid compliant? Bidder to complete
	Details of goods offered. Bidder to complete

	1
	Supply and Installation of Digital multimeter as per the requirements mentioned in Section II: Schedule of Requirements in the aforementioned ITB.
	50
	☐ Yes   ☐ No
	Insert details of goods offered, including specifications and brand/model offered if applicable

	
	DC Volts : 50.000mV to 1000.0V (Accuracy 0.025%)
	
	☐ Yes   ☐ No
	

	
	AC Volts : 50.000mv to 1000.0V (Accuracy 0.4% True-RMS)
	
	☐ Yes   ☐ No
	

	
	DC Current : 500.000μA to 10.0A (Accuracy 0.4%)
	
	☐ Yes   ☐ No
	

	
	AC Current : 500.000μA to 10.0A  (Accuracy 0.05% Tue-RMS)
	
	☐ Yes   ☐ No
	

	
	Temperature : -200.0°C to 1350.0°C (Accuracy 1%)
	
	☐ Yes   ☐ No
	

	
	Resistance : 50.000 Ω to 500.0 MΩ   (Accuracy 0.05%)
	
	☐ Yes   ☐ No
	

	
	Capacitance : 1.000 nF to 100 mF (Accuracy 1%)
	
	☐ Yes   ☐ No
	

	
	Frequency : 99.999 Hz to 999.99 kHz  (Accuracy 0.005%)
	
	☐ Yes   ☐ No
	

	
	Temperature  Operating: -20°C to 55°C
	
	☐ Yes   ☐ No
	

	
	Language : Arabic & English
	
	☐ Yes   ☐ No
	

	
	Manuals: Provision of Technical Manuals
	
	☐ Yes   ☐ No
	

	
	Warranty : Minimum one year warranty 
	
	☐ Yes   ☐ No
	

	2
	Supply and Installation of Digital Oscilloscope as per the requirements mentioned in Section II: Schedule of Requirements in the aforementioned ITB.
	50
	☐ Yes   ☐ No
	Insert details of goods offered, including specifications and brand/model offered if applicable

	
	Form Factor : Bench top
	
	☐ Yes   ☐ No
	

	
	Bandwidth : 50 MHz Dual Channel
	
	☐ Yes   ☐ No
	

	
	Number Channels : 2 Ch.
	
	☐ Yes   ☐ No
	

	
	Sample Rate : 25 MS/s
	
	☐ Yes   ☐ No
	

	
	Simultaneous Maximum Sampling Rate/ch : 25 MS/s
	
	☐ Yes   ☐ No
	

	
	One ch. only max. sampling rate : 25 MS/s
	
	☐ Yes   ☐ No
	

	
	Max. Single Shot bandwidth: 50MHz
	
	☐ Yes   ☐ No
	

	
	Max. Record Length : 512 pt./sec
	
	☐ Yes   ☐ No
	

	
	Sensitivity: 500 μV/div to 10 V/div
	
	☐ Yes   ☐ No
	

	
	Rise time : 7ns
	
	☐ Yes   ☐ No
	

	
	Number of Bits : 8 Bits
	
	☐ Yes   ☐ No
	

	
	Input Impedance: 50 Ω to 1 MΩ
	
	☐ Yes   ☐ No
	

	
	Main time base : 10 nS/div to 50 S/div
	
	☐ Yes   ☐ No
	

	
	Time base accuracy : 2%
	
	☐ Yes   ☐ No
	

	
	Time/Division : 10 ns/div to 50 sec/div
	
	☐ Yes   ☐ No
	

	
	Volts/Division : 1 mV/div to 10 V/div
	
	☐ Yes   ☐ No
	

	
	Add, Subtract, Multiply, Divide, FFT, Derivative, Integral, Square Root
	
	☐ Yes   ☐ No
	

	
	Waveform Memory : Store & Recall 8 Waveforms
	
	☐ Yes   ☐ No
	

	
	Set-up Memory : Store & Recall 10 Front Panel Set-Ups
	
	☐ Yes   ☐ No
	

	
	Signal Generator Output : Sine wave or Square wave
	
	☐ Yes   ☐ No
	

	
	Component Tester Output :Voltage or Current ramp
	
	☐ Yes   ☐ No
	

	
	Language : Arabic & English (if Arabic is not available use English)
	
	☐ Yes   ☐ No
	

	
	Manuals: Provision of Technical Manuals
	
	☐ Yes   ☐ No
	

	
	Warranty : Minimum one year warranty 
	
	☐ Yes   ☐ No
	

	3
	Supply and Installation of Digital Spectrum Analyzer as per the requirements mentioned in Section II: Schedule of Requirements in the aforementioned ITB.
	50
	☐ Yes   ☐ No
	Insert details of goods offered, including specifications and brand/model offered if applicable

	
	Frequency Range: 9 kHz to 7.1 GHz (tunable to 0 Hz)
	
	☐ Yes   ☐ No
	

	
	Tuning Resolution: 1 HZ
	
	☐ Yes   ☐ No
	

	
	Frequency Reference Aging: ± 1.0 ppm/10 years,
	
	☐ Yes   ☐ No
	

	
	Frequency Reference Accuracy: ± 0.3 ppm (25 °C ± 25 °C) + aging
	
	☐ Yes   ☐ No
	

	
	Frequency Span: 10 Hz to 7.1 GHz including zero span
	
	☐ Yes   ☐ No
	

	
	Span accuracy: Same as Frequency Reference accuracy
	
	☐ Yes   ☐ No
	

	
	Sweep Time: 10 µs to 600 seconds in zero span, autoset in non-zero span
	
	☐ Yes   ☐ No
	

	
	Sweep Time Accuracy: ± 2% in zero span
	
	☐ Yes   ☐ No
	

	
	Resolution Bandwidth (RBW): 1 Hz to 3 MHz in 1–3 sequence  ±10% (1 MHz max in zero-span) (–3 dB bandwidth)
	
	☐ Yes   ☐ No
	

	
	Measurement Range: DANL to +30 dBm
	
	☐ Yes   ☐ No
	

	
	Amplitude Units: Log Scale Modes: dBm, dBV, dBmV, dBA, dBmA, dBμA
Linear Scale Modes: nV, μV, mV, V, nW, μW, mW, W, nA, μA, mA, A
	
	☐ Yes   ☐ No
	

	
	Functions: Sweep, Trace, Marker, Limit Line
	
	☐ Yes   ☐ No
	

	
	Language : Arabic & English (if Arabic is not available use English)
	
	☐ Yes   ☐ No
	

	
	Manuals: Provision of Technical Manuals
	
	☐ Yes   ☐ No
	

	
	Warranty : Minimum one year warranty 
	
	☐ Yes   ☐ No
	

	4
	Supply and Installation of Soldering iron
	50
	☐ Yes   ☐ No
	Insert details of goods offered, including specifications and brand/model offered if applicable

	
	Style:Bench Top Station, suitable for electronics projects
	
	☐ Yes   ☐ No
	

	
	Power: between 35 – 75W
	
	☐ Yes   ☐ No
	

	
	Manuals:Provision of technical manuals
	
	☐ Yes   ☐ No
	

	
	Warranty : Minimum one year warranty 
	
	☐ Yes   ☐ No
	

	5
	Supply and Installation of De-soldering station
	50
	☐ Yes   ☐ No
	Insert details of goods offered, including specifications and brand/model offered if applicable

	
	Bench: Bench top station 
	
	☐ Yes   ☐ No
	

	
	Temperature selection: between 200 – 450 degrees Celsius
	
	☐ Yes   ☐ No
	

	
	Vacuum pump: Self-contained vacuum pump
	
	☐ Yes   ☐ No
	

	
	Manuals:Provision of technical manuals
	
	☐ Yes   ☐ No
	

	
	Warranty : Minimum one year warranty 
	
	☐ Yes   ☐ No
	













Delivery requirements – Comparative Data Table
	UNOPS Requirements
	Is Bid Compliant ( Bidder to Complete)
	Details ( Bidder to Complete)

	Delivery time
	The Bidder shall deliver all the items within 4 calendar months from the date of placing the purchase order by UNOPS.
	☐ Yes   ☐ No
	Insert details 

	Delivery place and Incoterms rules
	DAP - Location of Delivery: Signals School, Taji Military Complex (TMC) north of Baghdad, Iraqas per Incoterms 2020
	☐ Yes   ☐ No
	Insert details 

	Consignee details
	TBC
	☐ Yes   ☐ No
	Insert details 

	UNOPS Right to vary requirements
	At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 20% without any change in the unit prices or other terms and conditions of the ITB.
	☐ Yes   ☐ No
	Insert details 



The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements.

 ☐ Yes   ☐ No     
ANY DEVIATION MUST BE LISTED BELOW:
_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this contract and the type of work being subcontracted, if applicable.

(A) _[Full legal name and address of subcontractors]___________

(B) _________________________________________________

(C) _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid: 

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________


Form G: Performance Statement Form

ITB reference no: [insert ITB reference No.]
Name of Bidder: [insert name of bidder]
Date: [insert submission date]


	Order placed by (Full address of purchaser)
	Order no & date
	Description & quantity of ordered items
	Value of Order
	Date of completion of Delivery
	Remarks indicating reasons of late delivery, if any
	Was the supplies of goods satisfactory?

	
	
	
	
	As per Contract
	Actual
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	





Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________



























Form H: No Adverse Action Confirmation Form

ITB reference no: [insert ITB reference No.]
Name of Bidder: [insert name of bidder]
Date: [insert submission date]

This is to certify that [delete unwanted option]:

a. No adverse action has been taken against the Bidder [insert Bidder’s name] and the manufacturers [insert manufacturer’s names] whose products are being offered by the Bidder against this ITB, in the last 5 (Five) years.

b. The following instances of previous past performance have resulted in adverse actions taken against the Bidder [insert Bidder’s name] and the manufacturers [insert manufacturer’s names] whose products are being offered by the Bidder, in the last 5 (Five) years. Such adverse actions included:

[Indicate date and reasons for adverse actions and result of adverse actions; i.e. suspension or cancellation of manufacturing license by regulatory authorities, product recalls, blacklisting, debarment from bidding etc.] 



Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________




	UNOPS 2021
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