Section II: Schedule of Requirements

eSourcing reference: ITB/2021/38051

- Summary of Requirements

Supply and Installation of Electric Signals Measuring Instruments for the Signals School in Iraq

- Technical specifications for Goods and Comparative Data Table

| # | UNOPS minimum technical requirements | Quantity | Is bid compliant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 1 | Supply and Installation of Digital multimeter with the following capabilities | 50 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
|  | DC Volts : 50.000mV to 1000.0V (Accuracy 0.025%) |  | ☐ Yes ☐ No |  |
|  | AC Volts : 50.000mv to 1000.0V (Accuracy 0.4% True-RMS) |  | ☐ Yes ☐ No |  |
|  | DC Current : 500.000μA to 10.0A (Accuracy 0.4%) |  | ☐ Yes ☐ No |  |
|  | AC Current : 500.000μA to 10.0A (Accuracy 0.05% Tue-RMS) |  | ☐ Yes ☐ No |  |
|  | Temperature : -200.0°C to 1350.0°C (Accuracy 1%) |  | ☐ Yes ☐ No |  |
|  | Resistance : 50.000 Ω to 500.0 MΩ (Accuracy 0.05%) |  | ☐ Yes ☐ No |  |
|  | Capacitance : 1.000 nF to 100 mF (Accuracy 1%) |  | ☐ Yes ☐ No |  |
|  | Frequency : 99.999 Hz to 999.99 kHz (Accuracy 0.005%) |  | ☐ Yes ☐ No |  |
|  | Temperature Operating: -20°C to 55°C |  | ☐ Yes ☐ No |  |
|  | Language : Arabic & English |  | ☐ Yes ☐ No |  |
|  | Manuals: Provision of Technical Manuals |  | ☐ Yes ☐ No |  |
|  | Warranty : Minimum one year warranty |  | ☐ Yes ☐ No |  |
| 2 | Supply and Installation of Digital Oscilloscope with the following capabilities | 50 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
|  | Form Factor : Bench top |  | ☐ Yes ☐ No |  |
|  | Bandwidth : 50 MHz Dual Channel |  | ☐ Yes ☐ No |  |
|  | Number Channels : 2 Ch. |  | ☐ Yes ☐ No |  |
|  | Sample Rate : 25 MS/s |  | ☐ Yes ☐ No |  |
|  | Simultaneous Maximum Sampling Rate/ch : 25 MS/s |  | ☐ Yes ☐ No |  |
|  | One ch. only max. sampling rate : 25 MS/s |  | ☐ Yes ☐ No |  |
|  | Max. Single Shot bandwidth: 50MHz |  | ☐ Yes ☐ No |  |
|  | Max. Record Length : 512 pt./sec |  | ☐ Yes ☐ No |  |
|  | Sensitivity: 500 μV/div to 10 V/div |  | ☐ Yes ☐ No |  |
|  | Rise time : 7ns |  | ☐ Yes ☐ No |  |
|  | Number of Bits : 8 Bits |  | ☐ Yes ☐ No |  |
|  | Input Impedance: 50 Ω to 1 MΩ |  | ☐ Yes ☐ No |  |
|  | Main time base : 10 nS/div to 50 S/div |  | ☐ Yes ☐ No |  |
|  | Time base accuracy : 2% |  | ☐ Yes ☐ No |  |
|  | Time/Division : 10 ns/div to 50 sec/div |  | ☐ Yes ☐ No |  |
|  | Volts/Division : 1 mV/div to 10 V/div |  | ☐ Yes ☐ No |  |
|  | Add, Subtract, Multiply, Divide, FFT, Derivative, Integral, Square Root |  | ☐ Yes ☐ No |  |
|  | Waveform Memory : Store & Recall 8 Waveforms |  | ☐ Yes ☐ No |  |
|  | Set-up Memory : Store & Recall 10 Front Panel Set-Ups |  | ☐ Yes ☐ No |  |
|  | Signal Generator Output : Sine wave or Square wave |  | ☐ Yes ☐ No |  |
|  | Component Tester Output :Voltage or Current ramp |  | ☐ Yes ☐ No |  |
|  | Language : Arabic & English (if Arabic is not available use English) |  | ☐ Yes ☐ No |  |
|  | Manuals: Provision of Technical Manuals |  | ☐ Yes ☐ No |  |
|  | Warranty : Minimum one year warranty |  | ☐ Yes ☐ No |  |
| 3 | Supply and Installation of Digital Spectrum Analyzer with the following capabilities | 50 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
|  | Frequency Range: 9 kHz to 7.1 GHz (tunable to 0 Hz) |  | ☐ Yes ☐ No |  |
|  | Tuning Resolution: 1 HZ |  | ☐ Yes ☐ No |  |
|  | Frequency Reference Aging: ± 1.0 ppm/10 years, |  | ☐ Yes ☐ No |  |
|  | Frequency Reference Accuracy: ± 0.3 ppm (25 °C ± 25 °C) + aging |  | ☐ Yes ☐ No |  |
|  | Frequency Span: 10 Hz to 7.1 GHz including zero span |  | ☐ Yes ☐ No |  |
|  | Span accuracy: Same as Frequency Reference accuracy |  | ☐ Yes ☐ No |  |
|  | Sweep Time: 10 µs to 600 seconds in zero span, autoset in non-zero span |  | ☐ Yes ☐ No |  |
|  | Sweep Time Accuracy: ± 2% in zero span |  | ☐ Yes ☐ No |  |
|  | Resolution Bandwidth (RBW): 1 Hz to 3 MHz in 1–3 sequence ±10% (1 MHz max in zero-span) (–3 dB bandwidth) |  | ☐ Yes ☐ No |  |
|  | Measurement Range: DANL to +30 dBm |  | ☐ Yes ☐ No |  |
|  | Amplitude Units: Log Scale Modes: dBm, dBV, dBmV, dBA, dBmA, dBμA Linear Scale Modes: nV, μV, mV, V, nW, μW, mW, W, nA, μA, mA, A |  | ☐ Yes ☐ No |  |
|  | Functions: Sweep, Trace, Marker, Limit Line |  | ☐ Yes ☐ No |  |
|  | Language : Arabic & English (if Arabic is not available use English) |  | ☐ Yes ☐ No |  |
|  | Manuals: Provision of Technical Manuals |  | ☐ Yes ☐ No |  |
|  | Warranty : Minimum one year warranty |  | ☐ Yes ☐ No |  |
| 4 | Supply and Installation of Soldering iron | 50 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
|  | Style:Bench Top Station, suitable for electronics projects |  | ☐ Yes ☐ No |  |
|  | Power: between 35 – 75W |  | ☐ Yes ☐ No |  |
|  | Manuals:Provision of technical manuals |  | ☐ Yes ☐ No |  |
|  | Warranty : Minimum one year warranty |  | ☐ Yes ☐ No |  |
| 5 | Supply and Installation of De-soldering station | 50 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable |
|  | Bench: Bench top station |  | ☐ Yes ☐ No |  |
|  | Temperature selection: between 200 – 450 degrees Celsius |  | ☐ Yes ☐ No |  |
|  | Vacuum pump: Self-contained vacuum pump |  | ☐ Yes ☐ No |  |
|  | Manuals:Provision of technical manuals |  | ☐ Yes ☐ No |  |
|  | Warranty : Minimum one year warranty |  | ☐ Yes ☐ No |  |

- Delivery requirements and Comparative Data Table

| UNOPS Requirements |  | Is bid compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | The Bidder shall deliver all the items within 4 calendar months from the date of placing the purchase order by UNOPS. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | DAP - Location of Delivery: Signals School, Taji Military Complex (TMC) north of Baghdad, Iraqas per Incoterms 2020 | ☐ Yes ☐ No | Insert details |
| Consignee details | TBC | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- 20% without any change in the unit prices or other terms and conditions of the ITB. | ☐ Yes ☐ No | Insert details |

- Inspections and tests

The following inspections and tests shall be performed:

- UNOPS or its representative may inspect and/or test any or all items of the goods to confirm their conformity to the contract, prior to dispatch from the manufacturer’s premises. Such inspection and clearance will not prejudice the right of the consignee to inspect and test the goods on receipt at destination.

- If the goods fail to meet the laid down specifications, the supplier shall take immediate steps to remedy the deficiency or replace the defective goods to the satisfaction of the purchaser.