General Specifications

A) All the works must be executed in accordance with the Iraqi General Technical Specifications (I.G.T.S.)

B) All the works and materials must be approved by the SCI Engineer.

C) The materials shall be tested and approved by the National Centre of Construction Laboratories (NCCL).

D) All the materials shall be new and deemed to be of best available type in the local market and as approved by the SCI Engineer.

E) The item description herein after means "Supply of all materials, manpower, transportation, equipment, tools, machinery, temporary works  and all the other works required", as approved by the SCI Engineer.

F) all works include cement shall be curing by water for three days and three times per day

G) In case of differences between bill of quantities and contract documents, the drawings will govern. Unless requirements of the SCI Engineer are presented.

H) Please, read all the documents carefully then price it.

I) Sanctioned Countries - Iran, Syria, North Korea, Cuba, Somalia.( the supplier should not supply any materials from these countries )

J) For any questions please contact with Mosul.Procurment@Savethechildren.Org