## Quote Analysis
REQUEST FOR QUOTATION (RFQ)
Tender Title |  | Solar Systems Tender
Office |  | Samaritan's Purse Iraq
Posted on |  | 2022-04-06
Deadline (closing date) |  | 2022-04-18
Project Location |  | Sinjar sub-districts
Integrity of the Public Tender procurement process is of the utmost importance. Un-ethical procurement conduct will not be tolerated and will result in the immediate dismissal from the Public Tender procurement process. All bids are received directly by the Tender committee. It is not possible to influence the decision or outcome of the Tender. Submit your best value proposal the first and only time. No Samaritan's Purse employee will solicit you outside of this tender. Questions regarding the Public Tender that require a formal response must be submitted in writing to Samaritan's Purse Logistical Department, REPORT ALL UNETHICAL BEHAVIOR, FOR CONFIDENTIALITY REPORT TO THE Samaritan’s Purse HOTLINE @ 0750 863 6742 . If you, the supplier, suspects fraud from an SP employee, are asked to commit fraud, or witness an SP employee act in a decitful way, please notify Samaritan's Purse leadership by calling our confidential hotline where Arabic and Kurdish speakers are ready to receive your call. Please call: 0750 - 863 - 6742
تُعطَى النزاهة في عملية عقد المناقصات العامة الأهمية القصوى. لن يكون هناك أي تسامح مع أي سلوك غير أخلاقي فيما يتعلق بالمشتريات وسيترتب عليه الطرد من المناقصة العامة. تتسلم لجنة المشتريات مباشرة كافة العروض المقدّمة. لا يمكن التأثير على قرار اللجنة أو أو نتائج المناقصة. سلِّم أفضل عرض سعر يمكن أن تقدمه شركتك في المرة الأولى والوحيدة. لن يتواصل معك أي من موظفي ساماريتانس بيرس خارج عملية المناقصة هذه. يتم تسليم الأسئلة المطلوب الرد عليها فيما يتعلّق بهذه المناقصة كتابةً للإدارة اللوجستية لمنظمة ساماريتانس بيرس ، عليك بالإبلاغ عن كل تصرف غير أخلاقي ، للإبلاغ سراً اتصل بالخط الساخن 07508636742 في حالة الشك بعملية احتيال او تزوير من قبل احد موظفي منظمة السامري الصالح, الرجاء القيام بأبلاغ ممثلي المنظمة من خلال الاتصال على الخط الساخن السري وسوف يقوم موظفي المنظمة بالرد على اتصالاتكم باللغتين العربية والكردية. الرجاء الاتصال بالرقم التالي: 6742 - 863 - 0750
Samaritan's Purse Information Area Only |  |  |  |  | Supplier: Please fill out all white boxes
# | Description |  | Qty | UOM | Per Unit Price USD (U.S.Dollars) | Total Price All Units USD (U.S.Dollars) | Brand (in case of goods) | Additional Comments
1 | Solar panel (72 cell)/ Mono perc half-cut-cell_ 455 watt. ( Tommatech mark/Germany or equivalent, 12 years guarantee with 25 years working age.) |  | 120 | Panel |  | 0
2 | Inverter 3KW MPPT, 24V system. (Tommatech mark/Germany or equivalent, 2 years guarantee with 4 years age.) |  | 20 | PC |  | 0
3 | Battery 12V, 200Ah. (Korean/Newmax Gel Deep Sycle battrey or equivalent tybe, 1 year guarantee with 4 years age.) |  | 80 | PC |  | 0
4 | DC Cable 6mm2. Copper Conductor Turkish or equvalent |  | 2000 | meter |  | 0
5 | AC Cable range 1.5mm-2.5mm. Copper Conductor |  | 400 | meter |  | 0
6 | Connectors MC4 (Male/Female). Germany |  | 200 | PC |  | 0
7 | DC Circuit breaker 200Ah. Germany |  | 40 | PC |  | 0
8 | AC Circuit breaker 10A. Germany Automatic CB |  | 20 | PC |  | 0
6 | Circuits Box. Plastic weatherproof Single bus-bar arrangement |  | 20 | PC |  | 0
7 | Iron base structure for the PV panels. Steel Sqaure tubing, 4-5 cm hieght, 1.65-1.85mm thickness Cement base structure, 30x30x30cm, Iron buried 15cm into cement base |  | 266 | m2 |  | 0
8 | Provide the required labor, materials and tools for Installation: Recruit the needed Labor, use equipment, and tools for solar system installations for 20 different individual homes (Payment will be According to the actual quantities installed) |  | 1 | lumpsum |  | 0
9 | Delivery to Sinjar (20 different Homes) |  | 1 | Trip |  | 0
Date RFQ Completed: |  |  |  |  | Total Price | 0 |  | Currency | USD
GENERAL TERMS
1 | The bidder is responsible to deliver all the materials and laborers to Sinjar. The bidder will be responsible for any checkpoint requirements for the delivery to Sinjar.
2 | Geographic area for 20 homes where the solar systems will be delivered and Installed are in: North Sinjar (Snuni), Sinjar mountain and South Sinjar area.
3 | The supplier will be responsible for installing 20 solar systems based on BOQs provided by SP, supplying all listed materials, and installation of the solar systems according to the mutually approved BOQs and drawings. These BOQs will be for systems installed on the farm or on rural concrete roofs.
4 | Delivery time for instillation should NOT be more than 30 CALENDAR DAYS from signing the contract, including reviewing the BOQs, providing materials, and installation. The Bidder must meet and or exceed Samaritan's Purse expectations. Delivery time is calendar days not business days including Friday, Saturday, and holidays.
5 | Samaritan's Purse Iraq reserves the right to award the contract to more than one bidder.
6 | The quotation must comply with all of the specifications, requirements, as well as all other evaluation criteria indicated, shall be selected. Any offer that does not meet the requirements shall be rejected.
7 | Quotations shall remain valid for 60 days from the deadline for the Submission of Quotation.
8 | After the quotation has been received, and during the validity of the quotation, SPI will not be accept any price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors.
9 | At the time of award of Contract or Purchase Order, SPI reserves the right to vary (decrease) the purchase quantity of goods or transportation, without any change in the unit price or other terms and conditions.
10 | Samaritan's Purse Iraq reserves the right to cancel the tender at any stage, because of the following reasons: The tender procedure has been unsuccessful, lack of clarity in the RFQ leads to discrepancy in the bids where the goods and services and prices proposed cannot be compared, funding ending, being canceled or reduced; force majeure, and other reasons that the Samaritan’s Purse tender committee would find valid.
11 | 1) Warranty: Minimum of 1 Year, however, Bidders are welcome to offer a longer warranty period, this will be considered during the evaluation. 2) Regardless of the warranty period proposed by the Bidders, Samaritan's Purse will withhold 10% of the total contract value as a deposit to secure the warranty from the date of handover.
12 | Support documents: • Provide Company registration certificate • Provide the latest tax clearance. • Provide your company CV. • Please provide the list of company experience (Annex A) and references (Annex B) with contact details with other NGOs that you currently working or had contracts with. • Please provide Bank account information, if applicable.
13 | List all office locations in KRG and GOI
14 | The currency used in this RFQ must be only in United States Dollar (USD)
NOTE: Annex 1 - List of Details (LOD) MUST be Signed AND Stamped by the Company/Bidder.
* Please fill out all the information required below يرجى ملء جميع المعلومات المطلوبة أدناه
Company Name / اسم الشركة : |  |  |  |  | Contact Name / الاسم الثلاثي للشخص المعني بالأتصال :
Contact Email / البريد الألكتروني : |  |  |  |  | Contact Phone / رقم الهاتف الشخصي :
Company Address / عنوان الشركة : |  |  |  |  | Contact Signature / توقيع الشخص المعني بالأتصال :
Did you stamped the LOD YES/NO هل قمت بختم قائمة التقاصيل الملحقة؟ (نعم او لا) |  |  |  |  | Provide Delivery YES / NO توفير التوصيل ؟ (نعم او لا) |  |  |  | Supplier Stamp ختم المورد
Delivery Time: وقت التوصيل |  |  |  |  | Payment Type: طريقة الدفع
Payment Terms: شروط الدفع وتسديد الأجور |  |  |  |  | Warranty Duration: مدة الضمان
Warranty Type: نوع الضمان
Last Updated: Feb 2022
`