## BoQ Reno Work YCH unpriced
BoQ - Rehabilitation of Youth Center of Heet
Heet City - Anbar Governorate
Program Name: |  | ARILA - Assisting Reconstruction and Improving Living Conditions in Anbar
Project No.: |  | 21.1811.5-002.00
Project Name: |  | Rehabilitation of Youth Center Building
CoSoft No.:
Trade: |  | Construction works
Location: |  | Heet
Cost Calculation
No. | Description | Qty. | Unit | Unit rate *) | Total Amount *) | portion
[---] | [---] | [---] | [---] | [USD] | [USD] | [%]
1.00 | Civil Works
1.01 | Gypsum Plastering Supply of materials, tools and manpower for gypsum plastering of the internal walls using two layers minimum 20mm of brown and white gypsum, the price includes one layer of cement splash dash under gypsum plastering with cement-sand mortar, putting a layer of metal mesh on the area under the gypsum plastering which should be installed between the linking area If needed) and all the required works to complete the work. | 20 | m2 |  | 0 | #DIV/0!
1.02 | Plastic Painting for Internal Walls: Supply of materials, tools and manpower to paint the interior walls, with 3 layers of plastic painting (Jotun, Betek, CAPAROL, Polisan, dyo or equivalent). The price includes repairing all the cracks in the walls and removing the damaged parts cleaning the walls, removing the dirt and dust also painting drawings reflecting the form of youth generation in the wall of the center the drawings shall be every 5 meter length. All needed works to complete the job, shall be included within the price. | 1400 | m2 |  | 0 | #DIV/0!
1.03 | Glass 4mm Supply of materials, tools and manpower to install glass of 4mm thickness with all requirments of rubber washer for PVC windows and glass paste for iron windows and according to the instruction by the supervisor engineer. | 4 | m2 |  | 0 | #DIV/0!
1.04 | Roller Curtains Supply and install roller curtains of ( 2 x2.5 ) m dimension (Zebra Curtains) of high thickness for windows of Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process. the roller curtain fabric should be available in a variety of solar screen, light filtering, and room darkening fabrics, dual shade systems require two fabric selections. Typically, one blackout and one solar screen, in addition to its clutch mechanism should be made in corrosion resistant plastic and internal mechanisms of Nylon 6 construction. | 45 | pcs |  | 0 | #DIV/0!
1.05 | Wooden Doors (Saj): Supply and install wooden doors (Saj) of 2.2x1 m dimensions with red cedar (jaw) frame of 6x3 inch dimension as per attached drawings. Price of the work shall include the thickness of teak layer not less than 5 mm thick for each door face, installing geometric motifs on the exterior and interior faces for the door made of Jawi wood, Jawi wood frame around the door of 5 cm width and 1 cm thick, heavy duty door locks and handles, heavy duty Stainless Steel door hinges of 5 screws, the submitted brand must be compliant to Iraqi Standards and approved by the supervisory committee, fixing a stopper on the floor or wall, painting the door and frame with three layer of liquid teak paints , with all the required works to complete the work. | 2 | pcs |  | 0 | #DIV/0!
1.06 | Doors locks Supply of materials, tools and manpower to replace the existing internal and external doors locks with new heavy duty door locks and handles, heavy duty Stainless Steel door hinges of 5 screws, the submitted brand must be compliant to Iraqi Standards and approved by the supervisory committee | 5 | pcs |  | 0 | #DIV/0!
1.07 | Floor Polishing Supply tools, materials, and manpower to polish the ground of the first and second floor of the building by using polishing machine with cleaning all dusts and removing the dirt out of the building after cleaning | 1 | lump sum |  | 0 | #DIV/0!
1.08 | Windows locks Supply of materials, tools and manpower to maintain the PVC windows, maintenance include (replacing all damaged parts of the windows frame, locks, rubber...ect), etc. and repairing all damages may occur during replacement and according to the instruction of the supervisor engineer. | 2 | pcs |  | 0 | #DIV/0!
1.09 | Marble works Supply materials and tools to replace the broken marble tiles of the stairs and floor with a marble with the same type and color and according to the instruction of the supervisor engineer. | 6 | m2 |  | 0 | #DIV/0!
1.10 | Construction Joints Supply of materials, tools and manpower to replace the wooden cover of the construction joint inside building by using Aluminium cover from heavy and wide type and according to the instruction of the supervisor engineer. | 14 | m |  | 0 | #DIV/0!
1.11 | Maintenance of wrapping Supply materials and tools to fix and repair the internal columns wrapping of the Theater (13 Coloum), the price includes replacement or adding of any parts which are required to fix the wrapping properly and according to the instruction of the supervisor engineer. | 1 | lump sum |  | 0 | #DIV/0!
1.00 | Sub Total Civil Work |  |  |  | 0 | #DIV/0!
2.00 | Sanitation Work
2.01 | WC Flush maintenance Supply materials and tools to repair or replace the Flush pull handle the price inculdes any requirment to make all WCs working properly, and according to the instruction of the supervisor engineer. | 13 | WC/Group |  | 0 | #DIV/0!
2.00 | Sub Total Sanitation Work |  |  |  | 0 | #DIV/0!
3.00 | Electrical Work
3.01 | Exhaust Fan Supply, install, connect, test and operate electrical exhaust fan 6" with electrical switches of 10 Amp capacity, the fan shall be connecting to MCB distribution board with all installation and connection accessories, and all the requirment to complete the Job | 50 | pcs |  | 0 | #DIV/0!
3.02 | Maintenance of Theater lights Supply materials and tools and manpowers to fix and replace all broken and not working spot lights in the theater false ceiling the price include all required electrical works, wires, plugs, spot lights, and all the requirment to complete the Job | 1 | lump sum |  | 0 | #DIV/0!
3.03 | AC Split 3 ton Supply and connect AC split unit for the director room of the theater, 12000 BTU, TOSOT or equivalent the price inculde installation and all electrical connections required and connection accessories, and all the requirment to complete the Job | 1 | Pcs |  | 0 | #DIV/0!
3.00 | Sub Total Electrical Work |  |  |  | 0 | #DIV/0!
Summary of Positions
1.00 | Civil Work |  |  |  | 0 | #DIV/0!
2.00 | Sanitation Work |  |  |  | 0 | #DIV/0!
3.00 | Electrical Work |  |  |  | 0 | #DIV/0!
Total Sum over All |  |  |  |  | 0 | #DIV/0!