## Offer Sheet
ITB reference number: SD22-IQ-EHO-021
The Price must be inclusive of delivery cost, check point approvals, and all overhead cost up to MAG base in Telkif , Ninawah, Iraq
# | Description | Unit | Quantity | Brand Offered | Made in (Country) | Garanty/Warranty (If any) | Unit Price (USD) | Total Price (USD)
1 | Electric Transformer 250Kv | Piece | 1 |  |  |  |  | 0
2 | lron box with 3 phase circuit breaker 400 | Piece | 1 |  |  |  |  | 0
3 | Transformer 25Kv base | Set | 1 |  |  |  |  | 0
4 | Effort Cut out 11Kv | Set | 1 |  |  |  |  | 0
5 | Electric round pole 11m high pressure | Piece | 3 |  |  |  |  | 0
6 | Electrical angle steel pole 11m high pressure | Piece | 2 |  |  |  |  | 0
7 | Current Transformer CT Rod | Set | 2 |  |  |  |  | 0
8 | Bracket channel 120cm long with clamps and screw | Piece | 3 |  |  |  |  | 0
9 | Bracket channel 140cm long with clamps and screw | Piece | 4 |  |  |  |  | 0
10 | Bracket channel 210cm long with clamps and screw | Piece | 2 |  |  |  |  | 0
11 | Iron angle 80cm long for installing transformer with clamps and screw | Piece | 2 |  |  |  |  | 0
12 | Cable Tray | Piece | 2 |  |  |  |  | 0
13 | High Pressure Ceramic line insulator with spindle 11kv with accessories | Piece | 60 |  |  |  |  | 0
14 | lnsulating disk 11Kv with accessories | Piece | 12 |  |  |  |  | 0
15 | Lightning Rod | Set | 1 |  |  |  |  | 0
16 | Copper Cable (1*50)mm | Meter | 40 |  |  |  |  | 0
17 | Copper Cable (1*150)mm for transformer | Meter | 60 |  |  |  |  | 0
18 | Cable thimble 50mm | Piece | 10 |  |  |  |  | 0
19 | Cable thimble 120mm | Piece | 12 |  |  |  |  | 0
20 | Electric ground rod with screw | Piece | 2 |  |  |  |  | 0
21 | Aluminum wire 120mm | Meter | 1700 |  |  |  |  | 0
22 | Aluminum to Aluminum connector | Piece | 8 |  |  |  |  | 0
23 | Aluminum to copper connector | Piece | 3 |  |  |  |  | 0
|  |  |  | Total |  |  |  | 0
MAG Requirements |  |  |  | Bidder to complete
Delivery Terms required | DDP Incoterms 2020 |  |  | Company Name
Address
Delivery Destination required | Telkif, Iraq (35.499681466548125, 44.7809445802556) |  |  | Sign and Stamp
Minimum bid validity period required | 180 Days |  |  | Date
Additional information to bidders: The Price must be inclusive of delivery cost, check point approvals, and all overhead cost up to MAG base in Telkif , Ninawah, Iraq