## A. TECHNICAL SPECIFICATIONS
A. TECHNICAL SPECIFICATIONS OF Water treatment Materials for Faida water treatment plant
ITEM NO | Item | ITEM DESCRIPTIONS | QUANTITY | UNIT | Delivery location
1 | POWDER ACTIVATED CARBON | POWDER ACTIVATED CARBON Activated carbon for potable and industrial water treatment , type :Aquasorb MP25 or equivalent. Iodine number min. 1200 mg/g Total ash content max. 15 % Moisture content, as packed (standard) max. 5 % Molasses number (EU) max. 250 Apparent density, aspirated 270 kg/m3 Apparent density min. 460 kg/m3 Water-soluble material max. 3 % Wettability min. 99 % pack: 500 kg bulk bag (1100 lb) Polypropylene liner-free FIBCs (super sacks), two bags per pallet. Supply is including two dosing pumps, mechanical diaphram type, capacity 500L/hr @ 5 bar, energy 380 V/50 Hz with it''s control panel ,Turkish or West European made. Testing and sampling phases: Phase 1: providing a samples for all items,to be tested in one of the local labs specifically in KRG University's labs. Phase 2: providing samples for all items, random sample will be taken by the technical committee from each truck upon delivery (i.e for each 2-3 tons one sample will be taken or per each truck) to be tested in the Lab. (approx. 8-10 samples will be taken) | 18000 | Kg | Faida in Sumel District
2 | Liquid Chlorine (Cl2) | Liquid Chlorine (Cl2), purity minimum 99.7% Trade Name : Liquid chlorine Chemical: CL 2 Purity: 99,70% (v\v) Min Moisture : 50 mg\ kg Max Cu , Ni , Fe , CO2 , 02 : None Delivery: -Chlorine portable horizontal container (vessel) with a capacity up to 1.000 kg net. Info Label on each cylinder is required including all necessary information. -Valves and fittings of chlorine vessels, either to be changed by new one and maintained perfectly and secure. -Take empty containers from the delivery location to be filled in manufuctured factory. -The price includes transportation and installation. Testing and sampling phases: Phase 1: providing a samples for all items,to be tested in one of the local labs specifically in KRG University's labs. Phase 2: providing samples for all items, random sample will be taken by the technical committee from each truck upon delivery (i.e for each 3-4 tons one sample will be taken ) to be tested in the Lab. (approx. 8-10 samples will be taken) | 30 | ton | Khrabdeem Water project in Sumel District
B. | Remarks and Conditions: will be considered during technical evaluation
1 | The bidder must provide with the technical offer the following documents for all products from production company: - ISO 45001 for the healthy and safe use of items - ISO 14001 for environment -ISO 9001 for qaulity - Safety data sheet MSDS as a safety document, information should be mentioned in lable clearly. Note: the documents must be matching the product packs upon delivery
2 | Product specifications and criteria table must be attached with the technical offer
3 | Technical Data sheets and certificate of origin of all products must be provided
4 | Expiry date of all product must be mentioned clearly, not less than 3 years from production date , to be mentioned with technical offer
5 | The Supplier will be responsible for all shipment and importation related approavls inside/outside of Iraq-KRG, Qualty control costs at the border, in addition to that the security measures related to approvals from Iraq/KRG authorities must be taken into consideration: 1. Security approval at the Border from KRG Ministry of Interior in Erbil 2. Approval from Kurdistan Medicals control agency from KRG Ministry of Health. 3. Approval from Regulatory affairs department from KRG Ministry of Health. Who needs (Certification of Origin) as well. 4. Approval from Joint Crisis Coordination Centre in Erbil. That indicate that items will support local directorates to be used for humanitarian response to IDPS, refugees, and host community through GIZ. 5. Custom clearance documents and other official papers at the border. 6. Approvals from Directorate of water to access their storages for off-loading items during delivery.
6 | The bidder must provide work procedure proposal, quality management, safety & security measures and progress schedule to be attached with technical offer. It will be considered during the technical evaluation.
7 | Bidders should provide ASSURANCE OF SUPPLY FROM THE MANUFACTURER OR BIDDER’S SUPPLIER - This must be supported by the submission of a possible agreement between source and supplier.
8 | The Supplier must consider a Covid 19- preventive procedures and measures during the entire process of delivery.
9 | All items should be Delivered to the locations mentioned above, the price is including off-loading costs, transportation, labourers, storing of all the products on wodden pallets with covering with best type of protective plastic sheet at warehouses and other safety measures in site as deemed necessary, according to the instructions of GIZ engineer. All delivery locations are within Duhok Governorate with different warehouses as mentioned in above (quantities at delivery locations are variable), it must be coordinated with GIZ before the delivery. Abbreviations: , Directorateof Water Duhok Outsirt( DOWOD), Directorate of Duhok water (DoWD) - Khrabdeem water treatment plant (WTP), KRI kurdistan regonal iraq.
10 | The Bidder must provide the following below documents with the bid documents, in order to substantiate their eligibility for the contract being awarded: 1. Economic and financial capacity: company’s net turnover in the last four years 2018, 2019 , 2020, 2021. company's net turnover of more than 200.000 USD in the field in which the invitation to tender is issued (water treatment materials or relevant items) in 2018, 2019,2020 and 2021. 2. Technical and professional capacity In the last three years prior to this bid, the company has gained experience [water treatment materials] and can substantiate this with at least three reference projects (includes the client's emails, contact numbers, contract value). which also, guarantee the company is able to provise such service in terms of security approvals, govermentals papers..etc.