[image: C:\Users\GIZv\Desktop\PR TEMPLATES\giz office logo\gizlogo-Buero-Ankara-rgb-72.gif]Annex 2- Bid Form

PN 22.9203.5-001.01
	Tender Subject
	Generators Consumables 
	Tender No
	 91171479 
	Lot
	Single Lot


	Spare Parts

	ITEM NO.
	GOODS /DESCRIPTIONS
	QUANTITY
	UNIT PRICE (USD)
	TOTAL PRICE
(USD)

	1. 
	Doosan – 350 KVA - External fuel filter 
As per Annex 1 – Technical specifications
	48
	
	

	2. 
	Doosan – 350 KVA - Air Filter
As per Annex 1 – Technical specifications
	24
	
	

	3. 
	Doosan – 350 KVA - Oil Filter
As per Annex 1 – Technical specifications
	24
	
	

	4. 
	Doosan – 350 KVA - Diesel Fuel Filter Water Separator
As per Annex 1 – Technical specifications
	24
	
	

	5. 
	Doosan – 350 KVA - CARTRIDGE, FUEL FILTER - As per Annex 1 – Technical specifications
	24
	
	

	6. 
	Radiator fluid 4L
As per Annex 1 – Technical specifications
	72
	
	

	7. 
	Engine Oil 60L
As per Annex 1 – Technical specifications
	24
	
	

	8. 
	Perkins – 80KVA - External fuel filter
As per Annex 1 – Technical specifications
	24
	
	

	9. 
	Perkins – 80KVA - Air Filter
As per Annex 1 – Technical specifications
	24
	
	

	10. 
	Perkins – 80KVA Oil Filter 
As per Annex 1 – Technical specifications
	24
	
	

	11. 
	Perkins – 80KVA - Pre-fuel filter 
As per Annex 1 – Technical specifications
	24
	
	

	12. 
	Perkins – 80KVA - Fuel filter 
As per Annex 1 – Technical specifications
	24
	
	

	13. 
	Perkins – 65KVA
As per Annex 1 – Technical specifications
	24
	
	

	14. 
	Perkins – 65KVA - Oil Filter 
As per Annex 1 – Technical specifications
	24
	
	

	15. 
	Perkins – 65KVA - Internal Fuel filter
As per Annex 1 – Technical specifications
	24
	
	

	
	TOTAL (USD)
	

	DELIVERY TIME:
(Please indicate your shortest delivery time)
	Two working days after submitting the request
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