| Tender Subject | Generators Consumables |
| --- | --- |
| Tender No | 91171479 |
| Lot | Single Lot |

| Spare Parts |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM NO. | GOODS /DESCRIPTIONS |  | QUANTITY | UNIT PRICE (USD) | TOTAL PRICE (USD) |
|  | Doosan – 350 KVA - External fuel filter As per Annex 1 – Technical specifications |  | 48 |  |  |
|  | Doosan – 350 KVA - Air Filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Doosan – 350 KVA - Oil Filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Doosan – 350 KVA - Diesel Fuel Filter Water Separator As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Doosan – 350 KVA - CARTRIDGE, FUEL FILTER - As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Radiator fluid 4L As per Annex 1 – Technical specifications |  | 72 |  |  |
|  | Engine Oil 60L As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Perkins – 80KVA - External fuel filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Perkins – 80KVA - Air Filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Perkins – 80KVA Oil Filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Perkins – 80KVA - Pre-fuel filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Perkins – 80KVA - Fuel filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Perkins – 65KVA As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Perkins – 65KVA - Oil Filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  | Perkins – 65KVA - Internal Fuel filter As per Annex 1 – Technical specifications |  | 24 |  |  |
|  |  |  |  | TOTAL (USD) |  |
| DELIVERY TIME: (Please indicate your shortest delivery time) |  | Two working days after submitting the request |  |  |  |