## RFQ
REQUEST FOR QUOTATION (RFQ)
Tender Title |  | Sanitation Structures
Procurement Number: |  | PR10515ER
Office |  | Sinuni, Ninewah Governorate, Iraq
Submitted on |  | 2023-09-18
Deadline (closing date) |  | 2023-09-30
Project Location |  | Solagh, Sinjar, Ninewah Governorate, Iraq
Integrity of the Public Tender procurement process is of the utmost importance. Unethical procurement conduct will not be tolerated and will result in immediate dismissal from the Public Tender procurement process. All bids are received directly by the Tender committee. It is not possible to influence the decision or outcome of the Tender. Submit your best value proposal the first and only time. No Samaritan's Purse employee will solicit you outside of this tender. Questions regarding the Public Tender that require a formal response must be submitted in writing to Samaritan's Purse Logistical Department, REPORT ALL UNETHICAL BEHAVIOR, FOR CONFIDENTIALITY REPORT TO THE Samaritan’s Purse HOTLINE @ً Phone Call/ WhatsApp/ Signal (Iraq +964 750 863 6742). If you, the supplier, suspect fraud from an SP employee, are asked to commit fraud, or witness an SP employee act in a deceitful way, please notify Samaritan's Purse leadership by calling our confidential hotline where Arabic and Kurdish speakers are ready to receive your call. Pleaseً Phone Call/ WhatsApp/ Signal: (Iraq +964 750 863 6742).
تُعطَى النزاهة في عملية عقد المناقصات العامة الأهمية القصوى. لن يكون هناك أي تسامح مع أي سلوك غير أخلاقي فيما يتعلق بالمشتريات وسيترتب عليه الطرد من المناقصة العامة. تتسلم لجنة المشتريات مباشرة كافة العروض المقدّمة. لا يمكن التأثير على قرار اللجنة أو أو نتائج المناقصة. سلِّم أفضل عرض سعر يمكن أن تقدمه شركتك في المرة الأولى والوحيدة. لن يتواصل معك أي من موظفي ساماريتانس بيرس خارج عملية المناقصة هذه. يتم تسليم الأسئلة المطلوب الرد عليها فيما يتعلّق بهذه المناقصة كتابةً للإدارة اللوجستية لمنظمة ساماريتانس بيرس ، عليك بالإبلاغ عن كل تصرف غير أخلاقي ، للإبلاغ سراً اتصل بالخط الساخن مكالة - واتساب - سيجنال: (Iraq +964 750 863 6742 ). في حالة الشك بعملية احتيال او تزوير من قبل احد موظفي منظمة السامري الصالح, الرجاء القيام بأبلاغ ممثلي المنظمة من خلال الاتصال على الخط الساخن السري وسوف يقوم موظفي المنظمة بالرد على اتصالاتكم باللغتين العربية والكردية. الرجاء الاتصال بمكالة - واتساب - سيجنال: (Iraq +964 750 863 6742).
Samaritan's Purse Information Area Only / سماريتناس بيرس |  |  |  |  | Supplier: Please fill out all white boxes / المورد: يرجى ملء جميع المربعات البيضاء
# | Description / الوصف |  | Qty / الكمية | UOM / وحدة القياس | Per Unit Price USD / سعر الوحدة بالدولار الأمريكي | Total Price USD/السعر الكامل بالدولار الأمريكي | Additional Comments / تعاليق اضافية
A | Civil Works
A-1 | Site Preparation: Supply the materials, tools, equipment, and manpower to site preparation, cleaning, and leveling the ground, the work includes remove and transfer the debris to the site approved by the local authorities. all the works should be done according to the instruction of supervisor engineer. |  | 7 | L.S |  | 0
A-2 | Excavation Works: Supply the machines, tools, and manpower for excavation works for a foundation with a dimensions 6.3x3.7 for each location, with depth 0.2m underground level, the work includes leveling ground of the excavation, the price includes all requirement the necessary with transfer and removes the debris to a site approved by the local authorities and all the works should be done according to the instruction of supervisor engineer. |  | 35 | m3 |  | 0
A-3 | Strip Foundation (0.5x0.4m): Supply of materials, tools, and manpower for casting reinforced concrete Strip foundation (0.5x0.4m) with a Mix ratio of 1:2:4 by using sulfate resistance cement, and 4 Bars Ø12mm with stirrups Ø10mm@200mm C/C, the works include all the requirements of steel reinforcement, putting a layer of nylon, formworks, concrete covers, and all the works should be done according to the instruction of supervisor engineer. See attached drawings in SP-WASH-FP-04. |  | 24.5 | m3 |  | 0
A-4 | filling Works: Supply the materials, machines, and manpower for filling works of sanitation Facilities with spread each layers of Sub-Base Soil aggregate at 20 cm with good compacting by a ratio 95%, the price includes all requirement to complete the works according to the instruction of supervisor engineer.See attached drawings in SP-WASH-CS-05. |  | 73.5 | m3 |  | 0
A-5 | Solid Concrete Block Works above foundation Level: Supply of materials, tools and manpower to build concrete walls above concrete foundation level (20cm width, 2.5m Height) using solid concrete blocks (15x20x40) cm (Grade A) with cement sand mortar (1:3), and all the works should be done according to the instruction of supervisor engineer. See attached drawings in SP-WASH-CS-05 |  | 292 | m2 |  | 0
A-6 | Reinforced concrete for Slab, lintel, beams: Supply of materials, tools and manpower for casting reinforced concrete (C25MPa) for slab, beam, lintel. All the requirements of steel reinforcement, concrete covers, formworks. Including two layers of roof waterproofing coat and the works include all needed items to complete the job ,using steel reinforcement for Slab: Two layers of reinforcements each layer Ø12mm @200mm c/c both directions. Lintel: 4Ø12 top and bottom and stirrups Ø10mm @200mm c/c for Doors and Windows.See attached drawings in SP-WASH-CS-05,SP-WASH-RP-06, SP-WASH-SC-10. |  | 40 | m3 |  | 0
A-7 | Reinforced concrete for Floor: Supply materials, tools, and manpower to casting concrete for Sanitation floors with thickness 10 cm by using mix ratio 1:2:4, Ordinary Portland cement and laying one-layer steel BRC size 6 mm @15/15 cm with putting nylon layer before the cast, considering leveling polishing (decorating) of surface and make opening for the toilet base and sewerage openings, all the works should be done according to the instruction of supervisor engineer. |  | 152 | m2 |  | 0
| Total (A) Civil Works |  | 0
B | Finishing Works
B-1 | Cement Plastering: Supply of materials, tools, and manpower for cement plastering with 20mm thickness smooth-finished for exterior, interior walls, and ceiling. The price includes three layers as follows: one layer of cement splash dash, one layer of rough should have fine gravel (kafmal) including putting a layer of metal mesh between block works and concrete works (columns, beams, and lintel), and on electrical P.V.C pipes, and the third layer smooth finished cement plastering with cement-sand mortar. All needed works to complete the job will be included in the price according to the instruction of Supervisor Engineer. |  | 920 | m2 |  | 0
B-2 | Plastic Painting: Supply of materials, tools and manpower to paint the exterior, interior walls and ceiling, with three layers of plastic (silicon water proof) paint (Jotun, Betek, CAPAROL, Polisan, dyo or equivalent). The paint should be diluted (10%--15%) with water to achieve the coverage of painting of not more than (10-12) m2/Liter/layer. The job includes cleaning the walls, removing the dirt and dust. All needed works to complete the job, shall be included within the price. |  | 920 | m2 |  | 0
| Total (B) Finishing Works |  | 0
C | Doors and Windows
C-1 | PVC Door: Supply the materials, tools, and manpower to install a PVC door Turkish made or equivalent, white color with dimension (0.8*2.1)m, with providing a lock Turkish made or equivalent, the frame of the door should fixed on the walls, the materials of the all parts of door and frame should be composite with internal steel plate 1mm thickness, with fixing the door by at least using four-point of steel hinge, and installing of frosted shaded glass 0.20 m on the top of door with thickness 4 mm, the price includes all the works necessary to install the door, with fill the spaces between the frame of the door and the wall of the sanitation by using silicone and foam, all the works should be done according to the instruction of supervisor engineer.See attached drawings in SP-WASH-SF-03 & SP-WASH-FP-04 |  | 19 | No. |  | 0
C-2 | PVC window: Supply the materials, tools, and manpower to install a PVC window on the top of back side of the latrine, preferable to be Turkish made white color with dimension (0.4*0.4) m and (0.4*0.6) m, installing of frosted shaded glass thickness 4 mm and fill the spaces between the frame and the walls by using silicon, all the works should be done according to the instruction of supervisor engineer.See attached drawings in SP-WASH-FP-04 |  | 5.48 | m2 |  | 0
| Total (C) Doors and Windows |  | 0
D | Sanitary , Plumbing, and Water Supply Works
D-1 | PPR Pipes: Supply materials tools and manpower to install a 3/4" and 1" PPR pip, best type of materials available in the local market preferred to be Turkish made or equivalent, with all accessories (Elbow, reducer, connector….etc.). |  | 305 | M.L |  | 0
D-2 | PVC Pipes: Supply materials tools and manpower to install a sewer drainage pipes PVC 4", best type of materials available in the local market preferred to be Turkish made or equivalent, digging, filling, and fix by concrete to be extended to the cesspool and Sewerage net pipe, including all the necessary plumbing works, according to the instruction of supervisor engineer. |  | 220 | M.L |  | 0
D-3 | PVC manhole box (checkpoints): Supply materials, tools, and manpower to install plastic manhole box (30*30*30) cm, the work includes all materials and works needed to install and connect the sewerage pipe to the manhole with all items to finishing work including excavation and filling, casting concrete around manholes according to the instruction of supervisor engineer. See attached drawings in SP-WASH-PP-08 |  | 16 | No. |  | 0
D-4 | Roof Drain pipes (3" PVC pipes): Supply materials, tools and manpower to install roof drain PVC pipes 3". Including all connections and needed accessories to fix on roof and walls. All needed work to complete the job will be included within the price. See attached drawings in SP-WASH-PP-08 |  | 18 | M.L |  | 0
D-5 | Ceramic hand wash basin: Supply and install ceramic hand wash basin with dimension (50*40) cm Turkish made white color, with supply and install water mixer (hot and cold) Turkish made, with providing all accessories valve and flexible hose for (water and drainage), according to the instruction of supervisor engineer. See attached drawings in SP-WASH-PP-08. |  | 9 | No. |  | 0
D-6 | Shower Mixer: Supply materials tools and manpower to install and fix stainless steel overhead shower mixer with all accessories valve wall mixer with bend pipe for an overhead shower, prefer to be Turkish made or equivalent according to the instruction of the supervisor engineer. |  | 9 | No. |  | 0
D-7 | Ceramic eastern seat: Supply and install a ceramic eastern seat with new Flushing (siphon) including water container 10-12lits, Turkish made or equivalent white color,connecting to the septic tank, the work include all the necessary accessories ( Guli, union,...etc) to finish the work and according to instruction of the supervising engineer. See attached drawings in SP-WASH-PP-08 |  | 10 | No. |  | 0
D-8 | Portable toilet chair for disability: Supply a chair suitable for disabled people to be used in the toilet the seat should be steel frame and bearing weight of 100kg that best quality and good brand. |  | 1 | No. |  | 0
D-9 | Toilet bidet Chrome: Supply and install toilet bidet Chrome with steel mixer (hot and cold) and a flexible hose that is good quality, preferred Turkish made or equivalent, with all accessories (Tee, reducer, elbow, mixer …etc) and all needed to complete it and according to the instruction of supervisor engineer. |  | 10 | No. |  | 0
D-10 | Mixer for Laundry: Supply materials tools and manpower to install and fix the stainless-steel mixer for laundry work include all accessories (Tee, reducer, elbow, connections …etc.) need to complete works, prefer to be Turkish-made or equivalent according to the instruction of the supervisor engineer. |  | 10 | No. |  | 0
D-11 | Plastic Water tank 1250 liters: Supply and install horizontal cylindrical Polyethylene water tanks 1250L, consisting at least of two layers, white color,inlet and outlet 1-3/4 inches, the work including fittings, valves, and float valves, preferably the best quality available in the local markets. The price includes transportation and fixing on-site on the Roof of Sanitation Facilities according to instructions of the supervisor engineer.See attached drawings in SP-WASH-SF-03. |  | 9 | No. |  | 0
D-12 | Water Heater (boiler): Supply and install new Water heater complete with all necessary piping and electrical connections good quality available in the market (size 180 Liters, plate galvanize inside with gauge 16), the cost includes connecting with main wire cable by using 2*4mm2 and plug switch 20A and installing 40mm plastic pipelines under cement plastering to the electricity sourceaccording to the instruction of supervisor engineer. See attached drawings in SP-WASH-SF-03 |  | 9 | No. |  | 0
D-13 | Septic tank: Supply the materials, tools, and manpower, to carry out the construction of septic tanks in two chambers with the dimensions (3*2) m and depth (2.5)m, with a casting concrete foundation in the bottom of the septic tank 40 cm wide and 30 cm thickness reinforced concrete by 4 Ø 12mm steel with mix ratio 1: 2: 4, masonry walls work on the foundation by solid block (15x20x40 cm) with thickness 20 cm and height 1.90 m, and casting reinforcement concrete for the slab (3*2) and (1.4x1.4) m, thickness 20 cm, using two layers of steel reinforcement bars 12 Ø @150 mm in both directions, including 2 manholes in the top of a septic tank with the dimension 40*40 cm covered by iron steel cover, constructing a cesspool pits with 1.4x1.4m and filling by rocks more than 15cm, also the price includes plastering inside joint walls between block by one layer of cement mortar 1:3 and all accessories needs including (4” PVC pipe, fitting, elbow, 90 bends…etc.) the works should be done according to the instruction of supervisor engineer. See attached drawings in SP-WASH-ST-09. |  | 8 | No. |  | 0
| Total (D) Sanitary , Plumbing, and Water Supply Works |  | 0
E | Electricity Works
E-1 | Wire cable: Supply materials tools and manpower to install wire cables 3x4 mm2 from electrical board to main board and connecting electrical wiring inside the plastic pipelines of 40mm under cement plastering, preferred to be Turkish made or equivalent according to the instruction of supervisor engineer. |  | 175 | M.L |  | 0
E-2 | Indoor light: Supply materials tools and manpower to install indoor lighting spot with 30W bulb light fixing on the walls or ceiling, with suppling on-off switch to be fixed on height 1.2 m and also the work include connecting electrical wiring inside the plastic pipelines of 25 mm under cement plastering for lighting 2x1.5 mm2 with a good quality of switch according to the instruction of the supervisor engineer. |  | 20 | No. |  | 0
E-3 | outdoor light: Supply materials tools and manpower to install outdoor lighting spot water proof resistant with 30W bulb light fixing on the walls or roof, with suppling on-off switch to be fixed on height 1.2 m and also the work include connecting electrical wiring inside the plastic pipelines of 25mm under cement plastering for lighting 2x1.5 mm2 with a good quality of switch according to the instruction of the supervisor engineer. |  | 18 | No. |  | 0
E-4 | Switched plugs(Sockets): supply materials tools and manpower to install electrical Sockets Switched plugs 13Amp, white color, the preferable best quality available supplied by (ABB, Siemens, Schneider or equivalent). according to the instruction of the supervisor engineer. |  | 20 | No. |  | 0
E-5 | Exhaust fan: Supply and install exhaust fan 6 inch with good quality the work includes all electric connections (1x1.5mm2 wiring and switch plugs), according to the instruction of the supervisor engineer. |  | 20 | No. |  | 0
E-6 | Main Electricity Board: supply materials, tools and manpower to install electrical panel board 6 ways with size (20x17cm), with supplying three circuit breakers (10 and 40 Amps) 1-poles and (main circuit 63 Amps) 2-poles for sanitation and boilers, preferable best quality available supplied by (ABB, Hyundai, Schneider or equivalent), and the price including connecting with cables wires and all necessary works according to the instruction of supervisor engineers. |  | 9 | No. |  | 0
| Total (E) Electricity Works |  | 0
Date RFQ Completed: تأريخ اكمال العرض |  |  | Total Price USD السعر الكلي بالدولار الأمريكي |  |  | 0
TECHNICAL TERMS/NOTES
1 | All items are to be implemented in accordance with the conditions, specifications, and detailed plans of the tender and per the instructions of Samaritan's Purse engineer. |  | يتم تنفيذ جميع البنود وفقًا للشروط والمواصفات والمخططات التفصيلية للمناقصة ووفقًا لتعليمات مهندس سماريتانس بيرس. |  |  |  |  | 1
2 | Prices include all that is necessary to implement the item, inclusive of manpower, material, fittings, accessories, required testing, cost of samples and sampling, equipment, machinery, tools, transportation, temporary works, legal fees and duties, connection fee (if any), testing and commissioning, etc. |  | تشمل الأسعار كل ما هو ضروري لتنفيذ الفقرة ، بما في ذلك القوى العاملة والمواد والتجهيزات والملحقات والاختبار المطلوب وتكلفة العينات وأخذ العينات والمعدات والآلات والأدوات والنقل والأعمال المؤقتة والرسوم والواجبات القانونية ورسوم التوصيل (إذا أي) ، والاختبار والتكليف ، إلخ. |  |  |  |  | 2
3 | Prices include painting all iron elements such as pipes, angles, frames, etc. with two coats of anti-rust/anti-oxide paint and two coats of oil paint if not mentioned in the description. |  | تشمل الأسعار طلاء جميع العناصر الحديدية مثل الأنابيب والزوايا والإطارات وغيرها بطبقتين من الطلاء المضاد للصدأ / مضاد للأكسيد وطبقتين من الطلاء الزيتي إذا لم يذكر في الوصف. |  |  |  |  | 3
4 | The supplier might be required to send samples of all listed items (if shortlisted). |  | قد يُطلب من المورد إرسال عينات (إذا تم اختياره ضمن القائمة المختصرة). |  |  |  |  | 4
5 | Design drawings and BoQ complement each other. The contractor is obliged to execute the tasks stated in either one of them. In case of a discrepancy, the more stringent specification will be followed and per Samaritan's Purse engineer's instruction. |  | تكمل رسومات التصميم وجدول الكميات بعضهما البعض. يلتزم المقاول بتنفيذ المهام المنصوص عليها في أي منهما. في حالة وجود تناقض ، سيتم اتباع المواصفات الأكثر صرامة وفقًا لتعليمات مهندس سماريتانس بيرس. |  |  |  |  | 5
6 | Contractor shall submit detailed level-three time schedule in Gantt chart, detailing all activities in logical sequence to complete the works within the project duration. |  | يجب على المقاول تقديم جدول زمني مفصل من المستوى الثالث في مخطط غانت ، يوضح بالتفصيل جميع الأنشطة في تسلسل منطقي لإكمال الأعمال خلال مدة المشروع. |  |  |  |  | 6
7 | Items listed in the drawings but are not mentioned in this BoQ are considered accounted for within the other items of the BoQ and shall not be paid extra. |  | تعتبر العناصر المدرجة في الرسومات والتي لم يتم ذكرها في جدول الكميات بشكل منفصل محسوبة ضمن البنود الأخرى في جدول الكميات, ولن يتم دفعها بشكل إضافي. |  |  |  |  | 7
8 | The Electrical Works include wiring, Circuit breakers, connection, conduit, fittings, accessories, and all related work, (even if it is not mentioned below ), to complete and get the system working properly. |  | تشمل الأعمال الكهربائية الأسلاك ، والقواطع ، والتوصيل ، والقناة ، والتجهيزات ، والملحقات ، وجميع الأعمال ذات الصلة ، (حتى لو لم يتم ذكرها أدناه) ، لإكمال النظام وتشغيله بشكل صحيح. |  |  |  |  | 8
9 | All works shall be implemented in accordance with the Iraqi technical specifications, by laws, and guidelines. |  | يتم تنفيذ جميع الأعمال وفقا للمواصفات الفنية العراقية والقوانين والمبادئ التوجيهية. |  |  |  |  | 9
10 | all project activities will be in Solagh. The first seven sanitation structures will be identical in construction at seven different locations. The last two structures are rehabilitation of current structures and will also be in two different locations. The exact GPS points of each location will be shared with the chosen contractor. |  | جميع أنشطة المشروع ستكون في صولاغ. ستكون هياكل الصرف الصحي السبعة الأولى متطابقة في البناء في سبعة مواقع مختلفة. يتم إعادة تأهيل الهيكلين الأخيرين للمباني الحالية وسيكونان أيضًا في موقعين مختلفين. ستتم مشاركة نقاط GPS الدقيقة لكل موقع لاحقا مع المقاول المختار . |  |  |  |  | 10
11 | The payment will be based on the actual achieved quantities and measurements, but not on the estimated BoQs. in additional the contractor will be responsible for the cost of implemented items not mentioned in the BoQs and not approved in writing by Samaritan's Purse engineers. Samaritan's Purse will not pay for these additional costs. |  | سيتم الدفع على أساس الكميات والقياسات الفعلية المحققة، ولكن ليس على أساس جداول الكميات المقدرة. بالإضافة إلى ذلك، سيكون المقاول مسؤولاً عن تكلفة العناصر المنفذة غير المذكورة في جداول الكميات والتي لم تتم الموافقة عليها كتابيًا من قبل مهندسي ساماريتانس بيرس. لن تدفع ساماريتانس بيرس هذه التكاليف الإضافية. |  |  |  |  | 11
12 | The completion time for the task must not exceed 60 days. |  | مدة انجاز العمل يجب ان لاتزيد عن 60 يوم. |  |  |  |  | 12
GENERAL TERMS/NOTES
1 | The tender closing date is on September 30, 2023 |  | موعد إغلاق المناقصة 30 ايلول 2023 |  |  |  |  | 1
2 | The evaluation criteria of this tender will be mainly on the following: - Price. - Project Completion Time. - Warranty Duration. - A legitimate Construction Company. The Samaritan's Purse tender committee retains the prerogative to modify these criteria as deemed advantageous for Samaritan's Purse at any level throughout this procurement process. |  | ستكون معايير التقييم لهذا العطاء بشكل أساسي على ما يلي: - السعر. - وقت اكمال المشروع. - مدة الضمان. - شركة بناء شرعية. تحتفظ لجنة مناقصة سماريتانس بيرس بصلاحية تعديل هذه المعاييرحسب مصلحة سماريتانس بيرس خلال اي مرحلة من عملية الشراء هذه. |  |  |  |  | 2
3 | The project location is at Sinjar / Solagh village. |  | موقع المشروع في سنجار / قرية صولاغ |  |  |  |  | 3
5 | After the quotation has been received, and during the validity of the quotation, SPI will not accept any price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors. |  | بعد استلام عرض الأسعار وأثناء سريان عرض الأسعار ، لن يقبل أي تغير في الأسعار بسبب التصعيد أو التضخم أو التقلبات في أسعار الصرف أو أي عوامل سوقية أخرى. |  |  |  |  | 5
6 | Samaritan's Purse might choose all or some items from any supplier depending on the best value provided |  | قد تختار سماريتانس بيرس كل أو بعض العناصر من أي مورد بناءً على أفضل قيمة مقدمة |  |  |  |  | 6
8 | The Items provided must be of reasonable quality and reasonable market price which are the evaluating factors of this process. |  | يجب أن تكون العناصر المقدمة ذات جودة معقولة وسعر سوق معقول وهما عوامل التقييم لهذه العملية. |  |  |  |  | 8
9 | The company is responsible for any checkpoint requirements for deliver the materials to Sinjar. |  | الشركة مسؤولة عن أي متطلبات نقاط تفتيش لتوصيل المواد الى سنجار. |  |  |  |  | 9
10 | Samaritan's Purse reserves the right to cancel the tender at any stage, because of the following reasons: The tender procedure has been unsuccessful, lack of clarity in the RFQ leads to discrepancy in the bids where the goods and services and prices proposed cannot be compared, funding ending, being canceled or reduced; force majeure, and other reasons that the Samaritan’s Purse tender committee would find valid. |  | تحتفظ سماريتانس بيرس بالحق في إلغاء المناقصة في أي مرحلة ، وذلك للأسباب التالية: لم تنجح إجراءات المناقصة ، يؤدي عدم الوضوح في هذه الوثيقة إلى تباين في العطاءات حيث لا يمكن مقارنة السلع والخدمات والأسعار المقترحة ، انتهاء التمويل أو إلغاؤه أو تخفيضه ؛ القوة القاهرة ، وأسباب أخرى قد تجدها لجنة العطاءات في ماريتانس بيرس صحيحة. |  |  |  |  | 10
11 | Samaritan's Purse reserves the right to award this tender to multiple bidders (split). |  | تحتفظ سماريتانس بيرس بالحق في ترسية هذا العطاء لعدة مزايدين (مقسم على اكثر من مقدم عطاء). |  |  |  |  | 11
12 | 1) Warranty period: Minimum of 1 Year, however, Bidders are welcome to offer a longer warranty period, this will be considered during the evaluation. 2) Regardless of the warranty period proposed by the Bidders, Samaritan's Purse will withhold 10% of all items as a deposit to secure the warranty for 1 Year from the date of handover. |  | فترة الضمان: لا تقل عن سنة واحدة ، ومع ذلك ، نرحب بالمزايدين لتقديم فترة ضمان أطول ، وسيتم النظر في ذلك أثناء التقييم. بغض النظر عن فترة الضمان التي يقترحها مقدمو العطاءات ، فإن سماريتانس بيرس ستحتجز مبلغ 10٪ من جميع العناصر كوديعة لتأمين الضمان من تاريخ التسليم. |  |  |  |  | 12
13 | Support documents: • Provide Company registration certificate • Provide the latest tax clearance. • Provide your company CV. • Please provide the list of company experience with contact details with other NGOs that you currently working or had contracts with. • Please provide Bank account information, if applicable. • List all office locations in Iraq/Kurdistan |  | مستندات الدعم: • تقديم شهادة تسجيل الشركة • تقديم أحدث تخليص ضريبي. • تقديم السيرة الذاتية لشركتك. • يرجى تقديم قائمة خبرة الشركة مع تفاصيل الاتصال بالمنظمات غير الحكومية الأخرى التي تعمل حاليًا أو لديها عقود معها. • يرجى تقديم معلومات الحساب المصرفي ، إن وجدت. • اذكر جميع مواقع المكاتب في العراق |  |  |  |  | 13
14 | Your proposal/bid should be prepared in English (all supporting documents should also be in English or translated to English). |  | يجب إعداد العرض باللغة الإنجليزية (يجب أيضًا أن تكون جميع المستندات الداعمة باللغة الإنجليزية أو مترجمة إلى الإنجليزية) |  |  |  |  | 14
15 | Payment will be made by check or bank transfer. |  | سيتم الدفع بشيك أو حوالة مصرفية. |  |  |  |  | 15
16 | The currency used in this RFQ must be only United States Dollar (USD) |  | يجب أن تكون العملة المستخدمة في طلب عرض الأسعار هذا هي الدولار الأمريكي فقط. |  |  |  |  | 16
17 | For more information please refer to "BOQs and Design/Drawings". |  | لمزيد من المعلومات ، يرجى الرجوع إلى "جدول الكميات والمخططات و التصاميم ". |  |  |  |  | 17
18 | The RFQ, BOQs, Design/Drawings, and all related documents must be stamped and signed. |  | يجب ختم وتوقيع طلب عرض الأسعار وجدول الكميات والمخططات و التصاميم وجميع المستندات ذات الصلة. |  |  |  |  | 18
* Please fill out all the information required below يرجى ملء جميع المعلومات المطلوبة أدناه
Company Name اسم الشركة |  |  | Contact Name الاسم الثلاثي للشخص المعني بالأتصال
Contact Email البريد الألكتروني |  |  | Contact Phone رقم الهاتف الشخصي
Company Adress, عنوان الشركة |  |  | Validity of Quote (Should be at least 90 days) مدة صلاحية العرض (يجب ان تكون على الاقل 90 يوم)
Did you stamp Annex A - Drawing and designs (Yes/No) هل قمت بختم الملحق أ - المخططات و التصاميم (نعم / لا) |  |  | Did you fill and stamp Annex B - Company Experience Record (Yes/No) هل قمت بملء وختم الملحق ب- سجل خبرات الشركة السابقة (نعم / لا)
Did you fill and stamp Annex C - References Form (Yes/No) هل قمت بتعبئة وختم الملحق ج - نموذج مراجع الشركة (نعم / لا) |  |  | Payment Terms: شروط الدفع وتسديد الأجور
Provide Delivery YES / NO توفير التوصيل ؟ (نعم او لا) |  |  | Contact Signature توقيع الشخص المعني بالأتصال :
Delivery Time: وقت التوصيل |  |  | Supplier Stamp ختم المورد |  |  |  | Stamp here
Warranty Duration: مدة الضمان
Warranty Type: نوع الضمان