## Lot A
SUPPLY OF FURNITURE
| TECHNICAL SPECIFICATIONS | COMPARATIVE SPECIFICATION / REMARKS
A - Minimum technical requirements. |  | Comparative specification / remarks should indicate any deviation from technical parameter or functional description of tender specification or confirmation with "Yes" and if applicable further particularities.
1 | Outdoor Dining Table with 12 chairs
1.1 | Dimension up to (D: 100 CM, W: 250 CM, H: 80 CM) plus & minus 5 cm is acceptable
1.2 | Shape: Rectangular
1.3 | Table design: Dining Table
1.4 | Style: Modern (Patio, Dining Room)
1.5 | Material Type: Wooden,
1.6 | Unfolded chair
1.7 | Color: preferred to be woody
2 | Wooden dining table indoors with 6 chairs
2.1 | Dimension up to (D: 100 CM, W: 200 CM, H: 80 CM) plus & minus 5 cm is acceptable
2.2 | Shape: Rectangular
2.3 | Table design: Dining Table
2.4 | Style: Modern (Dining Room)
2.5 | Top Material Type: Wooden, Iron
2.6 | Seat: 6 Seats
3 | Single bed
3.1 | Wooden single bed
3.2 | Style: Modern
3.3 | Dimension: 120*200 cm (Mattress 100 cm) plus & minus 5 cm is acceptable
3.4 | Material: Wooden
4 | Mattress
4.1 | Dimension: 100 cm * 200 cm * 15 cm
4.2 | Foam : HD foam
4.3 | Style: Remov
4.4 | Cover: Cotton cover
5 | Bedside drawer
5.1 | Material: Wooden
5.2 | Dimension: 48 cm*48 cm*79 cm
5.3 | Configuration: 2 drawer
5.4 | Style: Modern
6 | Wardrobe
6.1 | Material: Wooden
6.2 | Dimension: up to (D: 40 CM, W: 80 CM, H: 200 CM)
6.3 | Doors: 2 Doors wardrobe
6.4 | Features: Clothes Rod & Shelves
6.5 | Style: Modern
7 | Table Lamp
7.1 | Style: Modern
7.2 | Materials : Metal, Fabric / PVC
7.3 | Dimension: 15cm * 50 cm (plus & minus 3 cm is acceptable )
7.4 | Specifications: Lamp holder, Voltage 110 – 220V, US plug.
7.5
8 | Coffee Table
8.1 | Style: Modern
8.2 | Materials : Wood
8.3 | Shape: Round
8.4 | Dimension: D: 40 CM, W: 40 CM, H: 40 CM
please check the next sheet LOT B specification

## Lot B
SUPPLY OF ELECTRICAL DEVICES
| TECHNICAL SPECIFICATIONS | COMPARATIVE SPECIFICATION / REMARKS
A - Minimum technical requirements. |  | Comparative specification / remarks should indicate any deviation from technical parameter or functional description of tender specification or confirmation with "Yes" and if applicable further particularities.
1.0 | Supply and fixing & operating Air Conditioned Split (4 Ton)
1.1 | 48000 Btu/hr. approx
1.2 | supply and fixing & operating Aire Conditioned Split.
1.3 | floor standing
1.4 | 3 phase
1.5 | Cooling capacity: ≈ 48000 Btu/hr.approx
1.6 | Heating capacity: ≈ 48000 BTU/hr. approx
1.7 | Cooling Power input 5180 W,
1.8 | heating power input 5180 W
1.9 | Indoor sound pressure Noise Level 38 dB Indoor
1.10 | Gas Charge R410a 1.7 Kg
1.11 | Compressor Type inverter
2.0 | Supply and fixing & operating Air Conditioned Split (2,5 Ton)
2.1 | 28000 Btu/hr.
2.2 | supply and fixing & operating Aire Conditioned Split.
2.3 | Wall mounted
2.4 | Wall type. Phase single
2.5 | Cooling capacity: ≈ 28000 Btu/hr. approx
2.6 | Heating capacity: ≈ 28000 BTU/hr. approx
2.7 | Cooling Power input 2100 W,
2.8 | heating power input 2100 W
2.9 | Gas Charge R410a 1.7 Kg
2.10 | Compressor Type inverter
2.11 | Climate type T3.
3.0 | Supply and fixing & operating Air Conditioned Split (2 Ton)
3.1 | 24000 Btu/hr.
3.2 | supply and fixing & operating Aire Conditioned Split.
3.3 | Wall mounted
3.4 | Wall type. Phase single
3.5 | Cooling capacity: ≈ 24000 Btu/hr.approx
3.6 | Heating capacity: ≈ 24000 BTU/hr. approx
3.7 | Cooling Power input 2100 W,
3.8 | heating power input 2100 W
3.9 | Gas Charge R410a 1.7 Kg
3.10 | Compressor Type inverter
3.11 | Climate type T3.
4.0 | Supply and fixing & operating Air Conditioned Split (2 Ton vertical)
4.1 | 24000 Btu/hr.
4.2 | supply and fixing & operating Aire Conditioned Split.
4.3 | floor standing
4.4 | Phase single
4.5 | Cooling capacity: ≈ 24000 Btu/hr.
4.6 | Heating capacity: ≈ 24000 BTU/hr.
4.7 | Cooling Power input 2100 W,
4.8 | heating power input 2100 W
4.9 | Gas Charge R410a 1.7 Kg
4.10 | Compressor Type inverter
4.11 | Climate type T3.
5.0 | Supply and fixing & operating Air Conditioned Split (1,5 Ton)
5.1 | 18000 Btu/hr.
5.2 | supply and fixing & operating Aire Conditioned Split.
5.3 | Wall mounted
5.4 | Wall type. Phase single
5.5 | Cooling capacity: ≈ 18000 Btu/hr.approx
5.6 | Heating capacity: ≈ 18000 BTU/hr. approx
5.7 | Cooling Power input 1800 W,
5.8 | heating power input 1800W
5.9 | Gas Charge R410a 1.7 Kg
5.10 | Compressor Type inverter
6 | Refrigerator
6.1 | Freezer capacity 60 liter
6.2 | Fresh food capacity 180 liter
6.3 | Current rating 0.8A
6.4 | Voltage 220 V
6.5 | Frequency 50 Hz
6.6 | Auto defrost
6.7 | Dimention: 65*70*180 cm
6.8 | No. of doors 2
6.9 | White color.
7 | Refrigerator small
7.1 | Freezer capacity 20 litter
7.2 | Fresh food capacity 60 litter
7.3 | Current rating 0.5A
7.4 | Voltage 220 V
7.5 | Frequency 50 Hz
7.6 | Auto defrost
7.7 | Dimention: 45*50*85 cm- (+ or - 3 cm is acceptable )
7.8 | No. of doors 1
7.9 | White color.
8 | Oven
8.1 | Gas Oven 5 burners
8.2 | Gas Grill
8.3 | Oven Cooking Functions: Bottom Heat, Defrost, Fan, Cooking, Grilling, Grilling with Turnspit, Light
8.4 | Anti-Fingerprint Stainless Steel
8.5 | Power Voltage: 220-240V
8.6 | Color: Stainless Steel
8.7 | Dimensions (W:60 CM*D:90 CM*H:85 CM) (+ or - 3 cm is acceptable )
9 | Water dispenser
9.1 | 16 LITRE CABINET
9.2 | HOT, NORMAL, COLD WATER OPTION
9.3 | COMPRESSOR COOLING
9.4 | ELEGANT SHAPE
9.5 | CONVENIENT 3 PUSH TAPS
9.6 | CHILD LOCK FOR HOT WATER
9.7 | LOW NOISE DESIGN
9.8 | ANTI BACTERIAL MATERIA