## Sheet1
Supply, Installation, and Commissioning of ICT Infrastructure for the Persons with Disabilities and Special Needs (PWDSN) Commission. IRAQ-LRPS-2024-001-(9187815)
A. PWDSN Data Center (HQ)
# | Items | Qty | Unit Price | Total Price
Server Hardwar
A1 | Application & Database Server | 4 |  | 0
A2 | SAN Storage Hybrid 10TB Usable Capacity | 1 |  | 0
Data Center cable fittings
F1 | Patch Cord Fiber Optic, 3 m | 6 |  | 0
F2 | ODF 12/24 Core | 1 |  | 0
F3 | UTP Patch Panel 24 Port | 2 |  | 0
F4 | Patch Cord Cat6, 1m | 30 |  | 0
Data Center Server Software Requirements
A3 | Windows Server Standard 2022 - Perpetual | 10 |  | 0
A4 | SQL Server 2022 Standard Core - 2 Core License Pack - Perpetual | 8 |  | 0
A5 | Veeam Data Platform Foundation Universal Subscription License. Includes Enterprise Plus Edition features. 10 instance pack. 3 Years Subscription Upfront Billing & Production (24/7) Support | 2 |  | 0
Other Hardwar Requirements
A6 | Rack (42/48U) | 1 |  | 0
A7 | Rack Power Distribution - Intelligent PDU | 2 |  | 0
A8 | Solar Energy system | 1 |  | 0
A9 | KVM | 1 |  | 0
Implementation
| Cable Fittings implementation | 1 |  | 0
| H/w and S/w installation | 1 |  | 0
B. PWDSN Cybersecurity Requirements (HQ)
B1 | Cybersecurity NG Firewall- 3Y lic. - (Active - Passive) | 2 |  | 0
B2 | Advance Server Protection + Deap Learning - 3Y | 5 |  | 0
B3 | Advance Workstation Protection + Deap Learning - 3Y | 25 |  | 0
B4 | Indoor Access Point - 2x2 MIMO, dual radio, internal antennas. 5,2 GHz | 20 |  | 0
| H/w and S/w installation | 1 |  | 0
C. PWDSN Networking Requirements (HQ)
C1 | Access switch 24-port data, 4 x 10G, Network Essentials (POE) + 3Y lic. | 8 |  | 0
C2 | Access switch 48-port data, 4 x 10G, Network Essentials (POE) + 3Y lic. | 2 |  | 0
C3 | Core switch 24 ports SFP of 10G fiber | 2 |  | 0
F1 | Patch Cord Fiber Optic, 3 m | 12 |  | 0
F2 | ODF 12/24 Core | 10 |  | 0
F3 | UTP Patch Panel 24 Port | 20 |  | 0
F4 | Patch Cord Cat6, 0.1 m | 100 |  | 0
F5 | Patch Cord Cat6, 5m | 100 |  | 0
F6 | Cable Tray | 1 |  | 0
F7 | Rack (12U) | 8 |  | 0
F8 | PDU | 10 |  | 0
F9 | UPS (1500VA) for SW | 10 |  | 0
F10 | RJ45 keystone | 100 |  | 0
F11 | Single Port – Faceplate | 100 |  | 0
F12 | Back Box – single | 100 |  | 0
F13 | Rj45 connector | 300 |  | 0
F14 | UTP Cat6 cable roll | 30 |  | 0
F15 | Fiber Optic roll, (Between PWD Building Blocks (4/5) and HQ) | 1 |  | 0
F16 | Small form-factor pluggable transceiver (SFP) | 20 |  | 0
| Installation & Cable fittings implementation | 1 |  | 0
D. VMWARE Essential Plus Kit
D1 | Include license for 3 servers 2 CPU each | 1 |  | 0
1 license for VCenter Server Essentials.
CPU license covers one CPU with up to 32 cores
vSphere High Availability (HA)
vSphere vMotion
Cross Switch vMotion
vSphere Replication
3Y Support
E. PWDSN PCs, Printers and Scanners (HQ)
E1 | Business line laptops | 12 |  | 0
E2 | Business line PCs | 5 |  | 0
E3 | Printer Black and white - 20 Page per min (BW) (Network printers wired + wireless) | 10 |  | 0
E4 | Handheld Scanner (QR Code Reader) | 5 |  | 0
E5 | Scanner - 30 Page per min | 5 |  | 0
F10 | UPS (1000VA) for Workstation | 12 |  | 0
Total Price |  |  | 0