## Request for Proposal
SAVE THE CHILDREN | [8 empty] | طلب تسعير |  |  | REQUEST FOR QUOTATION
Version No. 1.0 / 110621
PR Number رقم طلب الشراء |  | PR443295 |  | Date RFQ Issued تاريخ تسعير طلب الشراء |  | 2024-04-15 | NEW RFQ
PART 1 - INFORMATION FOR SUPPLIER : SUBMISSION DETAILS (SCI to Complete) |  |  |  |  | الجزء 1 - معلومات للمورد: تفاصيل التقديم (للاستعمال من قبل المنظمة )
SUBMISSION INFORMATION معلومات التقديم | [8 empty] | REQUIREMENTS INFORMATION المعلومات المطلوبة
Deadline for Submission اخر موعد للتقديم | 2024-04-28 |  | Submission Format نموذج التقديم | Physical Copy |  | Documents Required to be Submitted by Supplier المستندات المطلوبة من المورد | RFQ (signed and stamped) |  | Date Goods / Services Required السلع/ الخدمات المطلوبة |  | 2024-05-02
|  |  | Submission Location (Email address / Address) مكان التقديم (البريد الالكتروني/ العنوان) | Pro save system by Ariba or Physical Copy Duhok Office |  |  | RFQ complex |  | Delivery Address for Goods / Services عنوان توصيل السلع/ الخدمات |  | Duhok SCI Office
Company documents
[7 empty] | Tax clerance 2022-23 |  | Requirement Incoterms كود منظمة التجارة العالمية المطلوب
IDs
PART 2 - BID SUBMISSION (Supplier to Complete)
SUPPLIER INFORMATION معلومات المورد |  |  |  |  | SUPPLIER DECLARATIONS إقرارات المورد
Supplier Name اسم الشركة |  |  |  |  | The supplier agrees and acknowledges that… يوافق المورد ويقر بأن … |  |  |  |  | Supplier Acceptance | Comments
Contact Name اسم المجهز/المقاول |  |  |  |  | for any future orders placed, the Terms & Conditions shared as part of this RFQ will apply. If no Terms & Conditions were shared, the attached Terms and Conditions will apply. بالنسبة لأي طلبات مستقبلية يتم تقديمها ، سيتم تطبيق الشروط والأحكام المشتركة كجزء من طلب عرض الأسعار هذا. إذا لم تتم مشاركة أي شروط وأحكام ، فسيتم تطبيق الشروط والأحكام المرفقة.
E-mail ايميل الشركة |  |  |  |  | to adhere to all the below mandatory Save the Children policies. للالتزام بجميع سياسات Save the Children الإلزامية أدناه
Phone / Mobile رقم الهاتف |  |  |  |  | that all pricing included in the quote will be valid for a minimum of 60 days أن جميع الأسعار المدرجة في عرض الأسعار ستكون صالحة لمدة 60 يومًا على الأقل
Address عنوان الشركة |  |  |  |  | this Request for Quotation does not constitute an order. لا يشكل طلب عرض الأسعار هذا أمرًا.
في حالة عدم تقديم براءة الذمة الضريبي سيتم استبعاد الشركة من المناقصة
SAVE THE CHILDREN REQUIREMENTS (SCI & Supplier to Complete) |  |  |  |  | The bidder must not be a prohibited party under applicable sanctions laws or anti-terrorism laws or provide goods under sanction by the US or EU. e.g. Balkans, Belarus, Burma, Cote D'Ivoire (Ivory Coast), Cuba, Democratic Republic of Congo, Iran, Liberia, North Korea, Sudan, Syria, etc. يجب ألا يكون مقدم العرض طرفا محظورا بموجب قوانين العقوبات المعمول بها أو قوانين مكافحة الإرهاب أو تقديم السلع الخاضعة لعقوبة من قبل الولايات المتحدة أو الاتحاد الأوروبي. على سبيل المثال: دولة البلقان, بيلاروس, بورما, كوتديفوار, كوبا, حمهورية كونغو الديمقراطية, ايران, ليبيريا, كوريا الشمالية, سودان, سوريا, الخ
"For any concerns or complaints, you can reach out to SCI Iraq compliance department through the following email and hotline number provided below أذا كانت لديكم اي شكوى, يرجى الابلاغ عنها عن طريق الارقام او الايميلات المذكوره في الاسفل" Hotline Number: +964 751 124 0197 open from 8:30 AM to 4:30 PM Sunday-Thursday Email Address: SCIFraud@savethechildren.org
Line item no. | Description of Goods / Services وصف البضائع / الخدمات |  |  |  |  | Unit الوحدة | Quantity required الكميات المطلوبة | Additional Information معلومات اضافية | Currency العملة | Lead Time for Delivery مدة التجهيز | Unit Price سعر الوحدة | Total Price السعر الاجمالي
1 | -Supply Ordinary iron pipes size 14" with thick not less than 5 mm for Reserving the upper part of the well after approving by supervisor engineer. - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply Ordinary iron pipes size 14" with thick not less than 5 mm for Reserving the upper part of the well after approving by supervisor engineer. - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply Ordinary iron pipes size 14" with thick not less than 5 mm for Reserving the upper part of the well after approving by supervisor engineer. - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply Ordinary iron pipes size 14" with thick not less than 5 mm for Reserving the upper part of the well after approving by supervisor engineer. - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply Ordinary iron pipes size 14" with thick not less than 5 mm for Reserving the upper part of the well after approving by supervisor engineer. - note: unit in M.L - Location: Shariya Complex / Khershiniya | Each | 40 |  | IQD دينار عراقي
2 | -Supply casing pipe and slotted pipe using procurement of galvanized steel 8.5/8" provided that it is manufactured and inspected according to specification of (Bs 1387) or similar, thickness not less than 5mm and width of the pipe opening not more than(3-5)mm. the head of the first pipe shall be sealed by steel plate with thickness not less than 6mm and according to the instruction of (DWOD) - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply casing pipe and slotted pipe using procurement of galvanized steel 8.5/8" provided that it is manufactured and inspected according to specification of (Bs 1387) or similar, thickness not less than 5mm and width of the pipe opening not more than(3-5)mm. the head of the first pipe shall be sealed by steel plate with thickness not less than 6mm and according to the instruction of (DWOD) - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply casing pipe and slotted pipe using procurement of galvanized steel 8.5/8" provided that it is manufactured and inspected according to specification of (Bs 1387) or similar, thickness not less than 5mm and width of the pipe opening not more than(3-5)mm. the head of the first pipe shall be sealed by steel plate with thickness not less than 6mm and according to the instruction of (DWOD) - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply casing pipe and slotted pipe using procurement of galvanized steel 8.5/8" provided that it is manufactured and inspected according to specification of (Bs 1387) or similar, thickness not less than 5mm and width of the pipe opening not more than(3-5)mm. the head of the first pipe shall be sealed by steel plate with thickness not less than 6mm and according to the instruction of (DWOD) - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply casing pipe and slotted pipe using procurement of galvanized steel 8.5/8" provided that it is manufactured and inspected according to specification of (Bs 1387) or similar, thickness not less than 5mm and width of the pipe opening not more than(3-5)mm. the head of the first pipe shall be sealed by steel plate with thickness not less than 6mm and according to the instruction of (DWOD) - note: unit in M.L - Location: Shariya Complex / Khershiniya | Each | 440 |  | IQD دينار عراقي
3 | -Supply gravel used for filters according to the specifications of Iraqi standards (1555) size (5.6-8) and according to the instruction of (DWOD) - note: unit in (m3) - Location: Shariya Complex / Khershiniya | -Supply gravel used for filters according to the specifications of Iraqi standards (1555) size (5.6-8) and according to the instruction of (DWOD) - note: unit in (m3) - Location: Shariya Complex / Khershiniya | -Supply gravel used for filters according to the specifications of Iraqi standards (1555) size (5.6-8) and according to the instruction of (DWOD) - note: unit in (m3) - Location: Shariya Complex / Khershiniya | -Supply gravel used for filters according to the specifications of Iraqi standards (1555) size (5.6-8) and according to the instruction of (DWOD) - note: unit in (m3) - Location: Shariya Complex / Khershiniya | -Supply gravel used for filters according to the specifications of Iraqi standards (1555) size (5.6-8) and according to the instruction of (DWOD) - note: unit in (m3) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
4 | -Supplying galvanized steel base plate with thickness not less than 10mm, punching the place for screws, pipes and cable according to the instruction of (DWOD) - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supplying galvanized steel base plate with thickness not less than 10mm, punching the place for screws, pipes and cable according to the instruction of (DWOD) - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supplying galvanized steel base plate with thickness not less than 10mm, punching the place for screws, pipes and cable according to the instruction of (DWOD) - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supplying galvanized steel base plate with thickness not less than 10mm, punching the place for screws, pipes and cable according to the instruction of (DWOD) - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supplying galvanized steel base plate with thickness not less than 10mm, punching the place for screws, pipes and cable according to the instruction of (DWOD) - note: unit in No. - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
5 | -Supply set of Submersible pump and motor with (15 - 18) KW consider the productivity of the well to be (20 - 25) m3/hour and the site work includes all necessary materials and accessories to complete the work of { starter circuit type transferred (Auto transformer) with full protection . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply set of Submersible pump and motor with (15 - 18) KW consider the productivity of the well to be (20 - 25) m3/hour and the site work includes all necessary materials and accessories to complete the work of { starter circuit type transferred (Auto transformer) with full protection . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply set of Submersible pump and motor with (15 - 18) KW consider the productivity of the well to be (20 - 25) m3/hour and the site work includes all necessary materials and accessories to complete the work of { starter circuit type transferred (Auto transformer) with full protection . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply set of Submersible pump and motor with (15 - 18) KW consider the productivity of the well to be (20 - 25) m3/hour and the site work includes all necessary materials and accessories to complete the work of { starter circuit type transferred (Auto transformer) with full protection . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply set of Submersible pump and motor with (15 - 18) KW consider the productivity of the well to be (20 - 25) m3/hour and the site work includes all necessary materials and accessories to complete the work of { starter circuit type transferred (Auto transformer) with full protection . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
6 | -Supply of 100 AM short circuit (3 Phase ) inside a box made for it ,west European made and after approval from DWOD and instruction of site engineer . - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supply of 100 AM short circuit (3 Phase ) inside a box made for it ,west European made and after approval from DWOD and instruction of site engineer . - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supply of 100 AM short circuit (3 Phase ) inside a box made for it ,west European made and after approval from DWOD and instruction of site engineer . - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supply of 100 AM short circuit (3 Phase ) inside a box made for it ,west European made and after approval from DWOD and instruction of site engineer . - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supply of 100 AM short circuit (3 Phase ) inside a box made for it ,west European made and after approval from DWOD and instruction of site engineer . - note: unit in No. - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
7 | -Supply change over 100 AM with box and 3 phase for the main power transformer west European made after approval from DODW and site engineer instruction. - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supply change over 100 AM with box and 3 phase for the main power transformer west European made after approval from DODW and site engineer instruction. - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supply change over 100 AM with box and 3 phase for the main power transformer west European made after approval from DODW and site engineer instruction. - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supply change over 100 AM with box and 3 phase for the main power transformer west European made after approval from DODW and site engineer instruction. - note: unit in No. - Location: Shariya Complex / Khershiniya | -Supply change over 100 AM with box and 3 phase for the main power transformer west European made after approval from DODW and site engineer instruction. - note: unit in No. - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
8 | -Supply of cable (3*16) mm2 capillary according to NYY-VEDE-BS6500 standards after approval from DWOD and site engineer instruction. - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply of cable (3*16) mm2 capillary according to NYY-VEDE-BS6500 standards after approval from DWOD and site engineer instruction. - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply of cable (3*16) mm2 capillary according to NYY-VEDE-BS6500 standards after approval from DWOD and site engineer instruction. - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply of cable (3*16) mm2 capillary according to NYY-VEDE-BS6500 standards after approval from DWOD and site engineer instruction. - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply of cable (3*16) mm2 capillary according to NYY-VEDE-BS6500 standards after approval from DWOD and site engineer instruction. - note: unit in M.L - Location: Shariya Complex / Khershiniya | Each | 280 |  | IQD دينار عراقي
9 | -Supply of GI pipe of out of pump according to BS1387 with all fitting of (elbow t-section , …etc.) after approval from DWOD and site engineer instruction - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply of GI pipe of out of pump according to BS1387 with all fitting of (elbow t-section , …etc.) after approval from DWOD and site engineer instruction - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply of GI pipe of out of pump according to BS1387 with all fitting of (elbow t-section , …etc.) after approval from DWOD and site engineer instruction - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply of GI pipe of out of pump according to BS1387 with all fitting of (elbow t-section , …etc.) after approval from DWOD and site engineer instruction - note: unit in M.L - Location: Shariya Complex / Khershiniya | -Supply of GI pipe of out of pump according to BS1387 with all fitting of (elbow t-section , …etc.) after approval from DWOD and site engineer instruction - note: unit in M.L - Location: Shariya Complex / Khershiniya | Each | 252 |  | IQD دينار عراقي
10 | -Supply of the sterilization device and at the option of the supervising engineer and includes: 1. injection of chlorine solution a 24-27 liters / h, 10 bar 0.380 volts 2. electric mixer 380 volt , 1500 RPM / min, ( shaft mixer Stainless Steele ) 3. barrel capacity of 150-300 liters 4. The injection nozzle with proper pipe 5. line pulling chlorine solution 6. starter 380 volts to run the injector with a blender include electrical and water accessories to connect the machine to the well, main water line and elec. line. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of the sterilization device and at the option of the supervising engineer and includes: 1. injection of chlorine solution a 24-27 liters / h, 10 bar 0.380 volts 2. electric mixer 380 volt , 1500 RPM / min, ( shaft mixer Stainless Steele ) 3. barrel capacity of 150-300 liters 4. The injection nozzle with proper pipe 5. line pulling chlorine solution 6. starter 380 volts to run the injector with a blender include electrical and water accessories to connect the machine to the well, main water line and elec. line. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of the sterilization device and at the option of the supervising engineer and includes: 1. injection of chlorine solution a 24-27 liters / h, 10 bar 0.380 volts 2. electric mixer 380 volt , 1500 RPM / min, ( shaft mixer Stainless Steele ) 3. barrel capacity of 150-300 liters 4. The injection nozzle with proper pipe 5. line pulling chlorine solution 6. starter 380 volts to run the injector with a blender include electrical and water accessories to connect the machine to the well, main water line and elec. line. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of the sterilization device and at the option of the supervising engineer and includes: 1. injection of chlorine solution a 24-27 liters / h, 10 bar 0.380 volts 2. electric mixer 380 volt , 1500 RPM / min, ( shaft mixer Stainless Steele ) 3. barrel capacity of 150-300 liters 4. The injection nozzle with proper pipe 5. line pulling chlorine solution 6. starter 380 volts to run the injector with a blender include electrical and water accessories to connect the machine to the well, main water line and elec. line. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of the sterilization device and at the option of the supervising engineer and includes: 1. injection of chlorine solution a 24-27 liters / h, 10 bar 0.380 volts 2. electric mixer 380 volt , 1500 RPM / min, ( shaft mixer Stainless Steele ) 3. barrel capacity of 150-300 liters 4. The injection nozzle with proper pipe 5. line pulling chlorine solution 6. starter 380 volts to run the injector with a blender include electrical and water accessories to connect the machine to the well, main water line and elec. line. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
11 | -Supply concrete for casting foundations, walkway foundation ,ceiling, tie beam, column, and ground.and for casting around the reservation pipe - note: unit in (m3) - Location: Shariya Complex / Khershiniya | -Supply concrete for casting foundations, walkway foundation ,ceiling, tie beam, column, and ground.and for casting around the reservation pipe - note: unit in (m3) - Location: Shariya Complex / Khershiniya | -Supply concrete for casting foundations, walkway foundation ,ceiling, tie beam, column, and ground.and for casting around the reservation pipe - note: unit in (m3) - Location: Shariya Complex / Khershiniya | -Supply concrete for casting foundations, walkway foundation ,ceiling, tie beam, column, and ground.and for casting around the reservation pipe - note: unit in (m3) - Location: Shariya Complex / Khershiniya | -Supply concrete for casting foundations, walkway foundation ,ceiling, tie beam, column, and ground.and for casting around the reservation pipe - note: unit in (m3) - Location: Shariya Complex / Khershiniya | Each | 17.1 |  | IQD دينار عراقي
12 | -Supply steel bars 16 mm for reinforcing the foundation and Column, Grade 60 with tensile strength above 400 mpa according to the instruction of the site engineer - note: unit in (ton). - Location: Shariya Complex / Khershiniya | -Supply steel bars 16 mm for reinforcing the foundation and Column, Grade 60 with tensile strength above 400 mpa according to the instruction of the site engineer - note: unit in (ton). - Location: Shariya Complex / Khershiniya | -Supply steel bars 16 mm for reinforcing the foundation and Column, Grade 60 with tensile strength above 400 mpa according to the instruction of the site engineer - note: unit in (ton). - Location: Shariya Complex / Khershiniya | -Supply steel bars 16 mm for reinforcing the foundation and Column, Grade 60 with tensile strength above 400 mpa according to the instruction of the site engineer - note: unit in (ton). - Location: Shariya Complex / Khershiniya | -Supply steel bars 16 mm for reinforcing the foundation and Column, Grade 60 with tensile strength above 400 mpa according to the instruction of the site engineer - note: unit in (ton). - Location: Shariya Complex / Khershiniya | Each | 0.2 |  | IQD دينار عراقي
13 | -Supply concrete block ( 15 * 20 * 40 cm ) - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply concrete block ( 15 * 20 * 40 cm ) - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply concrete block ( 15 * 20 * 40 cm ) - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply concrete block ( 15 * 20 * 40 cm ) - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply concrete block ( 15 * 20 * 40 cm ) - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 1,200 |  | IQD دينار عراقي
14 | -Supply of a metal door (2.90× 2.6) m, one face pressed (gauge 18 ) The work includes painting and installation of the lock as shown in the drawning and all other necessary work. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of a metal door (2.90× 2.6) m, one face pressed (gauge 18 ) The work includes painting and installation of the lock as shown in the drawning and all other necessary work. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of a metal door (2.90× 2.6) m, one face pressed (gauge 18 ) The work includes painting and installation of the lock as shown in the drawning and all other necessary work. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of a metal door (2.90× 2.6) m, one face pressed (gauge 18 ) The work includes painting and installation of the lock as shown in the drawning and all other necessary work. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of a metal door (2.90× 2.6) m, one face pressed (gauge 18 ) The work includes painting and installation of the lock as shown in the drawning and all other necessary work. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 1 |  | IQD دينار عراقي
15 | -Supply of a metal door (1.4 ×1.2) m for the roof, one face pressed (gauge 18 ) The work includes painting and installation of the lock and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of a metal door (1.4 ×1.2) m for the roof, one face pressed (gauge 18 ) The work includes painting and installation of the lock and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of a metal door (1.4 ×1.2) m for the roof, one face pressed (gauge 18 ) The work includes painting and installation of the lock and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of a metal door (1.4 ×1.2) m for the roof, one face pressed (gauge 18 ) The work includes painting and installation of the lock and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of a metal door (1.4 ×1.2) m for the roof, one face pressed (gauge 18 ) The work includes painting and installation of the lock and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 1 |  | IQD دينار عراقي
16 | -Supply of metal windows air (1.5 × 0.7) m The work include painting. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of metal windows air (1.5 × 0.7) m The work include painting. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of metal windows air (1.5 × 0.7) m The work include painting. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of metal windows air (1.5 × 0.7) m The work include painting. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply of metal windows air (1.5 × 0.7) m The work include painting. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
17 | -Supply galvanized pipe( 3") for the drainage of rainwater with thickness of (5)mm and weight (10.3 kg/m) the work include all requirements and according to the instruction of site engineer - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply galvanized pipe( 3") for the drainage of rainwater with thickness of (5)mm and weight (10.3 kg/m) the work include all requirements and according to the instruction of site engineer - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply galvanized pipe( 3") for the drainage of rainwater with thickness of (5)mm and weight (10.3 kg/m) the work include all requirements and according to the instruction of site engineer - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply galvanized pipe( 3") for the drainage of rainwater with thickness of (5)mm and weight (10.3 kg/m) the work include all requirements and according to the instruction of site engineer - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply galvanized pipe( 3") for the drainage of rainwater with thickness of (5)mm and weight (10.3 kg/m) the work include all requirements and according to the instruction of site engineer - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | Each | 4 |  | IQD دينار عراقي
18 | -Supply cement for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | -Supply cement for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | -Supply cement for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | -Supply cement for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | -Supply cement for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | Each | 1.8 |  | IQD دينار عراقي
19 | -Supply emulsion paint, Turkish emulsion paint ( the color should be chosen by the site engineer)best quality and according to the instruction of site engineer. - note: unit in (Liter) - Location: Shariya complex/Khershiniya | -Supply emulsion paint, Turkish emulsion paint ( the color should be chosen by the site engineer)best quality and according to the instruction of site engineer. - note: unit in (Liter) - Location: Shariya complex/Khershiniya | -Supply emulsion paint, Turkish emulsion paint ( the color should be chosen by the site engineer)best quality and according to the instruction of site engineer. - note: unit in (Liter) - Location: Shariya complex/Khershiniya | -Supply emulsion paint, Turkish emulsion paint ( the color should be chosen by the site engineer)best quality and according to the instruction of site engineer. - note: unit in (Liter) - Location: Shariya complex/Khershiniya | -Supply emulsion paint, Turkish emulsion paint ( the color should be chosen by the site engineer)best quality and according to the instruction of site engineer. - note: unit in (Liter) - Location: Shariya complex/Khershiniya | Each | 20 |  | IQD دينار عراقي
20 | lighting ( Fluorescent 1 * 40 watts ) 4 feet of the covered type.- note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
21 | Rain protector light with the ability to protect 100 watts. note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 4 |  | IQD دينار عراقي
22 | socket (13) AMP . note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
23 | Galvanized electricity column size 3" and (2)m height. note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 1 |  | IQD دينار عراقي
24 | -Supply of cable 4*16mm2 according to the specifications of (BS6500) - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply of cable 4*16mm2 according to the specifications of (BS6500) - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply of cable 4*16mm2 according to the specifications of (BS6500) - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply of cable 4*16mm2 according to the specifications of (BS6500) - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply of cable 4*16mm2 according to the specifications of (BS6500) - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | Each | 20 |  | IQD دينار عراقي
25 | - Supply main board with all accessories, automatic socket capacity ( 20) AMP, single Phis, main automatic socket capacity (80) AMP and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - Supply main board with all accessories, automatic socket capacity ( 20) AMP, single Phis, main automatic socket capacity (80) AMP and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - Supply main board with all accessories, automatic socket capacity ( 20) AMP, single Phis, main automatic socket capacity (80) AMP and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - Supply main board with all accessories, automatic socket capacity ( 20) AMP, single Phis, main automatic socket capacity (80) AMP and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - Supply main board with all accessories, automatic socket capacity ( 20) AMP, single Phis, main automatic socket capacity (80) AMP and all necessary work . - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 1 |  | IQD دينار عراقي
26 | - Supply of an electricity meter 3phase after approval from the directorate and as per sit engineer instructions. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - Supply of an electricity meter 3phase after approval from the directorate and as per sit engineer instructions. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - Supply of an electricity meter 3phase after approval from the directorate and as per sit engineer instructions. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - Supply of an electricity meter 3phase after approval from the directorate and as per sit engineer instructions. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | - Supply of an electricity meter 3phase after approval from the directorate and as per sit engineer instructions. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
27 | -Supply a polyethylene pipe (PE 100 SDR 11 PN 16 BAR ) , BLACK for drinking water OD 90mm. - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply a polyethylene pipe (PE 100 SDR 11 PN 16 BAR ) , BLACK for drinking water OD 90mm. - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply a polyethylene pipe (PE 100 SDR 11 PN 16 BAR ) , BLACK for drinking water OD 90mm. - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply a polyethylene pipe (PE 100 SDR 11 PN 16 BAR ) , BLACK for drinking water OD 90mm. - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | -Supply a polyethylene pipe (PE 100 SDR 11 PN 16 BAR ) , BLACK for drinking water OD 90mm. - note: unit in (M.L) - Location: Shariya Complex / Khershiniya | Each | 160 |  | IQD دينار عراقي
28 | -Supply fittings valve size 90mm, for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings valve size 90mm, for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings valve size 90mm, for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings valve size 90mm, for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings valve size 90mm, for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
29 | ductile valve (DN300)mm, (25)Bar with all accessories note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 1 |  | IQD دينار عراقي
30 | ductile valve (DN160)mm, (25)Bar with all accessories note: unit in (No.) Location: Shariya Complex | - note: unit in (No.) Location: Shariya Complex | - note: unit in (No.) Location: Shariya Complex | - note: unit in (No.) Location: Shariya Complex | - note: unit in (No.) Location: Shariya Complex | Each | 4 |  | IQD دينار عراقي
31 | PE joint size (250)mm note: unit in (No.) Location: Shariya Complex | - note: unit in (No.) Location: Shariya Complex | - note: unit in (No.) Location: Shariya Complex | - note: unit in (No.) Location: Shariya Complex | - note: unit in (No.) Location: Shariya Complex | Each | 4 |  | IQD دينار عراقي
32 | PE joint size (200)mm note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 10 |  | IQD دينار عراقي
33 | PE joint size (180)mm note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 10 |  | IQD دينار عراقي
34 | PE joint size (160)mm note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 10 |  | IQD دينار عراقي
35 | PE joint size (125)mm note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 15 |  | IQD دينار عراقي
36 | PE joint size (11)mm note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 15 |  | IQD دينار عراقي
37 | PE joint size (90)mm note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 10 |  | IQD دينار عراقي
38 | ductile clamp size (6)inch note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 10 |  | IQD دينار عراقي
39 | ductile clamp size (4)inch note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 10 |  | IQD دينار عراقي
40 | ductile clamp size (3)inch note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 10 |  | IQD دينار عراقي
41 | ductile clamp size (2.5)inch note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | - note: unit in (No.) - Location: Shariya Complex | Each | 10 |  | IQD دينار عراقي
42 | Twist Cable (3*95)mm note: unit in (M.L) - Location: Shariya Complex | - note: unit in (M.L) - Location: Shariya Complex | - note: unit in (M.L) - Location: Shariya Complex | - note: unit in (M.L) - Location: Shariya Complex | - note: unit in (M.L) - Location: Shariya Complex | Each | 500 |  | IQD دينار عراقي
43 | -Supply crushed stone for all construction work. according of the instruction of site engineer. - note: unit in (m3) -Location: Shariya complex/Khirsiniya | -Supply crushed stone for all construction work. according of the instruction of site engineer. - note: unit in (m3) -Location: Shariya complex/Khirsiniya | -Supply crushed stone for all construction work. according of the instruction of site engineer. - note: unit in (m3) -Location: Shariya complex/Khirsiniya | -Supply crushed stone for all construction work. according of the instruction of site engineer. - note: unit in (m3) -Location: Shariya complex/Khirsiniya | -Supply crushed stone for all construction work. according of the instruction of site engineer. - note: unit in (m3) -Location: Shariya complex/Khirsiniya | Each | 12 |  | IQD دينار عراقي
44 | - Supply steel bars 10 mm for reinforcing the foundation, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | - Supply steel bars 10 mm for reinforcing the foundation, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | - Supply steel bars 10 mm for reinforcing the foundation, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | - Supply steel bars 10 mm for reinforcing the foundation, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | - Supply steel bars 10 mm for reinforcing the foundation, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | Each | 0.1 |  | IQD دينار عراقي
45 | - Supply Nylon for lean concrete, a regular type in the market that is used for such work. - note: unit in (m2). - Location: Shariya Complex / Khershiniya | - Supply Nylon for lean concrete, a regular type in the market that is used for such work. - note: unit in (m2). - Location: Shariya Complex / Khershiniya | - Supply Nylon for lean concrete, a regular type in the market that is used for such work. - note: unit in (m2). - Location: Shariya Complex / Khershiniya | - Supply Nylon for lean concrete, a regular type in the market that is used for such work. - note: unit in (m2). - Location: Shariya Complex / Khershiniya | - Supply Nylon for lean concrete, a regular type in the market that is used for such work. - note: unit in (m2). - Location: Shariya Complex / Khershiniya | Each | 20 |  | IQD دينار عراقي
46 | -Supply glass 4 mm for metal windows, The work include required material for fixing. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | -Supply glass 4 mm for metal windows, The work include required material for fixing. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | -Supply glass 4 mm for metal windows, The work include required material for fixing. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | -Supply glass 4 mm for metal windows, The work include required material for fixing. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | -Supply glass 4 mm for metal windows, The work include required material for fixing. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | Each | 2.1 |  | IQD دينار عراقي
47 | -Supplying BRC 15x15 cm with 4 mm thickness for window protection and according to the instructions for the supervisor engineer. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | -Supplying BRC 15x15 cm with 4 mm thickness for window protection and according to the instructions for the supervisor engineer. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | -Supplying BRC 15x15 cm with 4 mm thickness for window protection and according to the instructions for the supervisor engineer. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | -Supplying BRC 15x15 cm with 4 mm thickness for window protection and according to the instructions for the supervisor engineer. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | -Supplying BRC 15x15 cm with 4 mm thickness for window protection and according to the instructions for the supervisor engineer. - note: unit in (m2) - Location: Shariya Complex / Khershiniya | Each | 2.1 |  | IQD دينار عراقي
48 | -Supply Sand for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | -Supply Sand for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | -Supply Sand for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | -Supply Sand for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | -Supply Sand for plastering and construction work, according to the instruction of site engineer . - note: unit in (Ton) - Location: Shariya Complex / Khershiniya | Each | 9 |  | IQD دينار عراقي
49 | - Supply steel bars 12 mm for reinforcing the ceiling, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | - Supply steel bars 12 mm for reinforcing the ceiling, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | - Supply steel bars 12 mm for reinforcing the ceiling, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | - Supply steel bars 12 mm for reinforcing the ceiling, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | - Supply steel bars 12 mm for reinforcing the ceiling, supplying Grade 60, with tensile strength above 400 mpa according to the instruction of the site engineer. - note: unit in (ton). - Location: Shariya Complex / Khershiniya | Each | 0.3 |  | IQD دينار عراقي
50 | - supply signboard, dimension of signboard (1m*1m), frame 2” *2” * 2mm thickness, and support column 2” *2” * 2mm thickness, and all metallic work should be painted with anti-corrosion paint with two layers include frame, hinge, bolts. With good quality printing banner containing the general information of the project titles, SCI and donor logo colorful with all required materials and accessories, the work should be done according to the instruction of SCI engineer. - note: unit in (No.). - Location: Shariya Complex / Khershiniya | - supply signboard, dimension of signboard (1m*1m), frame 2” *2” * 2mm thickness, and support column 2” *2” * 2mm thickness, and all metallic work should be painted with anti-corrosion paint with two layers include frame, hinge, bolts. With good quality printing banner containing the general information of the project titles, SCI and donor logo colorful with all required materials and accessories, the work should be done according to the instruction of SCI engineer. - note: unit in (No.). - Location: Shariya Complex / Khershiniya | - supply signboard, dimension of signboard (1m*1m), frame 2” *2” * 2mm thickness, and support column 2” *2” * 2mm thickness, and all metallic work should be painted with anti-corrosion paint with two layers include frame, hinge, bolts. With good quality printing banner containing the general information of the project titles, SCI and donor logo colorful with all required materials and accessories, the work should be done according to the instruction of SCI engineer. - note: unit in (No.). - Location: Shariya Complex / Khershiniya | - supply signboard, dimension of signboard (1m*1m), frame 2” *2” * 2mm thickness, and support column 2” *2” * 2mm thickness, and all metallic work should be painted with anti-corrosion paint with two layers include frame, hinge, bolts. With good quality printing banner containing the general information of the project titles, SCI and donor logo colorful with all required materials and accessories, the work should be done according to the instruction of SCI engineer. - note: unit in (No.). - Location: Shariya Complex / Khershiniya | - supply signboard, dimension of signboard (1m*1m), frame 2” *2” * 2mm thickness, and support column 2” *2” * 2mm thickness, and all metallic work should be painted with anti-corrosion paint with two layers include frame, hinge, bolts. With good quality printing banner containing the general information of the project titles, SCI and donor logo colorful with all required materials and accessories, the work should be done according to the instruction of SCI engineer. - note: unit in (No.). - Location: Shariya Complex / Khershiniya | Each | 3 |  | IQD دينار عراقي
51 | -Supply PE joint for PE pipe OD 90 mm - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply PE joint for PE pipe OD 90 mm - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply PE joint for PE pipe OD 90 mm - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply PE joint for PE pipe OD 90 mm - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply PE joint for PE pipe OD 90 mm - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 13 |  | IQD دينار عراقي
52 | -Supply fittings elbows size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings elbows size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings elbows size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings elbows size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings elbows size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
53 | -Supply fittings tees size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings tees size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings tees size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings tees size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fittings tees size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
54 | -Supply fitting reducers size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fitting reducers size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fitting reducers size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fitting reducers size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | -Supply fitting reducers size 90mm for the connecting network and according to the instruction of site engineer. - note: unit in (No.) - Location: Shariya Complex / Khershiniya | Each | 2 |  | IQD دينار عراقي
Add more lines to the RFQ if required | [9 empty] | Subtotal المجموع الجزئي
Delivery Charge سعر النقل
Other charges اجور اخرى (أن وجد)
[10 empty] | Total المجموع الكلي |  | 0
Supplier confirmation of offer |  | تأكيد المورد للعرض |  | Supplier signatures and stamp, if available (otherwise only signatures) توقيعات المورد وختمه، إذا كان متوفرا (وإلا التوقيعات فقط)
Name الاسم
Title عنوان الوظيفي
Date التاريخ