## Office
GIZ office ZME project at MoLSA
N° | Lot | Detail | Quantity | Unit | Unit Price (IQD) | Total Price (IQD)
1 | Glass Seperators | Provide and install three Glass seperators size 10 mm Transparent glass Hardened Thermally by using G60 section as below Dimensions: 2.6*2.7 m Works include installation of Glass frame 2" thickness 1.5-2 mm, Door Handle, Hydraulic hinges, Locks and Doors. Size above includes 1 doors within dimension (2.7*1 M2) Locations and route as per specification of Supervisor Engineer | 7 | M2 |  | 0
2 | Acoustic false ceiling (60*60 cm) | Provide materials and fixing for false ceiling for all rooms, hall and the places that indicate by the site engineer. The price includes fixing galvanized steel sections (H-sections-beams) every 60 cm, inverted T-section (Black Sika), screw and fisher, and all necessary works. The work should be done according to the specifications and instructions of site engineer. | 18.2 | M2 |  | 0
3 | Led Panel 60 Watt for false ceiling | (Square), white colour for mounting in false ceiling 60 Watt DC33-40V, 1500 mA. nextlite,duelite, NVC or equivelant, original with 5 years warranty (Replacement). model according to instruction of site engineer. Includes all necessary single cables 3 x 1,5 mm2 or 3 x 2,5 mm2 Pure copper. Switches and trunks, plastic pipes or conduits fit for purpose. | 6 | Pcs |  | 0
4 | Air cooler device 1 Ton Capacity | Supply and install of Air cooler device. The work include install Split 1 tons wall-mounted AC unit 12,000 BTU Single phase of heating and cooling invertor R410 Economic and environmental (TOSOT, Media or GE or equivelent)with electrical protection device and with Circuit 15 amp MCB single phase,, all caples should be covered by caple tray as per instruction of supervising Engineer.the price include wire connections using 2*4 mm2 lenght 15 m and AC condensate dewatering: PVC or PPR pipes, DN 32. | 1 | PCs |  | 0
Total | [5 empty] | 0