## BOQ
Humanitarian Support to Vulnerable and conflict-affected IDP families in Camps and Informal Settlements in Summel District, Dohuk governorate.
Equipment and material for DOW Laboratory in Duhok
Duhok Government
TECHNICAL SPECIFICATION AND BILL OF QUANTITIES
# | Descriptions | Unit | Qty | Unit Price IQD | Total price IQD | Photo
A | Equipment
1 | Thermo Scientific Heratherm General Protocol Microbiological incubators, 180L models. | .No | 1 |  | 0
2 | "Injection Unit ball valve with pressure spring of 1.2bar compatible to fit to dosing pump of ALLDOS DMX 24 (95730964) hose connection"(spare material for water treatment device) (Made in Germany) | .No | 60 |  | 0 | 0
3 | separator membrane for chlorine solution type(Jesco E24 10bar)(Spare material for water treatment device) (Made in Germany) | .No | 50 |  | 0 | 0
4 | chlorine solution probe for dilution of chlorine solution 6/12 mm diameter 3m length(10-16 bar)(Spare material for water treatment device) (Made in Germany) | .No | 60 |  | 0 | 0
5 | In let out let ball valve with connection accessories for chlorine solution dosing pump ALLDOS -DMX 221 and DMH 251-24 10Bar. (Spare material for water treatment device) (Made in Germany) | .No | 50 |  | 0 | 0
6 | in let out let ball valve with connection accessories for chlorine solution dosing pump Jesco-E-24,10 bar(Spare material for water treatment device) (Made in Germany) | .No | 50 |  | 0 | 0
7 | Diaphragm ALLDOS- DMX 221 size (99093257) (Spare material for water treatment device) (Made in Germany) | each | 30 |  | 0
8 | CONNECTION Accessories (91835702) (Spare material for water treatment device) (Made in Germany) | .No | 100 |  | 0
9 | Digital Burette 50ml (device for conducting chemical tests),(Made in Germany) | .No | 2 |  | 0
B | Material
10 | MacConkey broth (Biological material For conducting biological tests),(bottle 500g) | .No | 4 |  | 0
11 | NUTRIENT AGAR(Biological material For conducting biological tests),(bottle 500g ). | .No | 4 |  | 0
12 | Sulphate(SO4),for photometer(Lovibond).code(532160),(A chemical material for conducting chemical tests),(100 kit in each bag). | bag | 3 |  | 0
13 | Nitrate(NO3),for photometer(Lovibond).code(535580)(A chemical material for conducting chemical tests),(liquid tub 50 kit+powder 50 kit) | .No | 3 |  | 0
Total in IQD |  |  |  |  | 0