## Items
No. | Items | Quantity
1 | Echo - PORTABLE ULTRA SOUND MACHINE | 1
2 | Delivery Bed | 3
3 | Manual Hospital Bed | 4
4 | Autoclave Device | 1
5 | Trolly | 2

## Echo-Ultra Sound Pediatric
PORTABLE ULTRA SOUND MACHINE Requirement
Description of Product: The Portable ultrasound machine high quality and performance. It features four encoders for quick and convenient operation, and its large LCD Display zone provides a clear image size. Plus, the high quality ensures accurate diagnoses every time. The ultrasound machine is a portable ultrasound machine that is designed with four encoders and quick and convenient operation.
Features of Diagnovision Portable Ultrasound Machine:
1 | 15 inches LCD display zone for large image size, with high quality.
2 | Probe Interface: Dual probe interface, with automatic identification function.
3 | ARM platform, fast computing, HD imaging.
4 | Battery Capacity: Independent battery compartment /removable lithium battery /5200 mAh.
5 | Four encoders, knob design, quick and convenient operation.
6 | Support multi-language switching.
7 | Movie playback: 256 frames, can be played back frame by frame and pause playback, pause playback can be used for image preservation and measurement.
8 | Measurement: Professional measurement software;
9 | Host size: 360 mm(L)*355 mm(W)*65 mm(H).
Specifications Ultrasound Machine:
Type | Digital Ultrasound Machine
Display | 15" LED Screen
Probe Interface | Dual probe interface, with automatic identification function
Battery Capacity | Removable Lithium Battery /5200 mAh
Display Mode | B, B + B, 4b, B + m, m;
Language | English
Electron Focusing | Four Stage Electron Focusing;
Gain Range | 0-135db;
Grey Scale | Level 256
Dynamic Range | 0-135db;
Blind Area | ≤4
Maximum Display Depth | 300 mm
Geometric Accuracy | Transverse ≤5%, Longitudinal ≤5%
Resolution | Lateral ≤2 mm, axial ≤1 mm
Dimensions | 360 mm(L)*355 mm(W)*65 mm(H)
Warranty | 2 Years
Applicable Object: | Abdomen, Obstetrics and Gynecology, Pediatrics, Urology, Small Organs, Musculoskeletal and so on.

## Delivery_Bed
Manual Maternity Delivery Bed - Specifications REQUIREMENT
Its compact yet functional design has made it a popular choice for the LDR (Labor, Delivery, and Recovery) approach in birthing. The multiple bed changes and smoother birthing experience with the Birthing Bed.
Overall Size: | 2000*750*500-750mm
Loading capacity: | 220kg
Structure: | Power coating frame with foam mattress
Application: | For childbirth, gynecology
Certificate: | CE / ISO
After-sale Service: | Online technical support
Height adjustment | 500-750m
Back section adjustment | 0-70°
Leg section adjustment | Pack up
Warranty: | 3-Year on Frame and Welds, and 1-Year on Parts
Main features: | - Three-section stop. Backrest is adjustable by gas spring.
- The leg section can be telescoped under the backrest for lithotomy positions.
- Removable Stainless steel head & foot boards with laminated panels.
- Foot support for high/low chair positions
- Complete with SS side railings, basin, and telescopic IV pole
- Height is adjustable by crank.
- Four casters with a diameter of 125mm, 2pcs with brakes

## Hospital Bed
Hospital Bed - Specifications REQUIREMENT
Manual Hospital Bed
Features:
1 | 3 movements manual operation
2 | Collapsible aluninum railing with 6 bars
3 | Foldable and conceable hand crank
4 | Detachable head/foot board with easy lock
5 | Caster diameter of 125mm with diagnoal locking
6 | Bumper caster located on four corners
7 | Inbulit over bed table(optional)
8 | Central brake system(optional)
Technical features:
Technical parameters
| Model | Manual
| Overall Size | 2150*980*500-750mm
| Lying surface | 1900*830mm
| Overall Height | 500-750mm
| Back section adjustable | 0° to 75°
| Knee section adjustable | 0° to 40°
| Safe working load | 185kg
Specification
| Bed Frame | Electrophoresis and powder coating
| Bed platform | MS perforated platform with ventilation hole, molded
| Handrails | Collapsible aluninum railing with 6 bars
| Head and Foot board | Detachable head/foot board with easy lock
| Cranks | 3 peaces foldable crank
| Castors | Caster diameter of 125mm with diagnoal locking
| Bumper castors | Bumper castors on 4 corners of bed

## Autoclave
AUTOCLAVE - Steam Sterilizer REQUIREMENT
The Autoclave is a high level steam sterilizer that uses a vacuum pump to remove air/steam mixtures from the chamber prior to sterilization cycle beginning. It enables the sterilization of both wrapped and unwrapped instruments, The Autoclave is able to efficiently and effectively sterilizer any load type used in the medical tools to a whole new level of cleanliness with the Autoclave.
Features:
1 | Quality stainless steel inner tank, sealed cover
2 | Microcomputer control
3 | Safety interlocking device
4 | With BD test, HELIX test, VACUUM test.
5 | LCD display and touch buttons.
6 | With standard test interface
7 | Open-type top water tank
8 | Standard Autocalve
9 | With automatic protection function: over temperature protection, over pressure protection, low water
10 | Eevel protection, anti dry burning, and safety door lock.
11 | Three times pre-vacuum
12 | Buzzer reminder after sterilization, automatic stop.
13 | Automatic discharge of cold air, automatic steam exhaust after sterilization.
14 | Built-in steam generator to provide saturated steam quickly
| Model | AUTOCLAVE - Steam Sterilizer
| Volume | 18L
| Power | 2kw
| Voltage | AC220/110V,50/60Hz
| Design pressure | 0.25Mpa
| Design temperature | 139℃
| Rated working pressure | 0.22 Mpa
| Temp accuracy | ±1℃
| Rated working temperature | 134℃
| Chamber volume | Ø170×320
| Outer dimension | 445×580×400

## Trolly
TROLLY SPECIFICATION REQUIREMENT
Stainless Steel Hospital Medicine Trolley, Size/Dimension: 550 X 360 X 685 mm, Load Capacity: 40 kg
Product Specification
| Material | Stainless Steel
| Brand | Using in Hospital
| Usage/Application | Hospital
| Load Capacity | 40 kg
| Size/Dimension | 550 x 360 x 685 mm
| Movable | Yes
| Number Of Castor | 4
| Number Of Drawers | 2
| Order Quantity | 2