It shall be the bidder’s responsibility to carefully examine the following sections and provide Items that are in compliance with the MAG (MINES ADVISORY GROUP) Minimum Requirements.

1. Technical minimum requirements of the Goods/Services

Lot 1 (Specifications for Electrical Goods to Be delivered to MAG base Telafar , Iraq)

| Description | Unit | Warranty (period and what is included) | Offered Brand | Country of Origin | Lead time |
| --- | --- | --- | --- | --- | --- |
| 400 KV Oil Immersed Transformer: Three-phase, 50/60 Hz, with cooling system | Each |  |  |  |  |
| Transformer’s Base with Screws | Each |  |  |  |  |
| Transformer Installation, Equipment, and Material |  |  |  |  |  |
| Electricity Cut-Out Device 11 KV with Mint Fuse | Set |  |  |  |  |
| Lightning Arresters 11 KV | Set |  |  |  |  |
| 400 AMP Electricity Circuit Breaker with Box | Each |  |  |  |  |
| Cable Single Core 95 mm with Copper | Meter |  |  |  |  |
| Cable Single Core 50 mm with Copper | Meter |  |  |  |  |
| Thumbel Cable 95 mm | Each |  |  |  |  |
| Thumbel Cable 50 mm | Each |  |  |  |  |
| Grounding Stick 1.5 mm with Zip Ring and Screws | Each |  |  |  |  |
| Cable Holder with Zip and Screws | Each |  |  |  |  |
| Copper and Aluminium Bonding Equipment | Each |  |  |  |  |
| Cable Insulator Rollers for Extending on Power Poles with Holders | Meter |  |  |  |  |
| Electric Rounded Poles HV 11 M | Each |  |  |  |  |
| Channel Bracket, 120 cm, with Zip Ring and Screws | Each |  |  |  |  |
| Electric Poles HV 11 M Buckle | Each |  |  |  |  |
| Channel Bracket, 140 cm, with Tighting Ring and Screws | Each |  |  |  |  |
| Electric Rounded Poles LV 9 M Round | Each |  |  |  |  |
| Electric Poles LV 11 M Buckle 9 M | Each |  |  |  |  |
| Insulating Roller with Box Clamp and Screws | Each |  |  |  |  |
| Aluminum Wire, Size 120 mm | Meter |  |  |  |  |
| Aluminum Wire, Size 95 mm | Meter |  |  |  |  |
| Aluminum Wire, Size 70 mm | Meter |  |  |  |  |
| Hanged Cable 95 mm | Meter |  |  |  |  |
| Cable Single Core Size 35mm Copper | Meter |  |  |  |  |
| Lumpsum Cost for Installation (including all necessary work until connection is complete) | Each |  |  |  |  |

Lot 2 (Specifications for Electrical Goods to Be delivered to MAG base Chwarta, Iraq)

| Description | Unit | Warranty (period and what is included) | Offered Brand | Country of Origin | Lead time |
| --- | --- | --- | --- | --- | --- |
| 100 KV Oil Immersed Transformer: Three-phase, 50/60 Hz, with cooling system | Each |  |  |  |  |
| Transformer’s Base with Screws | Set |  |  |  |  |
| Transformer Installation, Equipment, and Material |  |  |  |  |  |
| Electricity Cut-Out Device 11 KV with Mint Fuse | Set |  |  |  |  |
| Lightning Arresters 11 KV | Set |  |  |  |  |
| 400 AMP Electricity Circuit Breaker with Box with all fittings | Each |  |  |  |  |
| Channel Bracket 230 cm with Zip Ring and Screws | Each |  |  |  |  |
| Channel Bracket 140 cm with Zip Ring and Screws | Each |  |  |  |  |
| 70 cm Mounting Angle with Screws | Each |  |  |  |  |
| Cable Single Core 50 mm with Copper | Meter |  |  |  |  |
| Fittings (Clamps, Bolts, Straps, Steel Band) | Set |  |  |  |  |
| Grounding Stick 1.5 m with Zip Ring and Screws | Each |  |  |  |  |
| Cable Insulator Rollers (Disc) 11 KV for Extending on the Power Poles with Holders | Each |  |  |  |  |
| Electric Rounded Poles HV 11 M with all Fittings | Each |  |  |  |  |
| Electric Poles HV 11 M Buckle with all Fittings | Each |  |  |  |  |
| Aluminum Wire, Size 95 mm AAC | Meter |  |  |  |  |
| Aluminum Wire, Size 95 mm ACSR | Meter |  |  |  |  |
| Aluminum Wire, Size 50 mm | Meter |  |  |  |  |

2. Purchase Terms

| TERMS | COMPLIANCE Yes/No |
| --- | --- |
| - Currency: All prices shall be quoted in IQD. The exchange rate for converting prices between IQD and other currencies will be based on the official Central Bank of Iraq (CBI) rate at the time of contract award. The current exchange rate is 1 USD = 1310 IQD. - Pricing. All prices quoted in the Financial Proposal must be inclusive of all costs, Value Added Tax (VAT), duties, levies, insurance, freight (transport cost), packaging, and any other locally applicable taxes. - Quotation Validity: The cost quoted by the bidder shall be kept firm and unchanged for a minimum of 45 days. When the quotation’s issued date is not explicit, the deadline of the reception of the bids will be considered. - In case the bidder does not agree with the above. How many days will the quotation be valid? - Payment Method: Bidder agrees to follow the MAG standard, bidder agrees to release of 90% of the payment by MAG after 30 days of work completion and 10% Defect liability retention payment by MAG which may be released after 90 days of a satisfactory work/ delivery completion Certificate by MAG. - Advance Payment. Bidder agrees with no advance payment as per MAG standards. - Otherwise, the bidder requires an advance payment of % of the total contract - The Bidder will not be permitted to take advantage of any errors or omissions in this Invitation to Tender or any Purchase Order or Contract thereafter. Should the Bidder discover any errors or omissions, the Bidder must notify MAG accordingly. - Sub-Contractors: Do you have sub-contractors used (e.g., for transport or installation) and risk management measures | Y/N? Y/N? Y/N? Days: Y/N? Y/N? Y/N? Y/N? (If yes please Specify it here) |

Bidder Comments, Detailed the Specific Terms in case they are different from MAG Terms

3. Bidder Declaration

The Supplier’s representative accepts in full and without restriction the conditions governing this tender as the sole basis of this competition, whatever its own conditions of sale may be, which we hereby waive.

The Supplier’s representative has examined carefully, understood, and comply with all conditions, instructions, forms, provisions, and specifications contained in this tender dossier including the contract template with its annexes.

The Supplier’s representative is aware that failure to submit a tender containing all the information and documentation expressly required in the form requested and within the specified deadline, may lead to the rejection of the tender at MAG’s discretion.

The Bidder holds no reservation regarding the tender dossier; and are aware that any reservation may result in the rejection of the tender by MAG.

| Company name: Company’s Representative name: Company’s Representative Job Title: | Representative’s signature Company Stamp: City, date: |
| --- | --- |