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Compliance Statement of Specifications and Tender Terms



[bookmark: _Int_ukkwzp9N][bookmark: _Hlk116722545]It shall be the bidder’s responsibility to carefully examine the following sections and provide Items that are in compliance with the MAG (MINES ADVISORY GROUP) Minimum Requirements. 

	1. Technical minimum requirements of the Goods/Services


Lot 1 (Specifications for Electrical Goods to Be delivered to MAG base Telafar , Iraq)
	Description
	Unit
	Warranty (period and what is included)
	Offered Brand
	Country of Origin
	Lead time

	400 KV Oil Immersed Transformer: Three-phase, 50/60 Hz, with cooling system
	Each
	
	 
	 
	 

	Transformer’s Base with Screws
	Each
	
	 
	 
	 

	Transformer Installation, Equipment, and Material

	Electricity Cut-Out Device 11 KV with Mint Fuse
	Set
	
	 
	 
	 

	Lightning Arresters 11 KV
	Set
	
	 
	 
	 

	400 AMP Electricity Circuit Breaker with Box
	Each
	
	 
	 
	 

	Cable Single Core 95 mm with Copper
	Meter
	
	 
	 
	 

	Cable Single Core 50 mm with Copper
	Meter
	
	 
	 
	 

	Thumbel Cable 95 mm
	Each
	
	 
	 
	 

	Thumbel Cable 50 mm
	Each
	
	 
	 
	 

	Grounding Stick 1.5 mm with Zip Ring and Screws
	Each
	
	 
	 
	 

	Cable Holder with Zip and Screws
	Each
	
	 
	 
	 

	Copper and Aluminium Bonding Equipment
	Each
	
	 
	 
	 

	Cable Insulator Rollers for Extending on Power Poles with Holders
	Meter
	
	 
	 
	 

	Electric Rounded Poles HV 11 M
	Each
	
	 
	 
	 

	Channel Bracket, 120 cm, with Zip Ring and Screws
	Each
	
	 
	 
	 

	Electric Poles HV 11 M Buckle
	Each
	
	 
	 
	 

	Channel Bracket, 140 cm, with Tighting Ring and Screws
	Each
	
	 
	 
	 

	Electric Rounded Poles LV 9 M Round
	Each
	
	 
	 
	 

	Electric Poles LV 11 M Buckle 9 M
	Each
	
	 
	 
	 

	Insulating Roller with Box Clamp and Screws
	Each
	
	 
	 
	 

	Aluminum Wire, Size 120 mm
	Meter
	
	 
	 
	 

	Aluminum Wire, Size 95 mm
	Meter
	
	 
	 
	 

	Aluminum Wire, Size 70 mm
	Meter
	
	 
	 
	 

	Hanged Cable 95 mm
	Meter
	
	 
	 
	 

	Cable Single Core Size 35mm Copper
	Meter
	
	 
	 
	 

	Lumpsum Cost for Installation (including all necessary work until connection is complete)
	Each
	
	 
	 
	 







[bookmark: _GoBack]
Lot 2 (Specifications for Electrical Goods to Be delivered to MAG base Chwarta, Iraq)

	Description
	Unit
	Warranty (period and what is included)
	Offered Brand
	Country of Origin
	Lead time

	100 KV Oil Immersed Transformer: Three-phase, 50/60 Hz, with cooling system
	Each
	
	 
	 
	 

	Transformer’s Base with Screws
	Set
	
	 
	 
	 

	Transformer Installation, Equipment, and Material

	Electricity Cut-Out Device 11 KV with Mint Fuse
	Set
	
	 
	 
	 

	Lightning Arresters 11 KV
	Set
	
	 
	 
	 

	400 AMP Electricity Circuit Breaker with Box with all fittings
	Each
	
	 
	 
	 

	Channel Bracket 230 cm with Zip Ring and Screws
	Each
	
	 
	 
	 

	Channel Bracket 140 cm with Zip Ring and Screws
	Each
	
	 
	 
	 

	70 cm Mounting Angle with Screws
	Each
	
	 
	 
	 

	Cable Single Core 50 mm with Copper
	Meter
	
	 
	 
	 

	Fittings (Clamps, Bolts, Straps, Steel Band)
	Set
	
	 
	 
	 

	Grounding Stick 1.5 m with Zip Ring and Screws
	Each
	
	 
	 
	 

	Cable Insulator Rollers (Disc) 11 KV for Extending on the Power Poles with Holders
	Each
	
	 
	 
	 

	Electric Rounded Poles HV 11 M with all Fittings
	Each
	
	 
	 
	 

	Electric Poles HV 11 M Buckle with all Fittings
	Each
	
	 
	 
	 

	Aluminum Wire, Size 95 mm AAC
	Meter
	
	 
	 
	 

	Aluminum Wire, Size 95 mm ACSR
	Meter
	
	 
	 
	 

	Aluminum Wire, Size 50 mm
	Meter
	
	 
	 
	 
















	2. Purchase Terms



	TERMS
	COMPLIANCE
Yes/No

	
· Currency: All prices shall be quoted in IQD. The exchange rate for converting prices between IQD and other currencies will be based on the official Central Bank of Iraq (CBI) rate at the time of contract award. The current exchange rate is 1 USD = 1310 IQD.


· [bookmark: _Int_PCvnqRJ8]Pricing.  All prices quoted in the Financial Proposal must be inclusive of all costs, Value Added Tax (VAT), duties, levies, insurance, freight (transport cost), packaging, and any other locally applicable taxes. 

· Quotation Validity:  The cost quoted by the bidder shall be kept firm and unchanged for a minimum of 45 days. When the quotation’s issued date is not explicit, the deadline of the reception of the bids will be considered.
· In case the bidder does not agree with the above. How many days will the quotation be valid?

· Payment Method: Bidder agrees to follow the MAG standard, bidder agrees to release of 90% of the payment by MAG after 30 days of work completion and 10% Defect liability retention payment by MAG which may be released after 90 days of a satisfactory work/ delivery completion Certificate by MAG. 

· Advance Payment. Bidder agrees with no advance payment as per MAG standards.
· Otherwise, the bidder requires an advance payment of % of the total contract


· The Bidder will not be permitted to take advantage of any errors or omissions in this Invitation to Tender or any Purchase Order or Contract thereafter. Should the Bidder discover any errors or omissions, the Bidder must notify MAG accordingly.


· Sub-Contractors: Do you have sub-contractors used (e.g., for transport or installation) and risk management measures

	
Y/N?


Y/N?



Y/N?










Days: 


Y/N?



Y/N?





Y/N?




Y/N? (If yes please Specify it here)






Bidder Comments, Detailed the Specific Terms in case they are different from MAG Terms
	










	3. Bidder Declaration




The Supplier’s representative accepts in full and without restriction the conditions governing this tender as the sole basis of this competition, whatever its own conditions of sale may be, which we hereby waive.

The Supplier’s representative has examined carefully, understood, and comply with all conditions, instructions, forms, provisions, and specifications contained in this tender dossier including the contract template with its annexes.

The Supplier’s representative is aware that failure to submit a tender containing all the information and documentation expressly required in the form requested and within the specified deadline, may lead to the rejection of the tender at MAG’s discretion.

The Bidder holds no reservation regarding the tender dossier; and are aware that any reservation may result in the rejection of the tender by MAG.


	Company name:  


Company’s Representative name:	 


Company’s Representative Job Title:	  


	  Representative’s signature 	 


  Company Stamp:
	


  City, date:	
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